Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Standards and Guidelines

# SCAI Expert Consensus Statement on Management of In-Stent Restenosis and Stent Thrombosis

Lloyd W. Klein, MD, MSCAI a, Sandeep Nathan, MD, MSc, FSCAI b, Akiko Maehara, MD,   FSCAI c, John Messenger, MD, SCAI d, Gary S. Mintz, MD e, Ziad A. Ali, MD, DPhil, FSCAI f, Jennifer Rymer, MD, FSCAI g, Yader Sandoval, MD, FSCAI h, Karim Al-Azizi, MD, FSCAI i,    Roxana Mehran, MD, MSCAI j, Sunil V. Rao, MD, FSCAI k, Amir Lotﬁ, MD, FRCP, FSCAIl, *

a  Division of Cardiology, University of California, San Francisco, San Francisco, California; b  Section of Cardiology, Department of Medicine, University of   Chicago, Chicago, Illinois; c  Center for Interventional Vascular Therapy, Division of Cardiology, Columbia University College of Physicians and Surgeons, New York, New York; d  Division of Cardiology, University of Colorado Anschutz Medical Campus, Aurora, Colorado; e  Clinical Trials Center, Cardiovascular

Research Foundation, New York, New York; f  DeMatteis Cardiovascular Institute, St. Francis Hospital & Heart Center, Roslyn, New York; g  Division of

Cardiology, Duke University School of Medicine, Durham, North Carolina; h  Allina Health Minneapolis Heart Institute, Minneapolis, Minnesota; i  Department of Interventional Cardiology, Baylor Scott & White Health – The Heart Hospital, Plano, Texas; j  Zena and Michael A. Wiener Cardiovascular Institute, Mount Sinai Medical Center, New York, New York; k  Division of Cardiology, NYU Langone Health System, New York, New York; l  Division of Cardiology, University of Massachusetts Chan Medical School – Baystate, Springﬁeld, Massachusetts

A B S T R A C T

Stent failure remains the major drawback to the use of coronary stents as a revascularization strategy. Recent advances in imaging have substantially improved our understanding of the mechanisms underlying these occurrences, which have in common numerous clinical risk factors and mechanical ele- ments at the time of stent implantation. In-stent restenosis remains a common clinical problem despite numerous improvements in-stent design and polymer coatings over the past 2 decades. It generates signiﬁcant health care cost and is associated with an increased risk of death and rehospitalization. Stent thrombosis causes abrupt closure of the stented artery and therefore carries a high risk of myocardial infarction and death. This Society for Cardiovascular Angiography & Interventions (SCAI) Expert Consensus Statement suggests updated practical algorithmic approaches to in-stent restenosis and stent thrombosis. A pragmatic outline of assessment and management of patients presenting with stent failure is presented. A new SCAI classiﬁcation that is time- sensitive with mechanistic implications of in-stent restenosis is proposed. Emphasis is placed on frequent use of intracoronary imaging and assessment of timing to determine the precise etiology because that information is crucial to guide selection of the best treatment option. SCAI recommends image- guided coronary stenting at the time of initial implantation to minimize the occurrence of stent failure. When in-stent restenosis and stent thrombosis are encountered, imaging should be strongly considered to optimize the subsequent approach.

Table of Contents

Introduction 	  2

Methodology  	  2

In-stent restenosis  	  2

Risk factors    	  2

Pathogenesis and contributory factors	  2

Deﬁnition and classiﬁcation    	  3

Imaging adjuncts to diagnosis  	  3

Physiologic assessment  	  3

Proposed treatment strategies  	  3

Stent thrombosis    	  7

Incidence and clinical presentation 	  7

Classiﬁcation 	  7

Pathogenesis 	  7

Correlates of timing of ST and mechanism  	10

Diagnostic imaging modalities    	10

Mechanical and pharmacologic treatment of ST    	12

Conclusion  	13

Declaration of competing interest 	13

Funding sources  	13

Supplementary material 	13

References  	13

Abbreviations: BMS, bare metal stents; DAPT, dual antiplatelet therapy; DCB, drug-coated balloons; DES, drug-eluting stents;  ISR, in-stent restenosis; IVUS, intravascular ultra- sound; MACE, major adverse cardiovascular events; OCT, optical coherence tomography; RCT, randomized clinical trial; ST, stent thrombosis.

Keywords: coronary stenting; in-stent restenosis; major adverse cardiovascular events; stent thrombosis; target vessel failure.

*  Corresponding author: Amir.LotﬁMD@baystatehealth.org (A. Lotﬁ).

https://doi.org/10.1016/j.jscai.2023.100971

Available online XX  XXXX

2772-9303/© 2023 The Author(s). Published by Elsevier  Inc. on behalf of Society for Cardiovascular Angiography and Interventions Foundation. This is an open access article under the CC BY-NC-ND license (http://creativecommons.org/licenses/by-nc-nd/4.0/).

2                                                                     L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

# Introduction

Coronary stenting has transformed revascularization strategy, pro- ducing  excellent  procedural  and  clinical  outcomes  in  myriad  clinical settings. Despite proven short and long-term beneﬁts, in-stent reste- nosis (ISR) and stent thrombosis (ST) continue to be limitations. There remains   no  deﬁnitive   management  approach  for  either  condition despite a greater understanding of the underlying mechanisms ensuing from advances in intracoronary imaging.

In this Society for Cardiovascular Angiography & Interventions (SCAI) Expert  Consensus  Statement,  practical  algorithmic  approaches to  ISR and ST are offered. A pragmatic outline of assessment and management of patients presenting with stent failure is presented. A new SCAI clas- siﬁcation that  is time-sensitive with  mechanistic  implications  of  ISR  is proposed. Emphasis is placed on frequent use of intracoronary imaging and assessment of timing to determine the precise etiology, as that in- formation is crucial to guide selection of the best treatment option.

## Methodology

This statement has been developed according to SCAI Publications Committee  policies  for  writing  group  composition,  disclosure  and management of relationships with industry, internal and external review, and organizational approval. Detailed author disclosures are included as  Supplemental  Table  1.  The  work  of  the  writing  committee  was supported exclusively by SCAI, a nonproﬁt medical specialty society, without commercial support. Writing group  members contributed to this effort on a volunteer basis and did not receive payment from SCAI. Group members in each section performed literature searches, and the section leads in collaboration authored initial section drafts with other members of the writing group. The draft manuscript was peer reviewed in February 2023 and the document was revised to address pertinent comments. The writing group unanimously approved the ﬁnal version of the  document.  The  SCAI  Publications  Committee  and  Executive Committee  endorsed  the  document  as  ofﬁcial  society  guidance  in March 2023. SCAI statements are primarily intended to help clinicians make  decisions  about  treatment  alternatives.  Clinicians  also   must consider the clinical presentation, setting, and preferences of individual patients to make judgments about the optimal approach.

# In-stent restenosis

ISR  remains  a  common  clinical  problem  despite  numerous  im- provements in-stent design and polymer coatings over the past 2 de- cades. ISR generates signiﬁcant health care cost and is associated with an increased risk of death and rehospitalization. The incidence of ISR is 10%; 25% of ISR cases present with acute myocardial infarction (MI) with a 30-day mortality rate of 10% to 25%.1–4

## Risk factors

Clinical. The  incidence of ISR varies depending on individual pa- tient,   angiographic   and    procedural   characteristics   as    listed   in Table 1.1–15  Second-generation drug-eluting stents (DES) have a 5.7% ISR rate in patients without diabetes, and 8.7% rate in those with dia- betes.5   Beyond  1 year, there  is  a  gradual  increase  in  major adverse cardiovascular  events  (MACE);  the  5-year  ISR  rate  is  9%  to  12%  in noncomplex lesions.6

Recurrent ISR is not unusual in contemporary practice. The failure to appreciate  and  address the  original  mechanism  of  ISR  underlies  re- fractory  cases  of recurrence. As  in ﬁrst  ISR, the  use  of  intracoronary imaging may provide insights into the underlying mechanisms. Recur- rent ISR occurs in approximately 20% of all ISR cases.7,8  Recurrence is

| Table 1. In-stent restenosis risk factors1–15 |  |  |
| --- | --- | --- |
| Patient factors | Angiographic factors | #### Procedural factors |
| . Diabetes mellitus . Renal insufﬁciency . ACS presentation . Female . Recurrent ISR | . Lesion length >20 mm . Diameter <3 mm . Chronic total occlusion . Ostial location . Bifurcation . Saphenous vein graft . Severe Calciﬁcation . Multivessel CAD | . Underexpansion . Stent fracture . Bare metal stent . Stenoses proximal and distal to stent . Major arterial dissection involving media or >3 mm length . Multiple stent layers |

ACS,  acute  coronary  syndrome;  CAD,  coronary  artery  disease;  ISR,  in-stent restenosis.

independently predicted by the number of stents placed at the loca- tion.9,10  The  1-year MACE (43.1%) and target lesion revascularization (41.2%) rates were signiﬁcantly higher in the ≥3 stent layer group than in the 1-stent-layer and 2-stent-layer groups. Importantly, on multivari- able analysis, the number of metallic layers and hemodialysis require- ment were identiﬁed as independent predictors of MACE. A third layer of metal is almost always associated with underexpansion and should be avoided.

## Pathogenesis and contributory factors

The preferred treatment strategy depends on a precise diagnosis and understanding of the cause. Consequently, identifying the mech- anism  in  each  case  using  intracoronary  imaging  and  optimizing the interventional result are critical steps (Table 1).

Biologic factors. The primary biologic mechanism of ISR is neointimal tissue proliferation or hyperplasia, an exaggerated homeostatic healing response to arterial wall damage sustained during stent implantation.1 The distribution of neointimal tissue proliferation may be focal or diffuse along the length of the stent. Causative factors are local inlammation resulting from  mechanical disruption  of the  intima/media  leading to aggressive neointimal hyperplasia/proliferation that consists of smooth muscle cells and extracellular matrix. Hypersensitivity reactions to the metal and/or the polymer of early-generation DES are also recognized mechanisms of neointimal hyperplasia.1

Neoatherosclerosis  is  an  increasingly  recognized  mechanism  of stent failure seen with current generation  DES.  It  is characterized by accumulation   of   lipid-laden   foamy   macrophages   sometimes   with necrotic core formation within stented segments.16  Injury to the vessel by  balloon  inlation  and  stent  deployment  stimulates  neointima for- mation. The subsequent intimal and medial damage leads to prolifer- ation and migration of vascular smooth muscle cells, macrophages, and extracellular matrix formation. These activate the coagulation cascade and an inlammatory response. This combination of events, along with elution of antiproliferative drug, inhibits endothelialization. The lack of endothelium  allows  incorporation of  low-density  lipoprotein  into the artery wall  early  after  DES  implantation. At  later stages, the  healed in-stent neointima is prone to atherosclerosis development.

Additional mechanisms of ISR include elastic recoil and relocation/ subluxation of axially transmitted  plaque  (tissue  intrusion)  (especially early)   and   reorganization   of  thrombus,   neointima  formation,   and remodeling (especially late).6–16

Mechanical factors. The  primary  mechanical  cause  of  ISR  is  under- expansion.  This  may  result  from  stent  undersizing,  low  deployment pressures,  or  underlying  calciﬁed  lesions.  Other  mechanical  causes include  stent  recoil,  longitudinal  stent  deformation,  stent  fracture, crushed  stents,  dislocated  stents,  and  geographic  miss.  Geographic miss results from incorrect placement of the stent so that it does not fully

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                  3

#### cover the diseased segment. Stent fracture may be seen at hinge points

in  the  coronary  artery  and  after  stenting  a  calciﬁed  nodule.  Other ﬁndings,   such   as   early-stent   malapposition,   tissue   prolapse,   and asymmetry/eccentricity   have   little   or   no   prognostic   value.   Stent underexpansion may occur as a result of undersizing, low deployment pressures, or heavily calciﬁed lesions.9–13

Some interventional cardiologists favor routine poststent placement dilation  with  high-pressure  balloons;  while  this  can  be  an  effective strategy, it can also lead to edge dissections. Instead, postprocedural imaging might be a more effective use of time and effort.

## Deﬁnition and classiﬁcation

In-stent restenosis is established angiographically as a binary event, deﬁned as recurrent diameter stenosis at the stent segment >50% of the  vessel  diameter.16   Additional  criteria  for  clinically  relevant   ISR include:  recurrent  angina,  objective  signs  of  ischemia,  or  abnormal fractional low reserve.17–19

#### Morphologic patterns.  Coronary angiography remains the standard

diagnostic method to determine ISR severity and morphologic pattern:

Mehran. The Mehran System19 classiﬁes restenotic lesions on the basis of  morphology  and  extent  of  disease,  with  4  subclasses  based  on location within the stented segment.  Lesions were classiﬁed as focal (class  I), diffuse  intrastent (class  II), diffuse  proliferative (class  III), and total occlusion (class IV). This schema was highly relevant to bare metal stenting (BMS), but its applicability to DES ISR is uncertain.

Waksman. The Waksman ISR Classiﬁcation20  is based on mechanistic considerations informed by intracoronary imaging. There are 5 groups of  DES  ISR  identiﬁed:  mechanical  (type  I;  underexpansion  I A, stent fracture I B), biologic (type II; intimal hyperplasia II A, neoatherosclerosis noncalciﬁed II B, neoatherosclerosis calciﬁed II C), mixed pattern (type III), chronic total occlusions (type IV), and lesions previously treated with >2 stents (type V).

Intravascular ultrasound- and optical coherence tomography-based classiﬁcations. Kang et al21  has proposed an intravascular ultrasound (IVUS)-based classiﬁcation that incorporates length of the restenosis as well as minimal luminal area. Gonzalo et al22  and Ali et al23  have pro- posed optical coherence tomography (OCT) classiﬁcations that rely on both quantitative and qualitative parameters.

Timing. Table 2 is the proposed new SCAI classiﬁcation incorporating the cause of ISR based on time from implantation. SCAI recommends that early (<30 days), late (30 days to 1 year), and very late (>1 year) timing categories be adopted for all future diagnostic and therapeutic studies.  By  integrating  mechanistic etiology with timing, this classiﬁ- cation will be useful to determine best treatment options.

| Table 2. SCAI classiﬁcation of in-stent restenosis: a system based on time interval and causative factor |  |  |
| --- | --- | --- |
| Classiﬁcation | Time interval | Morphologic substrates |
| Early | <30 d | ● Undersizing ● Underexpansion |
| Late | 30 d to 1 y | ● Stent fracture ● Delayed healing (including drug induced) ● Uncovered stent struts |
| Very late | >1 y | ● Intimal hyperplasia (especially in BMS ISR) ● Neoatherosclerosis ● Intimal hyperplasia ● Stent fracture |

BMS, bare metal stent; ISR, in-stent restenosis.

## Imaging adjuncts to diagnosis

##### SCAI strongly recommends routine evaluation by intravascular im-

aging to determine the cause of ISR, to inform therapeutic strategy, and to conﬁrm effective treatment after percutaneous coronary intervention (PCI).24–29   Identifying  the  mechanism  of  stent  failure  is  paramount because the causative factors will inluence the selection of treatment and devices to manage the ISR, ultimately impacting the durability of the  repeat  revascularization.  Despite  being  the  primary  means  of assessing  ISR in clinical practice, angiography alone is usually inade- quate because of limited resolution and inherent deﬁciency in quanti- fying vessel size, stent size, stent expansion, number of stent  layers, in-stent  calciﬁc   neoatherosclerosis,  and   extrastent  calciﬁc  disease. Identifying the mechanism of ISR depends on visualizing the stent and its relation to the arterial wall, rather than the lumen itself.

In   contrast   to   angiography,   IVUS   and   OCT   provide   detailed assessment of the native artery and stented segment (Figure  1A,  B). Recent intravascular imaging studies demonstrate that suboptimal stent deployment  is  common—occurring  in 31% to  58% of patients—and that suboptimal stent deployment confers an increased risk of adverse events.30–33 The relative advantages of IVUS and OCT are summarized in Table 3.34,35

Suboptimal minimal stent area (MSA) is a major predictor of stent failure, and an  IVUS optimized  MSA of >5.0 mm2  or OCT optimized MSA  of  >4.5  mm2  are  optimal  goals. Another  useful  criterion  is  to achieve a target MSA >90% of the closest proximal or distal reference segment. In addition, intraluminal diagnostic imaging should be per- formed to ensure that there are no inlow or outlow obstructions within 5 mm of the proximal or distal stent edge. In particular, any major edge dissections  (deﬁned  as  >60o ,  >3  mm  in  length,  or  penetrating  the media) should be stented.33–35

## Physiologic assessment

Patients with ISR of intermediate range severity on coronary angi- ography  present  a  clinical  challenge  because  of  potential short  and long-term  complications,  and  it  is  recommended that  objective  evi- dence of myocardial ischemia is demonstrated prior to proceeding with repeat intervention. Even though there are no randomized clinical trials (RCTs)  assessing  coronary  physiology  to  guide  management  of  ISR, there are several retrospective observational trials that suggest that it may assist in clinical decision-making.36,37  Deferral of coronary revas- cularization in patients with ISR and fractional low reserve >0.80 was associated with similar outcomes over 36 months to patients with de novo coronary stenosis.37  Further studies may deﬁne the value of cor- onary  physiology assessment  in developing decision strategy  before and after intervention.

## Proposed treatment strategies

A summary of existing RCTs and registries,20,38–51  including clinical situations in which particular treatment modalities have been shown to be advantageous, are  presented  in Table 4.52–55  The most common treatment approach for the ﬁrst episode of ISR is to implant a second DES, based on the rationale that DES therapy has superior efﬁcacy over balloon angioplasty alone. However, this is not always necessary and may not be the best solution, particularly when the reference vessel and the resultant minimal lumen area are small.20  If the underlying etiology is not directly addressed and corrected, there is a high  likelihood of recurrent ISR, and the rate of ISR in second layer DES is high: 12% to 16% at 12 months and 33% at 3 to 5 years.56–58

General  strategic  approach. The  critical  principle  is  to  obtain  the largest  acute  lumen  gain  as  possible  by  maximizing the  immediate

4                                                                     L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Top

Coronary  Angiogram

OCT

Mechanism of Stent Failure

Bottom

Coronary  Angiogram

IVUS

Mechanism of Stent Failure

#### In-Stent Restenosis

Stent Fracture

Neointimal Hyperplasia

Neoatherosclerosis

Stent Under-expansion

C

A

D

C,

D,

A,

B

B,

A,,                                   B,,

Minimum Stent Area 2.95 mm2

C,,                                  D,,

. Calcium

Neointima

● Lumen Area

Old Stent Struts

● Lipidic Neoatherosclerosis

Stent Under-expansion        Stent Fracture         Neointimal Hyperplasia     Neoatherosclerosis

C

D

A                                  B

C,

D,

D,,

A,                                  B,

C,,

B,,

A,,

Minimum Stent Area 3.2 mm2

de novo Plaque

Old Stent Struts

Lumen Area

Neointima   Calcified Neoatherosclerosis

Figure 1.

Mechanisms  of  in-stent  restenosis  evaluated  by  intravascular imaging. A0-D0  are  optical coherence tomography (OCT) or intra- vascular  ultrasound  (IVUS)  images  corresponding  to  the  in-stent restenosis  seen  in  the  angiographic  images  (A-D,  white  arrows). A00 -D00   are  representative  diagrams  provided  to  clarify  the  intra- coronary  images,  A0 -D0 .  Top.   Mechanisms  of  in-stent   restenosis evaluated  by  OCT.  (A)  A  patient  experienced  recurrent  in-stent restenosis  (ISR),  and  OCT  visualized  a  severely  underexpanded stent because of circumferential thick calcium behind stent with only a minimum amount of neointimal hyperplasia. (B) This patient was treated with a single drug-eluting stent. At the time of ISR, the OCT image  showed  a   lack  of  stent  struts   over  half  of  the   arterial circumference   (double   headed   arrow)  while  stents  struts  were overlapped  at  7 to  9  o’clock. These  are typical features  of stent fracture. (C) Excess amount of neointimal hyperplasia within a well- expanded  stent.  (D)  Lipidic  neointima  (strong  signal  attenuation) within   the   stent   struts   indicating   neoatherosclerosis.   Bottom. Mechanisms of in-stent restenosis evaluated by IVUS (A) IVUS visu- alized  an  underexpanded  stent  with  a  minimum  amount  of  neo- intimal hyperplasia. By looking at the adjacent segment, the cause of underexpansion was a small vessel with a myocardial bridge. (B) IVUS delineates overlapped struts within a single stent at 7 to  10 o’clock  indicating  stent fracture.  (C)  Excess  amount  of  neointimal hyperplasia within a well-expanded old stent. (D) Calciﬁed plaque (superﬁcial hyperintensity with acoustic shadow from 8 to 12 o’clock) within the stent indicates neoatherosclerosis.

postprocedural minimal luminal area. To operationalize this concept, a complete diagnostic evaluation of the cause of ISR must be pursued.59 An algorithmic approach is provided in Figure 2. Repeat PCI should be routinely performed following intracoronary imaging assessment. The mechanism of the initial ISR should be determined, with correction of any  underlying  mechanical  factors  with  image  guidance  to  ensure optimal sizing and expansion. A second stent should be image-guided to   ensure   correct   stent   expansion   to   ensure   appropriate   stent expansion.

Besides repeat DES, a number of adjunct treatments exist that may be  highly  effective.58–69   If  there  is  signiﬁcant  underexpansion,  it  is critical  to  increase  expansion  by  applying  high-pressure  balloons.  If there is additional hyperplasia, perhaps preparation with scoring/cut- ting balloons, rotational atherectomy (RA), orbital atherectomy (OAS), drug-coated  balloons  (DCBs), vascular  brachytherapy  (VBT),  excimer laser coronary angioplasty (ELCA), or intravascular lithotripsy (IVL) may be useful.

When  ISR  is  predominantly  because  of  neointimal  hyperplasia, treatment  is dependent on the  pattern of ISR.  For focal  ISR, a  high- pressure or scoring/cutting  balloon may  be sufﬁcient;  ELCA or athe- rectomy may be beneﬁcial in selected cases. For diffuse ISR, atherec- tomy or scoring/cutting  balloon angioplasty followed  by  repeat  DES implantation is typically advised.

If  stent  underexpansion  is  not  because  of  calciﬁcation,  atheroa- blation should be used only if signiﬁcant neointimal hyperplasia is also

present.  RA,  OAS,  and   ELCA  may  debulk   neointima  hyperplasia, although  mechanistic  evaluations  fail  to  demonstrate  this  effect.  In cases where intravascular imaging identiﬁes an arc of calcium >270。or >0.67  mm  in  thickness,  atherectomy  vessel  preparation  should  be considered to optimize lesion and stent expansion.60–69

If  stent  underexpansion  is  due  to  signiﬁcant  peri-stent  calcium (>90。),  RA,  OAS,  and   ELCA  may   be  employed  to   improve  stent underexpansion  by disrupting the calciﬁed  plaque  behind the stent. IVL  may  also  be  useful.  These  techniques  are  associated  with  cal- cium   modiﬁcation   and/or  fracture,   and   when   followed   by   high- pressure  inlations   may  reduce  stent  underexpansion.  However,  if unsuccessful,  coronary artery  bypass grafting  may  be  necessary  (see Figure  3).

Balloon angioplasty.  Balloon angioplasty should be the initial step in focal  lesions  or  if short  dual  antiplatelet  therapy  (DAPT)  duration  is required.  In the setting of stent  underexpansion,  high-pressure  non- compliant balloon inlations are the preferred strategy.

Super high-pressure balloons.  Double layer, noncompliant coronary balloons (OPN NC, SIS Medical) capable of inlation pressures ranging from 35 to 55 atm have recently become available in the United States. This class of percutaneous transluminal coronary angioplasty  balloon has performed favorably in severely calciﬁed de novo lesions and may be a consideration in ISR secondary to an underexpanded stent.

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                  5

| Table 3. Applications of OCT vs IVUS34,35 |  |  |
| --- | --- | --- |
|  | IVUS | OCT |
| Assessing lesion severity in left main disease Assessing de novo lesion characteristics | þþþ | þ |
| Thin cap ﬁbroatheroma | - | þþþ |
| Thrombus | þ | þþþ |
| Plaque rupture | þþ | þþþ |
| Calciﬁed nodule | þ | þþþ |
| Dissection | þþ | þþþ |
| Positive remodeling | þþþ | þ |
| Plaque burden | þþþ | þ |
| Aorto-ostial disease Stent optimization | þþþ | - |
| Expansion | þþ | þþþ |
| Apposition Stent failure | þþ | þþþ |
| Neointimal hyperplasia | þ | þþ |
| Underexpansion | þþ | þþþ |
| Malapposition | þþ | þþþ |
| Renal impairment | þþþ | þ |

þþþ Excellent; þþ Good; þ Poor; - Not advised

IVUS, intravascular ultrasound; OCT, optical coherence tomography.

Repeat  DES.  In  general,   repeat  DES  implantation  has  historically shown  superior  results  compared  with   balloon  angioplasty  alone. However, this approach should only be undertaken once appropriate sizing  and  expansion  of  the  original  stent  has  been  assured  using intravascular  imaging. A  second  stent  may  not  be  necessary  of the original stent was underdeployed and can be corrected.

If focal edge  restenosis, stent gap, or stent fracture  is  identiﬁed, conventional or high-pressure balloon dilation at the site of the me- chanical complication should be the initial treatment. This should then be followed by repeat DES implantation when the ISR is focal. Repeat DES to cover the entire diseased segment can be performed when the ISR is diffuse or proliferative, but care should be taken to minimize the stent coverage as much as possible.44–52 There is no deﬁnitive evidence regarding which type of DES should be used to treat ISR of a previously implanted DES, and there is no consensus on whether a different stent type  or drug should  be  used when  an  additional  DES  is  implanted. However, the RIBS III trial38 assessed the impact of selecting a different DES for treatment of ISR and demonstrated better angiographic and clinical outcomes at 9-month follow-up in the cohort that received a different DES than the ﬁrst implanted stent.

Cutting  and  scoring  balloons. The  use  of  balloons  incorporating cutting or scoring elements has been shown in very small series to result

Table 4.  Summary of in-stent restenosis and stent thrombosis management strategies

Modalities of treatment

When to consider                                                                                    Other considerations

| In-stent restenosis1,2,20,38–51 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Balloon angioplasty | ● ● ● | Focal, discrete lesions Stent underexpansion Need for short DAPT |  | ● ● | Risk of recurrence and edge dissection high Use of DCB associated with lower risk of TLR and binary restenosis |
| #### Repeat DES | ● ● | If only one prior layer, may consider over balloon angioplasty alonea Focal edge restenosis, stent gap, stent fracture |  | ● ● | Reduction in need for target revascularization compared with angioplasty alone No deﬁnitive consensus for change in-stent type but RIBS III trial showed reduction of restenosis rate and improved event-free survival in cohort receiving a different DES platform |
| #### Cutting and scoring | ● | May modify neointimal growth |  | ● | Scoring balloon angioplasty superior to PTA alone at 6-8 mo (improved angiographic |
| balloons | ● | May help to avoid additional stent layer |  |  | outcomes and reduced stenosis) |
| Atheroablation | ● ● | Should be considered if mode of stent underexpansion calciﬁcation and resistant to high-pressure balloons Should be considered when signiﬁcant neointimal hyperplasia present |  | ● | Clinical trials for use of atheroablation for ISR negative |
| DCB | ● | May help to avoid additional stent layer |  | ● | Treatment with DCB non-inferior to DES in terms of 6-mo MLD |
| Vascular | ● | Refractory ISR |  | ● | Due to delay in endothelialization, patients may need lifelong DAPT |
| brachytherapy | ● | Limited availability |  | ● | Treatment can be repeated every 12 mo |
| Intravascular | ● | May be considered when there is highly calciﬁed |  | ● | Limited data to suggest proper case selection |
| lithotripsy |  | neoatherosclerosis |  |  |  |
| Stent thrombosis52–55 |  |  |  |  |  |
| Balloon angioplasty | ● |  | May be needed in addition to repeat DES and/or aspiration thrombectomy to restore coronary blood low |  |  |
| Repeat DES | ● ● |  | May be needed in addition to PTA and/or aspiration thrombectomy to restore coronary blood low Should normally limit to signiﬁcant residual dissections after PTA | ● | No stent type associated with reduction in ST |
| Aspiration thrombectomy | ● |  | Consider when heavy thrombus burden present | ● | Associated with improved microvascular perfusion during STEMI because of ST |
|  | ● |  | Consider adjunctive glycoprotein IIb/IIIa inhibitors if persistent heavy thrombus burden after aspiration | ● | Majority of patients undergoing aspiration thrombectomy had successful recanalization |
| Pharmacologic therapies | ● ● ● |  | Consider glycoprotein IIb/IIIa inhibitor infusion Assess compliance and consider switch to higher potency antiplatelet therapy if the patient was compliant and still taking DAPT May consider drug resistance testing and prolonged DAPT duration | ● ● | Consider patient’s renal function and bleeding risk when continuing glycoprotein IIb/IIIa inhibitor after PCI Prolonged anticoagulation and antiplatelet therapy may be beneﬁcial when residual thrombus is detected following intervention |

DAPT, dual antiplatelet therapy; DCB, drug-coated balloon; DES, drug-eluting stent; ISR, in-stent restenosis; MLD, minimal lumen diameter; PCI, percutaneous coronary intervention; PTA, percutaneous transluminal angioplasty; STEMI, ST-elevation myocardial infarction; TLR, target lesion revascularization.

a  Avoid when there are already 2 layers of stent

#### 6                                                                     L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Figure 2.

SCAI algorithmic approach to in-stent restenosis. DES, drug-eluting stents; ISR, in-stent restenosis; PCI, percutaneous coronary intervention.

in better acute angiographic outcomes in ISR compared with BA.58,59 Small  IVUS-guided studies suggest that the use of cutting compared with traditional  balloons  is  associated with  larger  lumen  gain,  lower lumen loss, and preserved angiographic result at follow-up.45,69  How- ever, a randomized study comparing standard balloons vs cutting bal- loons for the treatment of ISR failed to demonstrate superiority of the cutting balloon in terms of recurrent ISR and MACE.58

#### Atheroablation.  Despite  the  appealing  concept  of  atheroablation,

clinical  trials  for the  treatment  of  ISR  have  been  negative.62–64  The utilization of RA when IVUS or OCT conﬁrms the presence of calcium within neoatherosclerotic plaques is reasonable, but no controlled trials exist.  RA might also have value in  lesions refractory to high-pressure balloon  angioplasty.  However,  the  use  of  mechanical  atheroablative technologies within stents poses risks of device entrapment, and some suggest  reserving  mechanical  atherectomy  for  bailout  use.  Excimer laser has similarly shown no special beneﬁts.61,64,67

DCBs.  Preliminary clinical studies using sirolimus-based DCBs showed promising preliminary results; however, randomized trials are needed to demonstrate  efﬁcacy with  DES  in  ISR.  Most  data  are with  paclitaxel DCBs.  Several  trials  and  meta-analyses  have  demonstrated  similar outcomes   of   DCB   compared   with   DES   in   the   management   of ISR44,45,70,71–83   and  are  summarized  in  Table  5.  Although  coronary DCBs are not available in the United States, the European Society of Cardiology/European Association for Cardio-Thoracic Surgery Guide- lines65  give  DCBs  a  class  I  indication for the treatment  of  ISR.  DCB outcomes  may  be  optimized with  inlation time  >60 seconds  and  a balloon: artery ratio >0.91. Neointimal modiﬁcation with RA improves

acute  luminal improvement over DCB therapy alone, with  lower  late

lumen loss; however, there are similar clinical outcomes at 6 months.50

VBT. Vascular brachytherapy  inhibits neointimal formation within the stent   by   delivering    radioactive   Strontium-90    β-radiation   locally, decreasing   proliferation.   This   treatment   modality   was   commonly employed for bare metal ISR 2 decades ago, with minimal long-term beneﬁt demonstrated. The use of VBT has undergone resurgence in use for DES ISR.86,84,87 The more overlapping stent layers there are, the less effective brachytherapy is for ISR. With 3 or more stent layers, the 3-year target lesion failure rate exceeds 50%. Accordingly, many centers consider recurrent ISR after failure of 2 DES layers to be an indication for intraventricular block.

IVL.  Intravascular  lithotripsy  is a  promising  new  approach  in  calciﬁed lesions and has been evaluated in nonrandomized series as a treatment for highly calciﬁed neoatherosclerosis causing ISR.45,51,88 The mechanism of action is emission of an electrical charge from a pair of lithotripters resulting in generation and collapse of vapor bubbles within a pressur- ized, luid-ﬁlled semicompliant  balloon. This  results  in acoustic shock- waves that exert an instantaneous ﬁeld force of up to 50 atm creating fractures within intimal and medial calcium, facilitating subsequent stent expansion as assessed by IVUS and OCT. Whether this device provides a long-term beneﬁt, alone or in combination, in this difﬁcult morphologic subset will require RCTs. IVL has also been combined with VBT.50

Management  of  recurrent  ISR.  Patients  with  recurrent  ISR  are  re- fractory to usual treatment modalities.60  The rates of repeat revascu- larization have been reported to exceed 50% within 2 years. For this

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                  7

Figure 3.

Stepwise,  imaging-guided  treatment  of  a calciﬁed  ISR  lesion.  In-stent   restenosis  of  a ﬁrst-generation drug-eluting stent (Taxus, Bos- ton  Scientiﬁc)  in  the  mid  LAD,  implanted  18 years prior and conﬁrmed patent several years afterward. Intrastent (type II) restenosis (A, inset with  orthogonal  view)  was  noted  on  angiog- raphy   with   multiple   unsuccessful   attempts made  at  dilatation  (B,  C)  using  noncompliant balloons  (24-26  atm).  Subsequent  IVUS  imag- ing (D, distal to proximal) reveals both calciﬁed and noncalciﬁed tissue within an appropriately sized      stent,      likely      representing      neo- atherosclerosis.   Despite  successful   rotational atherectomy (E: 1.5 mm burr, 160-170,000 rpm × 8 passes), non-compliant balloon dilation still revealed a focal waist (F). Complete expansion of a 2.5  × 12  mm Shockwave C2  IVL balloon was achieved after 80 pulses at 6 atm (G) and conﬁrmed with  IVUS. A  2.75  × 26  mm  drug- eluting  stent  was  implanted  at  20  atm  with excellent  angiographic  (G)  and   IVUS  results. IVL, intravascular lithotripsy; IVUS, intravascular ultrasound;    LAD,    left    anterior   descending artery.

reason,  new  approaches are often tried  in these cases,  but typically published results are anecdotal reports and uncontrolled series, rather than controlled trials.

Drug-coated  balloons  may  have  a  beneﬁcial  effect  in  recurrent ISR,  but  more  investigation  is  needed.  Adverse  events  are  signiﬁ- cantly  higher  in  patients  treated  with   DCBs  with   >2  stent  layers versus  no signiﬁcant differences  in  patients with  1  or 2  prior stents. Atheroablative modalities are often employed, but published reports are  anecdotal.  Multilayer  (>2  stents)  underexpanded  ISR  is  particu- larly  recalcitrant  to  standard  treatment.  VBT  is  often  reserved  for refractory ISR and might be considered when multiple layers of stent are  present.50,84,87

Surgical revascularization should be considered in discussion with the   patient   after   several   interventional   procedures   have   failed. Although no studies have supported a speciﬁc approach as to when repeat procedures should be avoided, Table 6 lists key considerations to assist in deciding which patients might be better treated with coro- nary artery  bypass graft surgery or optimal  medical therapy. A  heart team approach may be advisable to consider all of the relevant factors in an individual case.

# Stent thrombosis

ST is an acute or subacute thrombotic occlusion that usually pre- sents as an acute MI or acute coronary syndrome and is associated with high rates of morbidity and mortality. These thrombi can be notoriously difﬁcult to treat with traditional interventional techniques because they tend to be large, friable, and adherent.89

## Incidence and clinical presentation

The overall incidence of ST is 0.5% to 1.0% in the ﬁrst year and 0.2% to 0.6%  in every subsequent year.90–92  The  rate  is  lower for elective stent  placement (0.3%-0.5%)  but  higher in acute coronary syndrome

(3.4%) and MI.  In contemporary practice, the observed mortality rate (~30%) is high, although recent clinical trials and studies requiring au- topsy conﬁrmation suggest a better survival, with an average rate of <10%.90–92  The ST rate is higher in ST-elevation myocardial infarction presentations treated with primary stenting.93–95

Stent thrombosis causes abrupt closure of the stented artery, and therefore carries a high risk of MI and death. As with any acute vessel closure, the clinical ramiﬁcations of ST are inluenced by the amount of threatened myocardium, the degree of myocardial viability, the pres- ence  and  adequacy  of  collaterals,  and  the  speed  and  success  of revascularization. Approximately 20% of patients with a ﬁrst ST expe- rience a recurrent ST episode within 2 years.92

## Classiﬁcation

Stent thrombosis is classiﬁed by the Academic Research Consortium criteria96   based  on  the  presenting  clinical  scenario  and  timing  after initial stent  placement. Timing  is classiﬁed as acute, subacute, early, late, and very late. ST occurring within 24 hours is acute; 24 hours to 30 days is subacute; from 30 days to 1 year is late; and >1 year is deﬁned as very late. Early ST is deﬁned as occurring within 30 days (ie, acute plus subacute). The clinical presentation deﬁnes whether the likelihood of ST is deﬁnite,  probable, or  possible. This categorization  accurately  por- trays   ST   and   is   important   in   investigating   its   pathophysiologic associations.97

## Pathogenesis

Numerous clinical and technical risk factors have been associated with ST, as summarized in Table 7.98–105  Prevention of ST is dependent on optimal stent implantation and the duration and compliance with DAPT. Premature or patient-initiated termination of DAPT, sometimes because of bleeding or perioperative concerns, is responsible for most cases of ST.100,101,106–112 Congenital or acquired hyporesponder DAPT status   seen   with    clopidogrel   is    uncommon   with    prasugrel   or

8                                                                      L W. Klein e t a l. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Table 5.  Selected Trials Evaluating Management Strategies for In-stent Restenosis

Trial, publication year         Investigation             No. of lesions                     Design            Drug-coated balloon, carrier          Control device                                  Restenotic           Endpoint(s)           Follow-up        Principal ﬁndings            P-value

Time                         centers, region                                               agent, commercial name                                                                               stent                                                        (mo)

PCB vs Uncoated

balloon

54/54

Multicenter, Germany

LLL (mm)

TLR (%)

MACE (%)

LLL (mm)

TLR (%)

MACE (%) LLL (mm)

TLR (%)

MACE (%)

LLL (mm)

0.11 ± 0.44 vs 0.80 ± 0.79

.001

.001/ .004

.001/ .009   <.01

<.01

<.01

<.01

<.01/ <.01   <.01/ <.01

.03

.15     .08/– .1

.576 .14

.09/.04

.60/.64 <.01     .110

.213    <.01a

.09/.11b

.5/.91b

.0005a

.48/.66

.92/.73 .27

.26

.35

.54

.51

.10

<.01a

Paclitaxel, iopromide 3 μg/ mm2, PACCOCATH

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please

Paclitaxel, iopromide 3 μg/ mm2

6

12/60

12/60

6

6

6

6

6/36

6/36

6

12

12/36 9

12

6 to 9

12/36 12/36 12

12

12

6 to 8

12/36

12/36

9

12/24

12/24

6 to 9

12

12

9

12

12

6

Core lab, CEC

BMS, DES

Uncoated balloon

Dec 2003 - Dec 2005

Sep 2008 - Nov 2009

Nov 2009 - Apr 2011

PACCOCATH ISR I&II, 201275

4 vs 37 / 9 vs 39

9 vs 44 / 28 vs 59

0.18 ± 0.45 vs

0.72 ± 0.55

Habara et al, 201186

25/25

SES

—

Uncoated balloon

1, Japan

4 vs 42

4 vs 40

0.43 ± 0.61 vs.

1.03 ± 0.77

Core lab

72/38

PEPCAD-DES, 201272,76

DES

Uncoated balloon

Multicenter, Germany

15 vs 37 / 19 vs 37

17 vs 50.0 / 21 vs 53

0.17 ± 0.42 vs

0.38 ± 0.6

6 vs 15

9 vs 22 / 35 vs 42

0.28 vs 0.07

4.2 vs 8

0.14 ± 0.5 vs 0.04 ± 0.5

6 vs 1 / 8 vs. 2

8 vs 6 / 12 vs 10

0.02 vs 0.19

7.4 vs 16.2

10.3 vs 19.1

38% vs 37.4% vs 54.1%

22 vs 14 vs 44 / 33 vs 24 vs 51

24 vs 19 vs 46 / 38 vs 38 vs 56

0.46 ± 0.51 vs

0.55 ± 0.61

15.6 vs 12.3 / 15.9 vs 13.7

16.5 vs 16 / 16.8 vs 18.6

19% vs 11%

16.2 vs 21.8

18.4 vs 23.3

0.15 ± 0.49 vs 0.19 ± 0.41

PCB vs DES

66/65

10, Germany

24/25

2, Belgium 95/94

25, Spain

74/74

1, Czech Rep.

137/131/134

3, Germany

PEPCAD II, 200970,77

Core lab, CEC

Core lab, CEC

Core lab, CEC

Core lab, CEC

Core lab, CEC

Core lab, CEC

Core lab, CEC

Core lab, CEC

BMS

Jan 2006 - Dec 2006

Jun 2009 - Oct 2011

Jan 2010 - Jan 2012

Jan 2012 - Aug 2014

Aug 2009 - Oct 2011

Mar 2011 - Apr 2012

Jan 2010 - Aug 2013

Apr 2013 - Oct 2016

PES, durable polymer,   stainless steel (132 μm)

TLR (%)

MACE (%) LLL (mm)   TLR (%)

LLL (mm)

SEDUCE, 201474

RIBS V, 201473

BMS

BMS

EES, durable polymer, CoCr (81 μm)

EES, durable polymer, CoCr (81 μm)

TLR (%)

MACE (%)

TIS, 201678

ISAR-DESIRE3, 201371,79

PEPCAD China ISR, 201480

LLL (mm)

TVR (%)

BMS

EES, durable polymer, CoCr (81 μm)

ISR diameter (%)

TLR (%)

DES

MACE (%)

1)  PES, durable polymer,   stainless steel (132 μm)

2)  Common balloon

MACE (%)

LLL (mm)

113/108

17, China

DES

PES, durable polymer,   stainless steel (132 μm)

TLR (%)

TLF (%)

RIBS IV, 201844

154/155

23, Spain

86/86

10, South Korea

DES

Binary

restenosis TLR (%)

MACE (%) LLL (mm)

TLR (%)

MACE (%)  MLD (mm)

EES, durable polymer, CoCr (81 μm)

RESTORE, 201881

DES

EES, durable polymer, CoCr (81 μm)

7 vs 5

6 vs 1

BMS, DES

DARE, 201847

(continued on next page)

L.W. Klein et a l. / Journa l of the Society for Cardiovascu lar Ang iography & Interventions xxx (xxxx) xxx                                                  9

| Table 5 (continued) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Trial, publication year | Investigation Time | No. of lesions centers, region | Design | Drug-coated balloon, carrier agent, commercial name | Control device | Restenotic stent | Endpoint(s) | Follow-up (mo) | Principal ﬁndings | P-value |
|  | May 2010 - Jun 2015 | 137/141 8, Netherlands | Core lab, CEC | Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please | EES, durable polymer, CoCr (81 μm) |  |  |  | 1.71 ± 0.51 vs 1.74 ± 0.61 |  |
|  |  |  |  |  |  |  | TVR (%) | 12 | 7.1 vs 8.8 | .65 |
|  |  |  |  |  |  |  | MACE (%) | 12 | 10.9 vs 9.2 | .66 |
| BIOLUX-RCT, 201882 | Aug 2012 - Jan 2015 | 163/80 14, Germany, Latvia | Core lab, CEC | Paclitaxel, BTHC 3 μg/mm2, Pantera Lux | DES, bioresorbable polymer, CoCr (60–80 μm) | BMS, DES | LLL (mm) | 6 | 0.03 ± 0.40 vs 0.20 ± 0.70 | .40 |
| DAEDALUS, 202083 |  | Pooled analysis of 10 RCTc | Core lab, CEC | Paclitaxel, iopromide/BTHC 3 μg/mm2 | DES | BMS, DES | TLR (%) TLF (%) TLR (%) Safety endpointd | 12 12 36 36 | 12.5 vs 10.1 16.9 vs 14.2 16 vs 12, HR 1.27 (0.90-1.79) 9 vs 11, HR 0.79 (0.58-1.10) | .82 .65 .17 .16 |
| SCB vs PCB |  |  |  |  |  |  |  |  |  |  |
| FIM LIMUS DCB, 201984 | Dec 2015 - Jan 2017 | 25/25 5, Malaysia | Core lab, CEC | Sirolimus, crystalline coating 4 μg/mm2, SeQuent SCB | Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please | DES | LLL (mm) | 6 | 0.21 ± 0.54 vs 0.17 ± 0.55 | .794 |
| Scheller et al. 202285 | Dec 2015 - Feb 2020 | 50/51 10, Malaysia, Germany, Switzerland | Core lab, CEC | Sirolimus, crystalline coating 4 μg/mm2, SeQuent SCB | Paclitaxel, iopromide 3 μg/ mm2, SeQuent Please | DES | TLR (%) MACE (%) LLL (mm) TLR (%) MACE (%) | 12 12 6 12 12 | 16 vs 12 16 vs 12 0.25 ± 0.57 vs 0.26 ± 0.60 16 vs 10 18 vs 14 | >.99 >.99 <.35a .39 .60 |

BMS, bare metal stent; BTHC, butyryl-tri-hexyl citrate; CEC, clinical events committee; CoCr, cobalt-chromium; DES, drug-eluting stent; EES, everolimus-eluting stent; ISR, in-stent restenosis; LLL, late lumen loss; MACE, major adverse cardiovascular events; MLD, minimal lumen diameter; PCB, paclitaxel-cboated balloon; PES, paclitaxel-eluting stent; SCB, sirolimus-coated balloon; TLF, target lesion failure; TLR, target lesion revascularization; TVR, target vessel revascularization;

a   Non-inferiority. b    PCB vs PES. c   PEPCAD II, ISAR-DESIRE 3, PEPCAD China ISR, RIBS V, SEDUCE, RIBS IV, TIS, DARE, RESTORE, BIOLUX-RCT. d   All-cause death, myocardial infarction, or target lesion thrombosis.

#### 10                                                                    L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Table 6.  Considerations for CABG in refractory/recurrent in-stent restenosis

●  Multivessel CAD especially LM or proximal LAD involvement

#### ●  Prior CABG

●  Suitability of distal vessel for grafting (including diffuseness of CAD, extent of “metal jacket, ” and size of vessel)

●  Global and regional LV function including viability (especially the segment subtended by the involved vessel)

●  Comorbid conditions (including age, frailty, life expectancy, and activity level)

●  Anticipated completeness of revascularization

●  Response to optimal medical therapy

CABG, coronary artery bypass grafting; CAD, coronary artery disease; LAD, left anterior  descending  coronary  artery;  LM,  left  main  coronary  artery;  LV,  left ventricular.

ticagrelor.107,108   Prior  generation  stents  were  susceptible to  ST with discontinuation of DAPT out to 5 years and longer in anecdotal cases. With the newest generation of stents, the duration of treatment can be decreased safely to 3 months113  or 1 month.114

Circumstances  that   abet  stasis   and  turbulence,  such   as   under- expanded stents, stents in small vessels, or long lesions, are associated with ST.115–121 These common mechanical etiologies of ST are associated with stent underexpansion in both early and late ST. A second concern is injury or endothelial disruption caused by edge dissection. The delayed healing and endothelial in-growth observed with early-generation DES are now less common. Early, late, or very late ST can be associated with a calciﬁed nodule, perhaps because of consequent underexpansion.

Neointima containing smooth  muscle cells develops  beginning 2 weeks   after   BMS.106,121    However,   DES,   depending   on   the   anti- proliferative  drug  and  generation,  demonstrate  delayed  endothelial maturation as compared with BMS.107  When there is an intense neo- intimal growth reaction to the stent, which is an exaggerated response to arterial healing that peaks at 30 days to 6 months after implantation, vascular narrowing, which can  precipitate ST,  may occur.  Neointimal thickness at stent strut sites is increased when there has been damage to the tunica media. Drug elution and coating polymers may delay this time frame.98,103,105,121,122

## Correlates of timing of ST and mechanism

The incidence of Academic Research Consortium deﬁnite or prob- able  ST within  2 years  is  4.4%  and  is  distributed  among the  acute, subacute, late, and very late time periods. Each time frame is associated with somewhat different mechanistic circumstances.99–103,105,121–124

Early ST.  The strongest predictor of early ST is premature discontinu- ation of DAPT in the ﬁrst 30 days following stent implantation.122  Me- chanical  predictors  of  early  ST  are  similar  to  those  associated  with ISR—underexpansion     and     inlow-outlow     problems,     including geographic miss, signiﬁcant residual dissections, and especially occult intramural hematomas—especially at the distal stent edge. Early-stent occlusion is usually the consequence of platelet-rich thrombi forming

on an inadequate procedural result. The adequacy of stent expansion and the presence of an occult intimal dissection should be speciﬁcally evaluated when the etiology is unclear.

#### Acute ST. The incidence is 0.2% to 0.6%.

#### Subacute ST.  The incidence is 1.0% to 1.3%.

#### Late ST. The  incidence  is  0.4% to  0.6%. The  unifying  morphologic

ﬁnding  is  impaired  neointimal  healing, deﬁned as delayed develop- ment of an endothelialized layer of smooth muscle cells and extracel- lular matrix that completely covers the stent.123

Several morphologic substrates have been associated with late ST.

Stenting across major arterial side branches is well recognized. Over- lapping and bifurcation stenting125  are prone to underexpansion and malapposition; careful technique and close attention to adjunct imag- ing are essential. Stent struts that are not apposed to the vessel wall, which can be because of malapposition or late remodeling, produce increased blood low turbulence and low-low foci at the margins ofthe stent. Low-low velocity increases ﬁbrin and platelet deposition. Intimal dissection and plaque disruption in the arterial segments adjacent to stents can progress and cause low obstruction. Stenting of lipid-rich plaques with plaque prolapse also increases risk of ST. Lipid-rich pla- ques  with  signiﬁcant  necrosis  are  prone  to  stent  struts  penetrating deeply into the lipid core, thus losing contact with the vessel wall. Also, stents placed in a stenosis with large lipid core might delay the devel- opment  of  a  fully  endothelialized  neointima  because  of  scarcity  of migrating  and  proliferating  smooth  muscle  cells  in  proximity  to  the stent.  Finally, diffuse  ISR with thrombosis can occur because of over- production of intimal hyperplasia and neoatherosclerosis.103,118–121

Residual  stent  edge  dissection  has  been  associated  with  target lesion   revascularization.101,123,124    Edge  dissections  are  deﬁned  as being major by OCTwhen they extend in an arc of >60o and are >3mm in length. Intimal dissection and plaque disruption in the arterial seg- ments adjacent to stents can progress and cause low obstruction.

Very late ST. The incidence has been reported between 0.4% to 0.8%. Very late ST (VLST) occurs 1 to 5 years after stent implantation at a rate of  2%  per year.  The  most  commonly  identiﬁed  causes  of VLST  are malapposition, uncovered struts, neoatherosclerosis, and stent under- expansion. The degree  and  extent  of  malapposition  and  uncovered stent struts are the most important correlates of thrombus formation in VLST.101,124    Intravascular   imaging   can   identify   suboptimal   stent deployment.

## Diagnostic imaging modalities

Intravascular  imaging  is  crucial  to  developing  rational  individual case strategy because the causative mechanism is highly inluential in selecting treatment strategy to manage the thrombus and prevent its recurrence.  Although  no   imaging  modality   is  rated  in  the  class   I

Table 7.  Risk factors for stent thrombosis98–105

Clinical

risk factors

Procedure related

Lesion related

Stent related

Antiplatelet related

| ● ● ● ● ● | ACS (STEMI/NSTEMI) Left ventricular dysfunction Chronic kidney disease Diabetes mellitus COVID-19 | ● ● ● ● ● ● ● | Stent length Stent underexpansion No relow Residual stenosis Dissection Multiple stents Bifurcation stenting | ● ● ● ● ● | Necrotic core Bifurcation lesions Prior brachytherapy Multivessel disease Inlow and outlow obstruction | ● ● ● | Bio-compatible polymers Polymer/stent thickness Drug dosage | ● ● ● ● ● | Adherence CYP2C19 polymorphisms High on-treatment platelet reactivity Antiplatelet type Dual antiplatelet therapy duration |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ACS, acute coronary syndrome; NSTEMI, non-ST-elevation myocardial infarction; STEMI, ST-elevation myocardial infarction

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                 11

Top

Coronary  Angiogram

OCT

Mechanism of Stent Failure

Bottom

Coronary  Angiogram

IVUS

Mechanism of Stent Failure

#### Stent Thrombosis

Stent Under-expansion     Uncovered Struts           Neoatherosclerosis

C

A

C,

A,

B

B,

C,,

A,,                                B,,

Minimum Stent Area 4.2 mm2

Old Stent Struts

White Thrombus

Neointima

Lumen Area

Lipidic Neoatherosclerosis

Stent Under-expansion        Uncovered Struts           Neoatherosclerosis

C

A

C,

B

B,

w

A,

C,,

A,,                                   B,,

Minimum Stent Area 3.6 mm2

White Thrombus         de novo Plaque          Lumen Area         Lipidic Neoatherosclerosis             Old Stent Struts

Figure 4.

Mechanisms of stent thrombosis evaluated by intravascular im- aging. A0 -C0  are optical coherence tomography (OCT) or intravas- cular ultrasound (IVUS)  images corresponding to stent thrombosis seen  in  the  angiographic  images  A-C  (white  arrows).  A00 -C00   are representative diagrams provided to clarify the intracoronary images A0 -C0 . Top. Mechanisms of stent thrombosis evaluated by OCT (A) Subacute   stent   thrombosis   in   which   OCT  showed   a   severely underexpanded stent occupied by white thrombus in the mid left anterior descending artery. (B) Very late stent thrombosis occurred 2 hours  after  noncardiac  surgery  and  after  discontinuation  of  anti- platelet therapy. OCT showed uncovered stent struts occupied by white thrombus. (C) Lipidic plaque (strong signal attenuation) within stent struts indicating neoatherosclerosis resulting in plaque rupture with thrombus. Bottom. Mechanisms of stent thrombosis evaluated by  IVUS  (A)  Subacute  stent  thrombosis  in  which  IVUS  showed  a severely   underexpanded   stent   and   thrombus   in   the   mid   left circumlex  artery.  (B)  Very   late  stent  thrombosis   in  which   IVUS showed  a  well-expanded  stent  occupied  by  thrombus.  Because there is no neointimal hyperplasia, it was speculated that uncovered stent struts were the cause of stent thrombosis. (C) Lipidic plaque (strong  signal  attenuation)  appeared  within  the  stent  struts  indi- cating neoatherosclerosis resulting in plaque rupture with thrombus.

category by existing guidelines because of an absence of randomized trials, angiography alone is clearly inadequate because of its intrinsic inadequacy to assess stent expansion, neoatherosclerosis, calciﬁcation, and  remodeling.  IVUS  and OCT  provide detailed assessment  of the stented segment and accurately identify the underlying mechanisms. For  these   reasons,   SCAI   recommends   that   imaging   be   strongly considered  when  the  etiology  of  ST  is  uncertain  from  clinical  and

#### angiographic information.

Angiographic factors. The  extent  of  coronary  artery  disease  is  an independent   predictor  of  ST.105,122   The   Dutch   Stent  Thrombosis Registry   included   21,009   consecutive   patients   and   showed   that multivessel  disease,  long  lesions,  and  multiple  lesions  (total  stent length)   are   independent   determinants   of   ST.117   The   volume   of thrombus   burden   is   important   in   appraising   the   risk   of   distal embolization,  as  is  the  degree  of  residual  low,  presence  of  collat- erals,  and  status  of the  microvasculature.53–55  The  size  of the jeop- ardized myocardial segment and the residual left ventricular function are  also  critical factors.

Intravascular  imaging.  There   is   substantial   data   suggesting  that intravascular imaging  improves outcomes (see Figures 4A,  B and 5). IVUS   has   been   considered   the   standard   imaging   modality   for ST.101,102,122  OCT, which has 10-fold higher axial resolution, has more

recently shown great promise.115,119,126,127 Although the absence of a multicenter, controlled trial limits a formal level of indication,24  these modalities appear to be useful in optimal lesion preparation strategies.

There are several well-deﬁned imaging criteria to optimize stenting (Table 8).115–120  IVUS can be of great value during stent placement to assess stent sizing, expansion, and apposition. Several studies suggest that IVUS-guided stent placement reduces ST, restenosis, and repeat revascularization.101,102,116,118,128–130        Stent      undersizing      occurs frequently when visual estimation alone is used for size selection, and this is a major contributor to the risk of ST (and ISR). The incidence of ST is signiﬁcantly reduced when IVUS is used to guide stent placement and optimize expansion.128  In the Assessment of Dual Antiplatelet Therapy With Drug-Eluting Stents (ADAPT-DES) study,129  at 1 year, there was a signiﬁcant reduction in deﬁnite/probable ST (0.52% vs 1.04%, P = 01) and MI (2.5% vs 3.7%, P = 002)128 when IVUS guidance was employed.

Optical coherence tomography may be superior to IVUS in assess- ing the cause of ST. In particular, uncovered struts and underexpansion are seen in acute and subacute ST, and neoatherosclerosis, uncovered struts, and  malapposition are seen in  late and very  late ST.126,131,132 OCT has been shown to be highly effective in determining the under- lying cause of VLST in >98% of cases, and multiple mechanisms are usually   present    (55%).   OCT    demonstrates   malapposition,    neo- atherosclerosis, uncovered struts, and stent underexpansion underlying ST.127 OCT identiﬁed adverse features requiring further intervention in

12                                                                    L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

Index

Event

Figure 5.

Early restenosis due to re-protrusion of a calciﬁed nodule. This patient underwent percutaneous coronary intervention to treat lesions in the distal and mid right coronary ar- tery. Optical coherence tomography (OCT) showed an eruptive calciﬁed nodule (white ar- rows) in both lesions. A calciﬁed nodule is characterized by an accumulation of small calcium fragments typically with strong signal attenuation due to accompanying and overlying ﬁbrin. The patient came back for staged  procedure of LAD (left anterior descending artery) 6 weeks later. OCT showed reprotruding calciﬁed nodules within the stent.

35% of cases, with signiﬁcantly lower risk of death and MI at 1 year in the CLI-OPCI trial.97

In  ULTIMATE,130   IVUS-guided  PCI was  associated with  important reductions in target vessel failure (cardiac death,  MI, or target vessel revascularization). At 3 years, target vessel failure occurred in 47 pa- tients (6.6%) in the IVUS-guided group and in 76 patients (10.7%) in the angiography-guided group (P = .01), driven mainly by the decrease in clinically driven target vessel revascularization (4.5% vs 6.9%; P = .05). Both OPINION133  and  ILUMIEN  III131  compared  IVUS  and  OCT  and concluded that these methods have similar treatment outcomes.

## Mechanical and pharmacologic treatment of ST

Balloon   inlation,   aspiration  thrombectomy   and   pharmacologic treatment with anticoagulants and antiplatelet drugs are the mainstays of  treatment  (Table  4).52–55    Emergent   PCI  is  indicated  when  the

Table 8.  Intravascular imaging correlates of stent thrombosis103,105,115–120

●  Small cross-sectional area of <5 mm

●  Underexpansion

●  Malapposition or incomplete stent apposition

●  Correct stent sizing

●  Late positive remodeling or aneurysm formation

●  Inlow/outlow lesions proximal or distal to the stented segment

●  Plaque prolapse or protrusion

●  Edge dissection

●  Signiﬁcant residual stenosis

●  Stent overlap

●  Plaque characteristics: lipid content; delayed or absent endothelialization of stent struts

●  Hypersensitivity or inlammatory reactions

●  Strut fractures

●  Neoatherosclerosis (very late stent thrombosis)

presentation is acute, although optimal reperfusion is achieved in only 2/3.89 The SCAI recommended algorithm to organize these approaches is provided in Figure 6.

Following  diagnostic   angiography,   most  ST  occlusions  can   be treated   initially   with   balloon   angioplasty   alone,   sometimes   with adjunctive thrombus aspiration when the  clot  burden  is  large. Addi- tional stent implantation should ordinarily be limited to signiﬁcant re- sidual dissections,  especially  if  recent  DAPT  has  been discontinued. High-pressure  inlations  with  noncompliant  balloons  to  assure  stent apposition may be necessary in some cases. At this time, no particular stent design or polymer coating has been shown to prevent ST more than others.

Glycoprotein IIb/IIIa antagonists should be considered to improve microvascular  reperfusion  because  of  distal  embolization,  and  pro- longed  infusions  up to  72  hours  have  been  successful  in  anecdotal cases.  Prolonged  anticoagulation  and  antiplatelet  therapy  may  be beneﬁcial when residual thrombus is detected following intervention. Compliance and drug resistance should be evaluated in detail. More potent  antiplatelet  therapy  should  be  considered,  including  aspirin, prasugrel,  or  ticagrelor.107,108,134   If  platelet  aggregation  studies  are available and reveal insufﬁcient (<50%) inhibition of platelet aggrega- tion with  standard  DAPT, the  sustained  administration  of  150  mg/d

Figure 6.

SCAI algorithmic approach to stent thrombosis.

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                 13

clopidogrel     may     be     considered.     Long-term     non-vitamin     K oral   anticoagulants   or  warfarin   are   rarely   necessary   but   may   be considered for selected cases of recurrent ST. Although mechanical and extraction thrombectomy have been employed anecdotally, there are no large-scale studies to evaluate their beneﬁt or subgroups of mos- t/least promise.135

After low is re-established and the thrombus is no  longer angio- graphically visible, angiographic and clinical circumstances that relect distal embolization should be sought and treated. Once the patient is stabilized, the etiology of the stent closure should be pursued. If DAPT has not been interrupted, the stent should be assessed with either IVUS or OCT to determine the adequacy of stent apposition, expansion, and the presence of edge dissections or intramural hematomas. Optimiza- tion   of  stent  deployment  with   appropriate   high-pressure   balloon expansion should be performed. Additional stent implantation should be avoided if possible because the probability of recurrent ST increases proportionately to the stent  length; however, treatment of edge dis- sections and progression of disease with additional stents are impera- tive to prevent repeat ST.

# Conclusion

Stent failure  remains the  major drawback to the  use  of coronary stents as a revascularization strategy. Recent advances in imaging have substantially improved our understanding of the mechanisms underly- ing  both  ISR  and  ST, which  have  in  common  numerous  clinical  risk factors and mechanical elements at the time of stent implantation. SCAI recommends image-guided PCI at the time of initial stent implantation to minimize the occurrence of ISR and ST. When ISR or ST is encoun- tered, imaging should be strongly considered to optimize the subse- quent approach to these challenging cases.

# Declaration of competing interest

Ziad Ali served on the advisory council and received honoraria and consulting fees from Boston Scientiﬁc and Abbott Laboratories. Roxana Mehran is a primary investigator for Abbott. Gary Mintz received hon- oraria from Boston Scientiﬁc. Amir Lotﬁ, Lloyd Klein, John Messenger, Sunil  Rao,  Karim Al-Azizi, Yader Sandoval, Sandeep  Nathan, Jennifer Rymer, and Akiko Maehara reported no ﬁnancial interests.

# Funding sources

This  research  did  not  receive  any  speciﬁc  grant  from  funding agencies in the public, commercial, or not-for-proﬁt sectors.

# Supplementary material

To  access the  supplementary  material  accompanying this  article, visit the online version of the Journal of the Society for Cardiovascular Angiography & Interventions at 10.1016/j.jscai.2023.100971.

# References

1.  Dangas  GD, Claessen  BE, Caixeta A, Sanidas  EA,  Mintz GS,  Mehran  R.  In-stent restenosis   in   the   drug-eluting   stent   era.   J  Am  Coll  Cardiol.   2010;56(23): 1897–1907.

2.  Moussa ID,  Mohananey D, Saucedo J, et al. Trends and outcomes of restenosis after coronary stent implantation in the  United States. J Am Coll Cardiol. 2020; 76(13):1521–1531.

3.  Palmerini T, Della Riva D, Biondi-Zoccai G, et al. Mortality following nonemergent, uncomplicated   target   lesion    revascularization   after   percutaneous   coronary

intervention:  an  individual  patient data  pooled  analysis  of 21  randomized trials

. J Am Coll Cardiol Intv.and32,524patients 2018;11(9):892–902.

4.  Nakatsuma   K,  Shiomi   H,   Natsuaki   M,  et  al.  Second-generation  versus  ﬁrst- generation  drug-eluting  stents  in  patients  with  and  without  diabetes  mellitus: pooled analysis from the  RESET and  NEXT trials.  Cardiovasc Interv Ther. 2018; 33(2):125–134.

5.  Iqbal J, Serruys  PW, Silber S, et al. Comparison of zotarolimus- and everolimus- eluting  coronary  stents:  ﬁnal  5-year  report  of  the  RESOLUTE  all-comers  trial. Circ Cardiovasc Interv. 2015;8(6), e002230.

6.  Piraino D, Cimino G, Buccheri D, Dendramis G, Andolina G, Cortese B. Recurrent in-stent  restenosis,  certainty  of  its  origin,  uncertainty  about  treatment.   Int J Cardiol. 2017;230:91–96.

7.  Cassese S, Xu B, Habara S, et al. Incidence and predictors of reCurrent restenosis after drug-coated balloon angioplasty for restenosis of a drUg-eluting stent: the ICARUS cooperation. Rev Esp Cardiol (Engl Ed).2018;71(8):620–627.

8.  Song   L,  Mintz  GS,  Yin   D,  et  al.  Characteristics  of  early  versus   late   in-stent restenosis   in   second-generation   drug-eluting   stents:   an   optical   coherence

. EuroIntervention.tomographystudy 2017;13(3):294–302.

9.  Yabushita  H,  Kawamoto  H,  Fujino  Y,  et  al.  Clinical  outcomes  of  drug-eluting balloon  for  in-stent  restenosis  based  on  the  number  of  metallic  layers.  Circ Cardiovasc Interv. 2018;11(8), e005935.

10.  Alfonso F, Byrne RA, Rivero F, Kastrati A. Current treatment of in-stent restenosis. J Am Coll Cardiol.2014;63(24):2659–2673.

11.  Nakazawa G, Otsuka  F, Nakano M, et al. The pathology of neoatherosclerosis in human coronary implants bare-metal and drug-eluting stents. J Am Coll Cardiol. 2011;57(11):1314–1322.

12.  Bossi  I,  Klersy  C,  Black  AJ,  et  al.  In-stent  restenosis:  long-term  outcome  and predictors  of  subsequent  target   lesion  revascularization  after  repeat   balloon

. J Am Coll Cardiol.angioplasty  2000;35(6):1569–1576.

13.  Zahn  R, Hamm CW, Schneider S, et al. Incidence and predictors of target vessel revascularization  and  clinical  event  rates  of the  sirolimus-eluting  coronary  stent (results from the  prospective  multicenter German  Cypher Stent  Registry). Am J Cardiol. 2005;95(11):1302–1308.

14.  Costa  MA,  Angiolillo  DJ,  Tannenbaum  M,  et  al.  Impact  of  stent  deployment procedural  factors  on   long-term  effectiveness  and  safety  of  sirolimus-eluting stents  (ﬁnal  results  of  the  multicenter  prospective  STLLR  trial).  Am J Cardiol. 2008;101(12):1704–1711.

15.  Kobayashi Y,  De Gregorio J,  Kobayashi  N, et al. Stented segment  length as an independent predictor of restenosis. J Am Coll Cardiol. 1999;34(3):651–659.

16.  Nusca    A,   Viscusi    MM,    Piccirillo    F,    et    al.    In   stent    neo-atherosclerosis: pathophysiology,  clinical  implications,  prevention,  and  therapeutic  approaches. Life (Basel). 2022;12(3):393.

17.  Huang  S,  Houghton  PJ.  Mechanisms  of  resistance  to  rapamycins.  Drug Resist Update. 2001;4(6):378–391.

18.  Nebeker JR, Virmani  R, Bennett CL, et al. Hypersensitivity cases associated with drug-eluting  coronary stents:  a  review  of available  cases from the  Research  on Adverse  Drug  Events  and  Reports  (RADAR)  project.  J Am Coll Cardiol.  2006; 47(1):175–181.

19.  Mehran   R,   Dangas  G,  Abizaid  AS,   et  al.  Angiographic   patterns  of  in-stent restenosis:  classiﬁcation  and   implications  for   long-term  outcome.   Circulation. 1999;100(18):1872–1878.

20.  Shlofmitz  E,  Iantorno  M,  Waksman  R.  Restenosis  of  drug-eluting  stents:  a  new classiﬁcation system based on disease mechanism to guide treatment and state- of-the-art review. Circ Cardiovasc Interv. 2019;12(8), e007023.

21.  Kang SJ,  Mintz GS,  Park DW, et al. Tissue characterization of in-stent neointima using intravascular ultrasound radiofrequency data analysis. Am J Cardiol. 2010; 106(11):1561–1565.

22.  Gonzalo N, Serruys PW, Okamura T, et al. Optical coherence tomography patterns

. Am Heart J.ofstentrestenosis  2009;158(2):284–293.

23.  Ali   ZA,   Roleder   T,   Narula   J,   et   al.   Increased   thin-cap   neoatheroma   and periprocedural     myocardial     infarction     in    drug-eluting     stent     restenosis: multimodality  intravascular  imaging  of drug-eluting  and  bare-metal  stents.  Circ Cardiovasc        .Interv 2013;6(5):507–517.

24.  Lotﬁ A, Davies JE, Fearon WF, Grines CL, Kern MJ, Klein LW. Focused update of expert consensus statement: use of invasive assessments of coronary physiology and structure:  a  position statement  of the  Society of Cardiac Angiography  and

. Catheter Cardiovasc Interv.Interventions 2018;92(2):336–347.

25.  Levine GN, Bates  ER, Blankenship JC, et al. 2011 ACCF/AHA/SCAI guideline for percutaneous   coronary   intervention:   a   report   of   the   American   College   of Cardiology   Foundation/American   Heart   Association   Task   Force   on   Practice Guidelines  and  the  Society  for  Cardiovascular  Angiography  and  Interventions. Catheter Cardiovasc Interv. 2013;82(4):E266–E355.

26.  Kang SJ, Mintz GS, Park DW, et al. Mechanisms of in-stent restenosis after drug- eluting stent implantation: intravascular ultrasound analysis. Circ Cardiovasc Interv. 2011;4(1):9–14.

27.  Zhang J, Gao X, Kan J, et al. Intravascular ultrasound versus angiography-guided drug-eluting  stent  implantation:  the  ULTIMATE  Trial.  J Am Coll Cardiol.  2018; 72(24):3126–3137.

28.  Jensen  LO, Vikman S, Antonsen  L, et al.  Intravascular ultrasound assessment of minimum  lumen  area  and  intimal  hyperplasia  in  in-stent  restenosis  after  drug- eluting  or  bare-metal  stent  implantation.  The  Nordic  Intravascular  Ultrasound Study (NIVUS). Cardiovasc Revasc Med.2017;18(8):577–582.

29.  Prati F, Romagnoli E, Burzotta F, et al. Clinical impact of OCT ﬁndings during PCI: the CLI-OPCI II Study. J Am Coll Cardiol Img.2015;8(11):1297–1305.

14                                                                    L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx

30.  Alfonso F, Cuesta J. The therapeutic dilemma of recurrent in-stent restenosis. Circ Cardiovasc Interv. 2018;11(8), e007109.

31.  Alfonso F, Scheller B. Management of recurrent in-stent restenosis: onion skin full 	EuroIntervention.metaljacket? 2013;9(7):781–785.

32.  Alfonso   F,   García  J,   Prez-Vizcayno   MJ,   et  al.   New  stent   implantation  for recurrences  after  stenting  for  in-stent  restenosis:  implications  of  a  third  metal

. J Am Coll Cardiol.layerinhumancoronaryarteries 2009;54(11):1036–1038.

33.  Maejima  N,  Hibi  K, Saka  K, et al.  Relationship between thickness of calcium on optical  coherence  tomography  and  crack  formation  after  balloon  dilatation  in calciﬁed plaque requiring rotational atherectomy. Circ J. 2016;80(6):1413–1419.

34.   Maehara A, Matsumura M, Ali ZA, Mintz GS, Stone GW. IVUS-guided versus OCT- guided coronary stent  implantation: a  critical appraisal. J Am Coll Cardiol Img. 2017;10(12):1487–1503. https://doi.org/10.1016/j.jcmg.2017.09.008

35.  Maehara A, Ben-Yehuda O, Ali Z, et al. Comparison of stent expansion guided by optical  coherence  tomography  versus  intravascular  ultrasound:  the  ILUMIEN  II study  (observational  study  of  optical  coherence  tomography  [OCT]  in  patients undergoing    fractional    low     reserve    [FFR]     and    percutaneous     coronary

. J Am Coll Cardiol Intv.intervention) 2015;8:1704–1714.

36.  Nam CW, Rha SW, Koo BK, et al. Usefulness of coronary pressure measurement for functional evaluation of drug-eluting stent restenosis. Am J Cardiol. 2011;107(12): 1783–1786.

37.  McInerney A,  Travieso  Gonzalez A,  Castro  Mejía A,  et  al.  Long-term  outcomes after  deferral   of  revascularization  of  in-stent   restenosis   using  fractional  low reserve. Catheter Cardiovasc Interv.2022;99(3):723–729.

38.  Alfonso F, Perez-Vizcayno MJ, Hernandez R, , et alInvestigators R-I. A randomized comparison of sirolimus-eluting stent with balloon angioplasty in patients with in- stent  restenosis:  results of the  Restenosis  Intrastent:  Balloon Angioplasty Versus Elective Sirolimus-Eluting Stenting (RIBS-II) trial. J Am Coll Cardiol. 2006;47(11): 2152–2160.

39.  Kastrati A,  Mehilli J, von Beckerath N, et al. Sirolimus-eluting stent or paclitaxel- eluting  stent  vs  balloon  angioplasty  for  prevention  of  recurrences  in  patients with  coronary  in-stent  restenosis:  a  randomized  controlled  trial.  JAMA.  2005; 293(2):165–171.

40.  Mehilli J, Byrne RA, Tiroch K, et al. Randomized trial of paclitaxel- versus sirolimus- eluting stents for treatment of coronary restenosis in sirolimus-eluting stents: the ISAR-DESIRE  2  (intracoronary  stenting  and  angiographic  results:  drug  eluting

. J Am Coll Cardiol.stentsforin-stentrestenosis2)study 2010;55(24):2710–2716.

41.  Kokkinidis DG, Prouse AF, Avner SJ, Lee JM, Waldo SW, Armstrong EJ. Second-  generation drug-eluting stents versus drug-coated balloons for the treatment of coronary  in-stent  restenosis:  A  systematic  review  and  meta-analysis.  Catheter Cardiovasc Interv.2018;92(2):285–299.

42.  Navarese EP, Austin D, Gurbel PA, et al. Drug-coated balloons in treatment of in- stent restenosis: a meta-analysis of randomised controlled trials. Clin Res Cardiol. 2013;102(4):279–287.

43.  Goel SS, Dilip Gajulapalli R, Athappan G, et al. Management of drug eluting stent in-stent  restenosis:  a  systematic  review  and  meta-analysis.  Catheter Cardiovasc Interv. 2016;87(6):1080–1091.

44.  Alfonso F, Prez-Vizcayno MJ, Crdenas A, et al. A prospective randomized trial of drug-eluting  balloons  versus  everolimus-eluting  stents  in  patients  with  in-stent restenosis of drug-eluting stents: the RIBS IV randomized clinical trial. J Am Coll Cardiol. 2015;66(1):23–33.

45.  Kufner S, Joner M, Schneider S, et al. Neointimal modiﬁcation with scoring balloon and efﬁcacy of drug-coated  balloon therapy in  patients with  restenosis in drug- eluting  coronary  stents:  a  randomized  controlled  trial.  J Am Coll Cardiol Intv.

2017 10;10(13):1332–1340.

46.  Vom  Dahl J, Dietz U, Haager PK, et al. Rotational atherectomy does not reduce recurrent   in-stent    restenosis:   results    of   the   angioplasty   versus    rotational atherectomy    for   treatment    of    diffuse    in-stent    restenosis    trial    (ARTIST). Circulation. 2002;105(5):583–588.

47.  Baan Jr J,  Claessen  BE,  Dijk  KB, et al. A  randomized comparison of paclitaxel- eluting  balloon versus everolimus-eluting stent for the treatment of any in-stent restenosis: the DARE trial. J Am Coll Cardiol Intv.2018;11(3):275–283.

48.  Megaly   M,   Glogoza    M,   Xenogiannis   I,   et   al.   Outcomes   of   intravascular brachytherapy for recurrent drug-eluting in-stent restenosis. Catheter Cardiovasc Interv. 2021;97(1):32–38.

49.  Varghese  MJ,  Bhatheja  S,  Baber  U,  et  al.  Intravascular  brachytherapy  for  the management   of    repeated   multimetal-layered    drug-eluting   coronary    stent restenosis. Circ Cardiovasc Interv. 2018;11(10), e006832.

50.  Chen   G,   Zrenner    B,   Pyxaras   SA.   Combined    rotational   atherectomy   and intravascular    lithotripsy    for   the    treatment    of    severely    calciﬁed    in-stent

. Cardiovasc Revasc Med.neoatherosclerosis:amini-review 2019;20(9):819–821.

51.  Tovar Forero MN, Sardella G, Salvi N, et al. Coronary lithotripsy for the treatment of  underexpanded  stents:  the  international  and  multicentre  CRUNCH  registry. EuroIntervention.2022;18(7):574–581.

52.  Mahmoud  KD, Vlaar  PJ, van den  Heuvel AF,  Hillege  HL, Zijlstra  F, de Smet  BJ. Usefulness   of   thrombus    aspiration   for    the   treatment    of   coronary    stent

. Am J Cardiol.thrombosis 2011;108(12):1721–1727.

53.  Reeves  RR, Patel M, Armstrong EJ, et al. Angiographic characteristics of deﬁnite stent  thrombosis:  role  of thrombus  grade,  collaterals,  epicardial  coronary  low, 	. Catheter Cardiovasc Interv.andmyocardialperfusion 2015;85(1):13–22.

54.  Armstrong EJ, Feldman DN, Wang TY, et al. Clinical presentation, management, and  outcomes  of  angiographically  documented  early,  late,  and  very  late  stent

. J Am Coll Cardiol Intv.thrombosis  2012;5(2):131–140.

55.  Claessen  BE,  Henriques  JP,  Jaffer  FA,  Mehran  R,  Piek  JJ,  Dangas  GD.  Stent

. J Am Coll Cardiol Intv.thrombosis:aclinicalperspective 2014;7(10):1081–1092.

56.  Goto  K, Zhao Z,  Matsumura  M, et al.  Mechanisms and  patterns of intravascular ultrasound  in-stent  restenosis  among  bare  metal  stents  and  ﬁrst-  and  second-

. Am J Cardiol.generationdrug-elutingstents 2015;116(9):1351–1357.

57.  Albiero R, Silber S, Di Mario C, et al. Cutting balloon versus conventional balloon angioplasty for the treatment of in-stent restenosis: results of the restenosis cutting balloon evaluation trial (RESCUT). J Am Coll Cardiol.2004;43(6):943–949.

58.  Park  SJ,  Kim  KH, Oh  IY, et al. Comparison of plain balloon and cutting balloon angioplasty  for  the  treatment  of  restenosis  with  drug-eluting  stents  vs  bare

.  Circ J.metalstents  2010;74(9):1837–1845.

59.  Claessen  BE,  Kini  AS,   Mehran  R,  Sharma  SK,  Dangas  GD.  Coronary  in-stent restenosis:   an   algorithmic   approach   to   the   treatment   of   coronary   in-stent

. J Invasive Cardiol.restenosis 2019;(suppl):9–12.

60.  Theodoropoulos K, Mennuni MG, Dangas GD, et al. Resistant in-stent restenosis in

. Catheter Cardiovasc Interv.thedrugelutingstentera 2016;88(5):777–785.

61.  Lee T, Shlofmitz RA, Song L, et al. The effectiveness of excimer laser angioplasty to treat  coronary  in-stent  restenosis with  peri-stent  calcium  as  assessed  by  optical

. EuroIntervention.coherencetomography 2019;15(3):e279–e288.

62.  Sharma SK, Kini A, Mehran R, Lansky A, Kobayashi Y, Marmur JD. Randomized trial of rotational atherectomy versus balloon angioplasty for diffuse in-stent restenosis (ROSTER). Am Heart J.2004;147(1):16–22.

63.  Ferri   LA,   Jabbour   RJ,   Giannini   F,   et   al.   Safety   and   efﬁcacy   of   rotational atherectomy  for the  treatment  of  undilatable  underexpanded  stents  implanted

. Catheter Cardiovasc Interv. 2017;90(2):E19incalciﬁclesions –E24.

64.  Latib A, Takagi  K, Chizzola G, et al. Excimer laser lesion modiﬁcation to expand non-dilatable  stents:  the   ELLEMENT   registry.  Cardiovasc  Revasc Med.  2014; 15(1):8–12.

65.  Neumann  FJ,  Sousa-Uva  M,  Ahlsson  A,  et  al.  2018  ESC/EACTS  guidelines  on

. Eur Heart J.myocardialrevascularization 2019;40(2):87–165.

66.  Rhee TM, Lee JM, Shin ES, et al. Impact of optimized procedure-related factors in drug-eluting  balloon angioplasty for treatment  of in-stent  restenosis. J Am Coll Cardiol Intv. 2018;11(10):969–978.

67.  Ashikaga  T, Yoshikawa  S,  Isobe  M. The effectiveness  of excimer  laser coronary atherectomy  with  contrast  medium  for  underexpanded  stent:  the  ﬁndings  of optical   frequency   domain   imaging.   Catheter  Cardiovasc  Interv.   2015;86(5): 946–949.

68.  Rheude T,  Fitzgerald S, Allali A, et al.  Rotational atherectomy or balloon-based techniques  to  prepare  severely  calciﬁed  coronary  lesions.  J Am  Coll Cardiol Intv. 2022;15(18):1864–1874.

69.  Muramatsu T, Tsukahara R, Ho M, et al. Efﬁcacy of cutting balloon angioplasty for in-stent restenosis: an intravascular ultrasound evaluation. J Invasive Cardiol. 2001; 13(6):439–444.

70.  Unverdorben M, Vallbracht C, Cremers B, et al. Paclitaxel-coated balloon catheter versus paclitaxel-coated stent for the treatment of coronary in-stent restenosis: the three-year  results  of  the   PEPCAD   II   ISR  study.   EuroIntervention.  2015;11(8): 926–934.

71.  Alfonso  F,  Prez-Vizcayno  MJ,  Crdenas A,  et  al. A  randomized  comparison  of drug-eluting  balloon versus everolimus-eluting stent  in  patients with  bare-metal stent-in-stent  restenosis:  the  RIBS  V  clinical  trial  (restenosis  intra-stent  of  bare metal  stents:  paclitaxel-eluting  balloon vs.  everolimus-eluting  stent).  J Am Coll Cardiol. 2014;63(14):1378–1386.

72.  Adriaenssens T,  Dens J,  Ughi G, et al. Optical coherence tomography study of healing characteristics of paclitaxel-eluting balloons vs. everolimus-eluting stents for  in-stent   restenosis:  the   SEDUCE  (Safety  and   Efﬁcacy  of  a   Drug  elUting balloon in Coronary artery rEstenosis) randomised clinical trial. EuroIntervention. 2014;10(4):439–448.

73.  Scheller  B,  Clever YP,  Kelsch  B,  et  al.  Long-term  follow-up  after  treatment  of coronary in-stent restenosis with a paclitaxel-coated balloon catheter. J Am Coll Cardiol Intv. 2012;5(3):323–330. https://doi.org/10.1016/j.jcin.2012.01.008

74.  Unverdorben M, Vallbracht C, Cremers B, et al. Paclitaxel-coated balloon catheter versus  paclitaxel-coated  stent for the treatment  of coronary  in-stent  restenosis. Circulation. 2009;119(23):2986–2994.

75.  Pleva  L,  Kukla  P,  Kusnierova  P,  Zapletalova  J,  Hlinomaz  O.  Comparison  of the efﬁcacy  of  paclitaxel-eluting  balloon  catheters  and  everolimus-eluting  stents  in the treatment of coronary in-stent restenosis: the treatment of in-stent restenosis study. Circ Cardiovasc Interv. 2016;9(4), e003316.

76.  Byrne  RA,  Neumann  FJ,  Mehilli  J,  et  al.  Paclitaxel-eluting  balloons,  paclitaxel- eluting   stents,   and   balloon   angioplasty    in   patients   with    restenosis   after implantation of a drug-eluting stent (ISAR-DESIRE 3): a  randomised, open-label trial. Lancet. 2013;381(9865):461–467.

77.  Xu B, Qian J, Ge J, et al. Two-year results and subgroup analyses of the PEPCAD China in-stent restenosis trial: a prospective, multicenter, randomized trial for the treatment  of  drug-eluting  stent  in-stent  restenosis.  Catherer Cardiovasc Interv. 2016;87(suppl 1):624–629.

78.  Wong YTA, Kang DY, Lee JB, et al. Comparison of drug-eluting stents and drug- coated  balloon  for  the  treatment  of  drug-eluting  coronary  stent  restenosis:  a randomized RESTORE Trial. Am Heart J.2018;197:35–42.

79.  Jensen CJ, Richardt G, To“lg R, et al. Angiographic and clinical performance of a paclitaxel-coated  balloon  compared  to  a  second-generation  sirolimus-eluting stent  in  patients  with  in-stent  restenosis:  the   BIOLUX  randomised  controlled

. EuroIntervention.trial 2018;14(10):1096–1103.

80.  Giacoppo  D, Alfonso  F,  Xu  B,  et  al.  Paclitaxel-coated  balloon  angioplasty vs. drug-eluting   stenting   for  the   treatment   of   coronary   in-stent   restenosis:   a comprehensive,   collaborative,   individual   patient   data   meta-analysis   of   10 randomized   clinical   trials    (DAEDALUS   study).    Eur  Heart  J.    2020;41(38): 3715–3728.

L.W. Klein et al. / Journal of the Society for Cardiovascular Angiography & Interventions xxx (xxxx) xxx                                                 15

81.  Ali RM, Abdul Kader MASK, Wan Ahmad WA, et al. Treatment of coronary drug- eluting  stent  restenosis  by  a  sirolimus-  or  paclitaxel-coated  balloon.  J Am Coll Cardiol Intv. 2019;12(6):558–566.

82.  Scheller  B,  Mangner  N,  Abdul  Kader  MASK,  et  al.  Combined  analysis  of  two parallel  randomized  trials  of sirolimus-coated  and  paclitaxel-coated  balloons  in coronary in-stent restenosis lesions. Circ Cardiovasc Interv. 2022;15(9), e012305.

83.   Habara S, Mitsudo  K,  Kadota  K, et al.  Effectiveness of paclitaxel-eluting balloon catheter  in  patients  with  sirolimus-eluting  stent  restenosis.  J Am Coll Cardiol Intv. 2011;4(2):149–154. https://doi.org/10.1016/j.jcin.2010.10.012

84.  Ho E, Denby K, Cheria S, et al. Intracoronary brachytherapy for drug-eluting stent restenosis: outcomes and clinical correlates. JSCAI. 2023;2(1), 100550.

85.  Rittger  H,  Brachmann  J,  Sinha  AM,  et  al.  A  randomized,  multicenter,  single- blinded trial comparing paclitaxel-coated balloon angioplasty with plain balloon angioplasty in drug-eluting stent restenosis: the  PEPCAD-DES Study. J Am Coll Cardiol. 2012;59(15):1377–1382.

86.  Nikolakopoulos   I,  Vemmou   E,  Xenogiannis   I,   Brilakis   ES.  Combined   use  of intravascular lithotripsy and brachytherapy: a new approach for the treatment of recurrent  coronary  in-stent   restenosis.  Catheter Cardiovasc Interv.  2021;97(7): 1402–1406.

87.  Megaly M, Glogoza M, Xenogiannis I, et al. Coronary intravascular brachytherapy for recurrent coronary drug-eluting stent in-stent restenosis: a systematic review

. Cardiovasc Revasc Med.andmeta-analysis 2021;23:28–35.

88.  Waha  W,  Tomaniak   M,  Waczura   P,   et  al.   Intravascular  lithotripsy  for  the treatment of stent underexpansion: the multicenter IVL-DRAGON registry. J Clin Med. 2022;11(7):1779–1785.

89.  Holmes Jr DR,  Kereiakes DJ, Garg S, et al. Stent thrombosis. J Am Coll Cardiol. 2010;56(17):1357–1365.

90.  Wiviott SD, Braunwald E, McCabe CH, et al. Intensive oral antiplatelet therapy for reduction of ischaemic events  including stent thrombosis  in  patients with acute coronary   syndromes   treated   with   percutaneous   coronary   intervention   and stenting in the TRITON-TIMI 38 trial: a subanalysis of a randomised trial. Lancet. 2008;371(9621):1353–1363.

91.  Mauri   L,   Hsieh   WH,   Massaro  JM,   Ho   KK,   D’Agostino   R,   Cutlip   DE.   Stent thrombosis  in  randomized  clinical  trials  of  drug-eluting  stents.  N Engl J Med. 2007;356(10):1020–1029.

92.  Kirtane  AJ,  Stone  GW.  How  to  minimize  stent  thrombosis.  Circulation.  2011; 124(11):1283–1287.

93.  Dangas  GD,  Caixeta  A,  Mehran  R,  et  al.  Frequency  and  predictors  of  stent thrombosis   after   percutaneous    coronary   intervention    in   acute   myocardial

.  Circulation.infarction 2011;123(16):1745–1756.

94.  Dangas  GD,  Claessen  BE,  Mehran  R,  Xu  K,  Stone  GW.  Stent  thrombosis  after primary angioplasty for STEMI  in  relation to  non-adherence to dual antiplatelet therapy  over time:  results  of the  HORIZONS-AMI  trial.  EuroIntervention.  2013; 8(9):1033–1039.

95.  SabatM,  Brugaletta S, Cequier A, et al. Clinical outcomes in patients with ST- segment  elevation  myocardial  infarction  treated  with  everolimus-eluting  stents versus  bare-metal  stents  (EXAMINATION):  5-year  results  of  a  randomised  trial. Lancet. 2016;387(10016):357–366.

96.  Cutlip DE, Windecker S, Mehran R, et al. Clinical end points in coronary stent trials: a case for standardized deﬁnitions. Circulation. 2007;115(17):2344–2351.

97.  Cutlip  DE,  Nakazawa  G,  Krucoff  MW,  et  al.  Autopsy  validation  study  of  the academic  research  consortium  stent  thrombosis  deﬁnition.  J Am Coll Cardiol Intv. 2011;4(5):554–559.

98.  Grewe  PH,  Deneke T,  Machraoui A,  Barmeyer J,  Müller  KM. Acute and chronic tissue  response  to  coronary  stent  implantation:  pathologic  ﬁndings  in  human

. J Am Coll Cardiol.specimen 2000;35(1):157–163.

99.  Iakovou  I,  Schmidt T,  Bonizzoni  E, et al.  Incidence,  predictors, and outcome of thrombosis  after  successful  implantation  of  drug-eluting  stents.  JAMA.  2005; 293(17):2126–2130.

100.  Gnreux   P,   Rutledge   DR,   Palmerini   T,   et   al.   Stent   thrombosis   and   dual antiplatelet therapy interruption with everolimus-eluting stents: insights from the Xience V Coronary Stent System trials. Circ Cardiovasc Interv. 2015;8(5), e001362.

101.  Uren  NG,  Schwarzacher  SP,  Metz  JA,  et  al.  Predictors  and  outcomes  of  stent thrombosis: an intravascular ultrasound registry. Eur Heart J. 2002;23(2):124–132.

102.  Alfonso F, Surez A, Angiolillo DJ, et al. Findings of intravascular ultrasound during

. Heart.acutestentthrombosis 2004;90(12):1455–1459.

103.  Joner   M,   Nakazawa   G,   Finn  AV,   et   al.   Endothelial   cell   recovery   between comparator  polymer-based  drug-eluting  stents.  J Am Coll Cardiol.  2008;52(5): 333–342.

104.  Gnreux  P,  Stone  GW,  Harrington  RA,  et  al.Impact  of  intraprocedural  stent thrombosis   during    percutaneous   coronary    intervention:   insights   from   the CHAMPION  PHOENIX  Trial  (clinical  trial  comparing  cangrelor  to  clopidogrel standard   of   care   therapy   in   subjects   who   require   percutaneous   coronary

. J Am Coll Cardiol.intervention) 2014;63(7):619–629.

105.  Aoki J,  Lansky AJ, Mehran R, et al. Early stent thrombosis in patients with acute coronary syndromes treated with drug-eluting and  bare  metal stents: the Acute Catheterization  and  Urgent  Intervention Triage  Strategy trial.  Circulation.  2009; 119(5):687–698.

106.  Husted S, Boersma E. Case study: ticagrelor in PLATO and prasugrel in TRITON- TIMI 38 and TRILOGY-ACS trials in patients with acute coronary syndromes. Am J Ther. 2016;23(6):e1876–e1889.

107.  Gurbel  PA, Bliden KP, Guyer K, et al. Platelet reactivity in patients and recurrent events post-stenting: results of the  PREPARE  POST-STENTING study. J Am Coll Cardiol. 2005;46(10):1820–1826.

108.  Gurbel PA, Bliden KP, Samara W, et al. Clopidogrel effect on platelet reactivity in patients  with  stent thrombosis:  results  of the  CREST  study.  J Am Coll Cardiol. 2005;46(10):1827–1832.

109.  Wenaweser P, Do“. Stent thrombosis is associatedrfler-MellyJ,ImbodenK,etal with  an  impaired  response  to  antiplatelet  therapy.  J Am  Coll Cardiol.  2005; 45(11):1748–1752.

110.  Pﬁsterer  M,   Brunner-La  Rocca  HP,  Buser  PT,  et  al.   Late  clinical  events  after clopidogrel  discontinuation   may   limit  the   beneﬁt  of  drug-eluting  stents:   an observational study of drug-eluting versus bare-metal stents. J Am Coll Cardiol. 2006;48(12):2584–2591.

111.  Eisenstein EL, Anstrom KJ, Kong DF, et al. Clopidogrel use and long-term clinical outcomes after drug-eluting stent implantation. JAMA. 2007;297(2):159–168.

112.  Schulz  S,  Schuster T,  Mehilli  J,  et  al.  Stent thrombosis  after  drug-eluting  stent implantation:  incidence,  timing,  and  relation  to  discontinuation  of  clopidogrel

. Eur Heart J.therapyovera4-yearperiod 2009;30(22):2714–2721.

113.  Mehran R, Baber U, Sharma SK, et al. Ticagrelor with or without aspirin in high-risk

. N Engl  J Med.patientsafterPCI   2019;381(21):2032–2042.

114.  Kandzari DE, Kirtane AJ, Windecker S, et al. One-month dual antiplatelet therapy following  percutaneous  coronary  intervention  with  zotarolimus-eluting  stents  in high-bleeding-risk patients. Circ Cardiovasc Interv. 2020;13(11), e009565.

115.  Gomez-Lara J, Salvatella N, Gonzalo N, et al. IVUS-guided treatment strategies for deﬁnite   late   and   very   late   stent   thrombosis.   EuroIntervention.   2016;12(11): e1355–e1365.

116.  Cook  S,  Ladich  E,  Nakazawa  G,  et  al.  Correlation  of  intravascular  ultrasound ﬁndings  with  histopathological  analysis  of  thrombus  aspirates  in  patients  with very late drug-eluting stent thrombosis. Circulation. 2009;120(5):391–399.

117.  Van Werkum JW, Heestermans AA, Zomer AC, et al. Predictors of coronary stent thrombosis: the Dutch Stent Thrombosis Registry. J Am Coll Cardiol. 2009;53(16): 1399–1409.

118.  Pesarini  G,  Dandale  R,  Rigamonti  A,  et  al.  Late  and  very  late  coronary  stent thrombosis:  intravascular  ultrasound  ﬁndings  and  associations  with  antiplatelet

. Catheter Cardiovasc Interv.therapy 2013;82(7):1056–1065.

119.  Kang  SJ,  Lee  CW,  Song  H,  et  al.  OCT  analysis  in  patients with very  late  stent

. J Am Coll Cardiol Img.thrombosis  2013;6(6):695–703.

120.  Murata  A,  Wallace-Bradley  D,  Tellez  A,  et  al.  Accuracy  of  optical  coherence tomography  in  the  evaluation  of  neointimal  coverage  after  stent  implantation. J Am Coll Cardiol Img.2010;3(1):76–84.

121.  Farb A,  Sangiorgi  G, Carter AJ, et  al.  Pathology  of acute and chronic coronary

. Circulation.stentinginhumans 1999;99(1):44–52.

122.  Cheneau  E, Leborgne L, Mintz GS, et al.  Predictors of subacute stent thrombosis: results of a systematic intravascular ultrasound study. Circulation.2003;108(1):43–47.

123.  Windecker S,  Meier B. Late coronary stent thrombosis. Circulation. 2007;116(17): 1952–1965.

124.  Madhavan                                                             .MV,KirtaneAJ,RedforsB,etal Stent-related adverse events >1 year after percutaneous coronary intervention. J Am Coll Cardiol. 2020;75(6):590–604.

125.  Franchin  L,  Kang  J,   De  Filippo  O,  et  al.   Incidence  and   predictors  of  stent thrombosis  in  patients  treated  with  stents  for  coronary  bifurcation  narrowing (from the BIFURCAT registry). Am J Cardiol. 2021;156:24–31.

126.  Prati  F,  Di Vito  L,  Biondi-Zocca G, et al. Angiography alone versus angiography plus    optical    coherence    tomography    to    guide    decision-making    during percutaneous  coronary  intervention:  the  Centro  per  la  Lotta  contro  l’           -Infarto Optimisation    of     Percutaneous    Coronary     Intervention     (CLI-OPCI)    study. EuroIntervention.2012;8(7):823–829.

127.  Taniwaki M, Radu MD, Zaugg S, et al. Mechanisms of very late drug-eluting stent thrombosis assessed by optical coherence tomography. Circulation. 2016;133(7): 650–660.

128.  Zhang   Y,   Farooq  V,   Garcia-Garcia   HM,   et   al.   Comparison   of   intravascular ultrasound  versus  angiography-guided  drug-eluting  stent  implantation:  a  meta- analysis  of one  randomised trial and ten  observational studies  involving  19,619

.  EuroIntervention.patients 2012;8(7):855–865.

129.  Witzenbichler  B,  Maehara A, Weisz  G, et al. TCT-21  Use of  IVUS  reduces stent thrombosis:  results  from  the  prospective,  multicenter ADAPT-DES  study.  J Am Coll Cardiol. 2012;60(17):B6 (suppl B):B6.

130.  Gao XF, Ge Z, Kong XQ, et al. 3-year outcomes of the ULTIMATE trial comparing intravascular     ultrasound     versus     angiography-guided     drug-eluting     stent

. J Am Coll Cardiol Intv.implantation 2021;14(3):247–257.

131.  Ali ZA,  Maehara A, Gnreux P, et al. Optical coherence tomography compared with  intravascular  ultrasound  and  with  angiography  to  guide   coronary  stent implantation (ILUMIEN  III: OPTIMIZE  PCI): a randomised controlled trial.  Lancet. 2016;388(10060):2618–2628.

132.  Adriaenssens  T, Joner  M,  Godschalk TC,  et  al.  Optical  coherence tomography ﬁndings  in  patients  with  coronary  stent  thrombosis:  a  report  of the  PRESTIGE consortium  (prevention  of  late  stent  thrombosis  by  an  interdisciplinary  global

. Circulation.Europeaneffort)   2017;136(11):1007–1021.

133.  Otake  H,  Kubo  T, Takahasi  H,  et  al.  Optical frequency  domain  imaging versus intravascular  ultrasound  in  percutaneous  coronary  intervention  (OPINION  trial): results  from  the  OPINION  imaging  study.  J Am Coll Cardiol Img.  2018;11(1): 111–123.

134.  Capodanno D, Alfonso F, Levine GN, Valgimigli M, Angiolillo DJ. ACC/AHA versus ESC guidelines on dual antiplatelet therapy: JACC guideline comparison. J Am Coll Cardiol. 2018;72(23 Pt A):2915–2931.

135.  Jolly SS, James S,  Davík V, et al. Thrombus aspiration in ST-segment–elevation myocardial    infarction:   an    individual    patient    meta-analysis:   Thrombectomy Trialists Collaboration. Circulation.2017;135(2):143–152.