1

2

3

4

5

6

7Q2Q1 8

9

10Q3

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

31

32

33

34

35

36

37

38

39

40

41

42

43

44

45

46

47

48

49

2023 HRS/APHRS/LAHRS guideline on cardiac

55

56

57

58

59

60

61

62

63

64

65

66

67

68

69

70

71

72

73

74

75

76

77

78

79

80

81

82

83

84

85

86

87

88

89

90

91

92

93

94

95

96

97

98

99

100

101

102

103

104

105

106

107

108

109

physiologic pacing for the avoidance and mitigation of heart failure

Mina K. Chung, MD, FHRS (Chair)1, * Kristen K. Patton, MD, FHRS (HRS Vice-Chair)2, * Chu-Pak Lau, MD, FHRS, CCDS (APHRS Vice-Chair)3

Alexander R. J. Dal Forno, MD (LAHRS Vice-Chair)4

Sana M. Al-Khatib, MD, MHS, FHRS, CCDS,5, * Vanita Arora, MBBS, MD, FHRS,6, *     Ulrika Maria Birgersdotter-Green, MD, FHRS,7, * Yong-Mei Cha, MD, FHRS, FACC,8, * Eugene H. Chung, MD, MPH, FHRS,9, * Edmond M. Cronin, MB BCh BAO, FHRS,10, *  Anne B. Curtis, MD, FHRS,11, * Iwona Cygankiewicz, MD, PhD,12,t

Gopi Dandamudi, MBA, MD, FHRS,13, * Anne M. Dubin, MD, FHRS, CEPS-P,14, ‡ Douglas P. Ensch, AEET,1, § Taya V. Glotzer, MD, FHRS, FACC,15, *

Michael R. Gold, MD, PhD, FHRS,16, * Zachary D. Goldberger, MD, MS, FHRS, CCDS,17, * Rakesh Gopinathannair, MD, MA, FHRS,18, * Eiran Z. Gorodeski, MD, MPH,19,q

Alejandra Gutierrez, MD,20, * Juan C. Guzman, MD, MSc,21, *

Weijian Huang, MD, FHRS,22,#  Peter B. Imrey, PhD,1,23, *

Julia H. Indik, MD, PhD, FHRS,24, * Saima Karim, DO, FHRS,25, **

Peter P. Karpawich, MD, MS, FHRS,26, ‡ Yaariv Khaykin, MD, FHRS,27, * Erich L. Kiehl, MD, MS,28, * Jordana Kron, MD, FHRS,29, *

Valentina Kutyifa, MD, PhD, FHRS,30, * Mark S. Link, MD, FHRS,31, *

Joseph E. Marine, MD, MBA, FHRS,32, * Wilfried Mullens, MD, PhD,33, * Seung-Jung Park, MD, PhD,34,#  Ratika Parkash, MD, MS, FHRS,35, *

Manuel F. Patete, MD,36,tt  Rajeev Kumar Pathak, MBBS, PhD, FHRS,37,# Carlos A. Perona, MD,38,tt John Rickard, MD, MPH,1, *

Mark H. Schoenfeld, MD, CCDS, FHRS, FACC, FAHA,39, * Swee-Chong Seow, MD, FHRS,40,# Win-Kuang Shen, MD, FHRS,41, * Morio Shoda, MD, PhD,42,#

Jagmeet P. Singh, MD, PhD, FHRS,43, * David J. Slotwiner, MD, FHRS, FACC,44, *

Arun Raghav M. Sridhar, MBBS, MPH,2, * Uma N. Srivatsa, MBBS, MS, FHRS,45, *

Eric C. Stecker, MD, MPH, FHRS, FACC,46, ‡‡ Tanyanan Tanawuttiwat, MD, MPH, FHRS,47, *

W. H. Wilson Tang, MD, FHFSA,1,q Carlos Andres Tapias, MD,48,tt

Cynthia M. Tracy, MD,49, * Gaurav A. Upadhyay, MD, FHRS, FACC,50, *

Niraj Varma, MA, MD, PhD, FRCP,1, * Kevin Vernooy, MD, PhD, FESC, FEHRA,51, * Pugazhendhi Vijayaraman, MD, FHRS,52, *

Sarah Ann Worsnick, PAC, FHRS, CEPS, CCDS,52, * Wojciech Zareba, MD, PhD,30,t Emily P. Zeitler, MD, MHS, FHRS53, *

50

51

52

53

54

Document Reviewers: Nestor Lopez-Cabanillas, MD; Kenneth A. Ellenbogen, MD, FHRS; Wei Hua, MD, FHRS; Takanori Ikeda, MD, PhD; Judith A. Mackall, MD, FHRS; Pamela K. Mason, MD, FHRS; Christopher J. McLeod, MBChB, PhD, FHRS; Theofanie Mela, MD; Jeremy P. Moore, MD, MS, FHRS, CCDS, CEPS-P; Laurel Kay Racenet, MSN, FNP, FHRS, CEPS, CCDS

From the 1Cleveland Clinic, Cleveland, Ohio, 2 University of Washington, Seattle, Washington, 3 University of Hong Kong, Hong Kong, China, 4Hospital SOS Crdio, Florianópolis, Brazil, 5Duke University Medical Center, Durham,

https://doi.org/10.1016/j.hrthm.2023.03.1538

1547-5271/$-see front matter © 2023 Heart Rhythm Society, the Asia Paciﬁc Heart Rhythm Society, and the Latin American Heart Rhythm Society published by Elsevier Inc and Wiley. This is an open  access article under the CC BY-NC-ND license (http://creativecommons.org/licenses/by-nc-nd/4.0/).

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:53 pm  ■  ce

2                                                                                                                                       Heart Rhythm, Vol -, No -, -  2023

172

173

174

175

176

177

178

179

180

181

182

183

184

185

186

187

188

189

190

191

192

193

194

195

196

197

198

199

200

201

202

203

204

205

206

110

111

112

113

114

115

116

117

118

119

120

121

122

123

124

125

126

127

128

129

130

131

132

133

134

135

136

137

138

139

140

141

142

143

144

145

146

147

148

149

150

151

152

153

154

155

156

157

158

159

160

161

162

163

164

165

166

167

168

169

170

171

North Carolina, 6Indraprastha Apollo Hospital, New Delhi, India, 7 University of California San Diego Health, La Jolla, California, 8Mayo Clinic, Rochester, Minnesota, 9 University of Michigan Medical    School, Ann Arbor, Michigan, 10Temple University, Philadelphia, Pennsylvania, 11 University at

Buffalo, Buffalo, New York, 12Medical University of Łód/z, Łód/z, Poland, 13Virginia Mason Franciscan Health, Tacoma, Washington, 14Stanford University, Pediatric Cardiology, Palo Alto, California,

15Hackensack Meridian School of Medicine, Hackensack, New Jersey, 16Medical University of South  Carolina, Charleston, South Carolina, 17 University of Wisconsin School of Medicine and Public Health, Madison, Wisconsin, 18Kansas City Heart Rhythm Institute, Overland Park, Kansas, 19 University

Hospitals and Case Western Reserve University School of Medicine, Cleveland, Ohio, 20 University of Minnesota, Minneapolis, Minnesota, 21McMaster University, Hamilton, Ontario, Canada, 22First

Afﬁliated Hospital of Wenzhou Medical University, Wenzhou, China, 23Case Western Reserve

University, Cleveland, Ohio, 24 University of Arizona, Sarver Heart Center, Tucson, Arizona,

25MetroHealth Medical Center, Case Western Reserve University, Cleveland, Ohio, 26The Children ,s Hospital of Michigan, Central Michigan University, Detroit, Michigan, 27Southlake Regional Health  Center, Newmarket, Ontario, Canada, 28Sentara, Norfolk, Virginia, 29Virginia Commonwealth

University, Richmond, Virginia, 30 University of Rochester Medical Center, Rochester, New York,

31 University of Texas Southwestern Medical Center, Dallas, Texas, 32Johns Hopkins University School of Medicine, Baltimore, Maryland, 33Ziekenhuis Oost-Limburg Genk, Belgium and Hasselt University, Hasselt, Belgium, 34Sungkyunkwan University School of Medicine, Samsung Medical Center, Seoul,    Republic of Korea, 35QEII Health Sciences Center, Halifax, Nova Scotia, Canada, 36Clinica Corazones Unidos, Santo Domingo, Dominican Republic, 37Australian National University, Canberra Hospital,  Garran, Australian Capital Territory, Australia, 38Santojanni Hospital, Buenos Aires, Argentina,

39Yale University School of Medicine, New Haven, Connecticut, 40National University Hospital

Singapore, Singapore, 41Mayo Clinic, Phoenix, Arizona, 42Tokyo Women ,s Medical University, Tokyo, Japan, 43Massachusetts General Hospital, Harvard Medical School, Boston, Massachusetts, 44Weill   Cornell Medicine Population Health Sciences, New York, New York, 45 University of California Davis, Sacramento, California, 46Oregon Health & Science University, Portland, Oregon, 47Indiana

University, Indianapolis, Indiana, 48Fundación Cardioinfantil Instituto de Cardiologia, Bogot,

Colombia, 49George Washington University, Washington, District of Columbia, 50 University of

Chicago Medicine, Chicago, Illinois, 51Cardiovascular Research Institute Maastricht, Maastricht    University Medical Center, Maastricht, The Netherlands, 52Geisinger Health System, Wilkes-Barre, Pennsylvania, and 53Dartmouth Hitchcock Medical Center, Lebanon, New Hampshire.

207

208

209

210

211

212

213

214

215

216

217

*Representative of the Heart Rhythm Society (HRS)

†Representative of the International Society for Holter and Noninvasive Electrocardiology (ISHNE) ‡Representative of the Pediatric and Congenital Electrophysiology Society (PACES)

§Patient partner

qRepresentative of the Heart Failure Society of America (HFSA)

#Representative of the Asia Paciﬁc Heart Rhythm Society (APHRS)

**Representative of the American Heart Association (AHA)

††Representative of the Latin American Heart Rhythm Society (LAHRS) ‡‡Representative of the American College of Cardiology (ACC)

218

219

221

222

223

224

225

226

227

220

Abstract

Cardiac physiologic pacing (CPP), encompassing cardiac resynchro- nization therapy (CRT) and conduction system pacing (CSP), has emerged as a pacing therapy strategy that may mitigate or prevent the development of heart failure (HF) in patients with ventricular dyssynchrony or pacing-induced cardiomyopathy. This clinical prac- tice guideline is intended to provide guidance on indications for CRT

for HF therapy and CPP in patients with pacemaker indications or HF, patient   selection,   pre-procedure   evaluation   and   preparation, implant procedure management, follow-up evaluation and optimi- zation of CPP response, and use in pediatric populations. Gaps in knowledge,  pointing  to  new  directions  for  future  research,  are also identiﬁed.

228

229

230

231

232

233

Chung et al. 2023 HRS/APHRS/LAHRS Guideline on Cardiac Physiologic Pacing for the Avoidance and Mitigation of Heart Failure 3

234

235

236

237

238

239

240

241

242

243

244

245

246

247

248

249

250

251

252

253

254

255

256

257

258

259

260

261

262

263

264

265

266

267

268

269

270

271

272

273

274

275

276

277

278

279

280

281

282

283

284

285

286

287

288

289

290

291

292

293

294

295

297

298

299

300

301

302

303

304

305

306

307

308

309

310

311

312

313

314

315

316

317

318

319

320

321

322

323

324

296

TABLE OF CONTENTS

Top 10 take-home messages  	        4

Other important considerations 	        4

Section 1 Introduction  	        5

1.1. Preamble  	         5

1.2. Document scope, objectives, and

assumptions 	         5

1.3. Editorial independence  	        6

1.4. Organization of the writing committee and

stakeholder involvement 	        6

1.5. Evidence review and formulation of

recommendations 	        6

1.6. Class of recommendation and level of

evidence 	        7

1.7. Document review and approval  	         8

1.8. Document updates  	         8

1.9. Other guideline documents and systematic

reviews 	         8

Section 2 Deﬁnitions, epidemiology, and

pathophysiology 	        8

2.1. Deﬁnitions 	         8

2.2. Epidemiology, pathophysiology, and

detection of electrical dyssynchrony–induced

cardiomyopathy and rationale for CPP  	       10

Section 3 Indications for CPP 	       11

3.1. Patients with indications for pacemaker

therapy 	       11

3.1.1. Substantial ventricular pacing  	        12

3.1.2. Less than substantial ventricular

pacing 	        13

3.1.3. At time of surgery 	        15

3.1.4. New LBBB after transcatheter aortic

valve implantation  	        15

3.2. Indications for CPP in patients with HF 	       16

3.2.1. LBBB 	        17

3.2.2. Non-LBBB 	       20

3.2.3. PICM with high-burden RVP  	       23

3.2.4. Survival 1 year 	       24

3.3. Combination CRT with LV (CS LV or LV

epicardial) lead plus HBP or LBBP 	       24

3.4. Indications for CPP in AF 	       25

Section 4 Preprocedure evaluation and preparation         28

4.1. Preprocedure testing 	       29

4.2. Assessment for other predictive factors

associated with CPP response  	       30

4.3. Shared decision-making 	       30

Section 5 Implant procedure  	       31

5.1. Tools and techniques for CRT with BiV

pacing 	       32

5.1.1. Other tools and techniques for CRT         33

325

326

327

328

KEYWORDS   Guideline;   Cardiac   resynchronization   therapy;  Conduction system pacing; His bundle pacing; Left bundle branch area pacing

ABBREVIATIONS     AF = atrial    ﬁbrillation;    AV = atrioventricular; AVJ = atrioventricular   junction;   BBB = bundle   branch    block; BiV = biventricular;    CABG = coronary    artery    bypass    graft; CCAVB = congenital        complete         atrioventricular         block; CCTGA = congenitally corrected transposition of the great arteries; CHD = congenital  heart  disease;  CHF = congestive  heart  failure; CIED = cardiovascular  implantable  electrical  device;  COR = class of recommendation; CPP = cardiac physiologic pacing; CRT = car- diac resynchronization therapy; CRT-D = cardiac resynchronization therapy-deﬁbrillator; CRT-P = cardiac resynchronization therapy- pacemaker; CS = coronary sinus; CSP = conduction system pacing; ECG = electrocardiogram/electrocardiographic; EF = ejection frac- tion; FOI=fusion-optimized intervals; GDMT=guideline-directed medical  therapy;  HBP = His  bundle  pacing;   HF = heart  failure; HFH = heart failure hospitalization; HFimpEF = heart failure with improved ejection fraction; HFrEF = heart failure with reduced ejec- tion fraction; HR = hazard ratio; ICD = implantable  cardioverter- deﬁbrillator; IVCD = intraventricular conduction delay; LBB = left bundle   branch;    LBBAP = left    bundle    branch    area    pacing; LBBB = left bundle branch block; LOE = level of evidence; LV = left ventricle/ventricular;    LVAD = left    ventricular    assist    device; LVEDD = left   ventricular   end-diastolic   diameter;   LVEDV = left ventricular end-diastolic volume; LVEF = left ventricular ejection fraction;   LVESV = left   ventricular   end-systolic   volume;   LVES- VI = left ventricular end-systolic volume index; MPP = multipoint pacing; MRI = magnetic resonance imaging; MSP = multisite pac-

329

330

331

332

333

334

335

336

337

338

339

340

341

342

343

344

345

346

347

348

349

350

351

352

353

354

355

356

357

ing; NYHA = New York Heart Association; PICM=pacing-induced cardiomyopathy;     PVC = premature      ventricular     contraction; RBBB = right  bundle branch block;  RCT = randomized  controlled trial;   RV = right   ventricle/ventricular;   RVP = right   ventricular pacing;  RWI = relationships  with  industry;  RWPT = R-wave  peak time; TAVI = transcatheter aortic valve implantation; VO2 = oxy- gen   uptake;   6MWD = 6-minute   walk   distance   (Heart   Rhythm 2023;-:1-67)

Developed in partnership with the Asia Paciﬁc Heart Rhythm Society (APHRS) and the Latin American Heart Rhythm Society (LAHRS) and in collaboration with the American College of Cardiology (ACC), the Amer- ican Heart Association (AHA), the Heart Failure Society of America (HFSA), the International Society for Holter and Noninvasive Electro- cardiology (ISHNE), and the Pediatric and Congenital Electrophysiology Society (PACES). Endorsed by ACC, AHA, APHRS, HFSA, ISHNE, LAHRS, and PACES. This document is available on the website of the Heart Rhythm Society at https://www.hrsonline.org/guidance/clinical-resources. Reprint requests: For copies of this document, please contact the Elsevier Inc. Reprint Department (reprints@elsevier.com). This article has been copub- lished with permission in the Journal of Arrhythmia and Heart Rhythm. All rights reserved. The articles are identical except for minor stylistic and spelling differences in keeping with each journal’s style. Any citation can be used when citing this article. Correspondence: Heart Rhythm Society, 1325 G St NW, Suite 500, Washington, DC 20005. E-mail address: clinicaldocs@ hrsonline.org. © 2023 Heart Rhythm Society, the Asia Paciﬁc Heart Rhythm Society, and the Latin American Heart Rhythm Society published by Elsevier Inc and Wiley. This is an open access article under the CC BY-NC- ND license (http://creativecommons.org/licenses/by-nc-nd/4.0/).

4                                                                                                                                       Heart Rhythm, Vol -, No -, -  2023

358

359

360

361

362

363

364

365

366

367

368

369

370

371

372

373

374

375

376

377

378

379

380

381

382

383

384

385

386

387

388

389

390

391

392

393

394

395

396

397

398

399

400

401

402

403

404

405

406

407

408

409

410

411

412

413

414

415

416

417

418

419

5.2. Tools and techniques for CSP 	       34

5.3. When to consider alternative CPP sites

(intraprocedural crossovers) 	       40

Section 6 CPP follow-up and management  	       42

6.1. Follow-up evaluations 	       43

6.2. Role of a dedicated CRT clinic 	       44

6.3. Optimization of CPP response 	       45

6.4. Replacement or upgrade considerations  	       46

6.5. Troubleshooting for unfavorable response 	       47

6.6. When to cross over to CSP, CRT, or

epicardial options 	       48

Section 7 Congenital heart disease and pediatric

populations 	       49

7.1. CHD 	       50

7.2. Pediatric patients without CHD 	       52

7.2.1. Indications for CPP in pediatric

patients with HF 	       53

7.2.2. CPP considerations for pediatric

patients with indications for

pacemaker therapy 	       53

Section 8 Gaps, needs, and future directions 	       54

References 	          55

Appendix 1  	          67

Appendix 2 	         75

# Top 10 take-home messages

1. Cardiac physiologic pacing (CPP) is deﬁned here as any form of cardiac pacing intended to restore or preserve synchrony  of  ventricular  contraction.  CPP  can  be achieved by engaging the intrinsic conduction system via conduction system pacing (CSP; which includes His bundle pacing or left bundle branch area pacing) or cardiac  resynchronization  therapy  (CRT),  the  latter most commonly achieved by biventricular (BiV) pacing using a coronary sinus branch or epicardial left ventricu- lar pacing lead.

2. The strength of evidence for CRT in heart failure (HF) is substantially greater than what is available to support CSP. Multiple randomized controlled trials have shown a beneﬁcial effect of CRT in reducing HF symptoms and hospitalization, improving left ventricular function, and increasing survival. The majority of data on CSP are observational, and long-term data on lead survival are lacking. Ongoing and planned studies are likely to pro- vide future guidance on the use of CSP compared to CRT.

3. Response to CRT has a variable deﬁnition and includes improvements in mortality and HF hospitalization but may also include improvement in clinical parameters of HF, stabilization of ventricular function, or prevention of progression of HF.

4. Periodic assessment of ventricular function is recommen- ded for patients who require substantial right ventricular (RV) pacing (≥20%–40%) or have chronic left bundle

branch block (LBBB) to detect pacing- or dyssynchrony- induced cardiomyopathy.

5. Patients undergoing pacemaker implantation who are ex- pected to require substantial ventricular pacing (≥ 20%– 40%) may be considered for CPP to reduce the risk of pacing-induced cardiomyopathy.

6. Patients with left ventricular ejection fraction (LVEF) of 35%–50% who are expected to require less than substan- tial (<20%–40%) ventricular pacing may not have a sizable beneﬁt from CPP; therefore, traditional RV lead placement  with  minimization  of  ventricular  pacing, CSP, or CRT in the setting of LBBB are all acceptable op- tions.

7. New recommendations for left bundle branch area pacing are made for patients with normal LVEF (class of recom- mendation [COR] 2b) needing a pacing device.

8. CRT remains recommended for patients with HF, LVEF ≤35%, LBBB, QRS duration ≥150 ms, and New York Heart Association class II–IV symptoms on guideline- directed medical therapy (COR 1). New recommenda- tions are made for CSP when effective CRT cannot be achieved (COR 2a); and for CRT in patients with select characteristics (eg, female sex), as they may derive beneﬁt from CRT at QRS durations of 120–149 ms (COR 1).

New recommendations are also made for patients with HF, LVEF 36%–50%, LBBB, and QRS duration ≥150 ms for CRT or CSP to maintain or improve LVEF (COR 2b).

9. New CPP recommendations are provided for patients with HF, LVEF ≤35%, and non-LBBB pattern for QRS dura- tion both <150 and ≥150 ms (COR 2b).

10. During implantation and follow-up of patients with CPP devices, electrocardiographic demonstration of BiV (for CRT) or conduction system (for CSP) capture is essen- tial.

# Other important considerations

1. Shared decision making is recommended when contem- plating implantation of a CPP device and should include considerations of the patient’s values, preferences, goals of care, and prognosis, along with the potential beneﬁts, short-  and  long-term  risks  (in  particular,  device- associated infection), effects of these pacing modalities on battery longevity, future lead management issues, evi- dence base for different types of CPP, and considerations at the end of life.

2. Substantial RV pacing of ≥20%–40% may induce cardio- myopathy in a subset of patients.

3. Remote monitoring and in-person echocardiographic and electrocardiographic  evaluations  are  essential  during follow-up after implantation of a CPP device to ensure appropriate capture and optimization of therapy.

4. In patients with HF with improved LVEF or beneﬁt from CRT (including improvement, stabilization, or partial reversal of natural decline), continuation of CRT with

420

421

422

423

424

425

426

427

428

429

430

431

432

433

434

435

436

437

438

439

440

441

442

443

444

445

446

447

448

449

450

451

452

453

454

455

456

457

458

459

460

461

462

463

464

465

466

467

468

469

470

471

472

473

474

475

476

477

478

479

480

481

Chung et al. 2023 HRS/APHRS/LAHRS Guideline on Cardiac Physiologic Pacing for the Avoidance and Mitigation of Heart Failure 5

482

483

484

485

486

487

488

489

490

491

492

493

494

495

496

497

498

499

500

501

502

503

504

505

506

507

508

509

510

511

512

513

514

515

516

517

518

519

520

521

522

523

524

525

526

527

528

529

530

531

532

533

534

535

536

537

538

539

540

541

542

543

BiV pacing is recommended at the time of device replace- ment.

5. In patients with an unfavorable response to CRT with BiV pacing, optimization of both medical and device therapies is recommended.

6. In  selected  patients  with  congenital  heart  disease  or congenital atrioventricular block, CRT or conduction sys- tem area pacing may be considered.

7. Long-term data on CSP are emerging, with current data derived from observational studies or small randomized clinical trials without long-term follow-up. Robust data from ongoing, larger randomized trials are expected.

# Section 1 Introduction

## 1.1. Preamble

The Heart Rhythm Society (HRS) has developed scientiﬁc and clinical documents that have guided clinical care in the management of cardiac arrhythmias since 1996. This HRS- led clinical practice guideline was developed in partnership with the Asia Paciﬁc Heart Rhythm Society (APHRS) and the Latin American Heart Rhythm Society (LAHRS) and in collaboration with the American College of Cardiology (ACC), the American Heart Association (AHA), the Pediatric and Congenital Electrophysiology Society (PACES), the In- ternational Society of Holter and Noninvasive Electrocardi- ology (ISHNE), and the Heart Failure Society of America (HFSA).

This clinical practice guideline provides recommenda- tions applicable to patients who have or are at risk of heart failure (HF) who are being considered for or who are under- going a cardiac physiologic pacing (CPP) implantation pro- cedure. Although the term “physiologic pacing” has been used to describe sensor-driven rate response pacing or var- iable atrioventricular (AV) delay pacing, this guideline uti- lizes a contemporary deﬁnition ofCPP that refers to cardiac pacing  intended  to  restore  or preserve  ventricular  syn- chrony,   including   cardiac    resynchronization   therapy (CRT) utilizing left ventricular stimulation, His bundle pac- ing (HBP), or left bundle branch area pacing (LBBAP). Sci- entiﬁc evidence was systematically reviewed and translated into clinical practice guidelines with recommendations to improve the quality of care in the use of CPP. The guideline was developed in international collaboration and is intended to be relevant to medical practice worldwide. Although guidelines may be used to inform regulatory or payer deci- sions, the intent is to improve quality of care, support appro- priate use of therapeutics, and align with patients ’ interests. Guidelines are intended to deﬁne practices that meet the needs of patients in most, but not all, circumstances and are not meant to replace clinical judgment.

### 1.2. Document scope, objectives, and assumptions

Since  the  publication  of  the  2012   EHRA/HRS  Expert Consensus Statement on Cardiac Resynchronization Therapy in Heart Failure: Implant and Follow-up Recommendations

and Management1 and the 2018 ACC/AHA/HRS Guideline on the Evaluation and Management of Patients with Bradycardia and Cardiac Conduction Delay,2 extensive data have emerged regarding optimization of pacing techniques and new pacing- related therapies, including CPP, for patients with pacing indi- cations or HF. The purpose ofthis guideline is to evaluate these new advances with the goal of creating recommendations to guide electrophysiology practice in the use of CPP in patients with pacing or HF indications.

Although right ventricular(RV)apical pacing has long been a standard treatment for symptomatic AV block, it has become clear that in a proportion of patients, right ventricular pacing (RVP) can lead to dyssynchronous left ventricular (LV)

contraction and HF. With the introduction of biventricular (BiV) pacing for CRT, studies have shown that CRT can lead to improvements in LV function, HF, and survival in selected patients with decreased LV function in the setting of conduc- tion system disease or RVP. However, the impact of an unfa- vorable response to CRT has become apparent. Over the past decade, data have emerged that may enable improvements in response rate, including reﬁnement of selection criteria(eg, pa- tient populations, conduction disorder type, and expected RVP burden), improvements in implant practices (eg, anatomical lead position, quadripolar leads, and new software technology to increase response to CRT pacing), and management of post- implant care (eg, follow-up evaluation of CRT patients, identi- ﬁcation and treatment of nonresponders, and shared decision- making at generator replacement or revision). More recently, the ﬁeld of physiologic pacing has been greatly expanded by technological advances to directly target the conduction sys- tem, including HBP, LBBAP, and direct LV pacing. These ad- vances bring additional questions, including those regarding patient selection, indications, and follow-up for conduction system pacing (CSP) vs CRT via BiV pacing.

This guideline isnot intended to bea comprehensive review ofpathophysiology but to provide guidance fortheuse ofCPP, which we deﬁne as an umbrella term that encompasses CRT with BiV pacing and CSP, including HBP and LBBAP. The guideline includes indications for CRT for HF therapy, guid- ance on indications for CPP inpatients with pacemaker indica- tions or HF, patient selection, preprocedure evaluation and preparation, implant procedure management, follow-up evalu- ation and optimization of CPP response, and use in pediatric populations. We identify signiﬁcant gaps in knowledge point- ing to new directions for future research. This guideline does not address topics related to other forms of ventricular pacing (including cardiac contractility modulation pacing), indications for bradycardia pacing, implantable cardioverter-deﬁbrillator (ICD) implantation, or lead extraction.

The intended audience includes practicing clinical cardiac electrophysiologists, cardiologists or other clinicians caring for or referring patients for cardiovascular implantable elec- trical devices (CIEDs), and researchers or industry personnel involved in the development of CIED technologies.

The writing committee recognizes that clinical scenarios and operator and institutional capabilities may vary widely. Recommendations assume that procedures are performed by

544

545

546

547

548

549

550

551

552

553

554

555

556

557

558

559

560

561

562

563

564

565

566

567

568

569

570

571

572

573

574

575

576

577

578

579

580

581

582

583

584

585

586

587

588

589

590

591

592

593

594

595

596

597

598

599

600

601

602

603

604

605

6                                                                                                                                       Heart Rhythm, Vol -, No -, -  2023

606

607

608

609

610

611

612

613

614

615

616

617

618

619

620

621

622

623

624

625

626

627

628

629

630

631

632

633

634

635

636

637

638

639

640

641

642

643

644

645

646

647

648

649

650

651

652

653

654

655

656

657

658

659

660

661

662

663

664

665

666

667

an operator with appropriate training and experience and in a properly equipped hospital or other facility. In addition, it is assumed that restorative treatment is the patient’s (or designa- tor’s) goal. There may be scenarios where therapy other than pacing may be more concordant with the patient’swishes and priorities. Scenarios for which evidence is sparse or absent will require clinicians to rely on their expertise and clinical judgment.

## 1.3. Editorial independence

This guideline was sponsored by HRS and was developed without commercial support; writing committee members volunteered their time to the writing and review efforts.

## 1.4. Organization of the writing committee and stakeholder involvement

The writing committee consisted of experts from 15 countries in the ﬁelds ofelectrophysiology, cardiology, pediatric electro- physiology and cardiology, andbiostatistics and epidemiology. Each writing committee member served as a representative of either HRS or partner/collaborator society and was nominated according to each organization’s processes. HRS strives to ensure thatthe writing committee contains both requisite exper- tise and diverse representation from the broader medical com- munity. This is achieved by selecting participants from a wide range of backgrounds representing different geographic re- gions, genders, races, ethnicities, intellectual perspectives, and scopes of clinical practice and by inviting organizations and professional societies with related interests and expertise to participate as partners or collaborators. In addition, a patient partner was included in the writing committee to ensure a focus on delivering optimal patient care that is in alignment with pa- tients’ wants, needs, and preferences.

HRS has rigorous policies and methods to ensure that doc- uments are developed without bias or improper inﬂuence. The HRS policy on relationships with industry and other entities (RWI) can be found in the HRS Code of Ethics  and Professionalism: Appendix C  and in the HRS  Clinical Document Development Methodology Manual and Policies. A majority of the writing committee was free of relevant RWI throughout the development of the document, and sec- tions with recommendations were written by the writing com- mittee members who were free of relevant RWI. For full transparency, Appendix 1 is a comprehensive list of RWI (both relevant and nonrelevant to the document topic) dis- closed by the writing committee members. Appendix 2 is a comprehensive list of RWI disclosed by the peer reviewers.

## 1.5. Evidence review and formulation of recommendations

This clinical practice guideline was developed in accordance with the clinical practice methodology processes detailed in the HRS  Clinical  Document  Development  Methodology Manual and Policies: Executive Summary3 and with the stan- dards issued in 2011 by the Institute of Medicine (now Na- tional Academy of Medicine).4

The writing committee reviewed evidence gathered by electronic literature searches (MEDLINE, PubMed, Embase, and Cochrane Library). No speciﬁc year was chosen for the oldest literature. Some literature databases allow the use of certain symbols to search for different forms or spellings of a word. The asterisk (*) was used for truncation to search for all forms of a word, the plus (+) symbol was used to search for plural and singular forms of a word, and the hash symbol (#) was used as a wildcard to search for variant spellings or hyphenation of a word. Search terms included, but were not limited to, the following: 12 lead ECG, aban- don*, ACHD, adaptive pacing, adult congenital heart dis- ease,  adverse  effects,  alternative  site*,  ambulation,  apex, artiﬁcial, atrial ﬁbrillation, AV block, AV node ablation, bi- polar lead*, BIV, biventricular pacing, bleed*, bundle of his, cardiac  echocardiography,  cardiac  magnetic  resonance, cardiac pacing, cardiac resynchroniz*, cardiac resynchroni- zation therap*, CHD, clinical outcomes, combin*, complete AV block, complication*, congenital heart disease, coronary sinus, cost*, crossover*, CRT, CRT indication, device clinic management, ECG, Echo, echocardiograph*, echocardiog- raphy guided,  ejection fraction,  emergen*,  epicardial  left ventricular, epicardial LV lead, feasibility, fft, guide*, guid- ing, heart block, heart ventricle*, hematoma*, hemorrhage, his bundle, his bundle, His bundle pacing, his optimized, hos- pital  admission*,  HOT-CRT,  HBP,  Image*,  Imaging*, impact*,  improv*,  infection*,  lateral  wall,  LBBAP,  lead placement, lead placement failure, left bundle area pacing, left  bundle  branch,  Left  bundle  branch  area pacing,  left bundle branch block, left bundle branch pacing, left bundle pacing, left ventricular, left ventricular pacing, long term adverse effects, LV, LV Epi lead, LV epicardia, LV pacing, magnetic  resonance  imaging,  mild,  mortality,  multi point pacing, multisite pacing, narrow QRS, New York HeartAsso- ciation, non LBBB, non-LBBB, non#left bundle branch, non- selective, NYHA, optimal lead location*, optimal lead posi- tion*, optimization, optimized CRT, outcome*, pace*, pace- maker,     pacing*,     patient     readmission,     pediatric*, placements, pneumothorax, pre-procedural imaging, QLV, QRS duration, quadripolar lead*, quality of life, QOL, ran- domized control trial, RBBB, RCT, respond*, response, re- synchronization, reverse remodeling, RV pacing, selective, septal pacing, shared decision, shared decision-making, sur- vival, testing, treatment outcome, troubleshooting, ventricu- larization, ventricularized lead, walk*. Literature searches focused whenever possible on randomized controlled trials (RCTs), but systematic reviews, nonrandomized and registry studies, cohort studies, and case series were included. Case reports were not used to support recommendations. Evidence tables are included in Appendix 3 and summarize the evi- dence used by the writing committee to formulate recommen- dations. References are representative of the totality of data and are not meant to be all-inclusive. Limitations of the evi- dence base are discussed in individual sections.

The writing committee discussed all recommendations with the consideration ofthe risk vs beneﬁtofan intervention and the strength ofthe evidence. To assess consensus after discussions,

668

669

670

671

672

673

674

675

676

677

678

679

680

681

682

683

684

685

686

687

688

689

690

691

692

693

694

695

696

697

698

699

700

701

702

703

704

705

706

707

708

709

710

711

712

713

714

715

716

717

718

719

720

721

722

723

724

725

726

727

728

729

730

731

732

733

734

735

736

737

738

739

740

741

742

743

Chung et al. 2023 HRS/APHRS/LAHRS Guideline on Cardiac Physiologic Pacing for the Avoidance and Mitigation of Heart Failure 7

the writing committee members participated in surveys. A pre- deﬁned threshold of 80% approval for each recommendation was required, with a quorum of two-thirds ofthe writing com- mittee. An initial failure to reach consensus was resolved by subsequent discussions, revisions as needed, and revoting. Writing committee members with RWI did not vote on recom- mendations  concerning  relevant  topics.  The  ﬁnal  mean consensus over all recommendations was 97.3%, with 32 of 73 recommendations reaching 100% consensus.

### 1.6. Class of recommendation and level of evidence

Recommendations in this guideline are designated with a class of recommendation (COR) and a level of evidence

792

793

794

795

796

797

798

799

800

801

802

803

804

805

806

807

808

809

810

811

812

813

814

815

816

817

818

819

820

821

822

823

824

825

826

827

828

829

830

831

832

833

834

835

836

837

838

839

840

841

842

843

844

845

846

847

848

849

850

851

852

853

(LOE). The COR denotes the strength of the recommenda- tion based on an assessment of the magnitude and certainty of the beneﬁts in proportion to the risks. The LOE reﬂects the quality of the evidence that supports the recommendation based on type, quantity, and consistency of data from clinical trials and other sources (Table 1).5

For clarity and usefulness, each recommendation is linked to the supportive evidence through the speciﬁc references from the literature used to justify the LOE rating, which are also summarized in the evidence tables (Appendix 3). Each recommendation is accompanied by supportive text. Algo- rithms and tables provide a summary of the recommenda- tions, intended to assist clinicians at the point of care.

744

745

746

Table 1     ACC/AHA recommendation system: Applying class of recommendation and level of evidence to clinical strategies, interventions, treatments, and diagnostic testing in patient care (updated May 2019)*

747

748

749

750

751

752

753

754

755

756

757

758

759

760

761

762

763

764

765

766

767

768

769

770

771

772

773

774

775

776

777

778

779

780

781

782

783

784

785

786

787

788

789

790

Adapted with permission from the American College of Cardiology (ACC) and the American Heart Association (AHA).5

791

854

855

856

857

858

859

860

861

862

863

864

865

866

867

868

869

870

871

872

873

874

875

876

877

878

879

880

881

882

883

884

885

886

887

888

889

890

891

892

893

894

895

896

897

898

899

900

901

902

903

904

905

906

907

908

909

910

911

912

913

914

915

8                                                                                                                                       Heart Rhythm, Vol -, No -, -  2023

## 1.7. Document review and approval

The HRS invites public and stakeholder involvement in document development. In addition to patient representation on  the  writing  committee,  draft  recommendations  were posted for public comment, and contribution was solicited from regulatory agencies and patient organizations.

This guideline was approved by the writing committee and underwent internal review by the HRS Scientiﬁc and Clinical Documents Committee. The document underwent external peer review by reviewers appointed by HRS and each of the collaborating societies, and revisions were made by the chairs. A record of writing committee response to reviewer comments and rationale is maintained by the HRS.

## 1.8. Document updates

The HRS Scientiﬁc and Clinical Documents Committee re- views each clinical practice document for currency at least every 5 years, or earlier in the event of newly published

916

917

918

919

920

921

922

923

924

925

926

927

928

929

930

931

932

933

934

935

data.  Literature  is  routinely  monitored  to  evaluate  the continued validity of recommendations.

## 1.9. Other guideline documents and systematic reviews

Clinical practice documents and systematic reviews rele- vant to the topic of CPP were used to inform the devel- opment  of  this  guideline.  Table  2  lists  applicable clinical practice documents (eg, guidelines and consensus statements)  that  the  writing  committee  considered  as fundamental to the development of this document, and Table 3 lists systematic reviews that informed the clinical practice guideline development. Other systematic reviews used to support speciﬁc recommendations are referenced in respective sections.

936

937

938

939

Table 2     Relevant clinical practice documents

941

942

943

944

945

946

947

948

940

| Title | Year |
| --- | --- |
| 2012 ACCF/AHA/HRS Focused Update Incorporated Into the ACCF/AHA/HRS 2008 Guidelines for Device-Based Therapy of Cardiac Rhythm Abnormalities6 | 2013 |
| 2013 ACCF/AHA Guideline for the Management of Heart Failure7 | 2013 |
| 2018 ACC/AHA/HRS Guideline on the Evaluation and Management of Patients With Bradycardia and Cardiac Conduction Delay2 | 2018 |
| 2021 ESC Guidelines on Cardiac Pacing and Cardiac Resynchronization Therapy8 | 2021 |

949

950

951

Table 3     Relevant systematic reviews

953

954

955

956

957

958

952

| Title | Year |
| --- | --- |
| Agency for Healthcare Research and Quality: Use of Cardiac Resynchronization Therapy9 | 2019 |
| Impact of Physiologic Pacing Versus Right Ventricular Pacing Among Patients With Left Ventricular Ejection Fraction Greater Than 35%10 | 2019 |

959

960

961

# Section 2 Deﬁnitions, epidemiology, and

# pathophysiology

In this section we deﬁne CPP as distinct from RV septal pacing, distinguish between HBP and LBBAP, and pro- vide guidance on what constitutes a high percentage of RVP that may result in iatrogenic HF due to ventricular dyssynchrony. We present the range of objective criteria (echocardiographic parameters and increase in peak oxy- gen uptake [VO2]) and clinical criteria (reduction in heart failure hospitalization [HFH], mortality, and others) that can be used to deﬁne response to CPP. We review the

962

963

964

965

966

967

968

969

970

971

972

973

974

physiology of ventricular dyssynchrony and how it is pro- moted by left bundle branch block (LBBB). Finally, we review the concept of HF produced by intrinsic ventricu- lar electrical dyssynchrony or chronic RVP and how it might be corrected by CPP.

## 2.1. Deﬁnitions

The terms used in this guideline are deﬁned in Table 4. The criteria  for  deﬁning  the  clinical  and  echocardiographic response to CRT are listed in Table 5.

975

976

977

978

979

980

981

982

983

984

985

986

987

988

989

990

991

992

993

994

995

996

997

998

999

1000

1001

1002

1003

1004

1005

1006

1007

1008

1009

1010

1011

1012

1013

1014

1015

1016

1017

1018

1019

1020

1021

1022

1023

1024

| Table 5 CRT response criteria |  |
| --- | --- |
| Response | Criteria |
| Clinical response | 1. Reduction in mortality 2. Reduction in HF hospitalization 3. Improvement in NYHA class 4. Improvement in quality of life, symptoms, or clinical composite scores 5. Increase in peak VO2 (eg, >10%) 6. Improvement in 6-minute walk distance 7. Reduction in HF medications, such as diuretic therapy (note: continuation of GDMT is advised) |
| Echocardiographic response | 1. Improvement or stability in LVEF (eg, ≥ 5% absolute increase or absence of worsening) 2. Reduction in LV size (eg, reduction in LV systolic or diastolic dimensions or volume indices) 3. Increase in LV stroke volume 4. Reduction in mitral regurgitation |

1025

1026

1027

1028

1029

1030

1031

1032

1033

1034

1035

1036

1037

1038

1039

Chung et al. 2023 HRS/APHRS/LAHRS Guideline on Cardiac Physiologic Pacing for the Avoidance and Mitigation of Heart Failure 9

| Table 4 Deﬁnitions |  |
| --- | --- |
| Term | Deﬁnition |

| Left bundle branch block (LBBB) | For the purposes of this guideline, LBBB is deﬁned by the 2009 AHA/ACCF/HRS Scientiﬁc Statement on recommendations for the standardization and interpretation of the electrocardiogram11 as QRS duration ≥120 ms and a broad notched or slurred R-wave in leads I, aVL, V5, and V6. |
| --- | --- |
| Cardiac physiologic pacing (CPP) | CPP is deﬁned as any form of cardiac pacing intended to restore or preserve ventricular synchrony. CPP can be achieved by engaging the intrinsic conduction system via CSP (eg, HBP or LBBAP) or CRT. |
| Conduction system pacing (CSP) | CSP involves recruitment of the intrinsic conduction system by either HBP or LBBAP. |
| His bundle pacing (HBP) | HBP involves the direct stimulation of the His bundle to engage the native conduction system. Based on location and pacing outputs, HBP may be selective (isolated recruitment of the His bundle) or nonselective (recruitment of both the local septal myocardium and the His bundle).12 |
| Left bundle branch area pacing (LBBAP) | LBBAP is ventricular pacing that is intended to engage all or any part of the left bundle branch (LBB) fascicular system. Similar to HBP, various responses can be seen based on location and pacing outputs. These include selective LBBP (direct stimulation and isolated recruitment of the LBB ﬁbers), nonselective LBBAP (direct stimulation and recruitment of both the local myocardium and the LBB ﬁbers), or deep septal pacing (no direct recruitment of the LBB ﬁbers). |
| Cardiac resynchronization therapy (CRT) | CRT aims to restore or preserve ventricular synchrony using left ventricular (LV) stimulation at appropriately timed right ventricular (RV) sensing or stimulation. CRT most commonly refers to BiV pacing, in which a pacing lead is implanted in the RV and another on the epicardial surface of the LV via an epicardial vein. Alternatively, the LV lead may be implanted endocardially or surgically on the epicardium. LV pacing alone in some situations may also deliver CRT. CSP for patients with dyssynchrony may also be considered a form of CRT, but for the purposes of this guideline, CRT refers to use of BiV or LV pacing. These pacing locations refer to standard anatomy but may differ in certain forms of congenital heart disease. |
| Biventricular (BiV) pacing | BiV pacing is the most common method used to achieve CRT. It most commonly involves the use of 2 ventricular leads, 1 in the RV (apex or septum) and 1 to pace the LV via the coronary sinus or sometimes via direct placement on the epicardium or endocardium. The LV lead is usually implanted epicardially in the coronary veins, ideally targeting an area of latest activation, which is most often the lateral or posterolateral wall. Alternatively, the LV lead may be implanted endocardially or surgically on the LV epicardium. |
| Substantial right ventricular pacing (RVP) | Chronic RVP may result in pacing-induced cardiomyopathy in a subset of patients. Substantial RVP may be deﬁned as RVP that is documented to or is anticipated to exceed 40%. However, some observational studies have indicated that RVP exceeding 20% can also have detrimental consequences.13–15 It is acknowledged that the burden of RVP may not be accurately predictable prior to implantation and that these data are based on percentages that have been reported in patients with implanted devices. For the purposes of this document, substantial RVP refers to anticipated or actual pacing ≥ 20%–40% and less than substantial refers to anticipated or actual pacing < 20%–40%. Substantial RVP may occur due to second- or third-degree atrioventricular block or to ﬁrst-degree atrioventricular block with very prolonged PR intervals. |
| Response to CRT/CPP | CRT “response” has been variously deﬁned in different studies, without an actual consensus on what constitutes response. Response to CRT may be deﬁned using multiple criteria (see Table 5) in terms of improvement of clinical conditions. The terms CRT “stabilizer” or “nonprogressor” have evolved to include patients who may not derive signiﬁcant reverse remodeling from CRT but seem to realize a blunting of the natural downhill progression of HF. The terms “favorable responder,” which includes the CRT stabilizer or nonprogressor, and “unfavorable responder” have been proposed to account for this. No speciﬁc response criteria have yet been postulated for other types of CPP. However, it is reasonable to apply the criteria above for all forms of CPP. |

CRT = cardiac resynchronization therapy; GDMT = guideline-directed medical therapy; HF = heart failure; LV = left ventricle/ventricular; LVEF = left ventricular ejection fraction; NYHA = New York Heart Association; VO2  = oxygen uptake.

1040

1041

1042

1043

1044

1045

1046

1047

1048

1049

1050

1051

1052

1053

1054

1055

1056

1057

1058

1059

1060

1061

1062

1063

1064

1065

1066

1067

1068

1069

1070

1071

1072

1073

1074

1075

1076

1077

1078

1079

1080

1081

1082

1083

1084

1085

1086

1087

1088

1089

1090

1091

1092

1093

1094

1095

1096

1097

1098

1099

1100

1101

1164

1165

1166

1167

1168

1169

1170

1171

1172

1173

1174

1175

1176

1177

1178

1179

1180

1181

1182

1183

1102

1103

1104

1105

1106

1107

1108

1109

1110

1111

1112

1113

1114

1115

1116

1117

1118

1119

1120

1121

1122

1123

1124

1125

1126

1127

1128

1129

1130

1131

1132

1133

1134

1135

1136

1137

1138

1139

1140

1141

1142

1143

1144

1145

1146

1147

1148

1149

1150

1151

1152

1153

1154

1155

1156

1157

1158

1159

1160

1161

1162

1163

10                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

| 2.2. Epidemiology, pathophysiology, and detection of electrical dyssynchrony-induced ## cardiomyopathy and rationale for CPP During RV apical pacing and LBBB, regions that are elec- trically activated early also contract early, while the late- activating segments of the LV contract late. This asynchro- nous electrical activation of the RV and LV leads to dys- synchronous mechanical contraction that is referred to as |  |  | ventricular dyssynchrony. The hemodynamic consequences of this electromechanical dyssynchrony can be a reduction in LV contraction and impaired relaxation, which in turn may lead to adverse remodeling in the long term. As a result, a proportion of patients with long-term RVP or LBBB may develop dyssynchrony-induced cardiomyopa- thy (reduction in left ventricular ejection fraction [LVEF]) and HF. |  |
| --- | --- | --- | --- | --- |
| ### Recommendations for detection of electrical dyssynchrony-induced cardiomyopathy |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 1 | B-NR | 1. In patients who have substantial RVP that cannot be minimized with programming, periodic assessment of ventricular function is recommended to detect pacing-induced cardiomyopathy. |  | 13-20 |
| 2a | B-NR | 2. In patients with chronic LBBB, periodic assessment of ventricular function is reasonable to detect cardiomyopathy. |  | 21-27 |

1184

1186

1187

1188

1189

1190

1191

1192

1193

1194

1195

1196

1197

1198

1199

1200

1201

1202

1203

1204

1205

1206

1207

1208

1209

1210

1211

1212

1213

1214

1215

1216

1217

1218

1219

1220

1221

1222

1223

1224

1225

1185

Synopsis

RVP and LBBB result in similar electromechanical dys- synchrony and can be associated with subsequent dyssyn- chrony or pacing-induced cardiomyopathy (PICM). Several factors, such as the degree of electromechanical dyssyn- chrony, percentage of RVP, functional mitral regurgitation, and  underlying  substrate  (preexisting  LV  dysfunction) contribute to the development of cardiomyopathy. A system- atic review20 of 26 studies (6 prospective) on nearly 58,000 patients showed a pooled prevalence of 12% of PICM using 15 unique deﬁnitions from 23 publications. Reported inci- dence has ranged widely from 5.9% to 39% over a similarly variant follow-up time of 0.7 to 16 years.13,14,16,17,28 These studies have used an RVP burden of 20% (4 studies), 40% (1 study), 70% (1 study), and 90% (1 study) as substantial pacing percentages associated with PICM; 18 studies did not report percent pacing. The true incidence of PICM and the time required to develop cardiomyopathy in this popula- tion   are   unclear.   Nonetheless,   dyssynchrony-induced/ associated cardiomyopathy has been shown to be reversible with CPP. Hence, periodic assessment of ventricular function in patients with substantial RVP or LBBB is helpful in iden- tifying dyssynchrony-induced cardiomyopathy.

Recommendation-speciﬁc supportive text

1. High RVP burden (>40%) has been associated with an increased risk of HFH as observed in the Mode Selection Trial (MOST).15 The incidence of PICM in observational cohorts has ranged from 5.9% to 39%.13,14,16,17,28  All these studies were retrospective, had differences in the deﬁnition of cardiomyopathy and percentage of RVP as inclusion criteria, and were prone to selection bias. A sys- tematic review20 of PICM studies found a pooled estimate of 12% with data limited by variable deﬁnitions of PICM and duration of follow-up. In a prospective, randomized, double-blind study18 of 177 patients, RVP was associated

with a signiﬁcant reduction in LVEF compared to BiV pacing and 9% of patients with RVP (1% in BiV pacing) developed PICM at 12 months. In a retrospective observa- tional study16 of 198 patients undergoing RVP vs HBP, PICM was observed in 22% of RVP patients (1% in HBP) during 5-year follow-up. The incidence of PICM was observed in 12.3% of 823 patients with complete heart block undergoing RVP during a mean of 4.3 years of follow-up; when treated with BiV pacing, PICM was reversible in 84%.14 In a retrospective study19 of 60 pa- tients with PICM, HBP was successful in 95% of patients and associated with improvement in LVEF from 34.3% to

48.2% ± 9.8% (P < .001). Based on these observations, in patients with a substantial burden of RVP that cannot be minimized by programming, periodic assessment of LV function is recommended to detect PICM. Once detected, PICM may be reversible with CPP.29  A suggested time frame for LVEF assessment is every 1-2 years in patients with high-risk features (eg, QRS duration >115 ms at baseline and paced QRS duration >150 ms) and with reduced frequency if LV function has been stable.

2. In the general population, the prevalence of LBBB ranges from 0.2% to 1.1%.30  Approximately 30% of patients with dilated cardiomyopathy have interventricular con- duction delay, with LBBB being the most common.31 Although LBBB can result in LV dysfunction and HF from dyssynchronous contraction and is associated with an increased mortality risk in the elderly and those with underlying structural heart disease, not all patients with LBBB develop electrical dyssynchrony-mediated cardio- myopathy and it has minimal effects on younger healthy individuals.32  Moreover, there is no formal consensus deﬁnition of LBBB-mediated cardiomyopathy. Vaillant et al21 deﬁned LBBB-mediated cardiomyopathy as (1) a history of typical LBBB >5 years, (2) LVEF >50% at the time of diagnosis of LBBB, (3) decrease in LVEF to

1226

1227

1228

1229

1230

1231

1232

1233

1234

1235

1236

1237

1238

1239

1240

1241

1242

1243

1244

1245

1246

1247

1248

1249

1250

1251

<40% and the development of HF with New York Heart Association (NYHA) class II-IV over several years, (4) major mechanical dyssynchrony, (5) no known etiology of cardiomyopathy, and (6) super-response to CRT with an increase in LVEF to >45% and decrease in NYHA class at 1 year. By these criteria, they identiﬁed 8 patients (2%) in a 375-patient cohort of CRT-eligible patients.21 Other studies22-24  have noted a varying percentage of patients with LBBB who developed cardiomyopathy. However, these studies were all retrospective and the differences could be attributed to varying deﬁnitions. Currently, the true incidence and prevalence of electrical dyssynchrony-induced HF and cardiomyopathy remain unclear.  The  relationship  between  LBBB  and  LV dysfunction and HF is complex and not well understood. LBBB can reduce diastolic ﬁlling time and the septal contribution to LV ejection.33 LBBB can be the cause or consequence of cardiomyopathy and HF. Several retro- spective observational studies21,24,25 have demonstrated that CPP can reverse LBBB-induced cardiomyopathy in a very high percentage of patients. In patients with chronic LBBB, a suggested time frame for LVEF assessment is

1288

1289

1290

1291

1292

1293

1294

1295

1296

1297

1298

1299

1300

1301

1302

1303

1304

1305

1306

1307

1308

1309

1310

1311

every 1-2 years to detect LBBB-associated cardiomyopa- thy and with reduced frequency if LV function has been stable.

# Section 3 Indications for CPP

This section outlines the consensus recommendations on in- dications for CPP, divided by indications for pacing, antici- pated  requirement  for  ventricular  pacing,  LVEF,  and presence of HF, LBBB, and AF.

## 3.1.  Patients with indications for pacemaker therapy

This section provides recommendations for pacing strategies in patients undergoing pacemaker implantation for brady- cardia indications, as outlined in Figure 1. Subgroups ad- dressed  include  patients  who  are  anticipated  to  require substantial (≥ 20%-40%) vs less than substantial (< 20%- 40%) ventricular pacing, and those with normal LVEF vs LVEF >35% (see deﬁnitions in Section 2.1). Recommenda- tions for patients with reduced LV function (< 35%) or PICM are addressed in Section 3.2.

1312

1313

1314

At time of cardiac   surgery

Patients with indications for pacemaker therapy

1252

1253

1254

1255

1256

1257

1258

1259

1260

1261

1262

1263

1264

1265

1266

1267

1268

1269

1270

1271

1272

1273

1274

1275

1276

1277

1278

1279

1280

1281

1282

1283

1284

1285

1286

1287

1315

1316

1317

Substantial

ventricular

pacing

Anticipated

future CRT

1318

1319

1320

LV epicardial

LV epicardial

1321

lead placement

(2b, C-EO)

lead placement

(2a, B-R)

1322

1323

RV lead with

1324

Anticipated

minimization of

RVP

(2a, B-R)

substantial

LVEF    35%

1325

No

ventricular

pacing

1326

1327

1328

Yes

1329

LVEF

36-50%

50%

CRT with BiV

LVEF

1330

1331

LVEF

36-50%

1332

LVEF

50%

1333

LBBAP  (2b, C-LD)

pacing

(3: No Benefit, B-R)

1334

1335

CRT with BiV pacing,

HBP, or LBBAP

(2b, B-NR)

CRT with BiV

1336

HBP or LBBAP

(2a, B-NR)

pacing

(2a, B-R)

No

LBBB

1337

1338

HBP

(2b, C-LD)

1339

Yes

1340

Ventricular pacing

1341

print & web 4C/FPO

dependent undergoing HBP

1342

pacemaker implantation

CRT with BiV

pacing, HBP, or

LBBAP

(2b, C-LD)

1343

1344

Placement of

additional

1345

backup lead

1346

(2b, C-LD)

1347

1348

1349

Figure 1      Algorithm for pacing strategies in patients undergoing pacemaker implantation for bradycardia indications. Colors correspond to the class of recommen- dation in Table 1. BiV = biventricular; CRT = cardiac resynchronization therapy; HBP = His bundle pacing; LBBAP = left bundle branch area pacing; LBBB = left bundle branch block; LV = left ventricle/ventricular; LVEF = left ventricular ejection fraction; RV = right ventricle/ventricular; RVP = right ventricular pacing.

| 1412 1413 1414 1415 1416 1417 1418 1419 1420 1421 1422 1423 1424 1425 1426 1427 1428 1429 1430 1350 1351 1352 1353 1354 1355 1356 1357 1358 1359 1360 1361 1362 1363 1364 1365 1366 1367 1368 1369 1370 1371 1372 1373 1374 1375 1376 1377 1378 1379 1380 1381 1382 1383 1384 1385 1386 1387 1388 1389 1390 1391 1392 1393 1394 1395 1396 1397 1398 1399 1400 1401 1402 1403 1404 1405 1406 1407 1408 1409 1410 1411 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 12 | Heart Rhythm, Vol -, No -, - 2023 |  |  |  |
| ### 3.1.1. | ### Substantial ventricular pacing |  |  |  |
| Recommendations for substantial ventricular pacing |  |  |  |  |
| COR |  | LOE | Recommendations | References |
| 2a |  | B-R (CRT) B-NR (HBP, LBBAP) | 1. In patients with an indication for permanent pacing with an LVEF 36%-50% who are anticipated to require substantial ventricular pacing, CPP is reasonable to reduce the risk of PICM. | CRT 9,10,34-39 HBP 9,10,16,40-44 LBBAP 45-48 |
| 2b |  | B-NR | 2. In patients with normal LVEF who are anticipated to require substantial ventricular pacing, it may be reasonable to treat patients with CPP to reduce the risk of PICM. | 14,16,34,38-41,43,49-54 |
| 2b |  | C-LD | 3. In patients who are ventricular pacing-dependent undergoing HBP pacemaker implantation, placement of an additional backup lead may be reasonable to mitigate the risk of high pacing capture thresholds, lead dislodgment, loss of capture, or oversensing. | 16,42 |

1431

1432

Synopsis

The type of pacing strategy selected will have a greater impact on patients who require substantial amounts of ventric- ular pacing compared to those who require minimal ventricular pacing. In addition, the impact of pacing strategy will vary based on the pre-pacing LVEF. In patients with ejection frac- tion (EF) 36%–50%, physiologic pacing (CRT, HBP, and LBBAP) is most likely to preserve or improve the LVEF when pacing requirements are substantial. It is not yet clear which patients with normal LVEF will develop PICM from RVP; therefore, it maybe acceptable to choose CPP when pac- ing requirements willbe substantial toprevent PICMinpatients with normal LVEF. It is reasonable to implant a “backup” lead when the primary pacing lead is a His bundle lead and the pa- tient will require substantial pacing because His bundle leads have a substantial incidence of rising thresholds.

Recommendation-speciﬁc supportive text

1. For the 2018 bradycardia clinical practice guideline,55  a systematic review10 was performed assessing physiologic pacing (CRT and HBP) vs RVP in patients with moder- ately reduced LV function (LVEF 35%–50%) expected to require signiﬁcant ventricular pacing. This review included 3 randomized or crossover studies of CRT vs RVP (total n = 335). The main ﬁnding was that RV PICM can be avoided in patients with reduced LVEF needing  signiﬁcant  ventricular  pacing  by  delivering CRT or HBP pacing.10  The Biventricular Versus Right Ventricular Pacing in Heart Failure Patients With Atrio- ventricular Block (BLOCK HF) trial35 assessed CRT in patients with reduced LV function (≤50%) and an ex- pected high burden of ventricular pacing. Subjects ran- domized  to  CRT  had  fewer  HFH.  However,  some patients in BLOCK HF had LVEF ≤35%, so it was not included  in  the  systematic  review  discussed  above. LBBAP was also not commonly performed at the time of that review.

1433

1434

1435

1436

1437

1438

1439

1440

1441

1442

1443

1444

1445

1446

1447

1448

1449

1450

1451

1452

1453

1454

1455

1456

1457

1458

1459

1460

1461

1462

1463

1464

1465

1466

1467

1468

1469

1470

1471

1472

1473

LBBAP can reduce QRS duration and preserve ventricu- lar synchrony, which, based on existing evidence, may beneﬁt patients with reduced LVEF needing substantial ven- tricular pacing. Compared with HBP, LBBAP has a higher rate of successful implantation, and LBBAP leads demon- strate excellent medium-term lead stability and electrical characteristics.46,56,57     Longer-term   data   are   recently emerging, and randomized data are limited to patients with AV block and reduced LVEF. In prospective observational cohorts45,47,58  of CRT-eligible patients receiving LBBAP, echocardiographic measures including LVEF were improved from baseline. Furthermore, when compared to traditional CRT, early and mid-term echocardiographic and functional outcomes are favorable for LBBAP.59 A recent retrospective analysis60 also suggests that LBBAP reduces the incidence of AF when compared to RVP. Complications of LBBAP (eg, septal perforation), extraction considerations for deep septal leads, and long-term consequences of delayed RV activation, among other factors, are concerns for which long-term data are lacking.

2. The detrimental effects of chronic RVP have been well detailed since the publication of the Dual Chamber and

VVI  Implantable  Deﬁbrillator  (DAVID)  trial  and others.13–15,61 To avoid PICM, CPP strategies have been successful at preserving synchronous ventricular contrac- tion and improving clinical outcomes.

HBP vs RVP

Many small observational studies have compared HBP to RVP. Among 34 patients with high-grade AV block, QRS duration <120 ms, and LVEF ≥40%, LVEF was slightly lower during RV septal pacing vs HBP (P  =  .005).41  In 192 patients with >40% pacing, HFH was less in the HBP group  (2%) compared to the RVP group  (15%)  (P   = .02).43  In  192  consecutive  patients  with  normal LVEF referred for permanent pacemaker implantation, the subgroup of  patients  requiring   >40%   ventricular  pacing   had

1474

1475

1476

1477

1478

1479

1480

1481

1482

1483

1484

1485

1486

1487

1488

1489

1490

1491

1492

1493

1494

1495

1496

1497

1498

1499

1500

1501

1502

1503

1504

1505

1506

1507

1508

1509

1510

1511

1512

1513

1514

1515

1516

1517

1518

1519

1520

1521

1522

1523

1524

1525

1526

1527

1528

1529

1530

1531

1532

1533

1534

1535

| signiﬁcantly more death and HFH in the RVP group (53%) than in the HBP group (28%) (hazard ratio [HR] 2.1; P = .02).16 In 332 consecutive patients who underwent HBP compared to 442 similar patients who underwent RVP in a sister hospital, the combined endpoint of death from any cause, HFH, or upgrade to BiV pacing was signiﬁcantly lower in the HBP group (25%) than in the RVP group (32%) (HR 0.71; P = .02).40 In a meta-analysis50 of 2349 pa- tients with normal or mildly reduced EF who required >20% ventricular pacing, HBP or BiV pacing was superior to RVP and associated with lower all-cause death and HFH. There was no signiﬁcant difference between BiV pacing and HBP.50 HBP is technically more difﬁcult to achieve than RVP with widely variable (80%–100%) reported rates of HBP procedural success even by experienced im- planters.16,40,41,43 LBBAP vs RVP In an observational registry52 of 703 patients who under- went pacemaker implantation with LBBAP (321) or RVP (382) for bradycardia indications with mean baseline LVEF 58%, the primary composite outcome of all-cause mortality, HFH, or upgrade to BiV pacing was signiﬁcantly lower with LBBAP (10.0%) compared to RVP (23.3%) (HR 0.46; P < .001). The endpoint was driven by patients with ventricular pacing burden >20%. In a study51 of AV block patients (LVEF >50%) who received LBBAP or RVP, patients with LBBAP had signiﬁcantly lower occurrences of HFH and upgrade to BiV pacing than patients with RVP (2.6% vs 10.8%; P < .001). Differences in outcome were driven by patients with ventricular pacing >40%. In a retrospective review48 of 70 patients who underwent RVP vs LBBAP, HFH and AF incidences were less in the LBBAP group. A ### 3.1.2. Less than substantial ventricular pacing |  |  | recent retrospective analysis60 also suggests that LBBAP re- duces the incidence of AF when compared to RVP. CRT vs RVP Two studies, 1 with 50 patients34 and the other with 149 patients,39 followed patients with normal LVEF and found BiV pacing was associated with preserved LVEF and avoid- ance of adverse remodeling during long-term follow-up when compared to RVP. The Progressive Ventricular Dysfunction Prevention in Pacemaker Patients (PREVENT- HF) trial38 randomized 108 patients with anticipated ventric- ular pacing at least 80% to BiV pacing (n = 50) vs RV apical pacing (n = 58). Subjects had nearly normal LVEF at base- line (57.5% ± 11.8% BiV pacing and 54.9% ± 12.9% RVP). The study did not show beneﬁt of BiV pacing over RVP but did not show harm. 3. Data regarding long-term outcomes are scarce, but most series reﬂect a relatively higher risk of revision in His bundle leads compared with RV leads due to subopti- mal outcomes, including risk of unacceptably high His bundle lead capture threshold, dislodgment, loss of capture, and oversensing (of atrial or His potentials). Revisions are reported in the medium term in approxi- mately 5%–7% of acutely successful implants.8,16,42,62 Thus, for HBP, after weighing the risks and beneﬁts of additional hardware, procedural duration, program- ming complexity, and cost, it may be reasonable to place a “backup” ventricular lead in scenarios in which ventricular capture is critical (eg, pacemaker depen- dency).8 Short- and medium-term outcomes demon- strate LBBAP lead stability and lead revision risk to be similar to those of traditional RVP.52 |  |
| --- | --- | --- | --- | --- |
| Recommendations for less than substantial ventricular pacing |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | B-R | 1. In patients with an indication for permanent pacing with LVEF >35% who are anticipated to require less than substantial ventricular pacing, it is reasonable to choose a traditional RV lead placement and minimize RVP. |  | 14,40,52 |
| 2b | C-LD | 2. In patients with an indication for permanent pacing with LVEF 36%-50% who are anticipated to require less than substantial ventricular pacing, a CSP lead with HBP or LBBAP may be considered as an alternative to an RVP lead. |  | 40,52 |
| 2b | C-LD | 3. In patients with an indication for permanent pacing, LVEF 36%-50% and LBBB, and who are anticipated to require less than substantial ventricular pacing, CPP may be considered to potentially improve symptoms and LVEF. |  | 25,45,52,58,63-66 |
| 2b | C-LD | 4. In patients who are undergoing permanent pacing with normal LVEF and are anticipated to require less than substantial ventricular pacing, an LBBAP lead may be considered as an alternative to an RVP lead. |  | 46,52 |
| 3: No Beneﬁt | B-R | 5. In patients with normal LVEF who are anticipated to require less than substantial ventricular pacing, CRT with BiV pacing is not indicated. |  | 14,34,38,39,53,54, 67,68 |

1536

1537

1538

1539

1540

1541

1542

1543

1544

1545

1546

1547

1548

1549

1550

1551

1552

1553

1554

1555

1556

1557

1558

1559

1560

1561

1562

1563

1564

1565

1566

1567

1568

1569

1570

1571

1572

1573

1574

1575

1576

1577

1578

1579

1580

1581

1582

1583

1584

1585

1586

1587

1588

1589

1590

1591

1592

1593

1594

1595

1596

1597

14                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

1598

1599

1600

1601

1602

1603

1604

1605

1606

1607

1608

1609

1610

1611

1612

1613

1614

1615

1616

1617

1618

1619

1620

1621

1622

1623

1624

1625

1626

1627

1628

1629

1630

1631

1632

1633

1634

1635

1636

1637

1638

1639

1640

1641

1642

1643

1644

1645

1646

1647

1648

1649

1650

1651

1652

1653

1654

1655

1656

1657

1658

1659

Synopsis

Patients who require less than substantial amounts of ven- tricular pacing will have a smaller clinical impact of the pac- ing  strategy  selected  compared  to  those   who  require substantial ventricular pacing. Therefore, RV lead placement with minimization of RVP, as well as CSP, are acceptable strategies for patients  with  normal  or  mildly  depressed LVEF. CRT with BiV pacing has not been found to be of beneﬁt in patients who are not anticipated to require substan- tial pacing and who have normal LVEF.

Recommendation-speciﬁc supportive text

1. Patients with a normal QRS complex and LVEF 36%- 50% in whom expected pacing is minimal account for <40% of the studied population in observational compar- ative studies of broad populations of patients with indica- tions for de novo pacemaker implantation.16,40,43,46,52,57 Despite the narrower QRS complex in CSP groups, these studies failed to demonstrate a signiﬁcant difference in clinical outcomes (mortality or HFH) between CSP and RVP  in  the  group  for  whom  expected  pacing  is minimal.16,40,41,43,52,69   There  are  proven  beneﬁts  to choose a traditional RV lead and minimize RVP as evi- denced by the Evaluation of the SafeR Mode in Patients With Dual-Chamber Pacemaker Indication (ANSWER) trials.70,71

2. To date, the clinical beneﬁts of CSP in terms of mortality, HFH, and reduction of PICM have been observed only in patients who require substantial pacing.16,40,43,46,52,57 It is difﬁcult to predict which patients may progress from requiring minimal RVP at the time of implant to needing substantial pacing in the future; therefore, CSP may be considered in selected cases where it is suspected that RVP requirements might increase over time. Follow-up clinical  data  are  emerging  to  establish  safety  for CSP,40,52 but additional data from multiple centers are needed to establish longer-term clinical outcomes and safety.

3. Some patients who already meet indications for a conven- tional pacemaker but are anticipated to require less than substantial  pacing  (<20%-40%)  might  still  beneﬁt from CPP. Patients with impaired LV function, evidenced by LVEF between 36% and 50%, and electrical dyssyn- chrony, evidenced by LBBB, may beneﬁt from CPP. Three relatively large observational studies52,58,66  and several smaller cohort studies25,45,63-65 have shown that CPP can signiﬁcantly improve symptoms and LVEF in this population.

4. A prospective observational study46  of 632 consecutive patients showed that LBBAP was successful in 98%, had stable pacing parameters over 2 years of follow-up, and improved the LVEF in patients who had a QRS dura- tion >120 ms at baseline (48% to 58%; P < .001). Rising thresholds occurred in only 1% of patients, and only 2 pa- tients required lead revision. An observational registry52 of 703 patients who underwent PPM implant for brady- cardia indications compared outcomes of LBBAP to RV apical pacing (321 LBBAP and 382 RVP). The primary composite outcome (all-cause mortality, HFH, or upgrade to BiV pacing) was signiﬁcantly lower with LBBAP compared to RVP (10.0% vs 23.3%; P <  .001). Among patients with ventricular pacing burden >20%, LBBAP was associated with an even greater reduction in the pri- mary outcome compared to RVP (8.4% vs 26.1%; P  < 	.001). LBBAP was also associated with a signiﬁcant reduction in mortality (7.8% vs 15%; P  =  .03) and HFH (3.7% vs 10.5%; P = .004). The Multicentre Euro- pean Left Bundle Branch Area Pacing Outcomes Study (MELOS)66 of LBBAP outcomes in 2533 patients, how- ever, noted a learning curve for LBBAP lead implantation with LBBAP lead complication rate of 8.3%, though this included acute perforation to the LV in 3.7% that typically would be managed with repositioning of the lead during the procedure. Capture threshold rise occurred in 0.7%, lead dislodgment in 1.5%, acute chest pain in 1%, acute coronary syndrome in 0.4%, delayed perforation to the

LV in 0.1%, and trapped/damaged helix in 0.4%. These data support the need for continued surveillance over the long-term safety of LBBAP leads.

5. Worsening of LVEF in patients who do not require sub- stantial ventricular pacing has not been shown. Several studies14,54   reported  that  PICM  (deﬁned  as  LVEF <40% or CRT upgrade) occurred in patients with lower preprocedure LVEF and RVP >20%. The randomized PREVENT-HF trial38 of 108 patients with mean baseline normal LVEF did not show beneﬁt of BiV pacing over RVP but did not show harm. Additional LV lead place- ment is associated with longer procedure time, higher procedure-related complications (eg, venous occlusion and infection), and an increased risk of an additional lead to extract should that be required.72-75  Since the incidence of PICM is low after several years of follow- up and has a higher incidence when the baseline LVEF is low and percent RVP is high, the consensus recommen- dation is that there is no apparent beneﬁt of CRT in pa- tients  with  preserved  LVEF  without  a  need  for substantial RVP.

1660

1661

1662

1663

1664

1665

1666

1667

1668

1669

1670

1671

1672

1673

1674

1675

1676

1677

1678

1679

1680

1681

1682

1683

1684

1685

1686

1687

1688

1689

1690

1691

1692

1693

1694

1695

1696

1697

1698

1699

1700

1701

1702

1703

1704

1705

1706

1707

1708

1709

1710

1711

1712

1713

1714

1715

1716

1717

1718

1719

1720

1721

| ### 3.1.3. At time of surgery |  |  |  |
| --- | --- | --- | --- |
| Recommendations for at time of surgery |  |  |  |
| COR | LOE | Recommendations | References |
| 2a | B-R | 1. In patients undergoing cardiac surgery who will likely require future CRT, intraoperative placement of a permanent epicardial LV lead can be useful. | 76-78 |
| 2b | C-EO | 2. In patients undergoing cardiac surgery who will likely require substantial ventricular pacing, intraoperative placement of a permanent epicardial LV lead may be considered to potentially reduce the risk of PICM. |  |

1796

1797

1798

1799

1800

1801

1802

1803

1804

1805

1806

1807

1808

1809

1810

1811

1812

1813

1814

1815

1816

1817

1818

1819

1820

1821

1822

1823

1824

1825

1826

1827

1828

1829

1830

1831

1832

1833

1834

1835

1836

1837

1838

1839

1840

1841

1842

1843

1844

1795

Synopsis

An epicardial lead placed atthe posterolateral or lateral wall ofthe LV can be performed atthe time of cardiac surgery, or as a stand-alone procedure, usually by mini-thoracotomy or a minimally invasive thoracoscopic approach. A large observa- tional study79 demonstrated equivalent survival and improve- ments in LVEF for patients who received a CRT device utilizing either a surgical epicardial LV lead or a transvenous coronary sinus (CS) lead over a mean follow-up of 5.1 years. Two small RCTs80,81 comparing surgically placed LV leads to percutaneous CS leads showed equivalence in clinical out- comes, LV function, and LV size. Furthermore, a surgically placed lead can be superior to a CS lead if there are no suitable posterolateral or lateral CS branches. In a small randomized study82 of patients deemed to have unfavorable CS anatomy by preprocedure computerized tomography (CT) imaging, those who were randomized to a surgically placed epicardial lead had improved NYHA class, LVEF, LV volume, and peak VO2 max by cardiopulmonary exercise testing compared to those randomized to a CS lead, for which the CS lead was then placed either in a posterior vein or the great cardiac vein. Therefore, surgically placed epicardial LV leads offer a viable alternative to CRT and a feasible option at the time of cardiac surgery. It is worth noting that placement of an epicardial LV lead that is not connected to a generator might preclude future magnetic resonance imaging (MRI) at many institutions.

Recommendation-speciﬁc supportive text

1. In the RESCUE trial,78 178 patients undergoing coronary artery bypass graft (CABG) surgery with an LVEF of ≤35%, NYHA class III or IV, and either a QRS duration >120 ms or echocardiographic evidence of dyssynchrony were randomized to receive an epicardial CRT pacing sys- tem at time of CABG vs CABG alone. Over a mean follow-up of 55 months, patients randomized to CABG with CRT had decreased all-cause mortality (HR 0.43; P  =  .012) and reduced hospital readmission rates (9.9% vs 28.7%; P =  .001). A trial76 of 23 patients, who under- went CABG with implant of an epicardial CRT system and were randomized in a crossover fashion to a 3-month period with CRT programmed either on or off, found that during the CRT on period, there were signiﬁcant improve- ments in LVEF, LV volumes, mitral regurgitation, NYHA class, and 6-minute walk distance (6MWD). Finally, in a

retrospective analysis77 of 18 patients who had undergone implant of epicardial leads at the time of cardiac surgery as an upgrade to a prior transvenous system, there was improvement in NYHA class. These studies support im- planting a permanent epicardial LV pacing lead at the time of cardiac surgery in patients likely to require future CRT.

2. In patients who are likely to require ventricular pacing but without an indication for CRT, there remains the concern that RV apical pacing may expose the patient to the poten- tial risk of developing PICM. This risk might be avoided by taking advantage of the opportunity to place a perma- nent epicardial LV lead at the time of cardiac surgery. Epicardial leads placed at time of cardiac surgery have been shown to maintain good durability over time and sta- ble lead performance parameters.78

### 3.1.4.  New LBBB after transcatheter aortic valve implantation

Transcatheter  aortic  valve  implantation  (TAVI)  can  be complicated by AV block (see Sections 3.1.1 and 3.1.2) and LBBB. The latter occurs in approximately 10% of procedures when patients with preexisting LBBB or pacemakers and those with complete AV block postprocedure are excluded.83 Although studies on the consequences of LBBB after TAVI have yielded mixed results, overall there appears to be an increased risk of adverse outcomes, including mortality.84 Pa- tients who develop new-onset persistent LBBB after TAVI have an increased risk of pacemaker implantation, which is likely inﬂuenced by multiple factors including physician and patient preference. Whether pacemaker implantation necessarily avoids any adverse consequences of LBBB is un- known-indeed, unnecessary RVP might result in deleterious effects on LV function. A prospective multicenter study83 of 103 patients who developed new-onset LBBB after TAVI procedures and who received an implantable loop monitor before discharge found that 9 (9%) received a pacemaker for high-grade AV block at 12 months follow-up. A recent guide- line55 addressed the indications for pacing after TAVI.

Few data have been published on the optimal type of pace- maker to implant after TAVI and even less among those pa- tients without a bradycardia indication for pacing. A study85 of 16 patients assessed the feasibility of HBP in patients un- dergoing pacemaker implantation in the setting of new-onset

1784

1785

1786

1787

1788

1789

1790

1791

1792

1793

1794

1722

1723

1724

1725

1726

1727

1728

1729

1730

1731

1732

1733

1734

1735

1736

1737

1738

1739

1740

1741

1742

1743

1744

1745

1746

1747

1748

1749

1750

1751

1752

1753

1754

1755

1756

1757

1758

1759

1760

1761

1762

1763

1764

1765

1766

1767

1768

1769

1770

1771

1772

1773

1774

1775

1776

1777

1778

1779

1780

1781

1782

1783

1845

1846

1847

1848

1849

1850

1851

1852

1853

1854

1855

1856

1857

1858

1859

1860

1861

1862

1863

1864

1865

1866

1867

1868

1869

1870

1871

1872

1873

1874

1875

1876

1877

1878

1879

1880

1881

1882

1883

1884

1885

1886

1887

1888

1889

1890

1891

1892

1893

1894

1895

1896

1897

1898

1899

1900

1901

1902

1903

1904

1905

1906

1907

16                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

persistent LBBB after TAVI. LBBB correction was achieved in 11 patients (69%). In over half, 2 ventricular leads were used with the second in the RV or LV via the CS. A concern with HBP in this setting is that AV block or bundle branch block (BBB) might develop at a site distal to the site of His bundle capture subsequent to pacemaker implant. Data85-87 on LBBAP for new LBBB post-TAVI are limited to small subgroups or those with a traditional bradycardia indication for pacing (eg, complete heart block), and data on CRT are limited to case reports. Given this, the writing committee did not feel that sufﬁcient data existed to make recommenda-

1908

1909

1910

1911

1912

1913

1914

1915

1916

1917

1918

1919

tions on the type of device to use after TAVI, beyond those for AV block or LBBB in other settings.

## 3.2.  Indications for CPP in patients with HF

This section provides recommendations for pacing strategies in patients who do not have ana priori indication for pacing due to bradycardia but who have HF (NYHA class I-IV) across vari- able QRS durations and LBBB/non-LBBB morphologies or who are expected to have a substantial burden of anticipated RVP, portending a risk of PICM, as outlined in Figure 2.

Patients without indications for pacemaker therapy who have HF

1920

1921

1922

1923

CRT with BiV

pacing

(2b, B-R)

NYHA class I

LVEF ≤30%

QRSd ≥150

1924

1925

No

1926

1927

CRT with BiV

pacing

(2a, B-R)

Select

characteristics

(eg, female

sex)

1928

1929

NYHA class

II– IV

QRSd

120–149

1930

CRT with BiV

pacing

(1, A)

1931

1932

LVEF ≤35%

LBBB

1933

Yes

1934

1935

NYHA class

II– IV

QRSd ≥150

CRT with BiV

pacing

(1, A)

If effective  CRT cannot be achieved

1936

1937

1938

1939

HBP with LBBB

correction or LBBAP

(2a, C-LD)

1940

HBP or LBBAP

(2b, C-LD)

1941

LVEF 36–

50%

1942

NYHA class

II– IV

QRSd ≥150

1943

CRT with BiV

Pacing

(2b, C-LD)

1944

1945

1946

QRSd <120    NYHIIclVass

1947

CRT with BiV

1948

pacing

1949

(3: No Benefit, B-R)

NYHA class I

or II

1950

CRT with BiV

pacing

(2b, B-NR)

1951

LVEF ≤35%

non-LBBB

QRSd

120–149

1952

NYHA class

III or IV

1953

1954

1955

CRT with BiV

HBP or LBBAP

(2b, C-LD)

1956

pacing

(1, B-NR)

1957

NYHA class

II

1958

PICM with

high burden

RVP

1959

1960

print & web 4C/FPO

CRT with BiV

pacing

(2b, B-R)

Revision of CIED

1961

to a CSP device

(2a, B-NR)

QRSd ≥150

1962

If effective  CRT cannot be achieved

1963

CRT with BiV

pacing

(2a, A)

NYHA class

III or IV

1964

1965

1966

1967

1968

1969

Figure 2     Algorithm for pacing strategies in patients without bradycardia indications who have HF. Colors correspond to the class of recommendation in Table 1. BiV = biventricular; CIED = cardiovascular implantable electrical device; CRT = cardiac resynchronization therapy; HBP = His bundle pacing; HF = heart failure; LBBAP = left bundle branch area pacing; LBBB = left bundle branch block; LVEF = left ventricular ejection fraction; NYHA = New York Heart Association; PICM = pacing-induced cardiomyopathy; QRSd = QRS duration; RVP = right ventricular pacing.

| 2032 2033 2034 2035 2036 2037 2038 2039 2040 2041 2042 2043 2044 2045 2046 2047 2048 2049 2050 2051 2052 2053 2054 2055 2056 2057 2058 2059 2060 2061 2062 2063 1970 1971 1972 1973 1974 1975 1976 1977 1978 1979 1980 1981 1982 1983 1984 1985 1986 1987 1988 1989 1990 1991 1992 1993 1994 1995 1996 1997 1998 1999 2000 2001 2002 2003 2004 2005 2006 2007 2008 2009 2010 2011 2012 2013 2014 2015 2016 2017 2018 2019 2020 2021 2022 2023 2024 2025 2026 2027 2028 2029 2030 2031 |  |  |  |
| --- | --- | --- | --- |
| ### 3.2.1. LBBB This subsection focuses on recommendations for patients with LBBB morphologies with variable QRS durations and NYHA classiﬁcation of HF. ##### 3.2.1.1. LBBB, sinus rhythm, QRS duration ≥150 ms, NYHA class I-IV symptoms |  |  |  |
| Recommendations for LBBB, sinus rhythm, QRS duration ≥ 150 ms, NYHA class I-IV symptoms |  |  |  |
| COR | LOE | Recommendations | References |
| 1 | A | 1. In patients with LVEF ≤35%, sinus rhythm, LBBB with QRS duration ≥ 150 ms, and NYHA class II-IV symptoms on GDMT, CRT with BiV pacing is indicated to improve symptoms and reduce morbidity and mortality. | 9,88-97 |
| 2a | C-LD | 2. In patients with LVEF ≤35%, sinus rhythm, LBBB with QRS duration ≥150 ms, and NYHA class II-IV symptoms on GDMT, CSP with HBP with LBBB correction or LBBAP is reasonable if effective CRT cannot be achieved with BiV pacing based on anatomical or functional criteria. | HBP 42,98-103 LBBAP 24,45,47,58,65,104 |
| 2b | B-R | 3. In patients with LVEF ≤30%, sinus rhythm, LBBB, QRS duration ≥ 150 ms, and NYHA class I symptoms on GDMT, CRT with BiV pacing may be considered to reduce the risk of worsening HF and potentially improve LV remodeling. | 92,94 |
| 2b | C-LD | 4. In patients with LVEF 36%-50%, sinus rhythm, LBBB with QRS duration ≥ 150 ms, and NYHA class II-IV symptoms on GDMT, CPP may be considered to maintain or improve LVEF. | CRT 63,105-107 HBP 42,98-103 LBBAP 24,45,47,58,65 |
| 2b | C-LD | 5. In patients with LVEF ≤35%, sinus rhythm, LBBB with a QRS duration ≥ 150 ms, and NYHA class II-IV symptoms on GDMT, CSP with HBP or LBBAP may be considered as an alternative to CRT with BiV pacing. | HBP 42,98-103 LBBAP 24,45,47,58,65,104 |

2065

2066

2067

2068

2069

2070

2071

2072

2073

2074

2075

2076

2077

2078

2079

2080

2081

2082

2083

2084

2085

2086

2087

2088

2089

2090

2091

2092

2093

2064

Synopsis

Patients with systolic HF with LVEF ≤35% who have chronic NYHA class II-IV symptoms despite guideline- directed medical therapy (GDMT) and an LBBB with wide QRS duration ≥150 ms constitute a patient population at high risk of progression of HF and other adverse cardiac events. They constituted a majority of patients in original tri- als for CRT, which showed signiﬁcant improvements in functional status, quality of life, and mortality.9,88,90,91,97 There is a paucity of data to support CRT implantation in pa- tients with severe cardiomyopathy, wide QRS duration, and NYHA class I symptoms. Trials that included NYHA class I patients within this category generally included NYHA class I and II patients and did not distinguish outcomes be- tween  the  2  NYHA  classes.  Subsequent  analyses9,88,95 have shown that the subset of patients with LBBB and wider QRS duration derived the greatest beneﬁt from CRT.

More recent studies24,42,45,47,58,65,98-103,108  of CSP with HBP with LBBB correction and LBBAP have demonstrated potential to serve as alternatives to CRT with BiV pacing. In addition, there is some evidence for utility of CRT or CSP in patients  with  HF  and  mild-to-moderate  reduction  in LVEF.63,105-107  If an HBP lead is chosen in an ICD or cardiac resynchronization therapy-deﬁbrillator (CRT-D), it should not be used for tachycardia detection, as smaller R-waves   and/or   atrial   oversensing   may   compromise

tachycardia detection/discrimination and result in inappro- priate shocks or undertreatment of ventricular tachycardia/ ventricular ﬁbrillation.

Recommendation-speciﬁc supportive text

1. The use of CRT with BiV pacing has been supported by long-established evidence showing improvement in clin- ical outcomes and extensive experience in well-selected patients. The Multicenter InSync Randomized Clinical Evaluation (MIRACLE) trial88 studied 453 patients with NYHA class III and IV symptoms with LVEF ≤35% and QRS duration ≥130 ms implanted with a cardiac re- synchronization therapy-pacemaker (CRT-P) who were then randomized to CRT off or on for 6 months. The CRT-on group had signiﬁcantly greater improvement in distance walked in 6 minutes, NYHA class, quality of life, and LVEF than the CRT-off group. Additional studies90,97 showed similar beneﬁts in patients implanted with CRT-D devices. The Comparison of Medical Ther- apy, Pacing, and Deﬁbrillation in Heart Failure (COM- PANION) trial90  additionally demonstrated signiﬁcant survival advantage to CRT-D over medically treated pa- tients. The Cardiac Resynchronization in Heart Failure (CARE-HF)  trial91    randomized   813  patients  with NYHA class III and IV congestive heart failure (CHF),

18                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

2094

2095

2096

2097

2098

2099

2100

2101

2102

2103

2104

2105

2106

2107

2108

2109

2110

2111

2112

2113

2114

2115

2116

2117

2118

2119

2120

2121

2122

2123

2124

2125

2126

2127

2128

2129

2130

2131

2132

2133

2134

2135

2136

2137

2138

2139

2140

2141

2142

2143

2144

2145

2146

2147

2148

2149

2150

2151

2152

2153

2154

2155

LVEF ≤35%, and QRS duration ≥120 ms to CRT-P or medical therapy and found improved survival in the CRT-P arm as well as improved LVEF, symptoms, and quality of life. Subsequent meta-analyses9,95,109 of these studies showed that patients with LBBB and those with longer QRS duration (≥140–150 ms) were most likely to  derive  clinical  beneﬁt  from  CRT.  Additional studies88,92–94,96 in patients with LVEF ≤35% and pro- longed QRS duration with only NYHA class II symptoms showed improvement in symptoms and quality of life with CRT. Two independent meta-analyses9,95 of these studies additionally showed improved survival with CRT in this population.

2. HBP has demonstrated the potential to correct LBBB and serve as an alternative to CRT with BiV pacing. In a ran- domized crossover study100  of 29 patients referred for CRT, implanting all patients with an HBP lead and a CS lead, 21 of 29 patients (72%) had signiﬁcant QRS narrow- ing, and HBP delivered an equivalent clinical response to CRT over 6 months. Subsequent case series42,98,99,101,102 demonstrated LBBB correction with permanent HBP in 70%–90% of patients. The Direct His-pacing as an Alter- native to BiV-pacing in Symptomatic HFrEF Patients With True LBBB (His-Alternative) trial103 randomized 50 patients to HBP vs BiV pacing. In the HBP group, 72% achieved successful LBBB correction, and HBP pro- vided   comparable    clinical   and    echocardiographic improvement,  though  with  higher  pacing  thresholds. When LBBB correction can be achieved with HBP, it is reasonable for it to serve as an alternative to CRT with BiV pacing when effective CRT cannot be achieved with an LV/CS lead.

Given limits of HBP for LBBB correction, pacing the more distal conduction system (LBBAP) may provide an alternative means of effective LV resynchronization. Small cohort studies24,45,58,65 demonstrated the feasibility and po- tential utility of this approach. The LBBAP Collaborative Study Group multicenter cohort study47  of 325 patients showed successful LBBAP in 85% of patients with low/sta- ble pacing thresholds and good clinical and echocardio- graphic  outcomes  at  6  months.  An  analysis110   of  200 patients in this cohort who were implanted for a “rescue” indication showed similar improvement. A pilot study104 of 40 patients with LBBB, CHF, and LVEF ≤40% randomized to either LBBAP or standard CRT with LV lead found that patients assigned to LBBAP had greater improvement in LVEF and reduction in left ventricular end-systolic volume (LVESV) with similar improvement in functional status. Therefore, LBBAP is reasonable to perform as an alternative to CRT with BiV pacing when effective CRT cannot be achieved with an LV/CS lead.

3. Trials that speciﬁcally address CRT implantation in pa- tients with cardiomyopathy, QRS duration ≥150 ms, and NYHA class I HF are limited. Careful query of patient symptoms may uncover limitations or symptoms such as

fatigue, palpitations, or dyspnea during ordinary physical activity that would reclassify a patient from NYHA class I and II HF. The Multicenter Automatic Deﬁbrillator Im- plantation  With  Cardiac  Resynchronization  Therapy (MADIT-CRT) trial94 assessed endpoints of death from any cause or nonfatal HF events in 1089 patients with LVEF ≤30%, QRS duration ≥130 ms, and NYHA class I and II symptoms by randomizing 3:2 for CRT-D or ICD only. The primary endpoint was lower in patients in the CRT-D  group  (17.2%)  compared  to  the  ICD  group (25.3%; P  =  .001). The primary endpoint was driven by HF events, as there was no difference in mortality. In the Resynchronization Reverses Remodeling in Systolic Left Ventricular Dysfunction (REVERSE) trial,92 610 pa- tients who received CRT for NYHA class I and II symp- toms with QRS duration ≥120 ms, LVEF ≤40%, and left ventricular end-diastolic diameter (LVEDD) ≥55 mm while on GDMT were randomized 2:1 to CRT-on and CRT-off with observation of the clinical composite end- points   left   ventricular   end-systolic   volume   index (LVESVI) and hospitalization for worsening HF. There was no signiﬁcant difference in clinical response for pa- tients with CRT-on vs CRT-off (16% vs 21% respec- tively;  P    =    .10).   LVESVI   and  intraventricular mechanical delay improved in the CRT-on compared to CRT-off group (P < .0001 and P = .0007, respectively). There was a statistically signiﬁcant delay in the ﬁrst HFH in the CRT-on group (HR 0.47; P  =  .03).90 The 5-year follow-up analysis of the REVERSE trial109 showed sus- tained improvement in functional and LV remodeling as well as 6MWD in those randomized to CRT-on.

4. Two pilot studies106,107 of systolic HF patients with LVEF 36%–45% showed clinical and functional improvement with CRT. A retrospective analysis63  of the Predictors of Response to Cardiac Re-Synchronization Therapy (PROSPECT) study found that 86 patients initially deter- mined to have LVEF  ≤35% had adjudicated LVEF ≥35% after core laboratory review of echocardiograms, and this subset of patients had similar clinical and struc- tural beneﬁt from CRT as patients adjudicated to have LVEF ≤35%. An additional small study105 of 27 patients had similar ﬁndings. However, the randomized MIRA- CLE EF Clinical Study (MIRACLE EF)111  had to be terminated due to futility after enrollment of 44 patients. On the basis of these smaller studies, as well as of clinical experience, CRT with BiV pacing may be considered in patients with LBBB, QRS duration ≥150 ms, LVEF 36%–50%, and NYHA class II–IV symptoms to maintain or improve LVEF when such patients are undergoing CIED implantation for other indications. These patients may include those undergoing pacemaker implantation for sinus node dysfunction or ICD implantation for pri- mary or secondary prevention of sudden cardiac death who would otherwise not have an indication for ventricu- lar pacing. Patients with more prolonged QRS duration, more  impaired  LV   systolic   function   (ie,   LVEF

2156

2157

2158

2159

2160

2161

2162

2163

2164

2165

2166

2167

2168

2169

2170

2171

2172

2173

2174

2175

2176

2177

2178

2179

2180

2181

2182

2183

2184

2185

2186

2187

2188

2189

2190

2191

2192

2193

2194

2195

2196

2197

2198

2199

2200

2201

2202

2203

2204

2205

2206

2207

2208

2209

2210

2211

2212

2213

2214

2215

2216

2217

| 36%–40%), and more severe HF symptoms may derive |  |  | HBP provided comparable clinical and echocardiographic |  |
| --- | --- | --- | --- | --- |
| greater beneﬁt from CRT than this group. For selected pa- |  |  | improvement, though with higher pacing thresholds. The |  |
| tients in this group, HBP or LBBAP may be utilized as an alternative to CRT, particularly when effective CRT |  |  | LBBAP Collaborative Study Group’s multicenter cohort study47 reported successful LBBAP in 85% of patients |  |
| cannot be achieved due to inability to place an LV/CS lead in a suitable stable location.24,42,45,47,58,65,98–103,108 5. Several clinical studies24,42,45,47,58,65,98–103,108 provide a |  |  | with low/stable pacing thresholds and good clinical and echocardiographic outcomes at 6 months. A pilot study104 of 40 patients with LBBB, CHF, and LVEF ≤40% ran- |  |
| rationale for utilizing HBP or LBBAP when effective |  |  | domized to either LBBAP or standard CRT with LV |  |
| CRT cannot be obtained with a CS LV lead due to |  |  | lead found that patients assigned to LBBAP had greater |  |
| anatomical or functional considerations. In a randomized crossover study100 of 29 patients referred for CRT, im- |  |  | improvement in LVEF and reduction in LVESV with similar improvement in functional status. Operators with |  |
| planting all patients with an HBP lead and a CS lead, 21 |  |  | experience and skill in placement of HBP or LBBAP leads |  |
| of 29 patients (72%) had signiﬁcant QRS narrowing, |  |  | may in select circumstances prefer to try this option pref- |  |
| and HBP delivered an equivalent clinical response to CRT over 6 months. Subsequent case series42,98,99,101,102 |  |  | erentially. The rationale may include limited vascular ac- cess and/or desire to reduce the total number of leads |  |
| demonstrated LBBB correction with permanent HBP in 70%–90% of patients. The His-Alternative study103 ran- |  |  | (when only pacing and not deﬁbrillator capacity is needed). When neither HBP nor LBBAP can be achieved |  |
| domized 50 patients to HBP vs BiV pacing. In the HBP |  |  | when attempted ﬁrst, the operator may then choose to |  |
| group, 72% achieved successful LBBB correction, and ##### 3.2.1.2. LBBB, sinus rhythm, QRS duration 120-149 ms, NYHA class II-IV symptoms |  |  | implant a CS LV lead for conventional CRT. |  |
| Recommendations for LBBB, sinus rhythm, QRS duration 120-149 ms, NYHA class II-IV symptoms |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 1 | A | 1. In patients with select characteristics (eg, female sex) who have LVEF ≤35%, sinus rhythm, LBBB with QRS duration 120-149 ms, and NYHA class II-IV symptoms on GDMT, CRT with BiV pacing is recommended to reduce mortality and HF events and to improve LVEF. |  | 9,90-92,94-96,112-124 |
| 2a | B-R | 2. In patients who have LVEF ≤35%, sinus rhythm, LBBB with QRS duration 120- 149 ms, and NYHA class II-IV symptoms on GDMT, CRT with BiV pacing is reasonable to reduce mortality and HF and to improve LVEF. |  | 9,90-92 |

2317

2318

2319

Synopsis

Women appear to derive more beneﬁt from CRT across QRS durations compared to men, despite being underrepre- sented in most clinical trials.9  This beneﬁt is seen even at narrower QRS durations (120–149 ms). The reasons for these sex-speciﬁc differences may be related to anthropo- metric differences, particularly LV size. More favorable baseline characteristics of women in RCTs may also play a role. It is important to recognize sex-speciﬁc differences when evaluating CRT response and outcomes at narrower QRS durations, given that meta-analyses looking at broader populations suggest that a QRS duration <150 ms is of lesser beneﬁt overall. Although female sex is associated with more beneﬁt from CRT at narrower QRS durations, there remains very limited data in patients with QRS dura- tion 120–129 ms. The evidence for HBP or LBBAP is extremely limited for these patients, and as such, there is no recommendation for CSP as an alternative to CRT for QRS duration 120–149 ms.

2320

2321

2322

2323

2324

2325

2326

2327

2328

2329

2330

2331

2332

2333

2334

2335

2336

2337

2338

2339

2340

Recommendation-speciﬁc supportive text

1. Female patients are underrepresented in many of the sem- inal RCTs with CRT in HF, with approximately 20%– 30% of enrollees being women.88,90–92,94,96 In a 2015 sys- tematic review125 of CRT trials, approximately one-third of enrollees were women in 90% of the studies. No sex- speciﬁc  differences  in  CRT  beneﬁt  were  noted  in CARE-HF or COMPANION. However, the results from

2 subanalyses126 from MADIT-CRT (25% women) and

1    subanalysis127      from     the    Resynchronization- Deﬁbrillation  for  Ambulatory  Heart  Failure  Trial (RAFT) (17% women) demonstrated sex-related differ- ences in response to CRT compared to ICD. In MADIT- CRT,128 women had a signiﬁcant 69% reduction in the combined endpoint of death or nonfatal HF compared to 28% in men. When limited to approximately 1300 pa- tients with LBBB and stratiﬁed by QRS duration (<150 or ≥150 ms), women (31% of this population) had a greater reduction in mortality and HF compared with

2280

2281

2282

2283

2284

2285

2286

2287

2288

2289

2290

2291

2292

2293

2294

2295

2296

2297

2298

2299

2300

2301

2302

2303

2304

2305

2306

2307

2308

2309

2310

2311

2312

2313

2314

2315

2316

2218

2219

2220

2221

2222

2223

2224

2225

2226

2227

2228

2229

2230

2231

2232

2233

2234

2235

2236

2237

2238

2239

2240

2241

2242

2243

2244

2245

2246

2247

2248

2249

2250

2251

2252

2253

2254

2255

2256

2257

2258

2259

2260

2261

2262

2263

2264

2265

2266

2267

2268

2269

2270

2271

2272

2273

2274

2275

2276

2277

2278

2279

2341

20                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

2342

2343

2344

2345

2346

2347

2348

2349

2350

2351

2352

2353

2354

2355

2356

2357

2358

2359

2360

2361

2362

2363

2364

2365

2366

2367

2368

2369

2370

2371

2372

2373

2374

2375

2376

2377

2378

2379

2380

2381

2382

2383

2384

2385

2386

2387

2388

2389

2390

2391

2392

2393

2394

2395

2396

2397

2398

2399

2400

2401

2402

2403

men, despite shorter baseline QRS durations. When strat- iﬁed by QRS duration, women had a signiﬁcant reduction in HF or mortality at all ranges of QRS duration, while men exhibited more beneﬁt at ≥150 ms (although trend- ing  toward   signiﬁcance  with  QRS  duration  <150 ms).9,128

A meta-analysis120  of 4076 patients from the RAFT, MADIT-CRT, and REVERSE trials—comparing CRT-D to ICD therapy in patients with predominantly NYHA class II HF—reported the sex-speciﬁc beneﬁt in HF or mortality in those with LBBB stratiﬁed by QRS durations in 10-ms incre- ments from 120 to ≥180 ms. While no differences were noted at 120-129 ms, a signiﬁcant beneﬁt for women was found at 130-139 and 140-149 ms (85% and 69% relative risk reduc- tion, respectively), with no signiﬁcant differences in men.120 Above 150 ms, both groups had signiﬁcant reductions in the combined endpoint of HF and mortality, or in death alone.

Similar results were seen in a single-center retrospective analysis117 of approximately 200 patients with nonischemic cardiomyopathy (NYHA class III and IV) and an LBBB that explored the probability of CRT response (pre- and post- CRT echocardiography) based on QRS duration and gender. Overall, both groups had an improvement in LVEF beginning at QRS duration 120-130 ms and peaking at 150-175 ms— speciﬁcally, 58% and 76% at QRS duration <150 and ≥150 ms, respectively. However, women had a much more robust and continued response compared with men at both narrow and wide QRS: 86% and 83% with QRS duration <150and≥150ms, compared to36%and69%, respectively.

The potential mechanisms for sex differences in CRT response  in  terms  of QRS  duration  may  be  related  to anatomic differences, especially patient height, with a greater CRT beneﬁt seen in shorter patients.112,113,115-118,121,129,130 In a meta-analysis,122 longer QRS duration and shorter height (mean 163.8 cm [64 in] in the shortest tercile), but not sex, were independent predictors of CRT beneﬁt, suggesting that body measurements more common in women may explain some of the greater beneﬁt of CRT. The same meta-analysis found that shorter height across QRS durations conferred greater CRT beneﬁt in mortality and ﬁrst HFH, particularly at QRS duration 160-190 ms. However, the ef- fect was seen even at QRS duration 120-149 ms in shorter heights (Figure 3). Speciﬁcally, a beneﬁt (HR ≤0.8) was seen in patients with a QRS duration of 120 ms at ≤152 cm (60 in), a QRS duration of 135 ms at ≤165 cm (65 in), and a QRS duration of 149 ms at ≤181 cm (71 in).

Men who were in the shortest tercile (median 167.6 cm [66 in]) with QRS duration <130 ms also appeared to derive beneﬁt from CRT.123  Height was most inﬂuential in the moderately prolonged (120-149 ms) range. This was sup- ported by a separate analysis that observed >20% increment in CRT response rates among Asian patients with QRS dura- tion 120-149 ms (mean height 163 cm [64 in]) compared to non-Asian patients (mean height 172 cm [68 in]).124

It should be noted that the number of patients studied in the QRS duration 120-129 ms range is small and the data

2404

2405

2406

2407

2408

2409

2410

2411

2412

2413

2414

2415

2416

2417

2418

2419

2420

2421

2422

2423

2424

2425

2426

2427

2428

2429

2430

2431

2432

2433

2434

2435

2436

2437

2438

2439

2440

2441

2442

2443

2444

2445

2446

2447

2448

2449

2450

2451

2452

2453

2454

2455

2456

2457

2458

2459

2460

2461

2462

2463

2464

2465

are limited. The  writing  committee  debated  whether  to include the QRS duration 120-129 ms range in this recom- mendation, and after multiple rounds of discussions and consensus voting, the writing committee reached consensus on the QRS duration 120-149 ms range. Additional studies are needed to better understand the sex-speciﬁc differences in CRT response among patients with HF, LBBB, and QRS duration <150 ms.

2. Two meta-analyses95,114focused on QRS duration found no beneﬁt in any of the 5 trials studied with QRS durations <150 ms, though CARE-HF showed a trend toward signif- icance for QRS duration 120-159 ms.90-92,94,96 However, the other trials did not directly report HRs for all QRS dura- tions, and QRS durations did not always correlate with true LBBB. Ofnote, a QRS duration ranging from120to149ms may not align with the same beneﬁt, given that a meta-anal- ysis120 of 3 CRT-D vs ICD trials in patients with predomi- nantly NYHA class II HF suggested that there is no beneﬁt of CRT-D in patients with QRS durations <130 ms.

print & web 4C/FPO

Figure 3     Cardiac resynchronization therapy hazard ratio by height and QRS duration. Contour lines depict the cardiac resynchronization therapy hazard ratio for different combinations of height (y-axis) and QRS duration (x-axis). The lighter blue color corresponds to greater cardiac resynchroniza- tion therapy beneﬁt (ie, lower hazard ratio). Reprinted with permission from Linde et al.122

### 3.2.2.  Non-LBBB

The incidence of non-LBBB is lower than that of typical LBBB in the HF population but is still frequently encoun- tered. In a cohort study131  of 2254 Spanish patients with NYHA class II-IV symptoms, 7.6% had right bundle branch block (RBBB), 8.7% had intraventricular conduction delay (IVCD), and 30.2% had LBBB. Some studies report greater mortality in patients with non-LBBB compared to patients with LBBB. One study132 showed a 29% increase in mortal- ity  at  4-year  follow-up  for patients  with  RBBB  when compared to those with LBBB, and the risk ratio increased further in those with LVEF <30%. This subsection focuses on recommendations for patients with non-LBBB morphol- ogies with variable QRS durations and NYHA classiﬁcation of HF.

| 2528 2529 2530 2531 2532 2533 2534 2535 2536 2537 2538 2539 2540 2541 2542 2543 2544 2545 2546 2547 2548 2466 2467 2468 2469 2470 2471 2472 2473 2474 2475 2476 2477 2478 2479 2480 2481 2482 2483 2484 2485 2486 2487 2488 2489 2490 2491 2492 2493 2494 2495 2496 2497 2498 2499 2500 2501 2502 2503 2504 2505 2506 2507 2508 2509 2510 2511 2512 2513 2514 2515 2516 2517 2518 2519 2520 2521 2522 2523 2524 2525 2526 2527 |  |  |  |
| --- | --- | --- | --- |
| 3.2.2.1. Non-LBBB, sinus rhythm, QRS duration ≥150 ms, NYHA class II-IV symptoms |  |  |  |
| ##### Recommendations for non-LBBB, sinus rhythm, QRS duration ≥150 ms, NYHA class II-IV symptoms |  |  |  |
| COR | LOE | Recommendations | References |
| 2a | A | 1. In patients who have LVEF ≤35%, sinus rhythm, a non-LBBB pattern with QRS duration ≥150 ms, and NYHA class III or ambulatory class IV symptoms on GDMT, CRT with BiV pacing can be useful to improve functional class, cardiac structure, and LVEF. | 90,91,96,133,134 |
| 2b | B-R (CRT) C-LD | 2. In patients who have LVEF ≤35%, sinus rhythm, a non-LBBB pattern with QRS duration ≥150 ms, and NYHA class II symptoms on GDMT, CPP may be considered to potentially improve mortality, HFH, LVEF, and/or functional class. | CRT 94,96 HBP, LBBAP 47,108 |
|  | (HBP, LBBAP) |  |  |
| 2b | C-LD | 3. In patients with LVEF ≤35%, sinus rhythm, non-LBBB with QRS duration ≥150 ms, and NYHA class II-IV symptoms on GDMT, CSP with HBP or LBBAP may be reasonable if effective CRT cannot be achieved with BiV pacing based on anatomical or functional criteria. | 42,47,108,110 |

2549

Synopsis

CRT has been shown to improve heart function and clin- ical outcomes among patients with reduced LVEF, HF, and prolonged QRS duration. Studies have shown signiﬁcant im- provements in exercise capacity, NYHA class, quality of life, and cardiac structure and function with CRT. However, fewer patients with non-LBBB have been included in these studies and results have been mixed. There was no signiﬁcant reduction in the combined clinical outcome of mortality or HFH in patients without LBBB. More signiﬁcant beneﬁt was shown with CRT in patients with NYHA class III or IV, while only modest beneﬁt was seen in patients with NYHA class II. The strength of evidence for CSP is more limited than CRT. Two studies of CSP did include substantial proportions of patients with non-LBBB IVCD and reported their results separately from patients with LBBB, supporting the use of CSP in this population. Finally, several studies in patients who would have been candidates for CRT and in those who had failed coronary venous lead placement or did not respond to CRT support signiﬁcant QRS narrowing and improvement in the functional class and LVEF in a mixed patient population using CSP, many of whom did not have an LBBB pattern at baseline.

Recommendation-speciﬁc supportive text

1. Although most clinical trials enrolled predominantly sub- jects with LBBB, several included subjects with IVCD or RBBB. Patients without LBBB made up 47% of patients in CONTAK CD,135 30% of patients in MADIT-CRT,94 29% of patients in COMPANION,90  26% of patients in REVERSE,92 20% of patients in MIRACLE,133 20% of patients in RAFT,96 and 6% of patients in CARE-HF.91 While the interaction between non-LBBB pattern and QRS duration is difﬁcult to discern, QRS duration in each of the studies exceeded 150 ms, and ﬁndings sup- ported improvement in NYHA class, cardiac structure,

2550

2551

2552

2553

2554

2555

2556

2557

2558

2559

2560

2561

2562

2563

2564

2565

2566

2567

2568

2569

2570

2571

2572

2573

2574

2575

2576

2577

2578

2579

2580

2581

2582

2583

2584

2585

2586

2587

2588

2589

and  function  with  CRT.  CRT  reduced  mortality in RAFT and CARE-HF.91,96 A meta-analysis95 conﬁrmed the beneﬁt of CRT in patients with QRS duration >150 ms across NYHA classes. The combined data136  from COMPANION, CARE-HF, MADIT-CRT, RAFT, and REVERSE showed no signiﬁcant reduction in the com- posite outcome of mortality or HFH in patients without LBBB, with RBBB, or with IVCD. No clinical beneﬁt was  initially  reported  in  patients  without  LBBB  in MADIT-CRT,137  but  a  later  analysis138   did  support beneﬁt in patients with non-LBBB and PR interval in excess of 230 ms. In RAFT, clinical beneﬁt was observed only in patients without LBBB with QRS duration >160 ms.72 Real-world data and post hoc analyses139  support this ﬁnding, demonstrating beneﬁt of CRT among patients with IVCD and QRS duration ≥150 ms but not among pa- tients with RBBB and QRS duration ≥150 ms.

2. Several studies, MADIT-CRT, RAFT, REVERSE, and Multicenter InSync ICD Randomized Clinical Evaluation II (MIRACLE ICD II) included patients with NYHA class

II HF symptoms. MADIT-CRT94 and RAFT96  support reduction in mortality and HFH with CRT in this popula- tion including patients with non-LBBB and a prolonged QRS duration in the case of RAFT96 or a prolonged PR interval in the case of MADIT-CRT.94  On the other hand, REVERSE92 and MADIT-CRT94  showed a more modest beneﬁt with no reduction in mortality but signiﬁ- cant improvement in the echocardiographic parameters. A limited  number  of  small  studies47,108   of  CSP  have included patients with non-LBBB IVCD and reported their results separately from patients with LBBB. The re- sults are discussed in detail below; the studies showed im- provements in QRS duration, LVEF, and NYHA class, though the strength of evidence is notably limited by an absence of control groups.

3. Three small nonrandomized studies47,108,110 assessed the use of CSP among patients with CHF, non-LBBB, and

2652

2653

2654

2655

2656

2657

2658

2659

2660

2661

2662

2663

2664

2665

2666

2667

2668

2669

2670

2671

2672

2673

2674

2675

2676

2677

2678

2679

2680

2681

2682

2683

2684

2590

2591

2592

2593

2594

2595

2596

2597

2598

2599

2600

2601

2602

2603

2604

2605

2606

2607

2608

2609

2610

2611

2612

2613

2614

2615

2616

2617

2618

2619

2620

2621

2622

2623

2624

2625

2626

2627

2628

2629

2630

2631

2632

2633

2634

2635

2636

2637

2638

2639

2640

2641

2642

2643

2644

2645

2646

2647

2648

2649

2650

2651

22                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

| reduced EF. HBP used in 39 such patients was associated with a signiﬁcant narrowing of the QRS duration (158 ± 24 to 127 ± 17 ms), increase in LVEF (31% ± 10% to 39% ± 13%), and improvement in NYHA class (average class 2.8 ± 0.6 to 2.0 ± 0.6) over a mean follow-up of 15 ± 23 months.108 In another observational study,47 103 of 325 patients who were treated with LBBAP for CRT indi- cation had a non-LBBB QRS pattern. Patients experi- enced signiﬁcant narrowing of the QRS duration (160 ± 28 to 143 ± 23 ms), improvement in LVEF (33% ± 0.1% to 43% ± 0.12%), and improvement inNYHA class (average class 2.7 ± 0.7 to 1.8 ± 0.6). In the third |  |  | study,110 200 of 212 patients who had either failed coro- nary venous lead placement or did not respond to CRT were successfully implanted with LBBAP leads. This was a heterogeneous population with 45% of patientshav- ing a non-LBBB QRS pattern (5% RBBB, 14% IVCD, and 22.5% RV paced). This study showed signiﬁcant QRS narrowing in LBBAP-treated patients by 31 ms with 11% improvement in LVEF. All 3 studies were limited by the lack of a comparator group. Therefore, im- provements in outcomes could have occurred because of background medical therapy or other factors, rather than CSP. |  |
| --- | --- | --- | --- | --- |
| ##### 3.2.2.2. Non-LBBB, QRS duration <150 ms, NYHA class I-IV symptoms |  |  |  |  |
| Recommendations for non-LBBB, QRS duration <150 ms, NYHA class I-IV symptoms |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2b | B-NR (CRT) C-LD (HBP, LBBAP) | 1. In patients who have LVEF ≤35%, sinus rhythm, a non-LBBB pattern with QRS duration 120-149 ms, and NYHA class III or IV symptoms on GDMT, the usefulness of CPP is not well established. |  | CRT 94,96,140 HBP, LBBAP 42,46,47,108 |
| 3: No Beneﬁt | B-R | 2. In patients with LVEF ≤35%, NYHA class II-IV symptoms on GDMT, and QRS duration <120 ms, CRT with BiV pacing is not recommended. |  | 141-144 |
| 3: No Beneﬁt | B-R | 3. In patients who have LVEF ≤35%, sinus rhythm, a non-LBBB pattern with QRS duration <150 ms, and NYHA class I or II symptoms on GDMT, CRT with BiV pacing is not recommended. |  | 94,96,139 |

2685

2686

2688

2689

2690

2691

2692

2693

2694

2695

2696

2697

2698

2699

2700

2701

2702

2703

2704

2705

2706

2707

2708

2709

2710

2711

2712

2713

2687

Synopsis

Among patients with non-LBBB, shorter QRS duration (<150 ms), and more advanced HF (NYHA class III and IV), there is very limited evidence of potential beneﬁt from CPP.42,46,47,94,96,108,140  For patients with non-LBBB  and shorter QRS duration (<120 ms) or less severe HF (NYHA class  I  and  II), there is  evidence  of  no  beneﬁt from CPP.94,96,139,141-144 The limited role for physiologic pacing in these contexts is most likely due to the fact that while prolonged   LBBB   usually   reﬂects   delay   within   the conduction    system   with   latest    activation   in   the posterolateral LV (more amenable to correction with CPP), shorter non-LBBB conduction abnormalities reﬂect intrinsic myocardial disease or variable sites of delayed LV activation (less amenable to correction with CPP).145-149

Recommendation-speciﬁc supportive text

1. There is uncertain and unpredictable efﬁcacy of BiV pac- ing among patients with non-LBBB. In an observational study140  of 99 patients with RBBB (22.2%) or IVCD (77.8%) who had LVEF <35%, NYHA class II-IV symp- toms, and QRS duration >120 ms, the average LVEF increased 4% with BiV pacing during a mean follow-up

of 13 months. Only longer QRS duration was indepen- dently associated with improved ventricular remodeling. However, in 2 large RCTs,94,96 subgroup analysis found no clinical outcome beneﬁt from BiV pacing in patients with non-LBBB, QRS duration 130-150 ms, NYHA class I and II, and LVEF ≤30% or patients with non-LBBB, QRS duration 120-150 ms, NYHA class II and III, and LVEF ≤30%.

There is even less certainty regarding the evidence sup- porting the use of CSP (vs BiV pacing) for patients with non-LBBB morphology. Some observational studies42,108 with small sample sizes show that the QRS duration can be narrowed with HBP in patients with RBBB and advanced HF. Subanalysis from 1 study108  showed the improvement by 1 NYHA class, no HFH noted in 15 of 19 patients (79%), and ≥5% increase in LVEF during follow-up in 11 of 16 (69%) patients. In patients with RBBB, IVCD, or RVP with suboptimal QRS narrowing by HBP, an additional LV/RV pacing lead can be used to maximize electrical re- synchronization.150,151 A study46 showed that LBBAP can improve LV cardiac function in patients with RBBB (QRS duration 120-150 ms and LVEF ≤50%) with bradycardia pacing indications. Another study,47 which included patients

| 2714 2715 2716 2717 2718 2719 2720 2721 2722 2723 2724 2725 2726 2727 2728 2729 2730 2731 2732 2733 2734 2735 2736 2737 2738 2739 2740 2741 2742 2743 2744 2745 2746 2747 2748 2749 2750 2751 2752 2753 2754 2755 2756 2757 2758 2759 2760 2761 2762 2763 2764 2765 2766 2767 2768 2769 2770 2771 2772 2773 2774 2775 |  |  |  |  |
| --- | --- | --- | --- | --- |
| with CRT indications, showed that NYHA class improved from a baseline of 2.7 ± 0.7 to 1.8 ± 0.7 and LVEF increased from 33% ± 10% to 43% ± 12% inpatients with non-LBBB (RBBB, IVCD, or RVP) morphology; however, the clinical beneﬁts of CSP for patients with non-LBBB, if any, need further investigation. Novel echocardiography techniques, electrocardiographic (ECG) mapping, advanced ECG analytics, and vectorcar- diography, potentially with the use of artiﬁcial intelligence/ machine learning methodology, are future directions that may enhance prediction of response to CRT or CSP and guid- ance of optimization of programming. 2. Several trials141-144 have addressed the role of CRT in patients with HF and QRS duration <120 ms, given that some degree of dyssynchrony may still be present. Most were parallel controlled trials comparing CRT pacing programmed on or off. One trial141 was termi- nated after 85 patients with symptomatic LV dysfunction and QRS duration <120 ms were randomized and no sig- niﬁcant differences in LV reverse remodeling, a signiﬁ- cant reduction in exercise capacity, and an increase in QRS duration were noted with CRT pacing programmed on vs off. In another trial143 of 809 patients with QRS duration <130 ms, after a median of 19 months, a nonsigniﬁcant trend toward higher all-cause death or HFH in the CRT group was demonstrated; there were signiﬁcantly more deaths in the CRT group. However, a subsequent study123 suggested that the risk was ### 3.2.3. PICM with high-burden RVP |  |  | concentrated among patients with larger LV dimensions, and that patients with a longer QRS duration and smaller LV size indexed to height appeared to beneﬁt from CRT. In a trial142 of 120 patients with ischemic cardiomyopa- thy with QRS duration <120 ms, randomized to CRT-D or dual-chamber ICD groups, there was a signiﬁcant reduction in HF clinical composite response after 1 year in the CRT group, with a signiﬁcantly lower com- bined endpoint of HFH, HF death, and spontaneous ven- tricular ﬁbrillation after 16 months. 3. Among patients with non-LBBB and QRS duration <150 ms, CPP has been evaluated in subgroups of randomized trials and in observational research.94,96,139 In these studies, CRT with BiV pacing was not associated with improved clinical outcomes. The ﬁndings are consistent with those in REVERSE,152 a randomized trial assessing ventricular remodeling among patients with predomi- nantly NYHA class II HF, 39% non-LBBB, and 50% QRS duration <150 ms. In REVERSE, investigators ran- domized 610 patients to CRT with BiV pacing on vs off, with echocardiographic assessment of LV size and func- tion after 12 months. Patients with non-LBBB did not experience beneﬁcial remodeling. Among patients with LBBB, beneﬁt was signiﬁcantly related to degree of QRS prolongation. CSP has been inadequately studied among patients with non-LBBB, QRS duration <150 ms, and NYHA class I and II to warrant recommendations at this time. |  |
| Recommendations for PICM with high-burden RVP |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 1 | B-NR | 1. In patients with a CIED with a decline in LV function or worsening of HF symptoms attributed to substantial ventricular pacing, CRT with BiV pacing is recommended to improve LV function and improve HF symptoms. |  | 29 |
| 2a | B-NR | 2. In patients with a CIED with a decline in LV function or worsening of HF symptoms attributed to substantial ventricular pacing, revision of CIED to a CSP device can be beneﬁcial to improve LV function and symptoms of HF. |  | 19,29,153,154 |

Synopsis

A subset of patients with normal preimplant LVEF who require RV apical or nonapical pacing will develop PICM characterized by a reduction in LVEF and symptoms of sys- tolic HF.14,155,156  While  there is no single deﬁnition of PICM, most studies have included patients identiﬁed as hav- ing (1) a decline in LVEF of ≥10% with a baseline LVEF >50% prior to RVP, (2) pacing percentage ≥20%, and (3) no alternative explanation for the decline in LVEF following RVP.14,19,153,156 Physiologic pacing with CRT, HBP, and LBBAP have each been demonstrated to result in signiﬁcant recovery of LVEF and improvement in HF symptoms among most patients.

Recommendation-speciﬁc supportive text

1. Among patients with PICM, upgrading to CRT with BiV pacing has demonstrated improvement in  symptoms related   to   HF   and  reverse  remodeling   of   the

LV.14,155,156 Studies are limited in that most were not randomized, most of the randomized studies had a cross- over design confounding assessments of survival, and HF outcomes assessed and entry criteria were heteroge- neous. However, a meta-analysis29 of 6 RCTs (161 pa- tients;  5  of  6  were  crossover  studies)  and  47 observational studies (2644 patients) of BiV pacing up- grade demonstrated improvements in LVEF, LVESV,

| 24 |  |  | Heart Rhythm, Vol -, No -, - 2023 |
| --- | --- | --- | --- |
| NYHA class, quality of life, peak exercise oxygen capac- ity as measured by peak VO2 max, and QRS duration. Among complications associated with device upgrades, infection rates averaged 3.7%, pneumothorax 2.0%, car- diac perforation or tamponade in 1.4%, and lead-related complications in 3.3%. 2. Physiologic pacing with HBP and LBBAP has been asso- ciated with signiﬁcant improvement in LVEF and HF symptoms among patients identiﬁed as having PICM.19,29,153,154 A retrospective observational multi- center study19 of 60 patients with PICM referred for up- grade to HBP revealed successful HBP in 57 (95%) of the patients who was associated with an improvement in LVEF from 34.3% ± 9.6% to 48.2% ± 9.8% (P < .001). Among the 57 patients, 95% experienced ≥5% improvement in LVEF and 75% had >10% increase in LVEF. A prospective study153 examined the effect of HBP among 18 patients with either PICM or CRT nonre- sponse. HBP lead ﬁxation was successful in 16 (88.9%) of the patients (11 had PICM and 5 were CRT nonre- ### 3.2.4. Survival < 1 year |  |  | sponders). At 1-year follow-up, LVEF increased from 35.7% ± 7.9% to 52.8% ± 9.6% (P< .01). Another retrospective multicenter study154 evaluated the efﬁcacy of LBBP to reverse PICM among patients with infra- nodal block who had previously received a standard RVP lead. Permanent LBBP upgrade was successful in 19 of 20 patients. Over a median follow-up duration of 12 months, LVEF increased from 36.3% ± 6.5% to 51.9% ± 13.0% (P < .001) with LVESV reduced from 180.1 ± 43.5 to 136.8 ± 36.7 mL (P< .001). Furthermore, there were no lead dislodgments and the mean LBBP threshold was 0.7 ± 0.3 mV at 0.4 ms at implant and remained stable during follow-up. A systematic review and meta-analysis29 of the upgrade of RV pacemakers to CSP included 8 observational studies (217 patients) and reported improvements in LVEF, LVESV, NYHA class, VO2 max, quality of life, and QRS duration with lead-related complications in 1.8%. To date, there have been no randomized trials of upgrade to CSP for PICM. |
| Recommendations for survival < 1 year |  |  |  |
| COR | LOE | Recommendations References |  |
| 1 | C-EO | 1. In patients with a life expectancy of < 1 year, the decision to implant a CPP device should incorporate shared decision-making, taking into account the potential improvement in quality of life balanced against the risk of procedural complications. |  |

Synopsis

When considering device implantation to improve quality of life, selected patients nearing the end of life may derive beneﬁt from CPP. Thus, the decision to place a physiologic pacemaker to alleviate HF symptoms should incorporate shared decision-making incorporating discussion of prog- nosis, the patient’s values, and consideration of potential ben- eﬁts and procedural risks.

Recommendation-speciﬁc supportive text

1. There are very little or no data on the implantation of pace- makers in patients with cardiac or noncardiac morbidities limiting life span to <1 year.157–161 Most clinical trials used  noncardiac  mortality  <1  year  as  an  exclusion criterion. However, clinical trials are not the same as clinical  practice,  in  which  shared  decision-making regarding risks and beneﬁts is critical, especially in pa- tients with end-stage HF in whom procedural risks are higher.162   If  CPP  could  reasonably be  expected  to improve quality of life, even in patients with severe noncardiac comorbidities, then CPP implant may be reasonable.2,162

## 3.3.  Combination CRT with LV (CS LV or LV epicardial) lead plus HBP or LBBP

During conventional CRT implantation, failure ranges from 5% to 10%. During follow-up, clinical nonresponders can be as high as 30%–40%. Multiple factors are associated with these failures or suboptimal responses to conventional CRT. HBP and LBBAP are rapidly evolving with regard to their implantation techniques, optimization of lead location, acute assessment of “physiologic” response, long-term pac- ing  thresholds,   lead  longevity,  and  patient   outcomes. Combining the conventional CRT with HBP  (CRT  1 HBP) or CRT with LBBAP (CRT 1 LBBAP) is intriguing or even mechanistically desirable based on the ultimate goal  to  achieve  pacing-mediated  contractile  synchrony, whether it is performed during the de novo implantation, as a “rescue” when the initial approach is suboptimal, or as an “upgrade” when the clinical response is inadequate during follow-up.  Limited  preliminary  data  from  observational study cohorts suggest that CRT 1 HBP or CRT 1 LBBAP implantation is technically feasible with favorable acute and short-term outcomes in selected patient populations.

The combined use of LV lead with HBP has been studied in limited mechanistic151 or clinical150,163 feasibility studies

| with short-term outcomes. One case series164 reported im- plantation and follow-up outcomes in patients who had an inadequate response to HBP with subsequent implantation of an additional LV lead. Similarly, the combined use of LV lead with LBBAP has been studied only in limited feasi- bility165 or case series166,167 studies. All references in this subsection are observational studies with a wide range of pa- tient selection criteria without comparators. Key ﬁndings from the limited observational studies are summarized below. The writing committee reached a consensus that there is insufﬁcient evidence to make practice recommendations at this time. Outcomes from ongoing and future well-designed studies may enable formal recommendations in the future. In a case series study150 of 27 patients who met class I indi- cations for CRT with either failed HBP (partial or insigniﬁcant QRS narrowing) or who were nonresponders to prior conven- tional CRT, CRT + HBP was implanted successfully in 93% and resulted in signiﬁcant narrowing of QRS duration (183 ms at baseline, 162 ms by BiV, 151 ms by HBP, and 120 ms by CRT + HBP). At a mean follow-up duration of 14 ± 7 months, LVEF signiﬁcantly improved from 24% to 38%, NYHA class improved from3.3to2.04, and84% were clinical responders. In a study of 2 cases,163 clinical conditions improved in 2 inotrope-dependent patients when conventional CRT was revised to CRT + HBP. Both patients were dis- charged from the hospital, no longer being inotrope dependent. In an ECG-based nonclinical outcome study151 of 19 patients, CRT + HBP signiﬁcantly reduced LV activation time by 21% when comparedtoHBP,by24%comparedtoBiV, andby13% compared to multisite pacing. In a retrospective study164 of 21 patients referred for CRT and who consented to HBP as an alternative method for CRT, QRS duration did not narrow to<130ms byHBP. These patients subsequently had a CS LV lead implanted. CRT + HBP resulted in signiﬁcant shortening of QRS duration (base- line170 ± 21ms, HBP157 ± 16ms, BiVpacing141 ± 15ms, and CRT + HBP110 ± 14ms),increase inLVEF(from27.6% ± 6.4%to41.1% ± 12.5%)ata mean follow-up of25months, and improvement inNYHA class(from3.1 ± 0.5to2.1 ± 0.8) at a mean follow-up of 32 months. Ina prospective multicenter study165of112patients, CRT + LBBAP was attempted in patients qualiﬁed for CRT or who |  |  | were CRT nonresponders. The implantation success rate was 81%. Amongpatientswho failedCRT+LBBAPimplantation, 16 of 21 failed LBBAP lead placement and 4 of 16 failed CS lead placement. CRT + LBBAP signiﬁcantly shortened QRS duration (baseline 182 ± 25 ms and CRT + LBBAP 144 ± 22 ms). At follow-up of >3 months, LVEF improved from 28.7% to 37%. Clinical improvement was observed in 76% of the total study cohort. Acute complications included 1 LBBAP lead and 1 CS lead dislodgment, 1 septal perforation, and 2 pocket hematomas. Complications at follow-up included 1 infection, 1 CS lead threshold increase, and 1 right atrial lead dislodgment. ## 3.4. Indications for CPP in AF Although initial CRT data were minimal for patients with atrial ﬁbrillation (AF), subsequent investigations have shown a beneﬁt in patients with AF. AF should not preclude CRT eligibility; however, ensuring a very high percentage (close to 100%) of BiV pacing is essential to derive beneﬁt. Patients with treatment-refractory AF undergoing atrioven- tricular junction (AVJ) ablation with LVEF ≤50% may have improved clinical outcomes with CRT. HBP(with or without a backup RVP lead) or LBBAP may also improve clinical out- comes. The evidence for HBP and LBBAP in AF patients un- dergoing AVJ ablation is mostly limited to retrospective and prospective observational studies, with 1 small prospective randomized crossover trial168 showing a modest improvement in LVEF in HBP compared with BiV pacing. RCTs169,170 testing the effects of RV apical pacing and the RVP prevention algorithms have shown that a high burden of RVP increases overall AF burden and the risk of AF progres- sion. Although the pathophysiology behind RV apical pacing resulting in an increased risk of AF is not well deﬁned, it is likely related to pacing-induced ventricular dyssynchrony contributing to increased left atrial pressure and size, and possibly related to increased mitral regurgitation due to papil- lary muscle dyssynchrony. Intrinsic AV conduction (by mini- mizing RVP), HBP, and LBBAP avoid pacing-induced LV dyssynchrony and result in a decreased incidence of AF compared to RV apical pacing. |  |
| --- | --- | --- | --- | --- |
| Recommendations for CPP in AF |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | B-R | 1. In patients with AF undergoing AVJ ablation with LVEF ≤50%, CRT with BiV pacing is reasonable to improve HFH, reverse structural remodeling, and improve quality of life, exercise capacity, LVEF, and potentially mortality. |  | 35,171-176 |
| 2a | B-NR | 2. In patients with AF who otherwise meet CRT implantation eligibility criteria, CRT with BiV pacing can be beneﬁcial to improve quality of life, functional capacity, and LVEF. |  | 35,177-180 |
| 2b | C-LD | 3. In patients with AF undergoing AVJ ablation, HBP with or without a backup ventricular pacing lead may be reasonable to improve or preserve LVEF and improve functional class. |  | 10,168,181-186 |
| 2b | C-LD | 4. In patients undergoing AVJ ablation, it may be reasonable to implant an LBBAP lead. |  | 186-188 |
| 2b | C-LD | 5. In patients with a high burden of ventricular pacing, HBP or LBBAP may be reasonable to decrease the risk of AF. |  | 189-192 |

26                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Synopsis

Selected patients with AF undergoing CIED implantation may beneﬁt from CPP. RV apical pacing may increase AF burden and the risk of AF progression, and this risk may be mitigated by RVP prevention algorithms, HBP, or LBBAP. For patients with AF undergoing CRT, achieving a high per- centage of BiV pacing is critical to achieve maximal beneﬁt. In patients with treatment-refractory AF undergoing AVJ ablation with LVEF ≤50%, several RCTs have demonstrated that CRT improves  clinical  outcomes.  In patients  with treatment-refractory AF undergoing AVJ  ablation,  HBP with or without a backup RVP lead also improves clinical outcomes. However, the evidence is based on retrospective and prospective observational studies and 1 small prospec- tive randomized crossover study. Data are limited on the beneﬁt of implanting an LBBAP lead in patients with treatment-refractory AF undergoing AVJ ablation. Future randomized studies should evaluate the risk of new-onset AF and progression of AF inpatients with CSP. An algorithm outlining the indications for CPP in patients with AF is shown in Figure 4.

Recommendation-speciﬁc supportive text

1. Several RCTs have demonstrated improved clinical out- comes in patients with refractory AF undergoing AVJ ablation with LVEF ≤50% who received CRT compared with patients who receive pharmacological rate control174 or     compared    with    patients    who    received RVP.171,172,174-176   In  the  morbidity  phase  of  the Atrioventricular  Junction  Ablation  and  Biventricular Pacing for Atrial Fibrillation and Heart Failure (APAF- CRT) trial,174 102 HF patients were randomized to AVJ ablation + CRT vs pharmacological rate control. AVJ ablation + CRT was superior in reducing HF, decreasing hospitalization, and improving quality of life in elderly patients with permanent AF and narrow QRS duration. Other RCTs that compared AVJ ablation + CRT to con- ventional RVP demonstrated that CRT is superior in reducing clinical manifestations of HF in patients with severely symptomatic permanent AF171  and improving quality of life and exercise capacity.172  The Post AV- Nodal Ablation Evaluation (PAVE) study175 was a pro- spective,  randomized,   multicenter  clinical   trial  that compared BiV pacing with RVP in 184 patients undergo- ing AVJ ablation for AF with rapid ventricular response. At 6 months postablation, LVEF in the BiV group (46% ±  13%) was signiﬁcantly greater compared to patients receiving RVP (41% ± 13%). In a prospective, random- ized,  multicenter,  single-blinded  study176    comparing CRT to RVP, RVP resulted in a signiﬁcant increase in left atrial volume, LV mass, and worsening of LV contrac- tility compared to patients receiving BiV pacing post- AVJ ablation for refractory AF. The mortality phase of the APAF-CRT trial173 was an international blinded study of 133 patients (predominantly elderly with NYHA class ≥III HF) that demonstrated that AVJ ablation + CRT was

superior to pharmacological therapy in reducing mortality in patients with permanent AF and narrow QRS who were hospitalized for HF, irrespective of their baseline LVEF.

2. Two meta-analyses179,180  showed that although the de- gree of beneﬁt and the percentage of CRT response is less in patients with AF, they did experience an improve- ment in quality of life and 6MHW and a similar improve- ment in LVEF compared to patients in sinus rhythm. Although a prespeciﬁed subgroup analysis of RAFT look- ing at subjects with permanent AF did not demonstrate a beneﬁt of CRT over ICD therapy alone, only one-third of permanent AF patients achieved BiV pacing >95% despite  appearing rate controlled  at enrollment.177  A real-world observational analysis178 of almost 9000 pa- tients in the National Cardiovascular Data Registry ICD Registry also supports a beneﬁt of CRT. A reduction of all-cause mortality, all-cause hospital readmission, and HF-related readmission with CRT-D compared to ICD in patients with a history of AF, particularly in patients with LBBB and QRS duration >150 ms, was demon- strated. Lastly, although BLOCK HF, which demon- strated a beneﬁt of CRT in pacing-indicated patients, did not assess outcomes stratiﬁed by history of AF, 52.8% of patients had a history of AF.35

3. Several retrospective observational studies10,181,182,184-186 have demonstrated the feasibility of HBP in patients undergoing AVJ ablation. Success rates of HBP were about 95% in this population.184,185 Observational studies have shown improvement in LVEF and NYHA class181,185 and stable His capture thresholds.182,184  One  study185 demonstrated an acute increase in HBP threshold in 7 of

15 patients. In a meta-analysis10  of 8 studies including

679 patients, CRT or HBP was compared with RVP in pa- tients with LVEF >35% who required permanent pacing due to heart block. LVEF was preserved or increased with CRT or HBP compared with RVP, but no effect on mortality was seen. Clinical beneﬁt seemed to be limited primarily  to  patients  with  permanent  AF  and  rapid ventricular  rates  who  underwent  AVJ  ablation.  In ALTERNATIVE-AF, a prospective randomized crossover trial168 of 50 patients with HF, narrow QRS, and persistent AF who received both HBP and BiV pacing, a small statis- tically signiﬁcant improvement in LVEF was seen in HBP compared to BiV pacing in the 38 patients that completed both phases of the study.

4. The data on outcomes in patients with LBBAP and AVJ ablation  are  limited.  One  prospective  observational study183 evaluated the feasibility and efﬁcacy of LBBAP in 99 patients, 4 (4%) of whom underwent AVJ ablation. In a single-center, retrospective, cohort study186 of 86 pa- tients with HBP or LBBAP (9%) with ICD who underwent AVJ ablation compared with ICD only, the incidence of adverse events including HFH or death was higher in the non-AVJ ablation group than in the AVJ ablation group (P = .01). Several prospective studies187,188 showing suc- cessful LBBAP implantation and stable lead parameters

have included patients undergoing AVJ ablation, support- ing feasibility in this population. Ina study190 of98patients undergoing AVJ ablation (48 HBP and 50 LBBAP), CSP was associated with preservation or improvement in EF, and LBBAP was associated with a higher success rate and  lower  lead-related  complications  compared  with HBP. While feasibility has been shown, mid- and long- term lead performance and clinical outcomes related to LBBAP and AVJ ablation still remain to be demonstrated.

Because of the more distal location of LBBAP in the RV compared with HBP, AVJ ablation may be technically easier to perform with LBBAP. In addition, mid- and long-term lead performance is more stable with LBBAP compared with HBP. Prospective randomized studies are needed to further evaluate the outcomes of AVJ ablation in patients with LBBAP.

5. RV apical pacing can increase the risk of new onset and progression of AF. A large prospective study193  that enrolled patients with sinus node dysfunction indicated for pacemaker implantation found that conventional dual-chamber rate-modulated pacing with an AV delay of 120-180 ms resulted in 99% RVP and a 12.7%

incidence of progression from no/paroxysmal AF to persistent AF. The RVP prevention algorithm group had a lower incidence of RVP (9.1%) and persistent AF progression (7.9%) (P  = .004). Two observational studies189,191  examined patients with either no prior AF or paroxysmal AF and compared HBP to RVP in terms of AF burden postimplant. One study191 showed that new-onset AF was  signiﬁcantly  lower  (20.8% HBP and 40.8% RVP) but AF progression was not, and this was driven by subjects with higher RVP bur- dens.  Similarly,  the  other  study  demonstrated  less persistent/permanent AF in the HBP subjects. This was due to a signiﬁcantly lower rate of new-onset AF (7.3% vs 18.8%, 20.4% of patients with RV septal/RV apical pacing) with no signiﬁcant reduction in AF pro- gression.189 Compared to RVP, LBBAP was associated with lower new-onset AF risk (relative risk reduction of 59% for AF episodes ≥6 minutes; P = .035) in a retro- spective cohort60 of 410 patients and in a prospective cohort192 of 527 patients, especially if patients required >20% ventricular pacing (relative risk reduction 72%; P < .001).

Patients with AF

Meets CRT implant    criteria

Decision to

No

perform AVJ

ablation

Yes                                                                    Yes

CRT with BiV pacing

(2a, B-NR)

LVEF ≤ 50%

No

Yes

CRT with BiV pacing

(2a, B-R)

HBP with or without

print & web 4C/FPO

ventricular backup lead

(2b, C-LD)

Implant LBBAP lead

(2b, C-LD)

Figure 4     Algorithm for cardiac physiologic pacing in patients with atrial ﬁbrillation. Colors correspond to the class of recommendation in Table 1. AF = atrial ﬁbrillation; AVJ = atrioventricular junction; BiV = biventricular; CRT = cardiac resynchronization therapy; HBP = His bundle pacing; LBBAP = left bundle branch area pacing; LVEF = left ventricular ejection fraction.

28                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

# Section 4 Preprocedure evaluation and preparation

Successful and safe device implantation is dependent on pre- paring for the procedure. Established steps include preopera- tive antibiotic prophylaxis, careful maintenance of operative room sterility, and appropriate management of perioperative anticoagulation. This section focuses on preprocedure testing that can affect device choice and procedural planning. In particular, the resting ECG is an essential part of the initial evaluation of patients under consideration for CIED implant. Bradyarrhythmia may be readily detected, and potential un- derlying structural diseases may be suggested by ﬁndings such as Q waves, QT prolongation, LV hypertrophy, low QRS voltage, and other abnormalities. In addition, a variety of ambulatory monitors (short term or implanted) may be used to determine transient conduction defects, such as inter- mittent heart block, or reveal the presence of episodic ar- rhythmias.

For patients with suspected structural heart disease, pre- procedure imaging is useful to determine LV function and potentially  to  identify  treatable  conditions.  Noninvasive

studies, such as coronary computed tomography angiog- raphy, cardiac MRI with late gadolinium enhancement, and echocardiography,  can help  determine pathology,  assess prognosis, and direct speciﬁc non-device-related treatments. Other tests, such as laboratory testing and in certain cases ge- netic testing, may be useful from a planning and prognostic standpoint but are not immediately helpful for device selec- tion.

Implantation of a CIED requires a patient-centered focus.

Implanting a permanent device with multiple permutations and variations in techniques, device choices, and potential outcomes requires a careful partnership between the clinician and the patient. A detailed discussion of choices, risks, ben- eﬁts, and alternatives should be included for any CIED pro- cedure as part of shared decision-making. Risk factors and comorbidities, such as advanced age and frailty, may need to be considered for speciﬁc patients. Use of online tools and other tools for shared decision-making may improve patient-reported outcomes. An algorithm outlining the deci- sion making regarding preprocedural testing  and  shared decision-making is shown in Figure 5.

Patients with bradycardia or HF

being considered for

implantation with a CPP device

12-lead ECG to evaluate the heart

rhythm/rate, AV conduction, and

QRS duration and morphology to

determine type of CPP

(1, A)

Considering

CRT with BiV

pacing

Pre-procedural echo assessment of

Considering CSP

ventricular dyssynchrony to predict

outcomes of CRT with BiV pacing

(3: No Benefit, A)

Pre-procedural echo

Pre-procedural echo

Imaging modality (echo,

screening for LVEF

(1, A)

screening for LVEF

(1, C-EO)

cMRI, or CT) to target

LV lead placement

(2b, B-R)

Potential

benefit from

print & web 4C/FPO

CPP

Clinicians and patients engage in

shared decision-making approach

(1, C-EO)

Figure 5     Preprocedure evaluation and preparation. Colors correspond to the class of recommendation in Table 1. AV = atrioventricular; BiV = biventricular; cMRI = cardiac magnetic resonance imaging; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CSP = conduction system pacing; CT = computerized tomography; ECG = electrocardiogram; Echo = echocardiogram; HF = heart failure; LV = left ventricle/ventricular; LVEF = left ven- tricular ejection fraction.

| ## 4.1. Preprocedure testing |  |  |  |
| --- | --- | --- | --- |
| Recommendations for preprocedure testing |  |  |  |
| COR | LOE | Recommendations | References |
| 1 | A | 1. In patients being considered for implantation of a CPP device, a 12-lead ECG is recommended to evaluate the heart rhythm, heart rate, AV conduction, and QRS duration and morphology to determine the appropriate type of CPP. | 136,194-199 |
| 1 | A (CRT) C-EO (HBP, LBBAP) | 2. In patients planned to undergo implantation of a CPP device, preprocedural echocardiographic screening for LVEF is recommended. | CRT 92,94,96 |
| 2b | B-R | 3. In patients indicated for CRT, use of an imaging modality (eg, echocardiogram, cardiac MRI, or CT) may be considered to target LV lead placement. | 200-204 |
| 3: No Beneﬁt | A | 4. In patients being considered for CRT, preprocedural echocardiographic assessment of ventricular dyssynchrony is not useful to predict outcomes from CRT with BiV pacing. | 205,206 |

Synopsis

Electrocardiographicevaluation is essential to determine the type of device to be implanted in patients considered as candi- dates for CPP. In subjects with bradycardia indications for pac- ing, ECG is used to predict a high percentage of ventricular pacing based on the presence of conduction disturbances and their location. In subjects with decreased LVEF, ECG evalua- tion of the heart rhythm, heart rate, and QRS duration and morphology is essential to establish the indications for a spe- ciﬁcCPP device and to predict the beneﬁt from a given therapy.

Echocardiographic imaging for the assessment of LVEF is essential in patients who are being assessed for consideration of CPP therapy. In addition to LVEF, there is evidence that preprocedural imaging can also be helpful in determining areas of delayed LV activation or scar to guide LV lead place- ment in CRT patients. On the other hand, there are no consis- tent  data  that recommend  preprocedural  assessment  of ventricular dyssynchrony in patients indicated for CRT, as it has not been able to predict clinical response.

Recommendation-speciﬁc supportive text

1. CPP techniques are targeted to achieve more physiologic ventricular activation and/or correction of electromechan- ical dyssynchrony.12,207,208 The surface 12-lead ECG with the assessment of QRS duration and morphology is histori- cally the oldest tool in evaluation ofelectrical dyssynchrony and remains the gold standard in qualifying patients for CRT. Several limitations of ECG have been reported including different deﬁnitions of LBBB, different method- ologies of the measurement, and inconsistent results of the trials designed to examine the correlation between electrical and mechanical dyssynchrony.197,209-216 Nevertheless, the results  of  landmark  RCTs  in  CRT  patients,  which established the current recommendations, are based on beneﬁts achieved from this therapy in patients enrolled for CRT implantationbased on QRS duration.90-92,94,96There-

sults of meta-analyses of RCTs showed consistent beneﬁts of CRT in patients with wide QRS. Subsequent post hoc subanalyses of these trials, targeted toward QRS duration and morphology, showed that the most substantial beneﬁt was achieved in patients with LBBB morphology (see Sec- tion  3.2).72,136,137,152,194-196,199,217,218   The  debate  of whether QRS duration or morphology is more important continues.129 Further studies showed that PR interval dura- tion may also be useful in the identiﬁcation of CRT re- sponders.198 More sophisticated ECG techniques, such as noninvasive ECG mapping or vectorcardiography, have also been reported to predict outcomes.147,219-221  The evaluation of the percentage of ectopy on preimplantation ambulatory ECG monitoring may identify reduced CRT efﬁcacy due to low BiV pacing during follow-up.222 Wide baseline andpostimplantpaced QRS duration were reported to predict PICM.13,223  A detailed evaluation of LBBB morphology may help to distinguish true BBB from LV intraventricular delay, which is more likely to result from underlying structural heart disease.146,224,225

2. In patients who are considered for implantation of a CPP device, the use of cardiac imaging is recommended before implantation to guide appropriate therapy. Echocardiogra- phy is the imaging technique of ﬁrst choice to assess the presence of structural heart disease and to determine the LVEF.  Currently,  LVEF  remains  a  cornerstone  in deciding which cardiac pacing therapy is recommended for the patient. Especially for CRT, the clinical evidence obtained from the large randomized clinical trials is typi- cally based on the LVEF.92,94,96

In patients with cardiomyopathy, cardiac MRI and nuclear imaging could also be used to evaluate LV systolic function but are especially helpful before device implantation to eval- uate the underlying etiologies of LV dysfunction, presence of ischemia and myocardial scar, and potential causes of con- duction disturbances.

30                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

| 3. Mechanical dyssynchrony in patients who are considered suitable for CRT is most often delayed LV activation of the posterolateral wall. This region is therefore targeted during implantation for LV lead position. There is sub- stantial individual variation in the latest activated region as well as in the presence and location of scar that could inﬂuence the effect of CRT. Three randomized studies200–202 reported that an LV lead placement approach targeting the latest activated region free from scar using preprocedural radial strain imaging by echocardiography resulted in a signiﬁcant improvement in clinical outcome after CRT. However, these results were not consistent for all imaging modalities.203,204 4. The clinical effect of CRT varies considerably between pa- tients. Many patients encounter signiﬁcant improvements after CRT, but there remains a substantial group of patients that has little or no effect from this therapy. Since LV dys- synchrony was considered to be the substrate amenable to CRT, many echocardiographic measurements of LV dys- synchrony have been prospectively evaluated. These obser- vational, mostly single-center, studies had promising results, as they showed that the presence of LV dyssyn- chrony was associated with reverse remodeling or improved clinical response after CRT. These results, however, were not conﬁrmed in larger multicenter prospective trials.205,206 In these studies, echocardiographic measurements of ven- tricular dyssynchrony showed only a modest accuracy to predict response to CRT, suggesting that the echocardio- graphic parameters of LV dyssynchrony have not been ac- curate enough for clinical decision-making in CRT. Since then, many other cardiac imaging techniques have been studied in observational studies, generating various new pa- rameters of dyssynchrony that were associated with CRT response. These parameters need to be prospectively ## 4.3. Shared decision-making |  |  | conﬁrmed. Therefore, at this time there is still no measure ofLV mechanical dyssynchronywith enoughpredictive po- wer that can be recommended to improve patient selection for CRT beyond current guidelines, and the ECG remains the standard for patient selection in CRT. ## 4.2. Assessment for other predictive factors associated with CPP response Although several risk factors may identify patients at an increased risk of PICM, many patients tolerate high-burden RVP without adverse outcomes. The ability to identify those at highest risk remains challenging. Current HBP and LBBAP studies,226,227 while demonstrating feasibility and safety, do not contribute greatly to determining patient selection. Most studies contain small numbers of patients, the patient popula- tion appears younger than those seen clinically, and data are generally lacking on race, sex, and comorbidities. The studied populations include patients with different clinical proﬁles (such as pacing indications and risk factors), but most lack a control group. Factors associated with reverse remodeling following CRT are female sex, nonischemic etiology, andLBBB.228In the case of HBP and LBBAP, the studies are largely limited to retro- spective, observational, single-center or multicenter studies with inherent limitations, such as potential bias inpatientselec- tion and patient treatment.58Clinical beneﬁtsand risks have not been systematically examined. Speciﬁc reporting of clinical outcomes also varies, making clear recommendations chal- lenging. Information regarding patients where HBPorLBBAP was not successful is generally also not available. Many groups are underrepresented. For example, women tend to be under- represented and data on race are often not provided. |
| --- | --- | --- | --- |
| Recommendations for shared decision-making |  |  |  |
| COR | LOE | Recommendations References |  |
| 1 | C-EO | 1. In patients who may beneﬁt from CPP, clinicians and patients should engage in a shared decision-making approach in which (1) information is shared on the evidence base for different types of CPP and (2) treatment decisions are based not only on the best available evidence but also on the patient’s goals of care, preferences, and values. |  |

Synopsis

For  shared  decision-making  to  occur,  the  following criteria should be met: (1) participation of at least the clini- cian and the patient, (2) exchange of information between participants, (3) consensus regarding the preferred therapy, and (4) agreement on the therapy to be employed.229

Recommendation-speciﬁc supportive text

1. The CPP guideline writing committee supports shared decision-making as an integral part of the overall care of patients who may beneﬁt from CPP. When a decision is

made that a patient may beneﬁt from CPP, clinicians should engage in a conversation with the patient that ap- plies the principles of shared decision-making. Providing a patient with information related to the risks and beneﬁts of the procedure and letting them make a decision about how to proceed is not shared decision-making.230 Rather, the conversation should include information on the clin- ical indication for the procedure, careful consideration of the patient’s risks and beneﬁts based on their comorbid- ities, frailty, and overall prognosis, and the patient’s goals of care and preferences. The conversation should also

cover the evidence base for CRT vs CSP and the potential effects of these pacing modalities on battery longevity and short- and long-term complications, as well as potential future lead management issues (if applicable) and poten- tial considerations at the end of life.10,50,231–233  The conversation about different physiologic pacing options should  occur  even  if  CPP  strategies  other  than  the chosen one are considered a fallback alternative if the planned  procedure  is  unsuccessful.  Having  such  a conversation  with  patients  might  be challenging,  as clinicians have to strike a balance between being fully transparent and informative and not overburdening the patient  with  complex  information  that  may  make  it difﬁcult for them to make an informed decision. Then a recommendation is made based on the best available evidence  and  a  good  understanding  of  the  patient’s health goals, preferences, and values. It is important to remember that patient preferences for and perception and acceptance of the risks of invasive therapies vary and are likely to change during the course of their illness.

# Section 5 Implant procedure

Although BiV pacing is an established approach that has been  widely  supported  in  medical  guidelines,  obstacles remain in optimizing the technique, whether engaging the CS, ﬁnding optimal branches, or determining the best pac- ing strategies that will maximize cardiac resynchronization. Challenges  encountered  with  HBP  have  included  opti- mizing the leads and delivery systems that target a small area within the conduction  system,  achieving long-term anatomic stability, and obtaining stable and durable pacing thresholds.  More  recently,  LBBAP  has  emerged  as  a feasible approach at more distal targets within the conduc- tion system but with need for more data regarding appro- priate   patient   selection,   deﬁnition   of   intraprocedural success, and longer-term outcomes with respect to lead sta- bility  and  safety.  This  section  addresses  the  minimal criteria  for  successful  implantation  using  each  of these techniques, as well as recommendations regarding alterna- tive strategies should the initial implant approach be un- successful, as outlined in Figure 6.

Patients undergoing CPP

implant

CSP implant with HBP or LBBAP lead

CRT implant with BiV     pacing

12-lead ECG during

Demonstrate conduction

Quadripolar LV

implantation to assess

system and myocardial

lead

conduction system capture

capture thresholds at implant

(1, B-R)

(1, C-EO)

(1, C-EO)

Target LV lead

Assess for His bundle or left

Non-apical LV

Position lead and

to sites of late

bundle current of injury

(2a, C-LD)

lead location

(2a, C-LD)

program device to

ventricular

maximally narrow

activation

final paced QRS

(2b, C-LD)

(2a, B-NR)

CS LV lead placement

unsuccessful or

suboptimal

print & web 4C/FPO

Cross over to

HBP or LBBAP

(2a, C-LD)

Crossover to surgical

epicardial CRT with BiV pacing

(2b, C-LD)

Figure 6     Implant procedure. Colors correspond to the class of recommendation in Table 1. BiV = biventricular; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CS = coronary sinus; CSP = conduction system pacing; ECG = electrocardiogram; HBP = His bundle pacing; LBBAP = left bundle branch area pacing; LV = left ventricle/ventricular.

| 32 | Heart Rhythm, Vol -, No -, - 2023 |  |  |  |
| --- | --- | --- | --- | --- |
| ## 5.1. | ## Tools and techniques for CRT with BiV pacing |  |  |  |
| Recommendations for tools and techniques for CRT with BiV pacing |  |  |  |  |
| COR |  | LOE | Recommendations | References |
| 1 |  | B-R | 1. In patients undergoing CRT implant, a quadripolar LV lead is recommended to assist with lead stability, lower capture thresholds, avoid phrenic nerve pacing, and decrease need for lead repositioning. | 9,234-237 |
| 2a |  | B-NR | 2. In patients undergoing CRT implant, lead positioning and programming the device to deliver the narrowest QRS duration can be beneﬁcial in improving LV structure and function. | 9,238-244 |
| 2a |  | C-LD | 3. In patients undergoing CRT implant, LV lead placement to allow for pacing from a nonapical position is reasonable to improve CRT clinical and structural response. | 9,245-249 |
| 2b |  | C-LD | 4. In patients undergoing CRT implant, targeting lead placement at sites of late ventricular activation may be considered to improve CRT response. | 134,200,249-258 |

Synopsis

Lead positioning plays an important role in whether pa- tients implanted with a CRT device derive the desired bene- ﬁts. The deﬁnition of success or failure of CRT has been variably deﬁned due to variations in criteria involving acute hemodynamic response, mechanical remodeling, HFH, or mortality. However, lead positioning seems to consistently be an important factor in CRT response.250

There are various means of optimization of LV lead place- ment. The area of the latest LV activation allowing for adequate threshold without phrenic nerve  stimulation  is optimal  for  achieving  the  best  hemodynamic  response measuring  (LV  dP/dtmax).  Electrical  delay  or  QLV  is measured in milliseconds from the beginning of the surface QRS complex to the beginning of the intrinsic local signal on the intracardiac electrogram.259,260

Implantation of extendable-retractable helices appear to have a higher dislodgment rate compared to ﬁxed helices.261

Recommendation-speciﬁc supportive text

1. In a large RCT,235 use of a quadripolar LV lead, compared to a bipolar lead, reduced intraoperative and postoperative

LV lead-related events up to 6 months. This ﬁnding was conﬁrmed by observational studies.234,236  Quadripolar leads also needed less ﬂuoroscopy for implantation, al- lowed for better distal vein positioning, and had lower pacing thresholds and impedances, compared to bipolar leads.9,237 Even though phrenic nerve stimulation can be more common, there is less need for lead repositioning given the ability to switch vectors to avoid phrenic stimu- lation.234   There  was  also   a  statistically  signiﬁcant decrease in lead placement failure, but no difference in procedural complication rates with quadripolar leads, compared to unipolar and bipolar leads in a large anal- ysis237 using the National Cardiovascular Data Registry database.

2. In a small observational study,239 optimization of inter- ventricular pacing delay using electrocardiographic and echocardiographic parameters with achievement of the

narrowest QRS duration allowed better hemodynamic response. In another study,238  the best fusion-optimized AV interval was one that achieved the narrowest QRS duration during LV pacing, and fusion-optimized inter- vals (FOI) shortened the QRS duration more compared to nominal settings. A subset of these patients also showed improvement in LV dP/dtmax  with FOI pacing. The ﬁnding of FOI further reducing QRS duration compared to nominal groups was conﬁrmed in an RCT240  that included   patients   with   ischemic   cardiomyopathy, NYHA class II-IV symptoms, LVEF ≤35%, and LBBB with  successful  CRT  implantation.  There  was  more reverse remodeling observed in the FOI group, with a cor- relation between narrowing QRS duration and the reverse remodeling. There were more super-responders and fewer negative responders in the FOI group in this study as well.240  In the multicenter, prospective, observational Sync-AV study,241  a device-based algorithm that auto- matically adjusted AV delay according to intrinsic AV conduction led to narrower QRS duration compared to nominal CRT settings. Narrowing the QRS duration was associated with favorable echocardiographic and clinical responses.9,242,243 QRS area independent of QRS duration also predicted combined clinical outcomes of all-cause mortality, cardiac transplant, and left ventricular assist de- vice (LVAD) implantation in patients with LBBB who were receiving CRT.244  A systematic review and meta- analysis242  showed an association between QRS short- ening with improvement in electrical dyssynchrony and NYHA class reduction ≥1 or LVESV reduction ≥15% response to CRT. Survival beneﬁt over a 9-year period was observed in patients with LBBB who had QRS nar- rowing following CRT implant.243

3. A   single-center   prospective   observational   study246 demonstrated that event-free survival was lower with api- cal LV pacing compared to basal and midventricular LV lead positions. There was also less LV reverse remodeling and improvement in NYHA class with apical pacing.246 A large subgroup analysis247 of MADIT-CRT showed that

LV lead location classiﬁed by radiographic positioning in the short and long axis showed a higher propensity for HFH and mortality among those with apical lead posi- tioning compared to midventricular or basal positions. A subgroup observational study248 of the REVERSE trial of the LV lead position reported more responders to CRT in the nonapical position group. Among echocardio- graphic parameters, LVESVI decreased more in the non- apical position group compared to the apical position group. The composite endpoint of death and ﬁrst HFH was lower in the nonapical position group compared to the apical position group and in the LV lateral position group compared to the non-lateral position group.248 Another study249 showed that improvement in hemody- namic response was guided by pacing site using echocar- diographic parameters. In contrast, a large retrospective observational study245 showed no difference in mortality or HFH between apical and nonapical positioning on the basis of ﬂuoroscopic CS lead positioning at implant. Although the apical position group had higher mortality and pump failure, there was a lower risk of sudden cardiac death.245   Quadripolar  leads  allow  for  more  choices regarding pacing sites regardless of positioning, including ability to pace from nonapical sites despite apical lead placement.9

4. Compared to anatomic locations, placement of LV leads in areas of electrical delay can confer a greater beneﬁt.262 In a post hoc analysis of a large multicenter RCT,252 HF clinical composite outcomes were assessed relative to interventricular electrical delay (short delay being <67 ms and long delay being ≥67 ms) in patients who under- went CRT placement. The long interventricular electrical delay group had more clinical improvement, less clinical deterioration, and higher freedom from HFH or mortal- ity.252  QLV is the time from the onset of QRS on the ECG to local activation at the site of the LV lead. RV to

LV lead activation can serve as a surrogate in pacing- dependent patients.251,254,255  Generally, sites with QLV >95 ms or >50% of total QRS duration favor optimal response with CRT. QLV >120 ms further improves chances of CRT having an optimal response.250,259 In a substudy250  of the  Comparison  of AV  Optimization Methods Used in Cardiac Resynchronization Therapy (SMART-AV) trial, high QLV was associated with higher reverse remodeling, statistically signiﬁcant decreases in LVESVI, and improved quality of life measurements. Observational studies255,256  and 1 prospective study249 have shown that longer QLV corresponded to higher

LV dP/dtmax. Acute hemodynamic response using stroke volume using pressure volume loops showed a large vari- ation between electrodes in a quadripolar lead. An antero- lateral or lateral electrode placement with high QLV/QRS duration was shown to have the highest association with change in stroke volume in univariate analysis acutely.258 Speckle tracking with echocardiographic guidance to place the LV leads at sites closest to the regions of latest

activation has also conferred a beneﬁt for event-free sur- vival.200

### 5.1.1.  Other tools and techniques for CRT

##### Multipoint pacing, multisite pacing, and quadripolar leads

Ventricular multisite pacing (MSP) can be performed using triventricular pacing from 3 ventricular leads, with 2 of the leads being in RV and LV and the third lead being in 1 of the ventricles. Occasionally, the term MSP refers to pacing using multipolar LV leads.263,264 Multipoint pacing (MPP) traditionally refers to pacing from multiple poles from an LV lead.241,265 When BiV pacing is suboptimal, MSP/MPP can improve response when 2 LV leads are spaced at least 30 mm apart with a minimal delay of 5 ms.251,266,267 MSP can be performed with use of a Y adapter or with a BiV de- vice, as there are no speciﬁc devices for MSP. The 3 leads in MSP can also be connected to a BiV device using the atrial channel for 1 of the ventricular leads if the patient is in AF. Programming for MPP leads is easier, but there is still no BiV pacing device that can deliver varied outputs in accor- dance with individual thresholds for each pole. MPP is preferred to MSP due to ease of implantation and program- ming as well as safety during implant (20% adverse events with MSP).268-270

Since optimal lead placement can have anatomical or tech- nical challenges, quadripolar leads (with a distal tip and 3- ring electrodes) can help with stability, optimal threshold obtainment, and avoidance of phrenic nerve stimulation, leading to decreases in LV lead-related intraoperative or postoperative events. Quadripolar LV pacing has less LV lead-related  events  intraoperatively  and  at  6  months compared to bipolar LV CS pacing.235  Active ﬁxation LV pacing leads may also help reduce lead dislodgment.271,272

##### Adaptive algorithms

Given the high rate of suboptimal responders to CRT, algo- rithms to optimize AV and interventricular (VV) intervals have been created by various device companies. These algo- rithms vary in their optimization technique and acute hemo- dynamic  responses  in  comparison  to  echocardiography- guided optimization. Some algorithms take only a few mi- nutes  and  are  based  on  timing  cycles  of intracardiac ECGs.273 Others adjust sensed and paced AV delays to maxi- mize LV dP/dtmax  based on intrinsic AV interval, RV-LV timing, and LV lead location. Optimization of CRT to allow for triple wavefront fusion of intrinsic conduction and BiV pacing can help with response rates with CRT.274 One algo- rithm adjusts AV pacing intervals and synchronously paces LV to intrinsic RV activation with improved responder rates and clinical outcomes, including reduction in AF in patients with long AV delays; with this algorithm, LV-only pacing occurs when HR is <100 bpm, and BiV pacing occurs when HR is >100 bpm or there is a long AV delay.275,276 LV pacing linked to the RVP or BiV pacing during normal AV delay of <200 ms is a basis of this algorithm for adaptive

34                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

CRT. AV and VV delays are adjusted by intrinsic conduction interval timing to allow for more physiologic ventricular acti- vation and decrease in RVP (and subsequently increase in battery life).276 Another algorithm was developed to optimize intrinsic RV and LV electrical and mechanical synchrony. In addition to manual programming with the use of ECG, this algorithm alters AV delay up to 350 ms continuously to allow for fusion between native conduction and BiV pacing277 and was reported to narrow the QRS duration more than conven- tional CRT pacing and improve electrical dyssynchrony by narrowing the QRS duration further during BiV pacing compared  to  conventional  CRT  pacing,  including  with assessment by vectorcardiography.246,278

Various other optimization algorithms have also been developed and compared to echocardiography-guided opti- mization. An algorithm279 that automated AV and VV inter- vals each week using an accelerometer in NYHA class III and IV patients was noninferior compared to echocardiography- guided AV and VV optimization. Another AV optimization method273 was studied in patients receiving CRT-D devices with NYHA class III and IV symptoms despite optimal med- ical therapy, LVEF ≤35%, and QRS duration ≥120 ms. LVESV, NYHA class, quality of life, and 6MWD were as- sessed at implantation, 3 months, and 6 months with no dif- ference in LVESV or secondary endpoints observed between the AV optimization algorithm and the echocardiography- guided optimization groups.273

Another trial280 categorized patients who had program- ming optimized using an echocardiogram, an ECG, an algo- rithm that optimized AV and VV delays, or nominal device programming. Although there was a signiﬁcant reduction in LVEDD, shorter 6MWD, and more improvement in LVEF in all groups compared to the nominal programming group at 6 months, there were no signiﬁcant long-term differences between the groups at 12, 24, and 48 months.280

##### LV epicardial pacing

Surgical epicardial LV lead pacing is a reasonable alternative when CS lead placement fails.253 In addition to a small oper- ative risk, the largest operative challenge is achieving an optimal lead position on the posterolateral aspect of the

LV.281  Video-assisted thoracoscopic epicardial LV lead placement can be guided by mapping the maximum QLV us- ing a multipolar electrophysiological mapping catheter (such as a decapolar catheter) intraoperatively.253

##### LV endocardial pacing

LV endocardial pacing has been explored as an alternative to

LV epicardial lead placement when CS lead placement fails. Various methods for endocardial non-CS LV pacing include an atrial trans-septal approach, hybrid surgical/endocardial trans-ventricular apical pacing, and nonapical trans-septal ventricular pacing. All endocardial non-CS LV lead tech- niques require systemic anticoagulation with international normalized  ratio  (INR)  goals  around  2.5-3.5,  with  a continued risk of thromboembolic events and difﬁculties with subtherapeutic INRs or holding anticoagulation due to thromboembolic events.282

##### Scar

Compared to patients with ischemic cardiomyopathy, pa- tients   with   nonischemic   cardiomyopathy   have   more improvement in LV function and reverse remodeling with CRT placement. Assessment of myocardial viability can be performed using contrast echocardiography with perfusion score index (PSI) for summed segmental perfusion. The PSI correlates with improvement in LVEF, stroke volume, end-systolic volume, and global myocardial performance in those undergoing CRT implantation.283  Cardiac MRI scan can also assess scar burden and transmurality. Signiﬁcant scar burden on contrast-enhanced cardiac MRI correlates well with change in LVESV with CRT in patients with ischemic cardiomyopathy. Higher scar burden is associated with lower response rates to CRT.284

Pacing in areas of LV scar during BiV pacing can lead to longer QRS duration and higher capture thresholds. Incorpo- ration of cardiac MRI-based scar map using a segmental heart model on the CS venogram can help with avoidance of areas with myocardial scar and guide the CS lead to areas of true mechanical dyssynchrony during implantation.284,285

## 5.2. Tools and techniques for CSP

CSP requires specialized tools and techniques for successful implantation. Recommendations are based on expert opinion and  ﬁndings  from  several  prospective  and retrospective studies involving CSP.

HBP was initially reported in the year 2000 with tradi- tional active ﬁxation leads.286  Subsequent studies287  have demonstrated greater success with the use of a dedicated lead with an electrically active, exposed screw and special- ized delivery systems. While early studies used an electro- physiology catheter to map the His bundle region, the His region can be successfully mapped using the pacing lead in unipolar fashion.43  Although associated with a signiﬁcant learning curve and longer procedure/ﬂuoroscopy duration, 3-dimensional mapping systems have been used to facilitate CSP lead implantation with shorter ﬂuoroscopy times and reasonable success.40,288-291  Use of contrast injection to delineate the tricuspid valve and the septal region can be helpful during both HBP and LBBP.292,293  While His and left bundle electrograms can be recorded using the pacing system analyzer, high-resolution recording system at sweep speeds of 100 mm/s can be more helpful to record and conﬁrm conduction system capture.294,295

HBP can result in selective capture of the His bundle alone or capture of surrounding RV myocardium in addition to the His bundle, resulting in nonselective capture (Figure 7). Nonselective HBP can be difﬁcult to differentiate from RV myocardial-only capture. A 12-lead ECG can help differen- tiate nonselective HBP from RV septal-only pacing. In addi- tion,  BBB  correction  (Figure  8)  can  be  more  readily recognized with 12-lead ECG.294  During threshold testing, output (voltage)-dependent changes in ECG morphology are helpful in identifying and accurately documenting His bundle capture and BBB correction thresholds. In up to

| 10% of patients, both His bundle and RV myocardial capture |  |  | for His-ventricular conduction times.294,303 Current auto- |  |
| --- | --- | --- | --- | --- |
| thresholds can be identical. In such patients, change in pulse |  |  | matic threshold assessment algorithms do not allow for accu- |  |
| width, programmed stimulation, or rapid pacing can help conﬁrm conduction system capture.296,297 Various criteria |  |  | rate assessment of His bundle capture thresholds and should generally be turned off.12,294 |  |
| to deﬁne His bundle capture in patients with normal and diseased His-Purkinje conduction are provided in Table 6.12 |  |  | LBBAP was initially described using a lead with an elec- trically active, exposed screw.306 Other active ﬁxation leads |  |
| HBP can be associated with higher capture thresholds compared to RVP. Additionally, during longer-term |  |  | with an extendable-retractable screw and dedicated delivery sheaths have also been used to achieve LBBAP.307 During |  |
| follow-up, late rise in capture thresholds requiring lead revi- sions are seen in 7%-11% of patients.16,298,299 During HBP |  |  | LBBAP, 12-lead ECG characteristics help conﬁrm place- ment of the lead in the LV septal subendocardial region |  |
| lead implantation, it is suggested to achieve capture thresh- olds of <2.5 V at 1 ms.12,294 Injury current recorded in the |  |  | and assess capture of the left conduction system (Figure 9 and Table 7).308,309 Transition from nonselective to selective |  |
| HBP and LBBP lead electrogram during lead implantation |  |  | LBB or LV septal capture is highly speciﬁc for LBB capture, |  |
| has been shown to be associated with excellent acute and long-term thresholds.300-302 Adjusting the high-pass ﬁlter |  |  | while recording LBB potentials (LB-V intervals of 15-35 ms) is highly sensitive.310 A 2-lead technique (lead in the |  |
| in the high-resolution recording system (0.5-1 Hz from 30 Hz) can be helpful in recording the HB current of injury.295 HBP lead placement in the proximal His bundle region can |  |  | HB location and LBB area) can be helpful in recording retro- grade His in non-LBBB and recording of LBB potential dur- ing corrective HBP in LBBB to conﬁrm LBB capture.310 |  |
| be associated with atrial oversensing and ventricular under- sensing.303,304 It is preferable to target the distal His bundle region during implantation to avoid sensing issues and threshold increases after AV node ablation.185,305 While pro- |  |  | Recently, physiology-based criteria using native V6 R- wave peak time (RWPT) have been proposed to assess LBB capture.311 While no single criterion has high sensitivity and speciﬁcity to conﬁrm LBB capture, a stepwise algorithm |  |
| gramming devices with HBP, AV delay should be shortened by 40-50 ms compared to conventional parameters to allow |  |  | has recently been proposed to assess LBB capture during LBBAP.312 |  |
| Recommendations for tools and techniques for CSP |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 1 | C-EO | 1. In patients undergoing CSP with HBP or LBBAP, 12-lead ECG is useful during implantation to assess conduction system capture most accurately. |  |  |
| 1 | C-EO | 2. In patients undergoing CSP with HBP or LBBAP, accurate demonstration of conduction system capture thresholds (including BBB correction) and myocardial capture thresholds at implant is useful for appropriate programming of the device. |  |  |
| 2a | C-LD | 3. In patients undergoing CSP with HBP or LBBAP, assessment of His bundle/left bundle current of injury using appropriate ﬁlter settings can be beneﬁcial in achieving acceptable capture thresholds and lead stability. |  | 300-302 |

Synopsis

During implantation of CSP leads, it is essential to conﬁrm conduction system capture, which can be challenging. The 12-lead ECG is useful to differentiate capture of the conduc- tion system and surrounding myocardium, accurately estab- lish pacing thresholds required to correct the underlying BBB and appropriately program pacing outputs. Similar to the myocardial current of injury observed during atrial and ventricular lead placement, injury current can be recorded from the His bundle and LBB. Demonstration of the current of injury is often associated with excellent CSP thresholds. Recommendations are based on expert opinion and ﬁndings from several prospective and retrospective studies involving CSP.

Recommendation-speciﬁc supportive text

1. A 12-lead ECG during the implant procedure is recommen- ded to assess the baseline ECG and analyze pacing mor- phologies to conﬁrm QRS  narrowing  and  conduction system capture, including correction of underlying BBB, differentiation  of  nonselective  HBP  from  RV  septal (para-Hisian) pacing, and conﬁrmation of LV septal and LBB  capture.  An  electrophysiology  recording  system and/or pacing system analyzer to record His bundle/LBB electrograms can be helpful in identifying conduction sys- tem capture. Criteria for HBP and LBBAP, including ECG- based criteria, are listed in Tables 6 and 7. For differenti- ating nonselective HBP from RV septal pacing, ECG- based criteria of no QRS slur/notch in leads I, V1, V4-V6,

36                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

and the V6 RWPT ≤100 ms were associated with 100% speciﬁcity.303,313   Measurement  of  RWPT  is  assessed from the stimulation artifact to the peak of the R-wave. Change in V6  RWPT  >12  ms  between  stimulus  to RWPT and His to V6 RWPT was shown to have 99.1% sensitivity and 100% speciﬁcity to conﬁrm lack of His cap- ture.314 Demonstration of RV conduction delay pattern in lead V1 (qR, Qr, QR, rSR, etc)is associated with high sensi- tivity for LBBAP but is not speciﬁc for conﬁrming LBB capture.310 Criteria to distinguish LBBP from LV septal pacing without LBB capture continue to evolve. Abrupt shortening of stimulus to V6  RWPT  ≥10 ms during deep-septal LBBP lead implantation and subsequent short and constant V6 RWPT during high- and low-output pacing was associated with high speciﬁcity for LBB capture.310 V6 RWPT <75 ms in non-LBBB and <80 ms in LBBB was associated with 100% speciﬁcity for LBB capture but with lower sensitivity in physiology-based series based on a re- view of transitions in surface ECG morphology.311 Jastr- zebski et al311  proposed that during LBB capture, QRS onset to RWPT equals the RWPT during native non- LBBB rhythm in lead V6  and stimulus to RWPT equals the LBB potential to RWPT in lead V6  during non- LBBB rhythm. Change in V6 RWPT ≥8ms(RWPT during corrective HBP - LBBAP) was associated with 100% sensitivity and 93% speciﬁcity to conﬁrm LBB capture in a small series of patients with LBBB meeting the Strauss criteria (Figure 10).315 Similarly, a V6-V1 interpeak inter- val of >44 ms during LBBP had 100% speciﬁcity for LBB capture.316 Importantly, the majority of these criteria have largely been established based on careful review of transitions in ECG morphology rather than invasive assess- ment, with the exception of abrupt decrease in stimulus to V6 RWPT of ≥10 ms during lead delivery.310

2. The physiology of CSP is dependent on whether the con- duction system is captured or not. A low conduction system

capture (including BBB correction) threshold is associated with long-term stability and safety of pacing. During CSP for infranodal AV block and BBB, pacing should be per- formed at ≥120 bpm to conﬁrm distal conduction system capture and/or BBB correction. Accurate documentation of the His/left bundle capture threshold, BBB correction threshold, and local myocardial capture threshold in pa- tients with nonselective CSP is useful for appropriate pro- gramming of the pacing output both at implant and during follow-up.16,40,42,43,46,99,188,287,290,298,299,312 Several obser- vational studies298,299  have shown an increase in His bundle capture threshold by >1 V in up to 15%-28% of patients during intermediate-term follow-up. In ventricular pacing-dependent patients with nonselective HBP, RV septal myocardial capture can provide ventricular pacing backup in addition to His bundle capture.

3. Injury current in atrial and ventricular myocardial lead electrograms is associated with low tissue capture thresh- olds. Recording of His bundle injury current suggests that the lead has penetrated the insulating outer layer of the His bundle or in close proximity. In patients undergoing HBP,302 demonstration of His bundle current of injury at the time of implant was shown to be associated with low capture thresholds  at implant and during  1-year follow-up compared to when injury current was not observed  in  the  His  bundle  electrogram.  In  another study,300  demonstration of deep negative His potential and His bundle injury current was associated with low capture thresholds at implant and 1-year follow-up. In a study301  of 115 patients with LBBP, 100% of patients with LBB injury current were associated with LBB cap- ture thresholds <1.5 V at 0.5 ms compared to 76% of pa- tients without LBB injury current. Injury current can be recorded in the pacing system analyzer or more clearly us- ing high-resolution recording system by adjusting the high-pass ﬁlter settings.

Figure 7     Selective and nonselective His bundle pacing. A: During selective His bundle pacing (HBP), paced QRS duration and morphology are identical to

baseline. His-V6 R-wave peak time (RWPT) is the same as stimulus to V6 RWPT. B: Transition from nonselective (ns) HBP to right ventricular (RV) myocardial pacing is shown. Pseudodelta waves are seen during ns His capture. During RV myocardial-only capture, slur/notch is seen in 1, L, and V4-V6; stimulus to V6 RWPT is 105 ms; and stimulus to V6 RWPT is 80 ms during ns HBP, which is the same as His-V6 RWPT. Adapted with permission from Vijayaraman et al.12 aVF = augmented vector foot; aVL = augmented vector left; aVR = augmented vector right; HBP = His bundle pacing; ns = nonselective.

print & web 4C/FPO

Figure 8     Bundle branch block correction with His bundle pacing. A: Selective His bundle pacing (HBP) with left bundle branch block (LBBB) correction is

shown. B: Nonselective HBP with right bundle branch block (RBBB) correction is shown. Note the output-dependent transition from nonselective correction of RBBB to nonselective HBP without RBBB correction to right ventricular myocardial-only capture. Adapted with permission from Vijayaraman et al.12 aVF = augmented vector foot; aVL = augmented vector left; aVR = augmented vector right; HBP = His bundle pacing; LBBB = left bundle branch block; RBBB = right bundle branch block.

38                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Figure 9     Left bundle branch pacing (LBBP) in narrow QRS. R-wave peak time in lead V6 (V6 RWPT) measured from the left bundle branch (LBB) potential at baseline is the same as stimulus to V6 RWPT during LBB capture, but signiﬁcantly longer with loss of LBB capture (left ventricular [LV] septal pacing). Adapted with permission from Jastrzebski et al.311 ns = nonselective.

print & web 4C/FPO

Figure 10     Left bundle branch pacing in left bundle branch block. Left bundle branch pacing (LBBP) with left bundle branch (LBB) capture and LBB potential

during corrective His bundle pacing (HBP) is shown. V6 R-wave peak time measured from stimulus during LBB capture (selective [s] and nonselective [ns]) is 25

ms shorter than during corrective HBP and left ventricular septal-only pacing (LVSP). Reprinted with permission from Vijayaraman and Jastrzebski.315 aVF =

augmented vector foot; aVL = augmented vector left; aVR = augmented vector right; HBP = His bundle pacing; LBB = left bundle branch; LBBP = left bundle

branch pacing; LVSP = left ventricular septal-only pacing; ns = nonselective; s = selective.

Table 6     Criteria for His bundle pacing

| Baseline | Normal QRS duration | His-Purkinje conduction disease |  |
| --- | --- | --- | --- |
|  |  | With correction | Without correction |
| Selective HBP | . S-QRS = H-QRS with isoelectric | . S-QRS ≤ H-QRS with isoelectric | . S-QRS ≤ or > H-QRS with isoelectric |
|  | interval | interval | interval |
|  | . Discrete local ventricular electrogram | . Discrete local ventricular electrogram | . Discrete local ventricular electrogram |
|  | in HBP lead with S-V = H-V | in HBP lead | in HBP lead |
|  | . Paced QRS = native QRS | . Paced QRS < native QRS | . Paced QRS = native QRS |
|  | . Single capture threshold (His bundle) | . 2 distinct capture thresholds (HBP with BBB correction, HBP without BBB correction) | . Single capture threshold (HBP with BBB) |
| Nonselective HBP | . S-QRS < H-QRS (usually 0, S-QRSend = H-QRSend) with or without isoelectric interval (pseudodelta wave +/2) . Direct capture of local ventricular electrogram in HBP lead by stimulus artifact (local myocardial capture) . Paced QRS > native QRS with normalization of precordial and limb lead axes with respect to rapid dV/dt components of the QRS . 2 distinct capture thresholds (His bundle capture, RV capture) . No QRS slur/notch in leads I, V1, or V4-V6, and V6 R-wave peak time ≤100 ms . Change in V6 RWPT >12 ms between stimulus and His to V6 RWPT conﬁrms lack of His capture (99.1% sensitivity and 100% speciﬁcity) | . S-QRS < H-QRS (usually 0, S-QRSend < H-QRSend) with or without isoelectric interval (pseudodelta wave +/2) . Direct capture of local ventricular electrogram in HBP lead by stimulus artifact . Paced QRS ≤ native QRS . 3 distinct capture thresholds (HBP with BBB correction, HBP without BBB correction, RV capture) | . S-QRS < H-QRS (usually 0) with or without isoelectric interval (pseudodelta wave +/2) . Direct capture of local ventricular electrogram in HBP lead by stimulus artifact . Paced QRS > native QRS . 2 distinct capture thresholds (HBP with BBB, RV capture) |

Adapted with permission from Vijayaraman et al.12 BBB = bundle branch block; HBP = His bundle pacing; H-QRS = His-QRS interval; RV = right ventricle/ ventricular; S-QRS = stimulus to QRS onset interval; V6  RWPT = R-wave peak time in lead V6.

40                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Table 7     Criteria for left bundle branch area pacing*

| Pacing type |  | Criteria |  |  |
| --- | --- | --- | --- | --- |
| Left ventricular septal |  | 1. Deep septal placement of the pacing lead (conﬁrmed by fulcrum sign, contrast, echocardiogram, or CT) |  |  |
| pacing |  | and 2. Right bundle branch conduction delay pattern in lead V1 (rare exceptions) |  |  |
| Left bundle branch area pacing |  | 1. Evidence for LV septal pacing in addition to any one of the following LBB capture criteria: LBB capture criteria ● Nonselective to selective LBBP or nonselective to septal capture transition during threshold testing ● Abrupt shortening of RWPTt or (LVAT in V6≥10 ms at high output during deep septal position with subsequent short and constant LVAT at low output with further advancement of the lead ● V6 RWPT <74 ms in non-LBBB and <80 ms in LBBB ● V6-V1 interpeak interval >44 ms ● Physiology-based criteria a. QRS onset to RWPT ≤ native RWPT (+10 ms) b. Stimulus to RWPT ≤ LBB potential to V6 RWPT (+10 ms) c. Stimulus to V6 RWPT + 10 ms < (intrinsicoid deﬂection time - transseptal conduction time) in LBBB ● Programmed deep septal stimulation demonstrating differential capture ● Change in V6 RWPT between (corrective) HBP and LBBP >8 ms in LBBB ● Demonstration of LBB potential with injury current ● Demonstration of stimulus to retrograde His <35 ms or anterograde left conduction system potential preceding ventricular electrogram during LBBP |  |  |
| *Left bundle branch area pacing includes both LV septal pacing and left bundle branch pacing. tRWPT and LVAT here should be assessed starting from the stimulation artifact rather than from the inferred QRS onset. CT = computerized tomography; HBP = His bundle pacing; LBB = left bundle branch; LBBB = left bundle branch block; LBBP = left bundle branch pacing; LBBAP = left bundle branch block area pacing; LV = left ventricle/ventricular; LVAT = left ventricular activation time; RWPT = R-wave peak time; V6 RWPT = R-wave peak time in lead V6. |  |  |  |  |
| ## 5.3. When to consider alternative CPP sites (intraprocedural crossovers) During the initial implant of CRT with BiV pacing implanta- tion, implant failure can be up to 10% for the LV lead place- ment. The key factors for the initial implantation failure are summarized in Table 8. The threshold for abandoning the conventional LV lead implantation to crossover to alternative CPP option is variable depending on the operator, implanta- tion criteria, or available or proven alternatives. Newer lead design from a bipolar to a quadripolar conﬁguration and lead delivery tools have provided more choices for LV lead pacing conﬁgurations and have overcome some technical is- sues; however, challenges remain in some patients. Similar scenarios can be encountered when the de novo CPP is HBP or LBBAP. HBP or LBBAP implanting failure |  |  | rates are 10%–40% with the current implanting tools and leads. When suboptimal HBP or LBBAP lead placement oc- curs, crossover to CRT with BiV pacing LV lead placement could be an option. Criteria for optimal lead placement (CRT with BiV pac- ing, HBP, or LBBAP) continue to evolve rapidly. Deﬁni- tions for failure of lead placement at initial implantation have not been standardized. In the absence of sufﬁcient data on any established criteria for implantation failure requiring crossover to another CPP option, it is important to recognize that the decision on when to abandon the initial approach is operator dependent and variable. The terms “implantation failure” and “crossover” used in this section are qualitative until criteria are established based on future investigations. |  |
| Recommendations for when to consider alternative CPP sites (intraprocedural crossovers) |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | C-LD | 1. In patients undergoing CRT with BiV pacing implantation via the CS, crossover to CSP with HBP or LBBAP is reasonable when the CS LV lead placement is unsuccessful or suboptimal. |  | 42,47,58,101,103 |
| 2b | C-LD | 2. In patients undergoing CRT with BiV pacing implantation via the CS, crossover to surgical epicardial CRT with BiV pacing might be reasonable when the initial approach is unsuccessful or suboptimal. |  | 317-319 |

Synopsis

The use of HBP as a crossover approach to failed CRT with BiV pacing or for crossover from HBP to CRT with BiV pacing has been reported in limited small RCTs101,103 and observational case-cohort studies.42,58  Limited cohort studies47,58 have reported crossover to LBBAP from either

failed CRT with BiV pacing or HBP. The criteria and deci- sion for crossover were prespeciﬁed in 2 reported RCTs, although criteria varied between studies. The decision for crossover was quite variable and operator dependent in the observational cohort studies. When to cross over is an area of rapid change as implantation technology and techniques

| continue to improve and as long-term data become available. When an anatomical barrier prevents CS LV lead placement, surgical placement of epicardial LV placement has been re- ported in observational cohort studies.317-319 Recommendation-speciﬁc supportive text 1. Criteria for crossover between CRT with BiV pacing and HBP were prespeciﬁed in a multicenter RCT.101,103 Based on the prespeciﬁed crossover criteria, 10 of 21 patients (48%) randomized to HBP crossed over to CRT with BiV pacing, and 5 of 19 patients (26%) randomized to CRT with BiV pacing crossed over to HBP. This RCT pi- lot study highlighted the high crossover rates when the crossover criteria were prespeciﬁed. In a single-center RCT103 of 50 patients, 1 of 25 (4%) crossed over from CRT to HBP and 7 of 25 (28%) crossed over from HBP to CRT. Implantation of either LV or HBP leads was suc- cessful after crossover in both studies. These preliminary data from 2 small RCTs suggest that it is reasonable to consider HBP when the initial CRT with BiV pacing approach is unsuccessful or suboptimal. In 3 observational crossover studies,3-5 the success rates of HBP or LBBAP as a rescue procedure after failed LV lead placement or nonresponders to CRT with BiV pacing ranged from 85% to 91%, suggesting that HBP or LBBAP are technically feasible after failed LV lead placement. 2. When CS LV lead placement is unsuccessful, implant of a BiV generator may be warranted if future crossover to epicardial LV lead placement is anticipated. Surgical |  |  |  |  | epicardial LV lead placement was studied in 3 observa- tional studies.317-319 In a multicenter study,317 44 pa- tients who failed previous CS LV lead placement or had LV lead failure received surgical LV leads for CRT. Similar clinical outcomes and survival rates were noted between surgical LV-CRT and CRT with BiV pac- ing patients, with age, sex, and etiology of cardiomyop- athy matched during a mean follow-up of57months. In a single-center study of 1053 subjects, 895 received trans- venous LV leads and 158 received epicardial LV leads via thoracotomy or sternotomy (108 failed CS leads and 50 during concomitant cardiac surgery). During the 5-year observation period, the lead revision rate was 10.2% for transvenous LV leads and 1.9% for epicardial leads. A statistically signiﬁcant increase in LVEF was observed in both groups.318 In a single-center study319 including 100 patients who had failed previous LV lead implant or LV lead failure, surgical epicardial leads were placed via video-assisted thoracoscopy. Compared to 100 patients who had transvenous CRT, surgical CRT had similar outcomes in terms of deaths, cardiovascular hospitalization rate, and complications. Both groups dis- played similar improvements in LV reverse remodeling and EF. These investigations demonstrated that surgical LV epicardial lead placement was technically feasible and is an alternative approach for those who cannot achieve meaningful transvenous LV pacing. Surgical LV lead placement had a lower lead revision rate than transvenous LV lead placement with comparable out- comes during follow-up. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Table 8 Reasons for abandonment and/or crossover to alternative CPP approach during implantation |  |  |  |  |  |  |  |  |  |
| CPP type | Anatomical/technical considerations |  | Function considerations |  |  | ECG considerations |  | Major complications |  |
| CRT with BiV pacing | . Venous inaccessibility (subclavian, innominate vein, or SVC occlusion) . CS inaccessibility (occlusion, dissection, perforation, Thebesian valve) . Coronary vein inaccessibility (small, angulated, or tortuous vein branches) . Suboptimal vein location (nonlateral vein, anterior interventricular vein) . Persistent SVC . Poor lead stability, prone to dislodgment |  | . Capture threshold >5 V/1 ms in all available pacing conﬁgurations . Diaphragmatic stimulation in all available pacing conﬁgurations |  |  | . The onset of QRS to LV time <90 ms . Lead I: non-QS or QR . Intrinsic QRS duration <120 ms or narrower than optimized pace QRS duration |  | . Pericardial effusion/ tamponade . CS or vascular dissection . Cardiac arrest . Sustained ventricular tachyarrhythmia . Others (PE, stroke, respiratory failure, etc) |  |
| HBP | . Unable to identify HB location . Lead instability |  | . Capture threshold >5 V/1 ms . R sensing <2 mV . Atrial oversensing . Potential need for a backup lead |  |  | . . | For baseline wide QRS, unable to have paced QRS duration ≤130 ms or QRS narrowing >20% Unable to achieve selective or nonselective His capture | . . . . | Same as in CRT with BiV pacing Lead dislodgment Reduced battery longevity due to elevated pacing capture thresholds Late rise in thresholds |
| LBBAP | . . | Unable to penetrate the septum to reach . LBB (LV subendocardium) Lead instability . |  | Risk of septal perforation Inability to correct LBB block |  | . . | Unable to achieve the RBBB conﬁguration or to have paced QRS duration ≤130 ms Unable to achieve LVAT <74-80 ms | . . | Same as in CRT with BiV pacing Risk of late septal perforation |

BiV = biventricular; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CS = coronary sinus; ECG = electrocardiogram; HB = His bundle; HBP = His bundle pacing; LBB = left bundle branch; LBBAP = left bundle branch area pacing; LV = left ventricle/ventricular; LVAT = left ventricular activation time; PE = pulmonary embolism; RBBB = right bundle branch block; SVC = superior vena cava.

42                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

# Section 6 CPP follow-up and management

Patients implanted with a CPP device require comprehen- sive follow-up beyond a routine check of device perfor- mance.   With   CSP,   appropriate   conduction    system capture should be conﬁrmed, including BBB correction at the assigned programmed output. In addition, as pa- tients  with  a  CPP  device  typically  have  LV  systolic dysfunction, multidisciplinary follow-up that incorporates HF  management  is  helpful  to  ensure  that  GDMT  is continuously assessed and optimized. An ECG and chest X-ray  (posterior-anterior  and  lateral  views)  are  simple

Time

tools to assess LV lead capture and placement in CRT pa- tients. Patients who do not appear to have beneﬁted from CRT may have potentially reversible factors, such as sub- optimal lead placement position or an inadequate BiV pacing percentage due to premature ventricular contrac- tions (PVCs) or AF. Finally, when approaching the time of generator replacement, shared decision-making is an important component to determine whether to continue deﬁbrillation therapies or to perform lead revisions. This section discusses these patient follow-up issues, and an algorithm outlining the concepts is shown in Figure 11.

Patients implanted with a CPP device

print & web 4C/FPO

Clinical follow-up in     patients with systolic HF

Unfavorable response to

CRT with BiV pacing

Continue to optimize

medical and device

therapies

(1, C-LD)

Chest X-ray (PA, lateral)

to assess LV lead position

(1, C-LD)

LV pacing less than

optimal: Ablation or

pharmacological

suppression of frequent

PVCs or better rhythm or

rate control of AF

(2a, C-LD)

Suboptimal response to

CRT with BiV pacing

Crossover to CSP with

HBP or LBBAP

(2a, C-LD)

Crossover to surgical

epicardial lead

implantation

(2a, B-NR)

Generator change

Continue CRT with BiV

pacing in patients with

HFimpEF at time of

elective replacement

(1, C-LD)

Continue CRT with BiV

pacing in patients

thought to have benefited

from CRT at time of

elective replacement

(1, C-EO)

Shared decision-

making: At the time of

elective replacement,

consider whether to

replace CRT-D or revise

to CRT-P

(1, B-NR)

Shared decision-

making: When high lead

pacing threshold

contributes to rapid

battery drain, consider

implantation of a new

lead to reduce risks

associated with frequent

generator replacements

(2b, C-EO)

CRT: Echo within 3-12

months

(1, B-NR)

HBP or LBBAP: Echo

within 3 to 12 months

(1, C-EO)

CRT: Multidisciplinary

management with HF

and device clinics

(2a, B-NR)

HBP or LBBAP:

Multidisciplinary

management with HF

and device clinics

(2a,  C-EO)

Continue GDMT with

recovery of LV function

(2a, C-LD)

Device follow-up

Remote monitoring

(1, B-NR)

CRT: 12-lead ECG

(1, C-EO)

CSP: Multi-lead or

12-lead ECG

(1, B-NR)

CSP: Comprehensive

assessment at follow-up

including CSP capture,

BBB correction, and

thresholds

(2a, B-NR)

HBP: If threshold rises

> 1V, more frequent

follow-up needed

(2a, C-EO)

Routine use of thoracic

impedance alone to

manage congestive HF

(3: No Benefit, B-R)

Figure 11      Patient follow-up and management after implantation with a CPP device. Colors correspond to the class of recommendation in Table 1. AF = atrial ﬁbrillation; BBB = bundle branch block; BiV = biventricular; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CRT-D = cardiac resynchronization therapy-deﬁbrillator; CRT-P = cardiac resynchronization therapy-pacemaker; CSP = conduction system pacing; ECG = electrocardiogram; Echo = echocardiogram; GDMT = guideline-directed medical therapy; HBP = His bundle pacing; HF = heart failure; HFimpEF = heart failure with improved ejection fraction; LBBAP = left bundle branch area pacing; LV = left ventricle/ventricular; PA = posterior-anterior; PVC = premature ventricular contraction.

| ## 6.1. Follow-up evaluations |  |  |  |
| --- | --- | --- | --- |
| Recommendations for follow-up evaluations |  |  |  |
| COR | LOE | Recommendations | References |
| 1 | B-NR (CRT) | 1. After implantation of a CPP device in patients with heart failure with reduced ejection fraction (HFrEF), a follow-up echocardiogram within 3-12 months is useful to determine reverse remodeling and the likelihood of improved survival and reduction in HFH. | CRT 320-322 |
|  | C-EO (HBP, LBBAP) |  |  |
| 1 | B-NR | 2. In patients with CPP, remote monitoring is beneﬁcial for device and arrhythmia management. | 323-328 |
| 2a | B-NR (CRT) | 3. In patients with CPP and HF, multidisciplinary management with HF and device clinics for adjustment of medications and device programming can be useful to improve clinical outcomes. | CRT 329-334 |
|  | C-EO (HBP, LBBAP) |  |  |
| 2a | C-LD | 4. In patients with CRT and heart failure with improved ejection fraction (HFimpEF), continuation of GDMT is reasonable to reduce the risk of HF relapse and arrhythmias and treat hypertension. | 335,336 |
| 3: No Beneﬁt | B-R | 5. In patients with CRT and HFrEF, routine use of thoracic impedance alone to manage congestive HF is not recommended. | 337-339 |

Synopsis

Follow-up after device implant should include an echocar- diogram to assess changes in LV size and function, persistent valvular disease, such as mitral valve disease that may need intervention, and need for medication titration or device opti- mization. Continuous evaluation of the patient by a multidis- ciplinary  team,  including  primary  care,  HF,  device/ electrophysiology, and other specialty providers, depending on the underlying pathology, can be helpful. Reassessment of medications, continuation of goal-directed medical ther- apy, and other disease modiﬁcation strategies should be as- sessed in all patients.

Recommendation-speciﬁc supportive text

1. There is a lack of consensus regarding when to reassess cardiac function post-CRT since most of the data are derived from retrospective studies with varied clinical outcomes and measurements of LV function. As shown by the 5-year results93 from the REVERSE trial, there can be a continuous improvement in LV volumes for at least 2 years post-CRT. In patients who have received a CRT device, the volumetric response to CRT assessed by  echocardiography  with  different  indices,  such as change in left ventricular end-diastolic volume (LVEDV) or LVESV and improvement in EF at 12 months, predicts subsequent death or HF events320,321  and helps guide further HF management and auxiliary therapies. Further, a lack of echocardiographic response was associated with a 2.8 times higher risk of all-cause mortality after a mean  follow-up  of  5.6  years  in  a  substudy  of  the MADIT-CRT trial.340  The best parameters to follow

vary with different studies. However, the beneﬁt of the therapy seems to be directly related to the degree of re- modeling, with every 10% decrease in LVEDV or each 5-point increase in LVEF associated with 40% reduction in the risk of death or HFH in the MADIT-CRT study, and an 8% reduction in mortality for every 10% decrease in LVESV reported in the PREDICT-CRT study.320-322 Successful CSP, including LBBAP and HBP, have been shown to increase LVEF in observational studies42,99; however, the relationship between the change in EF and clinical outcomes such as mortality has not been studied. After the initial follow-up echocardiogram, further imag- ing at follow-up may be guided by changes in clinical sta- tus.

2. Studies in patients with CRT and CRT-D have shown that the use of remote monitoring improves arrhythmia man- agement.323-328  In  observational  studies,  the  average time  to  detection  of events  is  shorter  with  remote monitoring  than  in-ofﬁce  device  checks,323   allowing prompt reactions to optimize medical therapy.324  In the Clinical Evaluation of Remote Notiﬁcation to Reduce Time to Clinical Decision (CONNECT) trial,325 the me- dian time from a clinical event to a clinical decision was reduced from 22 days in the in-ofﬁce arm to 4.6 days in the remote monitoring arm. Further, the use of remote monitoring has been  shown to reduce healthcare re- sources.326-328,341 Clinical outcomes data are conﬂicting. While some studies show that remote monitoring leads to decreased   hospitalizations    and   HF   exacerbations, improvement in quality of life, and in some studies reduc- tion  in  all-cause  mortality,326,342,343    other  studies,

44                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

including the Monitoring Resynchronization Devices and Cardiac Patients (MORE-CARE) study,341 found no sig- niﬁcant differences in cardiovascular death and hospitali- zations. In the REmote Monitoring and evaluation of implantable devices for management of Heart Failure pa- tients (REM-HF) trial,344  which included 1650 patients with HF and CIEDs, the use of remote monitoring did not lead to improved death from any cause or unplanned cardiovascular hospitalization. However, in a meta-anal- ysis343 of the Inﬂuence of Home Monitoring on the Clin- ical  Status  of  Heart  Failure  Patients  (IN-TIME), Effectiveness and Cost of ICDs Follow-up Schedule with Telecardiology (ECOST), and Lumos-T Safely Re- duces Routine Ofﬁce Device Follow-up (TRUST) trials, home monitoring reduced all-cause mortality and the composite of mortality and HFH, though this was mostly composed of ICD patients with only  1  of the trials including CRT-D therapy.

3. In a study329 of a protocol-driven approach to HF manage- ment including  continued uptitration  of goal-directed medical therapy, AV optimization, HF education, and arrhythmia management, the multidisciplinary approach led to signiﬁcant increases in LV remodeling (change in LVEDD 0.7 ± 0.6 cm vs 0.2 ±  1.2 cm; change in LVEF 11% ± 7% vs 7% ± 9%) and decreased all- cause mortality, heart transplant, or readmission for HF (14% vs 53%). Some institutions have proposed HF clinics conjoined with HF providers to avoid fragmenting care.334 HF management should include downtitration of diuretics when appropriate and uptitration of neurohor- monal blockade.329,332,333

4. The beneﬁt of CRT in patients with systolic HF has been shown on a background of optimal medical management, while withdrawal of therapy after CRT has only been studied in small cohorts that do not speciﬁcally target pa- tients with CRT. In the Advance Cardiac Resynchroniza- tion Therapy Registry (ADVANCE-CRT),345  patients who were determined to have a beneﬁcial impact from CRT were less likely to have their therapy optimized, which may inadvertently lead to suboptimal care in this subset. It is therefore important to continue to treat the un- derlying pathology including HF management.329,331 The Pilot  Feasibility  Study  in  Recovered  Heart  Failure (TRED-HF)335 evaluated the phased withdrawal of HF pharmacological treatment in patients with dilated cardio- myopathy with recovered EF (n = 51); withdrawal of pharmacological treatment led to relapse of HF, but only 1 patient in this study had concomitant CRT. In another study336 with 80 patients with normalized EF after CRT, withdrawal of neurohormonal blockade increased adverse outcomes, such as hypertension or arrhythmic events.

5. The use of thoracic impedance to detect the gradual accu- mulation of ﬂuid and increased ﬁlling pressure has been proposed to enable timely treatment interventions to avoid

HFH. However in the Diagnostic Outcome Trial in Heart Failure (DOT-HF),337 335 patients were randomized to usual care and to have the information from thoracic impedance available to their providers; the use of thoracic impedance did not lead to improved mortality or hospital- izations (29% vs 20%; P = .063), with patients who had the information available to providers having more outpa- tient visits. The lack of beneﬁt was consistent in system- atic reviews and meta-analyses.338,339

## 6.2.  Role of a dedicated CRT clinic

Clinical beneﬁts of dedicated disease management clinics for patients with HF have been well established,346,347 although their applications in CRT recipients have been largely under- studied. From the multicenter ADVANCE-CRT Registry of CRT nonresponders assessed at 6 months,345 intensiﬁcation of in-clinic/remote evaluations and involvement of HF spe- cialists remained minimal and 44% received no additional treatment. Early approaches aimed at referral for trouble- shooting of CRT nonresponders demonstrated opportunities for device optimization as well as identiﬁcation and manage- ment of HF and its comorbidities.348 An innovation of a dedi- cated CRT clinic is the intention to see all HF patients who underwent CRT device implantation, as referral bias from symptom-based evaluation may fail to identify those who may beneﬁt from evidence-based treatments. Taking advan- tage of the improved myocardial efﬁciency with CRT, case series of dedicated CRT clinics have demonstrated feasibility and potential beneﬁts, especially with scheduled intensiﬁca- tion of neurohormonal antagonists332  and downtitration of diuretic therapy.333 Recently, a multidisciplinary clinic care model (electrophysiology, cardiac imaging, and HF care) for CRT recipients with simultaneous device optimization and HF disease management has been proposed,334  with early experience demonstrating that the majority of patients (95%) may beneﬁt from device/drug-related interventions or referral for alternate medical services. Compared to histor- ical controls, enrollment in a post-CRT structured clinic with scheduled echocardiographic surveillance, as well as device and drug optimizations within the ﬁrst 6 months of implant, was associated with improvement in clinical outcomes.330 Clinical beneﬁts have also been associated with CRT recipi- ents who underwent postimplant multidisciplinary cardiac rehabilitation.349  However, in a prospective RCT,336  full withdrawal of neurohormonal blockade, while deemed safe with low relapse rates (7.5%) in the majority of CRT recipi- ents with full myocardial recovery, may be limited by cardiac comorbidities such as arrhythmias or hypertension. Despite the many potential beneﬁts and expert recommendations,350 published literature to date include only single-center experi- ences,  and there have been no prospectively conducted studies to conclusively demonstrate incremental clinical ben- eﬁts of dedicated CRT clinics vs routine follow-up.

## 6.3.  Optimization of CPP response

| Recommendations for optimization of CPP response |  |  |  |
| --- | --- | --- | --- |
| COR | LOE | Recommendations | References |
| 1 | C-EO | 1. In patients with CRT, a 12-lead ECG is useful to conﬁrm LV lead capture and facilitate optimization of LV pacing conﬁgurations. |  |
| 1 | B-NR | 2. During in-ofﬁce follow-up of patients with CSP, a multilead or 12-lead ECG is recommended to assess conduction system capture, including BBB correction. | 16,40,42,43,46, 47,99,188,290,298, 299,304,305,351 |
| 2a | B-NR | 3. During in-ofﬁce follow-up of patients with CSP, a comprehensive assessment that includes documentation of His/left bundle capture, BBB correction, and myocardial capture thresholds can be useful. | 16,40,42,43,46, 47,99,188,290,298, 299,304,305,351 |
| 2a | C-EO | 4. In patients with HBP who have an increase in threshold of >1 V, more frequent in-ofﬁce follow-up can be beneﬁcial to determine the need for lead revision, especially in ventricular pacing-dependent patients. |  |

Synopsis

Given  the  surrounding  electrically  inert  membranous septum and ﬁbrous body and the presence ofatrial, His bundle, and ventricular tissues in the area, HBP can be technically chal- lenging. An assessment ofthe appropriate device function after CPP (Table 9) starts with a baseline ECG to evaluate appro- priate capture and compares the paced morphology of the QRS with the native QRS. Follow-up of patients after CPP in- cludes in-ofﬁce assessment of their clinical status, ECG after any device changes, and assurance of capture. Further, device analyses, including battery status, percent pacing in different chambers, arrhythmias, lead impedance, and sensing and pac- ing thresholds, are important to ensure persistent BiV or CSP. For HBP and LBBAP, there are no data atpresentto support the use ofechocardiographyfor optimization. For CRT,the PROS- PECT study206  tested the  ability of 12 echocardiographic parameters to predict CRT response. No single echocardio- graphic parameter could be used to improve patient selection for response. A single study352  compared CRT response when the interventricular pacing (VV) interval was optimized by tissue Doppler imaging to CRT response when optimized by QRS width. Although echocardiographic response was higher in the QRS width optimized group, the clinical response was similar in both groups. Thus, the tissue Doppler imaging might be a promising parameter for CRT optimization but needs further study.

Recommendation-speciﬁc supportive text

1. An ECG can be a practical means to assess if the LV lead is capturing by contributing a positive deﬂection in lead V1 and a negative deﬂection in lead I. An ECG to conﬁrm LV lead capture is particularly helpful if the patient is being seen in a setting where it is not feasible or practical to perform a device interrogation. Optimization ofCRTpacing vectors can be facilitated by ECG QRS duration assess- ments during testing of LV unipolar and bipolar vectors. A baseline ECG obtained at the time of a successful CRT or CSP implant can also be useful as a future template to determine continued successful pacing capture.

2. Inpatients who have hada CSP device implanted, a12-lead ECG, including long strips during threshold testing, can help to ensure and optimize maximal conduction system capture. The tracing should be evaluated to determine cap- ture thresholds, LBBB correction when pertinent, and type ofcapture(selective vs nonselective conduction system cap- ture).99,351,353,354The paced QRS duration and morphology should be compared to prior readingsand used asa compar- ison point for future follow-up.12,42,46,47,308,353

3. In a small observational study (n = 61),304 freedom from lead-related complications after 1-year postprocedure was observed  in  93%  of  patients  who  underwent  HBP. Compared with RVP, HBP was associated with higher rates ofleadrevisions(6.7%vs3%)and need for generatorchange (9%vs1%)over a 5-year follow-up period.16 Observational data47,188 on LBBAP suggest that pacing thresholds remain stable in the ﬁrst 3-6 months. During long-term follow-up (n  =  618), a signiﬁcant increase in capture thresholds occurred in 1%, with 0.3% requiring lead revision due to dislodgment. Given the possibility oflate increase in thresh- olds and gaps in follow-up, comprehensive follow-up of CSP patients documenting appropriate capture and device thresholds is prudent.12,16,42,43,47,99,188,290,299,304,305,308,354

4. In an observational study298  of 294 patients who under- went HBP, 15% had increased capture threshold, the ma- jority occurring in the ﬁrst 8 weeks (41%), with 6% eventually requiring a lead revision. Pacing thresholds were higher in patients who underwent HBP compared to those who underwent RVP (1.35 ± 0.9 V vs 0.6 ±

0.5 V at 0.5 ms; P  <  .001).43 In a minority of patients, these  may  increase  over  time  and  lead  to  capture loss.99,299,305  In observational  studies,43,290,298,299  the threshold changes depend in part on the experience and technique of the operator and changes in the programming of the pulse width in an effort to maximize battery longevity.  There  is  no  absolute  cutoff  deﬁning  an adequate HBP threshold, but generally an increase in cap- ture threshold of >1 V warrants more frequent monitoring to determine if a lead revision is required.

46                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

| Table 9 Pacemaker interrogation and programming approach for CPP |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | HBP | LBBAP | CRT |  |
| Capture thresholds |  | Determine His bundle capture relative to RV capture; program output to ensure His bundle capture (at least 1 V above the threshold) | Determine LBB (LV septal) capture and anodal capture | Determine LV (CS lead)-only capture and anodal capture |  |
| Capture assessment algorithms |  | Avoid, unless known that His bundle and RV capture thresholds are similar | Capture assessment algorithms can be utilized successfully | Capture assessment algorithms can be utilized successfully; LV-only pacing may be preferred in some cases |  |
| AV delays |  | Program 30-50 ms shorter than conventional parameters* | Program 20-30 ms shorter than conventional parameters* | Program 10-20 ms shorter than conventional parameters* |  |
| Atrial oversensing |  | Atrial oversensing can occur with proximal lead placement and may need appropriate programming to also avoid ventricular undersensing |  |  |  |
| Ventricular unipolar sensing |  | Avoid if pacing dependent |  |  |  |
| *A shorter AV delay than conventional is needed to take account for the time delay from pacing output to QRS onset with conduction system pacing. AV = atrio- ventricular; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CS = coronary sinus; HBP = His bundle pacing; LBB = left bundle branch; LBBAP = left bundle branch area pacing; LV = left ventricle/ventricular; RV = right ventricle/ventricular. ## 6.4. Replacement or upgrade considerations |  |  |  |  |  |
| Recommendations for replacement or upgrade considerations |  |  |  |  |  |
| COR | LOE | Recommendations |  |  | References |
| 1 | C-LD | 1. In patients with HFimpEF, continuation of CRT with BiV pacing is recommended at the time of elective generator replacement. |  |  | 355,356 |
| 1 | C-EO | 2. In patients who are thought to have beneﬁted from CRT (including improvement, stabilization, or partial reversal of natural decline) in terms of symptoms, LVEF, or functional status, continuation of CRT with BiV pacing is recommended at the time of elective replacement based on patient-individualized risks and beneﬁts of the procedure. |  |  |  |
| 1 | B-NR | 3. In patients with CRT-D at the time of elective replacement, it is recommended that a decision for replacement vs revision to CRT-P should be based on patient- individualized risks and beneﬁts of the procedure, and such shared decision- making should involve consideration of the previous response to CRT, appropriate ICD therapies for ventricular arrhythmias, continued risk of ventricular arrhythmias, inappropriate therapies, current lead performance factors, and the patient’s overall goals of care. |  |  | 357-360 |
| 2b | C-EO | 4. In patients with CRT or CSP where high lead pacing threshold contributes to rapid battery drain, implantation of a new lead may be considered after shared decision-making with the patient atthe time of generator replacement to reduce the risk associated with frequent generator replacements. |  |  |  |

Synopsis

CRT may beneﬁt HF patients to varying extents. Patients may experience improvement in objective and/or subjective parameters, such as LVEF, LV volume, functional status, or symptom improvement. However, in certain patients, the beneﬁt from CRT might manifest not as an overt improve- ment but as a slowing of the natural progression of HF.361 This is considered a “disease stabilizing” response to CRT. This response is difﬁcult to adjudicate and/or quantify in routine patient care and clinical trials but nevertheless is important to recognize. In general, if a patient has previously

beneﬁted from CRT pacing to any extent, subsequent inter- ruption or discontinuation of CRT can be detrimental.355,356

Currently available data appear to support continuation of ICD therapy in patients whose LV function has improved. In general, continuation of ICD therapy is recommended in such patients. However, in certain situations where the risk vs ben- eﬁts of continuation of ICD therapy is considered adverse (eg, history of multiple inappropriate therapies or dysfunc- tional ICD), a shared decision-making strategy should be adopted after informing patient of all the risks, beneﬁts, and alternatives of ICDs.

| Recommendation-speciﬁc supportive text 1. Small randomized and nonrandomized studies355,356 have shown adverse clinical and echocardiographic outcomes in patients who have interruption of CRT after having experienced improvement with CRT previously. Patients with HFimpEF (with near normalization of LVEF) result- ing from superior response to CRT have poor outcomes when CRT pacing is terminated. This was demonstrated in a small single-center randomized study355 of 19 pa- tients who showed a superior response to CRT (with improvement in LVEF ≥50% and NYHA class I or II) at mid-term follow-up (average 39 months after CRT implant). These patients were randomized to CRT pacing continuation (On-Pace group) or deactivation (Off-Pace group). The patients in the Off-Pace group deteriorated with poor clinical and echocardiographic outcomes, while the On-Pace group had no change in status, clearly high- lighting the beneﬁt of continuation of CRT in these patients despite HFimpEF. Intuitively, this recommenda- tion applies to patients with CSP, but data on device replacement in CSP are not yet available. 2. All patients who have beneﬁted from CRT, regardless of the extent of the beneﬁt, should continue CRT at the time of elective generator replacement interval. This recom- mendation recognizes that beyond improvement in LVEF, CRT beneﬁt may include stabilization of ventricu- ## 6.5. Troubleshooting for unfavorable response |  |  | lar function as well as improvement in symptoms or func- tional status. 3. Multiple studies have examined the risk of ventricular tachyarrhythmias in patients with previously low LVEF who have undergone improvement in LVEF due to any reason including medical management and/or CRT. These include retrospective studies and subanalyses of RCTs. Most studies show that an elevated risk of tachyarrhyth- mias persists in these patients, although decreased compared to patients whose LVEF did not improve ≥35%.362–366 In patients with near normalization of LVEF, the risk of ventricular tachyarrhythmias appears to be markedly reduced,357–359,366,367 yet still persists. Currently the data are inadequate to support discontinua- tion of ICD therapy at the time of elective replacement in- terval. An additional consideration is that revision to CRT-P from CRT-D may not be possible without an adapter if a DF-4 deﬁbrillation lead is in place. 4. Certain patients with CRT might have rapid battery deple- tion due to high LV lead thresholds. This could be a result of suboptimal lead threshold at implant or a subsequent worsening over time. Frequent pacemaker generator re- placements carry a statistically signiﬁcant risk of compli- cations including infection and hematoma. In such a scenario, revision of the LV lead or CPP lead may reduce the frequency of future generator replacements.368 |  |
| --- | --- | --- | --- | --- |
| Recommendations for troubleshooting for unfavorable response |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 1 | C-LD | 1. In patients with HFrEF with an unfavorable response to CRT with BiV pacing, continued efforts to optimize medical and device therapies are recommended to improve quality of life and long-term outcomes. |  | 330,334,348,369 |
| 1 | C-LD | 2. In patients with an unfavorable response to CRT with BiV pacing, obtaining a posteroanterior and lateral chest X-ray is recommended to assess the LV lead position. |  | 245-248 |
| 2a | C-LD | 3. In patients with an unfavorable response to CRT with BiV pacing and who have less than optimal LV pacing percentage, ablation or pharmacological suppression of frequent PVCs or better rhythm or rate control of AF is reasonable to improve cardiac function and patient symptoms. |  | 370,371 |

Synopsis

Many patients who receive CRT do not improve to the de- gree expected and have been labeled “nonresponders.” How- ever, this deﬁnition has come under increased scrutiny as it does not consider the natural history of disease in any indi- vidual patient. The term CRT “stabilizer” has evolved to include patients who may not derive signiﬁcant reverse re- modeling from CRT but seem to realize a blunting of the nat- ural downhill progression of CRT.361 Recently the superior outcomes of such patients compared to patients with progres- sive LV remodeling has been demonstrated.361,372 The terms “favorable responder,” which includes the CRT stabilizer,

and “unfavorable responder” have been proposed to account for this. Nevertheless, there are certain best practices that all CRT patients should be subjected to at follow-up, including medication optimization, evaluation of lead position, device troubleshooting, and arrhythmia detection and management. Newer therapies designed to improve outcomes in patients with an unfavorable response to CRT are areas of active research. For example, in the More Response on Cardiac Re- synchronization Therapy With MultiPoint Pacing (MORE- CRT MPP) trial,267 MPP failed to meet its endpoint of con- verting nonresponders to responders. Whether MPP has a role in the treatment of CRT patients remains unclear. One

| 48 |  |  | Heart Rhythm, Vol -, No -, - 2023 |  |
| --- | --- | --- | --- | --- |
| potential role of MPP may be in patients with a severely |  |  | MADIT-CRT trial has suggested that apically placed LV leads may respond less favorably compared to more mid- or basally placed leads. As such, gaining a rough determi- nation of where an LV lead is located via a posteroanterior and lateral chest X-ray is useful. Reduced BiV pacing percentage has been linked to elevated mortality among CRT recipients. Studies suggest that achieving as close to 100% effective BiV pacing as possible is preferred.384 A >92% BiV pacing percentage was associated with a 44% reduction in clinical events compared to a ≤92% BiV pacing percentage (HR 0.56; P < .001).370 Common reasons behind diminished BiV pacing percentage include AF, elevated PVC burden, and long AV delay. In CRT patients with AF, an uncon- trolled ventricular rate deﬁned by a mean ventricular rate of >80 bpm and a maximum ventricular rate of >100 bpm was associated with increased HFH and mor- tality in multivariate analysis and was associated with <95% BiV pacing.385 Inpatients who have responded un- favorably to CRT who have AF and <92% BiV pacing, aggressive management of AF with either a rhythm con- trol strategy or a rate control strategy, potentially with AV node ablation, may be reasonable. In such patients with permanent AF, AV node ablation may be superior to medical therapy.386 Suppression of PVCs either with catheter ablation or medical therapy may be reasonable in patients with an unfavorable response to CRT. ECG to assess PVC morphology and ambulatory monitoring or device assessment to assess PVC burden may be help- ful to assess candidacy for and results of suppressive or ablative therapies. In a multicenter registry371 of 65 pa- tients deemed “nonresponders” to CRT who concomi- tantly had PVC burden >10,000 per day, acute success of ablation was 91%, with patients realizing signiﬁcant reverse ventricular remodeling and symptomatic beneﬁt. As such, PVC suppression can be helpful for CRT recip- ients with an unfavorable response. |  |
| enlarged LV. Such patients have increased myocardial |  |  |  |  |
| mass and may beneﬁt from the increased depolarization wavefront provided by MPP.373 In addition, whether percu- |  |  |  |  |
| taneous mitral valve repair improves outcomes in CRT pa- tients with an unfavorable response remains unclear.374 In 3. |  |  |  |  |
| patients who have undergone CRT but require implantation |  |  |  |  |
| of an LVAD, inactivation of CRT to preserve device battery longevity has become a common practice375 given data |  |  |  |  |
| showing no signiﬁcant improvements in clinical outcome with continued CRT in the presence of an LVAD.376,377 |  |  |  |  |
| However, as small studies show conﬂicting results with re- |  |  |  |  |
| gard to continued CRT vs CRT-off on ventricular arrhyth- mias and ICD shocks,377–380 data from larger randomized |  |  |  |  |
| trials of CRT inactivation vs activation would be needed to |  |  |  |  |
| inform recommendations in this area. |  |  |  |  |
| Recommendation-speciﬁc supportive text |  |  |  |  |
| 1. All patients regardless of CRT response criteria should |  |  |  |  |
| continue to have optimization of medical therapy at follow-up.330,334,348 In a dedicated CRT clinic, 74% of |  |  |  |  |
| “nonresponders to CRT” had opportunities for substantial |  |  |  |  |
| uptitration of current medications or addition of new HF medications.334 Even in patients who have normalized |  |  |  |  |
| their EF with CRT, withdrawal of GDMT has been shown |  |  |  |  |
| to lead to poor outcomes.336 In patients considered to be |  |  |  |  |
| doing poorly with CRT, small nonrandomized studies |  |  |  |  |
| have suggested that substituting sacubitril-valsartan for |  |  |  |  |
| an angiotensin-converting enzyme inhibitor or angio- tensin II receptor blocker may be beneﬁcial.381,382 In addi- |  |  |  |  |
| tion, consideration should be given to addition of |  |  |  |  |
| aldosterone antagonists and sodium-glucose cotrans- |  |  |  |  |
| porter-2 inhibitors. |  |  |  |  |
| 2. LV lead position is an important determinant of CRT |  |  |  |  |
| response such that patients with more septal lead positions |  |  |  |  |
| respond less favorably compared to those with leads placed in lateral positions.383 In addition, analysis247 from the |  |  |  |  |
| ## 6.6. When to cross over to CSP, CRT, or epicardial |  |  |  |  |
| ## options |  |  |  |  |
| Recommendations for when to cross over to CSP, CRT, or epicardial options |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | C-LD (HBP, LBBAP) B-NR (surgical epicardial lead) | 1. In patients with a suboptimal response to CRT with BiV pacing, CSP (with HBP or LBBAP) or surgical epicardial lead implantation can be useful when other approaches have been unsuccessful or not feasible. |  | HBP, LBBAP 47,58,100,101, 103,110,387 Surgical epicardial lead 318,319,388,389 |

Synopsis

In some patients with CPP, suboptimal response to CPP may be due to technical limitations of the implant procedure or it may become apparent that the goals to be achieved have

not been met in either short- or longer-term follow-up. This may be because the original implant was not acutely success- ful. In the case ofBiV pacing, CS access and anatomical lim- itations  leading  to  suboptimal  LV  lead  location  or

dislodgment, unsatisfactory thresholds, and phrenic nerve stimulation are typical challenges. For patients with CSP, ob-

stacles can include an inability to deliver a His bundle lead or

# achieve stable anatomic position, unacceptable thresholds

acutely or over time in the case ofHBP, or inability to achieve LBBAP with LBBB correction. At this time, data remain limited regarding crossover options for CSP to CRT during follow-up. Beyond the acute implant, suboptimal lead loca- tion  or CPP  nonresponse  or unfavorable response  may prompt consideration of crossover to an alternative CPP mo- dality. As there are no randomized studies in this area, most of the recommendations in this section are based on retro- spective analyses of populations of patients who during follow-up were crossed over to a different anatomic pacing approach that proved feasible and/or subsequently success- ful. LV transvenous endocardial approaches were consid- ered,282,390-393   but   the  data  are  preliminary  and  the associated  risk  of  cardioembolic  stroke  was  felt  to  be unacceptably high to support a recommendation.

Recommendation-speciﬁc supportive text

1. In patients with unsuccessful CRT or an unfavorable response to CRT, HBP can be useful. Most data derive from observational, retrospective, crossover, and/or non- randomized studies with a small sample size, showing the feasibility of HBP in patients who are candidates for CRT, particularly as rescue for a failed LV lead or an un- favorable response to BiV pacing.42,394  This has been demonstrated not only for patients with LBBB but for pa- tients  with  RBBB  as  well.108    Three  randomized studies,100,101,103 albeit with small numbers of patients, have also demonstrated the potential beneﬁt of crossing over to HBP when CS lead placement was not achieved or an unfavorable response to BiV pacing was observed. In addition, 1 study150  demonstrated that HBP could be used in conjunction with BiV pacing to optimize CRT with  improvement  in  QRS  narrowing  and  LVEF compared to BiV pacing alone. Taken together, these studies have shown that HBP could correct LBBB in the majority of patients and achieve a signiﬁcant narrowing in QRS duration and improvement in EF and/or NYHA class with clinical status comparable, if not superior, to BiV pacing,42,100,101,103,108,150,394,395 albeit at the expense of elevated pacing thresholds observed for HBP.42,103

In patients with unsuccessful CRT, LBBAP can be useful where  other  approaches  have  been  unsuccessful  or  not feasible. To date, there are no RCTs assessing when LBBAP may be utilized when either BiV pacing or HBP is neither feasible  nor  successful  in  longer-term  follow-up. Non- randomized prospective feasibility studies with a small sam- ple size have demonstrated that LBBAP may serve as rescue from failed LV lead placement or as a primary strategy in CRT-indicated patients, achieving improvement in EF and often   a   more   dramatic   shortening   of  QRS   dura- tion.47,58,188,387,396 High implant success with low thresholds has been observed. Three studies47,58,188 analyzed crossover

from HBP to LBBAP after HBP attempt or lead failure, indi- cating that LBBAP offered an alternative to the high thresh- olds potentially encountered longer term with HBP though with equal degrees of cardiac resynchronization and often with more effective electrical resynchronization as compared with BiV pacing. Most recently, a large observational multi- center study110 examined LBBAP as a crossover in patients who met standard indications for CRT but who had failure of coronary venous pacing due to lack of access, elevated stimulation thresholds, diaphragmatic pacing, suboptimal lead position, need for CS lead extraction, or lack of clinical responsiveness to BiV pacing. In 200 of 212 patients (94%), LBBAP was successfully achieved and resulted in signiﬁcant QRS narrowing from 170 ± 28 to 139 ± 25 ms and an improvement in LVEF from 29% ±  10% to 40% ±  12% in the follow-up period. Of interest, the indication of coro- nary venous lead failure for crossing over to LBBAP was an independent predictor of reduced risk of death or HFH when compared with the indication of BiV pacing nonres- ponsiveness.

In patients with unsuccessful CRT, surgical epicardial lead implantation can be useful where other approaches have been unsuccessful or not feasible. Only retrospective observational studies have been undertaken to assess the util-

## ity of placing epicardial leads surgically in patients where

BiV    pacing    could    not    be    achieved    transve- nously.317-319,388,389,397 No randomized clinical trials have been reported. Surgical placement has been shown to be feasible as a ﬁrst noncrossover option for CRT,318,397 with no signiﬁcant differences in improved LVEF or lead perfor- mance, though at the expense of a longer hospital stay. In 1 study,318 the need for reintervention/lead revision was signif- icantly reduced in the surgical approach in both shorter- and longer-term follow-up. As a crossover approach where CS lead implantation failed as a primary approach (whether due to inability to cannulate the CS, CS anomaly, dislodg- ment, or phrenic nerve stimulation), the surgical approach was feasible and safe, with comparable clinical outcomes with regard to functional status and ventricular reverse re- modeling.317,319,388

Section 7 Congenital heart disease and pediatric populations

Pacing applications in pediatric populations and in children and adult patients with congenital heart disease (CHD) intro- duce factors not typically found in other patient populations. Issues of congenital heart anatomy, alterations in systemic ventricular morphologies, and surgical repairs as well as vessel diameters and chamber dimensions can create technical chal- lenges to implants. A prime concern is the concept of lifelong (decades) pacing and the potential of pacing-induced myocel- lular changes leading to ventricular dysfunction. For this reason, ventricular lead implant at sites that most optimize contractility is advised. To date, no one site has been shown to be optimal for all patients. In this regard, lead implant should be patient speciﬁc (select site/targeted) and based on

50                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

| resultant contractility assessments in addition to usual sensing/ threshold values; however, limitations are that ideal sites may be unable to be accessed or that pacing thresholds in these areas may be poor. Although BiV/CRT pacing for clinical HF/ventricular dysfunction has been applied to this diverse pa- tient population, results to date have been variable with different deﬁnitions of success. Basic echocardiographic values (LVEF and chamber dimensions) and QRS duration have not shown a strong correlation with clinical outcomes. Risks/beneﬁts and potentially adverse issues associated with an additional lead via either the CS or an epicardial site need to be considered when contemplating BiV/CRT pacing. |  |  | ## 7.1. CHD Pediatric and adult patients with CHD often require pacing secondary to intrinsic conduction disease or scarring following palliation or repair. Patients with congenitally cor- rected transposition of the great arteries (CCTGA) have an annual risk of developing AV block of 2%,398 including intrinsic conduction disease. Surgical heart block occurs in 1%-6% of CHD patients.399 These patients have a high risk of developing HF when compared to the general popula- tion, and thus careful consideration of type of pacing system is necessary to optimize their outcome. |  |
| --- | --- | --- | --- | --- |
| Recommendations for CHD |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | C-LD | 1. In patients with CHD on GDMT with a systemic LV, LVEF <45%, and ventricular dyssynchrony (as deﬁned by a QRS duration z score of ≥3 or ventricular pacing ≥40%), CRT with BiV pacing is reasonable to reduce the risk of mortality or need for transplant. |  | 400-408 |
| 2a | C-LD | 2. In patients with CHD and a systemic single ventricle who require pacing, apical pacing is reasonable in preference to nonapical pacing. |  | 409 |
| 2b | C-LD | 3. In patients with CHD and a systemic single ventricle with symptomatic HF on GDMT, CRT with multisite ventricular pacing may be considered to maintain functional class or ventricular function. |  | 400,402,410,411 |
| 2b | C-LD | 4. In patients with CHD and a systemic RV with symptomatic HF on GDMT associated with ventricular electrical delay or requiring substantial ventricular pacing, CRT with BiV pacing may be considered to improve or maintain functional class or ventricular function. |  | 400-408,412-415 |
| 2b | C-LD | 5. In patients with CHD and a subpulmonary RV with RV dysfunction and RBBB, CRT with fusion-based pacing may be considered to improve RV function. |  | 416-418 |
| 2b | C-LD | 6. In patients with CCTGA and AV block in whom anatomic repair has not been performed, CSP with HBP or LBBAP may be considered to improve functional status. |  | 419,420 |

Synopsis

Patients with CHD comprise a complex heterogeneous group with varied anatomy, including systemic LV, systemic RV, and even patients with functional single ventricles. All these subpopulations, to differing degrees, have a heightened risk of developing HF in comparison to the general popula- tion.421 CRT has been used in these patients with varying de- grees of success. Patients with a systemic LV have shown the greatest response to CRT in comparison to systemic RV and single-ventricle patients.401,403,411  While the majority of studies of CHD and CRT have found improvements in EF, clinical status, and QRS duration, only recently has a survival beneﬁt been shown.401

Additional considerations for use of CRT in these popula- tions include the need to normalize QRS duration for age by the use of z scores422; the need for varied approaches to de- vice implantation based on size, access, and anatomy; and the potential for disadvantages of size to outweigh procedural beneﬁts in the smallest of patients.

True CSP therapy has been used in CHD patients with

demonstration of feasibility and safety.419,420,423 In patients

with CCTGA and AV block, this therapy has been shown to improve functional status.420,422

Follow-up with optimization, remote monitoring, and considerations on replacement or upgrade are important in the pediatric and CHD population. Please refer to Sections 6.1-6.4 for recommendations on follow-up and management after CPP implantation. An algorithm outlining the recom- mendations for pediatric and adult patients with CHD is shown in Figure 12.

Recommendation-speciﬁc supportive text

1. CRT has been found to be most useful in patients with CHD and a systemic LV, with several multisite studies showing improvements in QRS duration, EF, and func- tional status.400,402,403 Only recently has there been data to support a survival beneﬁt in a propensity score matched single-site study of patients with CHD.401  Patients with CHD and systemic EF <45%, QRS duration z score >3, or ventricular pacing >40% had a markedly reduced HR of transplant/death (HR 0.24; 95% CI 0.12-0.46; P <

.001) with CRT compared to a propensity score matched control group. QRS duration in children changes with age. Normalization using a z score algorithm allows for com- parable criteria and longitudinal tracking.422

2. Pacemaker therapy in patients with single-ventricle phys- iology has been associated with impaired ventricular func- tion  and  an  increased  risk  of  need  for  cardiac transplant.424-426 In a propensity score matched study409 of 236 paced single-ventricle patients and 213 matched controls, multivariable HR for death/transplant associated with a pacemaker was 3.8 (95% CI 1.9-7.6; P < .0001). Nonapical lead position was also associated with death/ transplant with an HR of 2.17.

3. Patients with single-ventricle physiology are known to have a poor outcome if they require ventricular pacing with an increased risk of transplantation or death (odds ra- tio 4.9; 95% CI 1.05-22.7; P = .04).424 Several investiga- tors have attempted multisite pacing in this vulnerable population with varying success. While patients may not have classic improvement with multisite pacing, it does appear that this therapy may slow the progression of HF.411

4. Patients with systemic RV have shown improvement in their EF and clinical status following resynchronization, but not to the extent of patients with a systemic LV.403 This has been hypothesized as possibly secondary to differing ventricular architecture (right vs left) or decreased myocardial perfusion reserve.427,428 These patients often have abnormal CS anatomy and can be a challenge when considering transvenous CRT.406  A systematic review412

of 14 studies of systemic RV resynchronization found that this therapy can be useful in the failing systemic RV, but the studies to date were all relatively small with long- term outcomes lacking. There was also not a uniform deﬁ- nition for response, which hampered the interpretation and comparison of these studies. In the largest study414 to date of 80 patients with systemic RV, CRT showed consistent improvement in NYHA functional status, but only a mar- ginal increase in systemic ventricular function.

5. Patients with subpulmonary RV dysfunction and RBBB have shown acute hemodynamic improvement including improvements in cardiac index and blood pressure with short-term  selective-site  RVP   and  fusion-based  pac- ing.418,429 Fusion-based pacing refers to optimizing RV- only pacing by attempting to fuse paced electrical and me- chanical activity with the intrinsic QRS complex. Recently there have been some small studies416,417 looking at long- term use of RV resynchronization in this population, with somewhat promising results. Larger studies are needed to assess the long-term outcome of this patient population. To date, the optimal method to deliver fusion-based RV- CRT has not been determined. The 2 approaches described thus far include static AV timing416  and triggered pac- ing,417  both with potential limitations (ie, variability in AV conduction time over time may lead to loss of CRT in the former and late onset of fusion-based pacing may limit the maximal effect in the latter).

6. There are limited data regarding the use ofCSP in patients with CCTGA and AV block. A small multicenter study420

Patients with congenital heart disease

CCTGA and AV 	block without   anatomic repair

Systemic

single

ventricle

Systemic RV

and symptomatic

HF

Subpulmonary RV

with RV dysfunction

and RBBB

Systemic LV, LVEF

<45%, and ventricular

dyssynchrony

CRT with fusion-

based pacing

(2b, C-LD)

CRT with BiV

pacing

(2b, C-LD)

CSP with HBP or LBBAP

(2b, C-LD)

CRT with BiV

pacing

(2a, C-LD)

Symptomatic HF

Requiring

pacing

print & web 4C/FPO

CRT with

multisite pacing

(2b, C-LD)

Apical pacing in

preference to

nonapical

(2a, C-LD)

Figure 12     Patients with congenital heart disease. Colors correspond to the class of recommendation in Table 1. AV = atrioventricular; BiV = biventricular; CCTGA = congenitally corrected transposition of the great arteries; CRT = cardiac resynchronization therapy; CSP = conduction system pacing; HBP = His bundle pacing; HF = heart failure; LBBAP = left bundle branch area pacing; LV = left ventricle/ventricular; LVEF = left ventricular ejection fraction; RBBB = right bundle branch block; RV = right ventricle/ventricular.

52                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

of patients with CCTGA and AV block who had not un- dergone anatomic repair showed unchanged QRS dura- tion  compared  to  junctional  escape  rhythm  with functional status improvement in 33% at 8 months.

## 7.2.  Pediatric patients without CHD

In pediatric patients with structurally normal hearts, heart block can be seen with maternal-fetal antibody transmission or infection.430–435 Approximately 10% of these patients will go on to develop myocardial dyssynchrony and dilated cardiomyopathy.436 There are speciﬁc issues to be consid- ered when pacing a pediatric patient, including small body weight, long-term vascular access, and the need for lifelong pacing. The potential for development of HF with need for long-term pacing has led to consideration for more physio- logic pacing. RV lead implant sites that best approximate the normal conduction system (eg, His bundle region, inﬂow, and mid-septum) and LV (left bundle and apex) appear prom- ising to maintain or improve contractility.437–440  Due  to smaller septal dimensions in a child than in adults, lead implant in the mid-, inﬂow, or para-His ventricular septum can approximate CSP. However, HBP may be limited in pe-

diatric patients due to higher pacing thresholds and the need for more frequent intervention.440  Mid- and apical septal thickness dimensions correlate with patient body weight and typically range from 3 to 12 mm after the age of 5 years, an age where transvenous pacing is often applied. Predeter- mination of septal thickness at any proposed implant site may prevent potential adverse problems, for example, during deep septal pacing or LBBAP. Unfortunately, to date, there are no comparative studies of contractility responses between “best site” RV septal and His bundle or LBB pacing in chil- dren. Therefore, at present, risks/beneﬁts of attempted direct CSP in young children must be individualized. In cases of overt HF, CRT has been applied with some positive results. In the young, body size, anatomy, vascular dimensions, growth, and preexisting pacing leads can restrict lead im- plants. Patient growth–related issues of lead performance and the potential need for eventual extractions are a greater concern among younger than older populations. Surface ﬁbrosis can hinder epicardial lead implant, and elevated pac- ing thresholds are always a concern.441 This section provides recommendations for pediatric patients without CHD who have HF or have indications for pacemaker therapy, as out- lined in Figure 13.

Pediatric patients with complete AV block needing ventricular pacing

Meets

criteria for

transvenous

ventricular

pacing

Meets

criteria for

epicardial

ventricular

pacing

Yes

Yes

HF with

myocardial

dysfunction

Yes

Target RV mid-septal,

inflow, or outflow tract

transvenous endocardial

site in preference to RV

apical endocardial site

(2a, C-LD)

Apical LV (systemic

ventricle) epicardial

pacing in preference to

RV epicardial pacing

(2a, C-LD)

No

CPP

(2b, C-LD)

Existing

ventricular

pacemaker

Yes

print & web 4C/FPO

CRT with BiV

pacing

(2a, C-LD)

Figure 13     Cardiac physiologic pacing in pediatric populations. Colors correspond to the class of recommendation in Table 1. AV = atrioventricular; BiV = biventricular; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; HF = heart failure; LV = left ventricle/ventricular; RV = right ventricle/ventricular.

| ### 7.2.1. Indications for CPP in pediatric patients with HF |  |  |  |  |
| --- | --- | --- | --- | --- |
| Recommendations for CPP in pediatric patients with HF |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | C-LD | 1. In pediatric patients with complete AV block, preexisting ventricular pacing, and symptomatic clinical HF on GDMT, CRT with BiV pacing is reasonable. |  | 400,402,442 |
| 2b | C-LD | 2. In pediatric patients with complete AV block and evidence of clinical HF on GDMT, CPP may be considered. |  | 401,440,443 |
| Synopsis CRT pacing for clinical HF therapy has been applied to children as well as young adults with repaired CHD, albeit in much smaller numbers than among older adult popula- tions. Due to the diversity of cardiac anatomies and typical absence of any predeﬁning criteria for implant or deﬁnition of actual success, interpretation of results can be challenging. Nevertheless, CRT, if applied appropriately, can still be an effective therapy to improve HF symptoms as well as delay heart transplant listing. Recommendation-speciﬁc supportive text 1. PICM in young patients with complete AV block and pacemaker dependence has been successfully treated with upgrade to CRT with BiV pacing. Although limited in numbers of patients reported, studies report clinical im- provements with increase or stabilization of LVEF, short- ening of QRS duration, and/or reduction in LV size.400,402,442 2. CRT-related publications in children and young adults with clinical HF, to date, have included patients with both re- paired CHD as well as those with isolated congenital com- plete atrioventricular block (CCAVB). As might be expected due to the utilization of devices in children, study patient numbers have been limited when compared with those from older adult populations. Patientselection criteria have been variable, including patients with and without anatomical heart defects or surgery, and follow-up has been limited, making interpretation of CRT efﬁcacy chal- lenging. Changes inLVEF and QRS duration have typically been utilized to deﬁne success. As a result, results from single-center and multicenter studies have been mixed. Pa- tient numbers have ranged from 6 to 103 per study, with 45%-100% having preexisting pacemakers and follow-up 7.2.2. CPP considerations for pediatric patients with ### indications for pacemaker therapy |  |  | from 0.7 to 16 years.442 Predeﬁned criteria for implant (≥15% contractility improvement [dP/dt] with acute BiV pacing) was reported in only 1 study.444 Actual clinical improvement was reported from 38% to 100% of patients in these studies, regardless of measured EF value changes. In addition, QRS duration shortening was not a consistent variable deﬁning clinical improvement. The typical absence of a pre-CRT LBBB QRS pattern in children, except those with previous RVP, somewhat complicates any interpreta- tion ofQRS shortening. There are multiple waysto optimize lead positions. This can be difﬁcult because of anatomy, size, and thresholds. Some methods require repositioning the lead location to optimize the QRS duration orto improve acute hemodynamic measurements in the catheterization laboratory. In a propensity score matched study401 of 63 patients who received CRT and 63 matched controls, CRT was associated with a reduced risk of death/heart transplant (HR 0.24; 95% CI 0.12-0.46; P < .001) at a median follow-up of 2.7 years. In that study, in deference to empirically placing leads, a pos- itive CRT response was enhanced by speciﬁc CRT lead implant showing optimization of mechanical synchrony based on cardiac output, ECG changes, and echocardiogra- phy at implant. Due to the various etiologies of HF among children with CCAVB without preexisting pacemakers, targeting initial pacing sites that may be expected to maintain or improve contractility would be optimal. This may need to be individ- ualized. Targeting RV lead implant sites that best approxi- mate the normal conduction system (eg, His bundle region, inﬂow, or mid-septum) or LV sites (left bundle or apex) may improve myocardial function without the need for CRT.401 |  |
| #### Recommendations for pediatric patients with indications for pacemaker therapy |  |  |  |  |
| COR | LOE | Recommendations |  | References |
| 2a | C-LD | 1. In pediatric patients undergoing pacemaker implantation for AV block, it is reasonable to either target an RV mid-septal, inﬂow, or outﬂow tract transvenous endocardial site, or use apical LV (systemic ventricle) epicardial pacing, in preference to RV apical endocardial or epicardial pacing sites. |  | 445-449 |

54                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Synopsis

Lifelong pacing starting in childhood is associated with the propensity to develop myopathic changes due to pac- ing.436,450 As a result, in addition to standard evaluations of sensing and pacing thresholds, myocardial response becomes an important factor during implant. The traditional RV apical pacing site, using early lead designs without ﬁxation capabil- ities, resulted in altered myocellular contractility causing adverse histopathology in children.431 With the introduction of improved lead designs, implants can now be achieved at most  preselected  or  “targeted”  locations  that  optimize contractility or narrowest QRS duration.

Recommendation-speciﬁc supportive text

1. Lead placement in close proximity to the normal septal conduction system or LV sites may be preferred. Select RV septal pacing sites, typically inﬂow to mid-septum, are associated with either improved or preserved LV contractility when compared with other RV sites. These sites are also associated with a narrow QRS duration and normalized axis.445,446 In studies of RVP sites (apex to outﬂow tract), no demonstrable difference could be seen with “nontargeted” septal sites; however, when as- sessing sites using contractility (dP/dt), the mid-septal re- gion (moderator band area) was typically associated with the best responses.450,451 The optimal site, in regard to paced contractility, appears to be patient speciﬁc with no one site optimal for all, stressing the need to individu- alize lead implants. Electroanatomic mapping has been utilized to localize RV transvenous sites with narrowest QRS duration on mid-septum, para-Hisian, or RV outﬂow tract sites.445,446 Adverse thresholds and valve problems have not been a concern with septal pacing.

Only a small number of pediatric patients who have under- gone HBP or LBBAP have been reported.423,440,443 One of the  studies423   reported  clinical  improvements,  but  EF changes in both studies were variable and QRS duration shortened only among patients with preexisting pacemakers. Elevated pacing thresholds were reported in patients from both studies, with some requiring lead revisions. Therefore, at this time, data are too limited to make recommendations regarding HBP or LBBAP applications in pediatric patients.

Epicardial apical LV pacing has been advocated over RVP to better preserve ventricular contractility among infants and children with isolated CCAVB with reported improvements in echocardiographic parameters of EF as well as strain and synchrony.445,446,448,449  Of note, QRS duration was not different between sites.

# Section 8 Gaps, needs, and future directions

CPP carries the potential to mitigate or prevent HF in select patients undergoing implantable device therapies. The stron- gest evidence for CPP has been with randomized clinical tri- als showing improvement in clinical outcomes, including improved survival and HFH, for select populations undergo- ing CRT, particularly for patients with LVEF ≤35%, LBBB, and QRS duration ≥150 ms, and NYHA functional class II- IV symptoms. For patients with LVEF 36%-50% expected to require substantial RVP, randomized trials support use of CRT or HBP to avoid PICM if substantial RVP is anticipated. However, there remain signiﬁcant gaps with limited random- ized data for other CPP indications and for CSP (HBP or LBBAP). Identiﬁed gaps and needs for future studies are listed in Table 10.

Table 10     Identiﬁed gaps and needs for future studies

| Knowledge gap | Future needs and directions |
| --- | --- |

| Long-term risks and consequences of LBBAP and HBP | Longer-term follow-up of CSP including device-related complications, lead characteristics, lead survival, and extraction outcomes. |
| --- | --- |
| Clinical outcome differences between LV septal and LBB pacing | Clinical outcome studies in patients stratiﬁed by LV septal or LBB pacing. This includes patients requiring substantial pacing with or without HF. |
| Normal LVEF anticipated to have substantial RVP | RCT of CSP vs RVP in patients with normal LV function but expected to require substantial RVP. |

Infrequent ventricular pacing

CRT in patients with HF, LBBB, and QRS duration <150 ms

RCTs of CSP (LBBAP or HBP) vs RVP in patients undergoing pacemaker implants but with minimal RVP need.

Determination of thresholds for stature and LV size that predict improved outcomes after CRT.

CSP for patients with HF and QRS duration >120 ms or  PICM

RCTs of CSP vs CRT with BiV in CRT-indicated patients.

Combination CRT with LV lead   RCTs of CRT with LV lead vs CRT  + HBP or CRT + LBBAP in patients with CRT indications.

+ HBP or LBBAP

Impact of CSP on the

Future randomized studies to evaluate the risk of new-onset AF and progression of AF in patients with CSP.

prevention of AF

Standardized criteria for

optimal lead placement

Standardization of deﬁnitions for failure or success of lead placement for CRT with BiV pacing, HBP, or LBBAP.

Table 10     (Continued)

| Knowledge | gap | Future needs and directions |  |  |
| --- | --- | --- | --- | --- |
| Prediction LBBB | of PICM and HF with | Identiﬁcation of factors, imaging, or biomarker features predictive of development of electrical dyssynchrony-induced cardiomyopathy or PICM. This may include novel echocardiography, ECG vectorcardiography, or cardiac MRI techniques. |  | mapping, |
| Prediction of response to CRT and CSP |  | Novel echocardiography techniques, ECG mapping, advanced ECG analytics, and vectorcardiography, potentially with the use of artiﬁcial intelligence/machine learning methodology, are future directions that may enhance prediction of response to CRT or CSP, aid in patient selection, and guidance of optimization of programming. |  |  |
| Data on follow-up optimization Studies, tools, and algorithms to achieve optimal CRT and CSP in follow-up clinics. and troubleshooting of CRT and CSP |  |  |  |  |
| Replacement or upgrade considerations for CPP |  | Prospective studies to deﬁne outcomes after replacement or upgrade of devices using speciﬁed criteria. |  |  |
| Role of CRT in LVAD patients |  | Randomized studies of CRT inactivation or continued use in patients with LVADs to determine effects on ventricular arrhythmias, ICD shocks, or other clinical outcomes. |  |  |
| CPP for CHD and pediatric populations |  | Long-term prospective registries in CHD and pediatric patients who receive CPP. |  |  |
| CSP-speciﬁc leads, devices, and Manufacturer development of CSP-speciﬁc devices and leads, including devices with features tailored to CSP adapters leads, adaptors to be used with quadripolar lead systems, and CRT-P devices capable of accepting RV coil leads for downgrades. |  |  |  |  |
| Role of endocardial LV pacing |  | Continued development of endocardial LV pacing technologies, including minimization of thromboembolic risks and randomized trials comparing LV endocardial pacing to BiV CRT or CSP pacing. |  |  |
| Cost-effectiveness analyses for Inclusion of cost-effectiveness analyses in prospective or randomized trials. CPP |  |  |  |  |
| Shared decision-making decision aids for CRT and CSP |  |  | Development and validation of decision aids for CRT and CSP for shared decision-making discussions with patients. |  |
| MRI safety Safety studies of commercially available leads used for CSP. |  |  |  |  |

AF = atrial ﬁbrillation;BiV = biventricular;CHD = congenital heart disease; CPP = cardiac physiologic pacing; CRT = cardiac resynchronization therapy; CRT- P = cardiac resynchronization therapy-pacemaker; CSP = conduction system pacing; ECG = electrocardiographic; HBP = His bundle pacing; HF = heart failure; ICD = implantable cardioverter-deﬁbrillator; LBB = left bundle branch; LBBAP = left bundle branch area pacing; LBBB = left bundle branch block; LV = left ventricle/ventricular; LVAD = left ventricular assist device; LVEF = left ventricular ejection fraction; MRI = magnetic resonance imaging; PICM = pacing-induced cardiomyopathy; RCT = randomized controlled trial; RV = right ventricle/ventricular; RVP = right ventricular pacing.

## Appendix

## Supplementary data

Supplementary data (Appendix 3) associated with this article can be found in the online version at https://doi.org/10.1016/ j.hrthm.2023.03.1538.

# References

1.   European Heart Rhythm Association; European Society of Cardiology; Heart Rhythm Society; Heart Failure Society of America; American Society of Echocardiography;  American  Heart  Association;  European  Association  of Echocardiography;  Heart  Failure  Association;  Daubert  J-C,  Saxon  L, Adamson PB, et al. 2012 EHRA/HRS expert consensus statement on cardiac resynchronization therapy in heart failure: implant and follow-up recommen- dations     and     management.     Heart     Rhythm     2012;9:1524-1576. https://doi.org/10.1016/j.hrthm.2012.07.025.

2.   Kusumoto FM, Schoenfeld MH, Barrett C, et al. 2018 ACC/AHA/HRS guideline on the evaluation and management of patients with bradycardia and cardiac con- duction delay: executive summary: a report of the American College of Cardiol- ogy/American Heart Association Task Force on Clinical Practice Guidelines, and   the    Heart   Rhythm    Society.   Heart    Rhythm   2019;16:e227-e279. https://doi.org/10.1016/j.hrthm.2018.10.036.

3.   Indik JH, Patton KK, Beardsall M, et al. HRS clinical document development methodology manual and policies: executive summary. Heart Rhythm 2017; 14:e495-e500. https://doi.org/10.1016/j.hrthm.2017.06.039.

4.   Institute of Medicine Committee on Standards for Developing Trustworthy Clin- ical  Practice  Guidelines.  In:  Graham  R,  Mancher  M,  Miller  Wolman  D, Greenﬁeld S, Steinberg E, eds. Clinical Practice Guidelines We Can Trust. Wash- ington, DC: National Academies Press; 2011.

5.   Halperin JL, Levine GN, Al-Khatib SM, et al. Further evolution of the ACC/AHA Clinical practice guideline recommendation classiﬁcation system: a report of the

American College of Cardiology/American Heart Association Task Force on Clin- ical   Practice   Guidelines.   J   Am   Coll   Cardiol   2016;67:1572-1574. https://doi.org/10.1016/j.jacc.2015.09.001.

6.   Epstein AE, DiMarco JP, Ellenbogen KA, et al. 2012 ACCF/AHA/HRS focused update incorporated into the ACCF/AHA/HRS 2008 guidelines for device-based therapy of cardiac rhythm abnormalities: a report of the American College of Car- diology Foundation/American Heart Association Task Force on Practice Guide- lines  and the  Heart Rhythm  Society.  J Am  Coll  Cardiol  2013;61:e6-e75. https://doi.org/10.1016/j.jacc.2012.11.007.

7.   Yancy CW, Jessup M, Bozkurt B, et al. 2013 ACCF/AHA guideline for the man- agement of heart failure: a report of the American College of Cardiology Founda- tion/American Heart Association Task Force on practice guidelines. Circulation 2013;128:e240-e327. https://doi.org/10.1161/CIR.0b013e31829e8776.

8.   Glikson M, Nielsen JC, Kronborg MB, et al. 2021 ESC guidelines on cardiac pac- ing and cardiac resynchronization therapy. Eur Heart J 2021;42:3427-3520. https://doi.org/10.1093/eurheartj/ehab364.

9.   Michtalik HJ, Sinha SK, Sharma R, Zhang A, Sidhu SS, Robinson KA. Use of Car- diac Resynchronization Therapy. Rockville, MD: Agency for Healthcare Research and Quality.

10.   Slotwiner  DJ,  Raitt  MH,  Del-Carpio  Munoz  F,  Mulpuru  SK,  Nasser N, Peterson PN. Impact of physiologic pacing versus right ventricular pacing among patients with left ventricular ejection fraction greater than 35%: a systematic re- view for the 2018 ACC/AHA/HRS guideline on the evaluation and management of patients with bradycardia and cardiac conduction delay: a report of the Amer- ican College of Cardiology/American Heart Association Task Force on Clinical Practice  Guidelines  and  the  Heart  Rhythm  Society.  Heart  Rhythm  2019; 16:e280-e298. https://doi.org/10.1016/j.hrthm.2018.10.035.

11.   Surawicz B, Childers R, Deal BJ, et al. AHA/ACCF/HRS recommendations for the standardization and interpretation of the electrocardiogram: Part III: intraven- tricular conduction disturbances: a scientiﬁc statement from the American Heart Association Electrocardiography and Arrhythmias Committee, Council on Clin- ical Cardiology; the American College of Cardiology Foundation; and the Heart

56                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Rhythm Society. Endorsed by the International Society for Computerized Electro- cardiology. J Am Coll Cardiol 2009;53:976–981. https://doi.org/10.1016/j.- jacc.2008.12.013.

12.   Vijayaraman P, Dandamudi G, Zanon F, et al. Permanent His bundle pacing: rec- ommendations from a Multicenter His Bundle Pacing Collaborative Working Group for standardization of deﬁnitions, implant measurements, and follow-up. Heart Rhythm 2018;15:460–468. https://doi.org/10.1016/j.hrthm.2017.10.039.

13.   Khurshid S, Epstein AE, Verdino RJ, et al. Incidence and predictors of right ven- tricular pacing-induced cardiomyopathy. Heart Rhythm 2014;11:1619–1625. https://doi.org/10.1016/j.hrthm.2014.05.040.

14.   Kiehl EL, Makki T, Kumar R, et al. Incidence and predictors of right ventricular pacing-induced cardiomyopathy in patients with complete atrioventricular block and  preserved  left  ventricular  systolic  function.  Heart  Rhythm  2016;

13:2272–2278. https://doi.org/10.1016/j.hrthm.2016.09.027.

15.   Sweeney MO, HellkampAS, Ellenbogen KA, et al. Adverse effect of ventricular pac- ing on heart failure and atrial ﬁbrillation among patients with normal baseline QRS duration in a clinical trial of pacemaker therapy for sinus node dysfunction. Circula- tion 2003;107:2932–2937. https://doi.org/10.1161/01.CIR.0000072769.17295.B1.

16.   Vijayaraman P, Naperkowski A, Subzposh FA, et al. Permanent His-bundle pac- ing: long-term lead performance and clinical outcomes. Heart Rhythm 2018;

15:696–702. https://doi.org/10.1016/j.hrthm.2017.12.022.

17.   Zhang XH, Chen H, Siu CW, et al. New-onset heart failure after permanent right ventricular apical pacing in patients with acquired high-grade atrioventricular block and normal left ventricular function. J Cardiovasc Electrophysiol 2008;

19:136–141. https://doi.org/10.1111/j.1540-8167.2007.01014.x.

18.   Yu CM, Chan JY, Zhang Q, et al. Biventricular pacing in patients with brady- cardia and normal ejection fraction. N Engl J Med 2009;361:2123–2134. https://doi.org/10.1056/NEJMoa0907555.

19.   Vijayaraman P, Herweg B, Dandamudi G, et al. Outcomes of His-bundle pacing upgrade after long-term right ventricular pacing and/or pacing-induced cardiomy- opathy: insights into disease progression. Heart Rhythm 2019;16:1554–1561. https://doi.org/10.1016/j.hrthm.2019.03.026.

20.   Somma V, Ha FJ, Palmer S, Mohamed U, Agarwal S. Pacing-induced cardiomyopa- thy: a systematic review and meta-analysis of deﬁnition, prevalence, risk factors, and management. Heart Rhythm 2023;20:282–290. https://doi.org/10.1016/j.hrthm.2022. 09.019.

21.   Vaillant C, Martins RP, Donal E, et al. Resolution of left bundle branch block- induced cardiomyopathy by cardiac resynchronization therapy. J Am Coll Cardiol 2013;61:1089–1095. https://doi.org/10.1016/j.jacc.2012.10.053.

22.   Wang NC, Singh M, Adelstein EC, et al. New-onset left bundle branch block- associated idiopathic nonischemic cardiomyopathy and left ventricular ejection fraction response to guideline-directed therapies: the NEOLITH study. Heart Rhythm 2016;13:933–942. https://doi.org/10.1016/j.hrthm.2015.12.020.

23.   Sharma S, Barot HV, Schwartzman AD, et al. Risk and predictors of dyssyn- chrony cardiomyopathy in left bundle branch block with preserved left ventricular ejection fraction. Clin Cardiol 2020;43:1494–1500. https://doi.org/10.1002/clc. 23467.

24.   Ponnusamy SS, Vijayaraman P. Left bundle branch block-induced cardiomyopa- thy: insights from left bundle branch pacing. JACC Clin Electrophysiol 2021;

7:1155–1165. https://doi.org/10.1016/j.jacep.2021.02.004.

25.   Singh R, Devabhaktuni S, Ezzeddine F, Simon J, Khaira K, Dandamudi G. His- bundle pacing: a novel treatment for left bundle branch block-mediated cardiomyop- athy. J Cardiovasc Electrophysiol 2020;31:2730–2736. https://doi.org/10.1111/ jce.14692.

26.   Wang NC, Li JZ, Adelstein EC, et al. New-onset left bundle branch block-asso- ciated idiopathic nonischemic cardiomyopathy and time from diagnosis to cardiac resynchronization therapy: the NEOLITH II study. Pacing Clin Electrophysiol 2018;41:143–154. https://doi.org/10.1111/pace.13264.

27.   Zhang ZM, Rautaharju PM, Soliman EZ, et al. Different patterns of bundle- branch blocks and the risk of incident heart failure in the Women’s Health Initia- tive (WHI) study. Circ Heart Fail 2013;6:655–661. https://doi.org/10.1161/- CIRCHEARTFAILURE.113.000217.

28.   Kaye G, Ng JY, Ahmed S, Valencia D, Harrop D, Ng ACT. The prevalence of pacing-induced cardiomyopathy (PICM) in patients with long term right ventric- ular pacing—is it a matter of deﬁnition? Heart Lung Circ 2019;28:1027–1033. https://doi.org/10.1016/j.hlc.2018.05.196.

29.   Kaza N, Htun V, Miyazawa A, et al. Upgrading right ventricular pacemakers to biventricular pacing or conduction system pacing: a systematic review and meta-analysis.  Europace  2023;25:1077–1086.  https://doi.org/10.1093/europa- ce/euac188.

30.   Wagner GS, Macfarlane P, Wellens H, et al. AHA/ACCF/HRS recommendations for the standardization and interpretation of the electrocardiogram: Part VI: acute ischemia/infarction: a scientiﬁc statement from the American Heart Association Electrocardiography and Arrhythmias Committee, Council on Clinical Cardiology; the American College of Cardiology Foundation; and the Heart Rhythm Society.

Endorsed by the International Society for Computerized Electrocardiology. J Am Coll Cardiol 2009;53:1003–1011. https://doi.org/10.1016/j.jacc.2008.12.016.

31.   Kashani A, Barold SS. Signiﬁcance of QRS complex duration in patients with heart failure. J Am Coll Cardiol 2005;46:2183–2192. https://doi.org/10.1016/j.- jacc.2005.01.071.

32.   Wang NC, Adelstein EC, Singh M, Voigt AH, Saba S. Left bundle branch block- associated  cardiomyopathies  and  early  cardiac  resynchronization  therapy: conceptualizing a tailored approach. J Am Coll Cardiol 2018;71:1943–1944. https://doi.org/10.1016/j.jacc.2018.02.060.

33.   Grines CL, Bashore TM, Boudoulas H, Olson S, Shafer P, Wooley CF. Functional abnormalities in isolated left bundle branch block: the effect of interventricular asynchrony.    Circulation    1989;79:845–853.     https://doi.org/10.1161/01.- cir.79.4.845.

34.   Albertsen AE, Mortensen PT, Jensen HK, Poulsen SH, Egeblad H, Nielsen JC.

Adverse effect of right ventricular pacing prevented by biventricular pacing dur- ing long-term follow-up: a randomized comparison. Eur J Echocardiogr 2011;

12:767–772. https://doi.org/10.1093/ejechocard/jer136.

35.   Curtis AB, Worley SJ, Adamson PB, et al. Biventricular pacing for atrioventric- ular block and systolic dysfunction. N Engl J Med 2013;368:1585–1593. https://doi.org/10.1056/NEJMoa1210356.

36.   Fang F, Zhang Q, Chan JY, et al. Early pacing-induced systolic dyssynchrony is a strong predictor of left ventricular adverse remodeling: analysis from the Pacing to Avoid Cardiac Enlargement (PACE) trial. Int J Cardiol 2013;168:723–728. https://doi.org/10.1016/j.ijcard.2012.08.005.

37.   Kindermann M, Hennen B, Jung J, Geisel J, Bohm M, Frohlig G. Biventricular versus conventional right ventricular stimulation for patients with standard pacing indication and left ventricular dysfunction: the Homburg Biventricular Pacing Evaluation   (HOBIPACE).    J   Am    Coll   Cardiol    2006;47:1927–1937. https://doi.org/10.1016/j.jacc.2005.12.056.

38.   Stockburger  M,  Gomez-Doblas JJ, Lamas G, et al. Preventing ventricular dysfunction in pacemaker patients without advanced heart failure: results from a multicentre international randomized trial (PREVENT-HF). Eur J Heart Fail 2011;13:633–641. https://doi.org/10.1093/eurjhf/hfr041.

39.   Yu CM, Fang F, Luo XX, Zhang Q, Azlan H, Razali O. Long-term follow-up re- sults of the Pacing to Avoid Cardiac Enlargement (PACE) trial. Eur J Heart Fail 2014;16:1016–1025. https://doi.org/10.1002/ejhf.157.

40.   Abdelrahman M, Subzposh FA, Beer D, et al. Clinical outcomes of His bundle pacing  compared  to  right  ventricular  pacing.  J  Am  Coll  Cardiol  2018;

71:2319–2330. https://doi.org/10.1016/j.jacc.2018.02.048.

41.   Kronborg MB, Mortensen PT, Poulsen SH, Gerdes JC, Jensen HK, Nielsen JC.

His or para-His pacing preserves left ventricular function in atrioventricular block: a double-blind, randomized, crossover study. Europace 2014;16:1189–1196. https://doi.org/10.1093/europace/euu011.

42.   Sharma PS, Dandamudi G, Herweg B, et al. Permanent His-bundle pacing as an alternative to biventricular pacing for cardiac resynchronization therapy: a multi- center experience. Heart Rhythm 2018;15:413–420. https://doi.org/10.1016/j. hrthm.2017.10.014.

43.   Sharma PS, Dandamudi G, Naperkowski A, et al. Permanent His-bundle pacing is feasible, safe, and superior to right ventricular pacing in routine clinical practice. Heart Rhythm 2015;12:305–312. https://doi.org/10.1016/j.hrthm.2014.10.021.

44.   Zanon F, Bacchiega E, Rampin L, et al. Direct His bundle pacing preserves cor- onary perfusion compared with right ventricular apical pacing: a prospective, cross-over   mid-term    study.   Europace    2008;10:580–587.   https://doi.or- g/10.1093/europace/eun089.

45.   Huang W, Wu S, Vijayaraman P, et al. Cardiac resynchronization therapy in pa- tients with nonischemic cardiomyopathy using left bundle branch pacing. JACC Clin   Electrophysiol   2020;6:849–858.   https://doi.org/10.1016/j.jacep.2020. 04.011.

46.   Su L, Wang S, Wu S, et al. Long-term safety and feasibility of left bundle branch pacing in a large single-center study. Circ Arrhythm Electrophysiol 2021; 14:e009261. https://doi.org/10.1161/CIRCEP.120.009261.

47.   Vijayaraman P, Ponnusamy S, Cano O, et al. Left bundle branch area pacing for cardiac resynchronization therapy: results from the International LBBAP Collab- orative   Study   Group.   JACC   Clin   Electrophysiol   2021;7:135–147. https://doi.org/10.1016/j.jacep.2020.08.015.

48.   Zhang S, Guo J, Tao A, Zhang B, Bao Z, Zhang G. Clinical outcomes of left bundle branch pacing compared to right ventricular apical pacing in patients with      atrioventricular      block.      Clin      Cardiol      2021;44:481–487. https://doi.org/10.1002/clc.23513.

49.   Beer D, Sharma PS, Subzposh FA, et al. Clinical outcomes of selective versus nonselective His bundle pacing. JACC Clin Electrophysiol 2019;5:766–774. https://doi.org/10.1016/j.jacep.2019.04.008.

50.   Fernandes GC, Knijnik L, Lopez J, et al. Network meta-analysis of His bundle, biventricular, or right ventricular pacing as a primary strategy for advanced atrio- ventricular conduction disease with normal or mildly reduced ejection fraction. J

Cardiovasc    Electrophysiol    2020;31:1482-1492.     https://doi.org/10.1111/ jce.14490.

51.   Li X, Zhang J, Qiu C, et al. Clinical outcomes in patients with left bundle branch area pacing vs. right ventricular pacing for atrioventricular block. Front Cardio- vasc Med 2021;8:685253 https://doi.org/10.3389/fcvm.2021.685253.

52.   Sharma PS, Patel NR, Ravi V, et al. Clinical outcomes of left bundle branch area pacing compared to right ventricular pacing: results from the Geisinger-Rush Conduction   System   Pacing    Registry.   Heart   Rhythm    2022;19:3-11. https://doi.org/10.1016/j.hrthm.2021.08.033.

53.   Chan JY, Fang F, Zhang Q, et al. Biventricular pacing is superior to right ventric- ular pacing in bradycardia patients with preserved systolic function: 2-year results of the PACE trial. Eur Heart J 2011;32:2533-2540. https://doi.org/10.1093/eur- heartj/ehr336.

54.   Dreger H, Maethner K, Bondke H, Baumann G, Melzer C. Pacing-induced cardio- myopathy in patients with right ventricular stimulation for >15 years. Europace 2012;14:238-242. https://doi.org/10.1093/europace/eur258.

55.   Writing Committee Members; Kusumoto FM, Schoenfeld MH, Barrett C, et al.

2018 ACC/AHA/HRS guideline on the evaluation and management of patients with bradycardia and cardiac conduction delay: a report of the American College of Cardiology/American Heart Association Task Force on Clinical Practice Guidelines and the Heart Rhythm Society. Heart Rhythm 2019;16:e128-e226. https://doi.org/10.1016/j.hrthm.2018.10.037.

56.   Chen X, Jin Q, Bai J, et al. The feasibility and safety of left bundle branch pacing vs. right ventricular pacing after mid-long-term follow-up: a single-centre experi- ence. Europace 2020;22:ii36-ii44. https://doi.org/10.1093/europace/euaa294.

57.   Padala SK, Master VM, Terricabras M, et al. Initial experience, safety, and feasi- bility of left bundle branch area pacing: a multicenter prospective study. JACC Clin  Electrophysiol  2020;6:1773-1782.  https://doi.org/10.1016/j.jacep.2020. 07.004.

58.   Wu S, Su L, Vijayaraman P, et al. Left bundle branch pacing for cardiac resynch- ronization therapy: nonrandomized on-treatment comparison with His bundle pacing   and    biventricular   pacing.   Can   J   Cardiol    2021;37:319-328. https://doi.org/10.1016/j.cjca.2020.04.037.

59.   Liu J, Sun F, Wang Z, et al. Left bundle branch area pacing vs. biventricular pac- ing for cardiac resynchronization therapy: a meta-analysis. Front Cardiovasc Med 2021;8:669301 https://doi.org/10.3389/fcvm.2021.669301.

60.   Ravi V, Sharma PS, Patel NR, et al. New-onset atrial ﬁbrillation in left bundle branch area pacing compared with right ventricular pacing. Circ Arrhythm Elec- trophysiol 2022;15:e010710. https://doi.org/10.1161/CIRCEP.121.010710.

61.   Wilkoff BL, Cook JR, Epstein AE, et al. Dual-chamber pacing or ventricular backup pacing in patients with an implantable deﬁbrillator: the Dual Chamber and VVI Implantable Deﬁbrillator (DAVID) trial. JAMA 2002;288:3115-3123. https://doi.org/10.1001/jama.288.24.3115.

62.   Vijayaraman P, Naperkowski A, Ellenbogen KA, Dandamudi G. Electrophysio- logic insights into site of atrioventricular block: lessons from permanent His bundle     pacing.     JACC      Clin     Electrophysiol     2015;1:571-581. https://doi.org/10.1016/j.jacep.2015.09.012.

63.   Chung ES, Katra RP, Ghio S, et al. Cardiac resynchronization therapy may beneﬁt patients with left ventricular ejection fraction >35%: a PROSPECT trial sub- study. Eur J Heart Fail 2010;12:581-587. https://doi.org/10.1093/eurjhf/hfq009.

64.   Kutyifa V, Kloppe A, Zareba W, et al. The inﬂuence of left ventricular ejection fraction on the effectiveness of cardiac resynchronization therapy: MADIT- CRT (Multicenter Automatic Deﬁbrillator Implantation Trial With Cardiac Re- synchronization    Therapy).    J    Am    Coll    Cardiol    2013;61:936-944. https://doi.org/10.1016/j.jacc.2012.11.051.

65.   Zhang W, Huang J, Qi Y, et al. Cardiac resynchronization therapy by left bundle branch area pacing in patients with heart failure and left bundle branch block. Heart Rhythm 2019;16:1783-1790. https://doi.org/10.1016/j.hrthm.2019.09.006.

66.   Jastrzebski M, Kielbasa G, Cano O, et al. Left bundle branch area pacing out- comes:  the  multicentre  European  MELOS  study.  Eur  Heart  J  2022;

43:4161-4173. https://doi.org/10.1093/eurheartj/ehac445.

67.   Ebert M, Jander N, Minners J, et al. Long-term impact of right ventricular pacing on left ventricular systolic function in pacemaker recipients with preserved ejec- tion fraction: results from a large single-center registry. J Am Heart Assoc 2016; 5:e003485. https://doi.org/10.1161/JAHA.116.003485.

68.   Ooka J, Tanaka H, Hatani Y, et al. Risk stratiﬁcation of future left ventricular dysfunction for patients with indications for right ventricular pacing due to brady- cardia. Int Heart J 2017;58:724-730. https://doi.org/10.1536/ihj.16-415.

69.   Wang J, Liang Y, Wang W, et al. Left bundle branch area pacing is superior to right ventricular septum pacing concerning depolarization-repolarization reserve. J   Cardiovasc    Electrophysiol    2020;31:313-322.    https://doi.org/10.1111/ jce.14295.

70.   Auricchio A, Ellenbogen KA. Reducing ventricular pacing frequency in patients with atrioventricular block: is it time to change the current pacing paradigm? Circ Ar-

rhythm   Electrophysiol    2016;9:e004404.   https://doi.org/10.1161/CIRCEP.116. 004404.

71.   Stockburger M, Boveda S, Moreno J, et al. Long-term clinical effects of ventric- ular pacing reduction with a changeover mode to minimize ventricular pacing in a general pacemaker population. Eur Heart J 2015;36:151-157. https://doi.or- g/10.1093/eurheartj/ehu336.

72.   Birnie DH, Ha A, Higginson L, et al. Impact of QRS morphology and duration on outcomes after cardiac resynchronization therapy: results from the Resynchroniza- tion-Deﬁbrillation for Ambulatory Heart Failure Trial (RAFT). Circ Heart Fail 2013;6:1190-1198. https://doi.org/10.1161/CIRCHEARTFAILURE.113.000380.

73.   Han HC, Hawkins NM, Pearman CM, Birnie DH, Krahn AD. Epidemiology of cardiac implantable electronic device infections: incidence and risk factors. Euro- pace 2021;23:iv3-iv10. https://doi.org/10.1093/europace/euab042.

74.   Santini M, Di Fusco SA, Santini A, et al. Prevalence and predictor factors of se- vere venous obstruction after cardiovascular electronic device implantation. Euro- pace 2016;18:1220-1226. https://doi.org/10.1093/europace/euv391.

75.   Tulecki L, Polewczyk A, Jachec W, et al. Analysis of risk factors for major com- plications of 1500 transvenous lead extraction procedures with especial attention to tricuspid valve damage. Int J Environ Res Public Health 2021;18:9100. https://doi.org/10.3390/ijerph18179100.

76.   Goscinska-Bis K, Bis J, Krejca M, et al. Totally epicardial cardiac resynchroniza- tion therapy system implantation in patients with heart failure undergoing CABG. Eur J Heart Fail 2008;10:498-506. https://doi.org/10.1016/j.ejheart.2008.03.007.

77.   Mellert F, Schneider C, Esmailzadeh B, et al. Implantation of left ventricular epicardial leads in cardiosurgical patients with impaired cardiac function—a worthwhile procedure in concomitant surgical interventions? Thorac Cardiovasc Surg 2012;60:64-69. https://doi.org/10.1055/s-0030-1250535.

78.   Romanov A, Goscinska-Bis K, Bis J, et al. Cardiac resynchronization therapy combined with coronary artery bypass grafting in ischaemic heart failure patients: long-term results of the RESCUE study. Eur J Cardiothorac Surg 2016;50:36-41. https://doi.org/10.1093/ejcts/ezv448.

79.   Rickard J, Johnston DR, Price J, et al. Reverse ventricular remodeling and long- term survival in patients undergoing cardiac resynchronization with surgically versus percutaneously placed left ventricular pacing leads. Heart Rhythm 2015;

12:517-523. https://doi.org/10.1016/j.hrthm.2014.11.013.

80.   Garikipati NV, Mittal S, Chaudhry F, et al. Comparison of endovascular versus epicardial lead placement for resynchronization therapy. Am J Cardiol 2014;

113:840-844. https://doi.org/10.1016/j.amjcard.2013.11.040.

81.   van Dijk VF, Fanggiday J, Balt JC, et al. Effects of epicardial versus transvenous left ventricular lead placement on left ventricular function and cardiac perfusion in cardiac resynchronization therapy: a randomized clinical trial. J Cardiovasc Elec- trophysiol 2017;28:917-923. https://doi.org/10.1111/jce.13242.

82.   Giraldi F, Cattadori G, Roberto M, et al. Long-term effectiveness of cardiac re- synchronization therapy in heart failure patients with unfavorable cardiac veins anatomy comparison of surgical versus hemodynamic procedure. J Am Coll Car- diol 2011;58:483-490. https://doi.org/10.1016/j.jacc.2011.02.065.

83.   Rodes-Cabau J, Urena M, Nombela-Franco L, et al. Arrhythmic burden as deter- mined by ambulatory continuous cardiac monitoring in patients with new-onset persistent left bundle branch block following transcatheter aortic valve replace- ment:  the  MARE  study.  JACC  Cardiovasc  Interv  2018;11:1495-1505. https://doi.org/10.1016/j.jcin.2018.04.016.

84.   Megaly M, Abraham B, Abdelsalam M, et al. Short- and long-term outcomes in patients with new-onset persistent left bundle branch block after transcatheter aortic  valve  replacement.  Cardiovasc  Revasc  Med  2020;21:1299-1304. https://doi.org/10.1016/j.carrev.2020.03.009.

85.   De Pooter J, Gauthey A, Calle S, et al. Feasibility of His-bundle pacing in patients with conduction disorders following transcatheter aortic valve replacement. J Car- diovasc Electrophysiol 2020;31:813-821. https://doi.org/10.1111/jce.14371.

86.   Vijayaraman P, Cano O, Koruth JS, et al. His-Purkinje conduction system pacing following transcatheter aortic valve replacement: feasibility and safety. JACC Clin Electrophysiol 2020;6:649-657. https://doi.org/10.1016/j.jacep.2020.02.010.

87.   Niu HX, Liu X, Gu M, et al. Conduction system pacing for post transcatheter aortic valve replacement patients: comparison with right ventricular pacing. Front Cardiovasc Med 2021;8:772548 https://doi.org/10.3389/fcvm.2021.772548.

88.   Abraham WT, Fisher WG, Smith AL, et al. Cardiac resynchronization in chronic heart failure. N Engl J Med 2002;346:1845-1853. https://doi.org/10.1056/NEJ- Moa013168.

89.   Abraham WT, Young JB, Leon AR, et al. Effects of cardiac resynchronization on disease progression in patients with left ventricular systolic dysfunction, an indica- tion for an implantable cardioverter-deﬁbrillator, and mildly symptomatic chronic heart   failure.    Circulation   2004;110:2864-2868.    https://doi.org/10.1161/01. CIR.0000146336.92331.D1.

90.   Bristow MR, Saxon LA, Boehmer J, et al. Cardiac-resynchronization therapy with or without an implantable deﬁbrillator in advanced chronic heart failure.

58                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

N   Engl   J   Med   2004;350:2140–2150.   https://doi.org/10.1056/NEJ- Moa032423.

91.   Cleland JG, Daubert JC, Erdmann E, et al. The effect of cardiac resynchronization on morbidity and mortality in heart failure. N Engl J Med 2005;352:1539–1549. https://doi.org/10.1056/NEJMoa050496.

92.   Linde C, Abraham WT, Gold MR, et al. Randomized trial of cardiac resynchro- nization in mildly symptomatic heart failure patients and in asymptomatic patients with left ventricular dysfunction and previous heart failure symptoms. J Am Coll Cardiol 2008;52:1834–1843. https://doi.org/10.1016/j.jacc.2008.08.027.

93.   Linde C, Gold MR, Abraham WT, et al. Long-term impact of cardiac resynchro- nization therapy in mild heart failure: 5-year results from the REsynchronization reVErses Remodeling in Systolic left vEntricular dysfunction (REVERSE) study. Eur Heart J 2013;34:2592–2599. https://doi.org/10.1093/eurheartj/eht160.

94.   Moss AJ, Hall WJ, Cannom DS, et al. Cardiac-resynchronization therapy for the prevention  of  heart-failure  events.  N  Engl  J  Med  2009;361:1329–1338. https://doi.org/10.1056/NEJMoa0906431.

95.   Sipahi I, Carrigan TP, Rowland DY, Stambler BS, Fang JC. Impact of QRS dura- tion on clinical event reduction with cardiac resynchronization therapy: meta- analysis   of   randomized    controlled   trials.    Arch   Intern    Med   2011;

171:1454–1462. https://doi.org/10.1001/archinternmed.2011.247.

96.   Tang AS, Wells GA, Talajic M, et al. Cardiac-resynchronization therapy for mild- to-moderate    heart    failure.    N    Engl    J    Med    2010;363:2385–2395. https://doi.org/10.1056/NEJMoa1009540.

97.   Young JB, Abraham WT, Smith AL, et al. Combined cardiac resynchronization and implantable cardioversion deﬁbrillation in advanced chronic heart failure: the MIRACLE ICD Trial. JAMA 2003;289:2685–2694. https://doi.org/10.1001/- jama.289.20.2685.

98.   Ajijola OA, Upadhyay GA, Macias C, Shivkumar K, Tung R. Permanent His- bundle pacing for cardiac resynchronization therapy: initial feasibility study in lieu   of   left    ventricular    lead.    Heart    Rhythm    2017;14:1353–1361. https://doi.org/10.1016/j.hrthm.2017.04.003.

99.   Huang W, Su L, Wu S, et al. Long-term outcomes of His bundle pacing in patients with heart failure with left bundle branch block. Heart 2019;105:137–143. https://doi.org/10.1136/heartjnl-2018-313415.

100.   Lustgarten DL, Crespo EM, Arkhipova-Jenkins I, et al. His-bundle pacing versus biventricular pacing in cardiac resynchronization therapy patients: a crossover    design    comparison.    Heart    Rhythm    2015;12:1548–1557. https://doi.org/10.1016/j.hrthm.2015.03.048.

101.   Upadhyay GA, Vijayaraman P, Nayak HM, et al. On-treatment comparison be- tween corrective His bundle pacing and biventricular pacing for cardiac resynch- ronization: a secondary analysis of the His-SYNC pilot trial. Heart Rhythm 2019;16:1797–1807. https://doi.org/10.1016/j.hrthm.2019.05.009.

102.   Upadhyay GA, Vijayaraman P, Nayak HM, et al. His corrective pacing or biven- tricular pacing for cardiac resynchronization in heart failure. J Am Coll Cardiol 2019;74:157–159. https://doi.org/10.1016/j.jacc.2019.04.026.

103.   Vinther M, Risum N, Svendsen JH, Mogelvang R, Philbert BT. A randomized trial of His pacing versus biventricular pacing in symptomatic HF patients with left bundle branch block (His-Alternative). JACC Clin Electrophysiol 2021;7:1422–1432. https://doi.org/10.1016/j.jacep.2021.04.003.

104.   Wang Y, Zhu H, Hou X, et al. Randomized trial of left bundle branch vs biven- tricular pacing for cardiac resynchronization therapy. J Am Coll Cardiol 2022;

80:1205–1216. https://doi.org/10.1016/j.jacc.2022.07.019.

105.   Foley PW, Stegemann B, Smith RE, Sanderson JE, Leyva F. Cardiac resynchroniza- tion therapy in patients with mildly impaired left ventricular function. Pacing Clin Electrophysiol    2009;32:S186–S189.    https://doi.org/10.1111/j.1540-8159.2008. 02280.x.

106.   Fung JW, Zhang Q, Yip GW, Chan JY, Chan HC, Yu CM. Effect of cardiac re- synchronization therapy in patients with moderate left ventricular systolic dysfunc- tion and wide QRS complex: a prospective study. J Cardiovasc Electrophysiol 2006;17:1288–1292. https://doi.org/10.1111/j.1540-8167.2006.00612.x.

107.   Tawﬁk Ghanem M, Allam LE, Samir Ahmed R. Cardiac resynchronization therapy in patients with heart failure and moderately reduced ejection fraction: could  it  trigger  a  super-response?  Indian  Heart  J  2019;71:229–234. https://doi.org/10.1016/j.ihj.2019.04.010.

108.   Sharma PS, Naperkowski A, Bauch TD, et al. Permanent His bundle pacing for cardiac resynchronization therapy in patients with heart failure and right bundle branch    block.    Circ    Arrhythm    Electrophysiol    2018;11:e006613. https://doi.org/10.1161/CIRCEP.118.006613.

109.   Cleland JG, Abraham WT, Linde C, et al. An individual patient meta-analysis of ﬁve randomized trials assessing the effects of cardiac resynchronization therapy on morbidity and mortality in patients with symptomatic heart failure. Eur Heart J 2013;34:3547–3556. https://doi.org/10.1093/eurheartj/eht290.

110.   Vijayaraman P, Herweg B, Verma A, et al. Rescue left bundle branch area pacing in coronary venous lead failure or nonresponse to biventricular pacing: results

from International LBBAP Collaborative Study Group. Heart Rhythm 2022;

19:1272–1280. https://doi.org/10.1016/j.hrthm.2022.04.024.

111.   Linde C, Curtis AB, Fonarow GC, et al. Cardiac resynchronization therapy in chronic heart failure with moderately reduced left ventricular ejection fraction: lessons from the Multicenter InSync Randomized Clinical Evaluation MIRA- CLE EF study. Int J Cardiol 2016;202:349–355. https://doi.org/10.1016/j.ij- card.2015.09.023.

112.   Cheng YJ, Zhang J, Li WJ, et al. More favorable response to cardiac resynchro- nization therapy in women than in men. Circ Arrhythm Electrophysiol 2014;

7:807–815. https://doi.org/10.1161/CIRCEP.113.001786.

113.   Salden OAE, van Stipdonk AMW, den Ruijter HM, et al. Heart size corrected electrical dyssynchrony and its impact on sex-speciﬁc response to cardiac re- synchronization  therapy.  Circ  Arrhythm  Electrophysiol  2021;14:e008452. https://doi.org/10.1161/CIRCEP.120.008452.

114.   Stavrakis S, Lazzara R, Thadani U. The beneﬁt of cardiac resynchronization therapy and QRS duration: a meta-analysis. J Cardiovasc Electrophysiol 2012;

23:163–168. https://doi.org/10.1111/j.1540-8167.2011.02144.x.

115.   Steffel J, Varma N, Robertson M, et al. Effect of gender on outcomes after car- diac resynchronization therapy in patients with a narrow QRS complex: a sub- group analysis of the EchoCRT trial. Circ Arrhythm Electrophysiol 2016; 9:e003924. https://doi.org/10.1161/CIRCEP.115.003924.

116.   Varma N, Lappe J, He J, Niebauer M, Manne M, Tchou P. Sex-speciﬁc response to cardiac resynchronization therapy: effect of left ventricular size and QRS duration  in  left  bundle  branch  block.  JACC  Clin  Electrophysiol  2017;

3:844–853. https://doi.org/10.1016/j.jacep.2017.02.021.

117.   Varma N, Manne M, Nguyen D, He J, Niebauer M, Tchou P. Probability and magnitude of response to cardiac resynchronization therapy according to QRS duration and gender in nonischemic cardiomyopathy and LBBB. Heart Rhythm 2014;11:1139–1147. https://doi.org/10.1016/j.hrthm.2014.04.001.

118.   Varma N, Mittal S, Prillinger JB, Snell J, Dalal N, Piccini JP. Survival in women versus men following implantation of pacemakers, deﬁbrillators, and cardiac re- synchronization therapy devices in a large, nationwide cohort. J Am Heart Assoc 2017;6:e005031. https://doi.org/10.1161/JAHA.116.005031.

119.   Zusterzeel R, Curtis JP, Canos DA, et al. Sex-speciﬁc mortality risk by QRS morphology and duration in patients receiving CRT: results from the NCDR. J Am Coll Cardiol 2014;64:887–894. https://doi.org/10.1016/j.jacc.2014.06.1162.

120.   Zusterzeel R, Selzman KA, Sanders WE, et al. Cardiac resynchronization ther- apy in women: US Food and Drug Administration meta-analysis of patient-level data. JAMA Intern Med 2014;174:1340–1348. https://doi.org/10.1001/jamain- ternmed.2014.2717.

121.   Zweerink A, Friedman DJ, Klem I, et al. Size matters: normalization of QRS duration to left ventricular dimension improves prediction of long-term cardiac resynchronization  therapy  outcome.  Circ  Arrhythm  Electrophysiol  2018; 11:e006767. https://doi.org/10.1161/CIRCEP.118.006767.

122.   Linde C, Cleland JGF, Gold MR, et al. The interaction of sex, height, and QRS duration on the effects of cardiac resynchronization therapy on morbidity and mortality: an individual-patient data meta-analysis. Eur J Heart Fail 2018;

20:780–791. https://doi.org/10.1002/ejhf.1133.

123.   Varma N, Sogaard P, Bax JJ, et al. Interaction of left ventricular size and sex on outcome of cardiac resynchronization therapy among patients with a narrow QRS duration in the EchoCRT trial. J Am Heart Assoc 2018;7:e009592. https://doi.org/10.1161/JAHA.118.009592.

124.   Varma N, Wang JA, Jaswal A, et al. CRT efﬁcacy in “mid-range” QRS dura- tion among Asians contrasted to non-Asians, and inﬂuence of height. JACC Clin Electrophysiol 2022;8:211–221. https://doi.org/10.1016/j.jacep.2021. 09.012.

125.   Herz ND, Engeda J, Zusterzeel R, et al. Sex differences in device therapy for heart failure: utilization, outcomes, and adverse events. J Womens Health (Larchmt) 2015;24:261–271. https://doi.org/10.1089/jwh.2014.4980.

126.   Arshad A, Moss AJ, Foster E, et al. Cardiac resynchronization therapy is more effective in women than in men: the MADIT-CRT (Multicenter Automatic Deﬁ- brillator Implantation Trial with Cardiac Resynchronization Therapy) trial. J Am Coll Cardiol 2011;57:813–820. https://doi.org/10.1016/j.jacc.2010.06.061.

127.   de Waard D, Manlucu J, Gillis AM, et al. Cardiac resynchronization in women: a substudy of the Resynchronization-Deﬁbrillation for Ambulatory Heart Failure trial. JACC Clin Electrophysiol 2019;5:1036–1044. https://doi.org/10.1016/j.ja- cep.2019.06.007.

128.   Biton Y, Zareba W, Goldenberg I, et al. Sex differences in long-term outcomes with cardiac resynchronization therapy in mild heart failure patients with left bundle    branch    block.    J    Am    Heart    Assoc    2015;4:e002013. https://doi.org/10.1161/JAHA.115.002013.

129.   Poole JE, Singh JP, Birgersdotter-Green U. QRS duration or QRS morphology: what really matters in cardiac resynchronization therapy? J Am Coll Cardiol 2016;67:1104–1117. https://doi.org/10.1016/j.jacc.2015.12.039.

130.   Stewart RA, Young AA, Anderson C, Teo KK, Jennings G, Cowan BR. Rela- tionship between QRS duration and left ventricular mass and volume in patients at  high   cardiovascular   risk.   Heart   2011;97:1766-1770.   https://doi.or- g/10.1136/heartjnl-2011-300297.

131.   Cinca J, Mendez A, Puig T, et al. Differential clinical characteristics and prog- nosis of intraventricular conduction defects in patients with chronic heart failure. Eur J Heart Fail 2013;15:877-884. https://doi.org/10.1093/eurjhf/hft042.

132.   Barsheshet A, Goldenberg I, Garty M, et al. Relation of bundle branch block to long-term (four-year) mortality in hospitalized patients with systolic heart fail- ure.   Am    J   Cardiol    2011;107:540-544.    https://doi.org/10.1016/j.amj- card.2010.10.007.

133.   Aranda JM Jr, Conti JB, Johnson JW, Petersen-Stejskal S, Curtis AB. Cardiac resynchronization therapy in patients with heart failure and conduction abnor- malities other than left bundle-branch block: analysis of the Multicenter InSync Randomized Clinical Evaluation (MIRACLE). Clin Cardiol 2004;27:678-682. https://doi.org/10.1002/clc.4960271204.

134.   Singh JP, Berger RD, Doshi RN, et al. Targeted left ventricular lead implantation strategy for non-left bundle branch block patients: the ENHANCE CRT study. JACC  Clin  Electrophysiol  2020;6:1171-1181.  https://doi.org/10.1016/j.ja- cep.2020.04.034.

135.   Higgins SL, Hummel JD, Niazi IK, et al. Cardiac resynchronization therapy for the treatment of heart failure in patients with intraventricular conduction delay and  malignant  ventricular  tachyarrhythmias.  J  Am  Coll  Cardiol  2003;

42:1454-1459. https://doi.org/10.1016/s0735-1097(03)01042-8.

136.   Sipahi I, Chou JC, Hyden M, Rowland DY, Simon DI, Fang JC. Effect of QRS morphology on clinical event reduction with cardiac resynchronization therapy: meta-analysis   of   randomized   controlled   trials.   Am   Heart   J   2012;

163:260-267.e263. https://doi.org/10.1016/j.ahj.2011.11.014.

137.   Zareba W, Klein H, Cygankiewicz I, et al. Effectiveness of cardiac resynchroniza- tion therapy by QRS morphology in the Multicenter Automatic Deﬁbrillator Im- plantation Trial-Cardiac Resynchronization Therapy (MADIT-CRT). Circulation 2011;123:1061-1072. https://doi.org/10.1161/CIRCULATIONAHA.110.960898.

138.   Kutyifa V, Stockburger M, Daubert JP, et al. PR interval identiﬁes clinical response in patients with non-left bundle branch block: a Multicenter Automatic Deﬁbrillator Implantation Trial-Cardiac Resynchronization Therapy substudy. Circ Arrhythm Electrophysiol 2014;7:645-651. https://doi.org/10.1161/CIR- CEP.113.001299.

139.   Kawata H, Bao H, Curtis JP, et al. Cardiac resynchronization deﬁbrillator ther- apy for nonspeciﬁc intraventricular conduction delay versus right bundle branch block.  J  Am  Coll  Cardiol  2019;73:3082-3099.  https://doi.org/10.1016/j.- jacc.2019.04.025.

140.   Rickard J, Bassiouny M, Cronin EM, et al. Predictors of response to cardiac re- synchronization  therapy in patients  with  a  non-left  bundle  branch  block morphology. Am J Cardiol 2011;108:1576-1580. https://doi.org/10.1016/j.amj- card.2011.07.017.

141.   Beshai JF, Grimm RA, Nagueh SF, et al. Cardiac-resynchronization therapy in heart failure with narrow QRS complexes. N Engl J Med 2007;357:2461-2471. https://doi.org/10.1056/NEJMoa0706695.

142.   Muto C, Solimene F, Gallo P, et al. A randomized study of cardiac resynchroni- zation therapy deﬁbrillator versus dual-chamber implantable cardioverter-deﬁ- brillator in ischemic cardiomyopathy with narrow QRS: the NARROW-CRT study. Circ Arrhythm Electrophysiol 2013;6:538-545. https://doi.org/10.1161/- CIRCEP.113.000135.

143.   Ruschitzka F, Abraham WT, Singh JP, et al. Cardiac-resynchronization therapy in  heart  failure  with  a  narrow  QRS  complex.  N  Engl  J  Med  2013;

369:1395-1405. https://doi.org/10.1056/NEJMoa1306687.

144.   Thibault B, Harel F, Ducharme A, et al. Cardiac resynchronization therapy in pa- tients with heart failure and a QRS complex <120 milliseconds: the Evaluation of Resynchronization Therapy for Heart Failure (LESSER-EARTH) trial. Circulation 2013;127:873-881. https://doi.org/10.1161/CIRCULATIONAHA.112.001239.

145.   Derval N, Duchateau J, Mahida S, et al. Distinctive left ventricular activations associated with ECG pattern in heart failure patients. Circ Arrhythm Electrophy- siol 2017;10:e005073. https://doi.org/10.1161/CIRCEP.117.005073.

146.   Eschalier R, Ploux S, Ritter P, Haissaguerre M, Ellenbogen KA, Bordachar P. Nonspeciﬁc intraventricular conduction delay: deﬁnitions, prognosis, and impli- cations   for   cardiac   resynchronization   therapy.   Heart   Rhythm   2015;

12:1071-1079. https://doi.org/10.1016/j.hrthm.2015.01.023.

147.   Ploux S, Lumens J, Whinnett Z, et al. Noninvasive electrocardiographic map- ping to improve patient selection for cardiac resynchronization therapy: beyond QRS duration and left bundle branch block morphology. J Am Coll Cardiol 2013;61:2435-2443. https://doi.org/10.1016/j.jacc.2013.01.093.

148.   Salden OAE, Vernooy K, van Stipdonk AMW, Cramer MJ, Prinzen FW, Meine M. Strategies to improve selection of patients without typical left bundle branch block for cardiac resynchronization therapy. JACC Clin Electrophysiol 2020;6:129-142. https://doi.org/10.1016/j.jacep.2019.11.018.

149.   van Stipdonk AM, Rad MM, Luermans JG, Crijns HJ, Prinzen FW, Vernooy K. Identifying delayed left ventricular lateral wall activation in patients with non- speciﬁc intraventricular conduction delay using coronary venous electroanatom- ical   mapping.   Neth    Heart   J   2016;24:58-65.   https://doi.org/10.1007/ s12471-015-0777-3.

150.   Vijayaraman P, Herweg B, Ellenbogen KA, Gajek J. His-optimized cardiac re- synchronization therapy to maximize electrical resynchronization: a feasibility study. Circ Arrhythm Electrophysiol 2019;12:e006934. https://doi.org/10.1161/ CIRCEP.118.006934.

151.   Zweerink A, Zubarev S, Bakelants E, et al. His-optimized cardiac resynchroniza- tion therapy with ventricular fusion pacing for electrical resynchronization in heart failure.  JACC  Clin  Electrophysiol  2021;7:881-892.  https://doi.org/10.1016/ j.jacep.2020.11.029.

152.   Gold MR, Thebault C, Linde C, et al. Effect of QRS duration and morphology on cardiac resynchronization therapy outcomes in mild heart failure: results from the  Resynchronization  Reverses  Remodeling  in  Systolic  Left  Ventricular Dysfunction     (REVERSE)     study.     Circulation     2012;126:822-829. https://doi.org/10.1161/CIRCULATIONAHA.112.097709.

153.   Shan P, Su L, Zhou X, et al. Beneﬁcial effects of upgrading to His bundle pacing in chronically paced patients with left ventricular ejection fraction <50. Heart Rhythm 2018;15:405-412. https://doi.org/10.1016/j.hrthm.2017.10.031.

154.   Ye Y, Wu S, Su L, et al. Feasibility and outcomes of upgrading to left bundle branch pacing in patients with pacing-induced cardiomyopathy and infranodal atrioventricular     block.     Front     Cardiovasc     Med     2021;8:674452. https://doi.org/10.3389/fcvm.2021.674452.

155.   Khurshid S, Obeng-Gyimah E, Supple GE, et al. Reversal of pacing-induced car- diomyopathy following cardiac resynchronization therapy. JACC Clin Electro- physiol 2018;4:168-177. https://doi.org/10.1016/j.jacep.2017.10.002.

156.   Nazeri A, Massumi A, Rasekh A, Saeed M, Frank C, Razavi M. Cardiac re- synchronization therapy in patients with right ventricular pacing-induced cardio- myopathy. Pacing Clin Electrophysiol 2010;33:37-40. https://doi.org/10.1111/ j.1540-8159.2009.02594.x.

157.   Moss AJ, Hall WJ, Cannom DS, et al. Improved survival with an implanted deﬁ- brillator in patients with coronary disease at high risk for ventricular arrhythmia. N Engl J Med  1996;335:1933-1940.  https://doi.org/10.1056/NEJM199612 263352601.

158.   Connolly SJ, Gent M, Roberts RS, et al. Canadian implantable deﬁbrillator study (CIDS): a randomized trial of the implantable cardioverter deﬁbrillator against amiodarone.  Circulation  2000;101:1297-1302.  https://doi.org/10.1161/01.- cir.101.11.1297.

159.   Lamas GA, Lee KL, Sweeney MO, et al. Ventricular pacing or dual-chamber pacing for  sinus-node  dysfunction. N Engl J Med  2002;346:1854-1862. https://doi.org/10.1056/NEJMoa013040.

160.   Reddy VY, Exner DV, Cantillon DJ, et al. Percutaneous implantation of an entirely intracardiac leadless pacemaker. N Engl J Med 2015;373:1125-1135. https://doi.org/10.1056/NEJMoa1507192.

161.   Toff WD, Camm AJ, Skehan JD. United Kingdom Pacing and Cardiovascular Events Trial Investigators. Single-chamber versus dual-chamber pacing for high-grade  atrioventricular  block.  N  Engl  J  Med  2005;353:145-155. https://doi.org/10.1056/NEJMoa042283.

162.   Cazeau S, Ritter P, Lazarus A, et al. Multisite pacing for end-stage heart failure: early    experience.    Pacing    Clin    Electrophysiol    1996;19:1748-1757. https://doi.org/10.1111/j.1540-8159.1996.tb03218.x.

163.   Baba M, Yoshida K, Hanaki Y, et al. Upgrade of cardiac resynchronization ther- apy by utilizing additional His-bundle pacing in patients with inotrope-depen- dent end-stage heart failure: a case series. Eur Heart J Case Rep 2020;4:1-9. https://doi.org/10.1093/ehjcr/ytaa303.

164.   Deshmukh A, Sattur S, Bechtol T, Heckman LIB, Prinzen FW, Deshmukh P. Sequential His bundle and left ventricular pacing for cardiac resynchronization. J  Cardiovasc  Electrophysiol  2020;31:2448-2454.  https://doi.org/10.1111/ jce.14674.

165.   Jastrzebski M, Moskal P, Huybrechts W, et al. Left bundle branch-optimized cardiac resynchronization therapy (LOT-CRT): results from an International LBBAP   Collaborative   Study   Group.   Heart   Rhythm   2022;19:13-21. https://doi.org/10.1016/j.hrthm.2021.07.057.

166.   Feng X-F, Yang L-C, Zhang R, et al. Cardiac resynchronization therapy using left-bundle-branch area and left ventricular pacing [published online ahead of print December  11,  2020].  Research  Square  https://doi.org/10.21203/rs.3. rs-123532/v1

167.   Zhang DH, Lang MJ, Tang G, Chen XX, Li HF. Left bundle branch pacing with optimization of cardiac resynchronization treatment: a case report. World J Clin Cases 2020;8:4266-4271. https://doi.org/10.12998/wjcc.v8.i18.4266.

168.   Huang W, Wang S, Su L, et al. His-bundle pacing vs biventricular pacing following atrioventricular nodal ablation in patients with atrial ﬁbrillation and reduced ejection fraction: a multicenter, randomized, crossover study—the

60                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

ALTERNATIVE-AF     trial.      Heart     Rhythm      2022;19:1948–1955. https://doi.org/10.1016/j.hrthm.2022.07.009.

169.   Boriani G, Tukkie R, Manolis AS, et al. Atrial antitachycardia pacing and managed ventricular pacing in bradycardia patients with paroxysmal or persis- tent atrial tachyarrhythmias: the MINERVA randomized multicentre interna- tional   trial.   Eur   Heart   J   2014;35:2352–2362.   https://doi.org/10.1093/ eurheartj/ehu165.

170.   Veasey RA, Arya A, Silberbauer J, et al. The relationship between right ventric- ular pacing and atrial ﬁbrillation burden and disease progression in patients with paroxysmal atrial ﬁbrillation: the long-MinVPACE study. Europace 2011;

13:815–820. https://doi.org/10.1093/europace/euq463.

171.   Brignole M, Botto G, Mont L, et al. Cardiac resynchronization therapy in patients undergoing atrioventricular junction ablation for permanent atrial ﬁbrillation: a ran- domized   trial.   Eur   Heart   J   2011;32:2420–2429.   https://doi.org/10.1093/ eurheartj/ehr162.

172.   Brignole M, Gammage M, Puggioni E, et al. Comparative assessment of right, left, and biventricular pacing in patients with permanent atrial ﬁbrillation. Eur Heart J 2005;26:712–722. https://doi.org/10.1093/eurheartj/ehi069.

173.   Brignole M, Pentimalli F, Palmisano P, et al. AV junction ablation and cardiac resynchronization for patients with permanent atrial ﬁbrillation and narrow QRS:  the  APAF-CRT  mortality  trial.  Eur  Heart  J  2021;42:4731–4739. https://doi.org/10.1093/eurheartj/ehab569.

174.   Brignole M, Pokushalov E, Pentimalli F, et al. A randomized controlled trial of atrioventricular junction ablation and cardiac resynchronization therapy in pa- tients with permanent atrial ﬁbrillation and narrow QRS. Eur Heart J 2018;

39:3999–4008. https://doi.org/10.1093/eurheartj/ehy555.

175.   Doshi RN, Daoud EG, Fellows C, et al. Left ventricular-based cardiac stimula- tion post AV nodal ablation evaluation (the PAVE study). J Cardiovasc Electrophysiol    2005;16:1160–1165.     https://doi.org/10.1111/j.1540-8167. 2005.50062.x.

176.   Orlov MV, Gardin JM, Slawsky M, et al. Biventricular pacing improves cardiac function and prevents further left atrial remodeling in patients with symptomatic atrial  ﬁbrillation  after  atrioventricular  node  ablation.  Am  Heart  J  2010;

159:264–270. https://doi.org/10.1016/j.ahj.2009.11.012.

177.   Healey JS, Hohnloser SH, Exner DV, et al. Cardiac resynchronization therapy in patients with permanent atrial ﬁbrillation: results from the Resynchronization for Ambulatory Heart Failure Trial (RAFT). Circ Heart Fail 2012;5:566–570. https://doi.org/10.1161/CIRCHEARTFAILURE.112.968867.

178.   Khazanie P, Greiner MA, Al-Khatib SM, et al. Comparative effectiveness of car- diac resynchronization therapy among patients with heart failure and atrial ﬁbril- lation: ﬁndings from the National Cardiovascular Data Registry ’s Implantable Cardioverter-Deﬁbrillator   Registry.   Circ   Heart   Fail   2016;9:e002324. https://doi.org/10.1161/CIRCHEARTFAILURE.115.002324.

179.   Upadhyay GA, Choudhry NK, Auricchio A, Ruskin J, Singh JP. Cardiac re- synchronization in patients with atrial ﬁbrillation: a meta-analysis of prospective cohort studies. J Am Coll Cardiol 2008;52:1239–1246. https://doi.org/10.1016/ j.jacc.2008.06.043.

180.   Wilton SB, Leung AA, Ghali WA, Faris P, Exner DV. Outcomes of cardiac re- synchronization therapy in patients with versus those without atrial ﬁbrillation: a systematic  review  and  meta-analysis.  Heart  Rhythm  2011;8:1088–1094. https://doi.org/10.1016/j.hrthm.2011.02.014.

181.   Huang W, Su L, Wu S, et al. Beneﬁts of permanent His bundle pacing combined with atrioventricular node ablation in atrial ﬁbrillation patients with heart failure with both preserved and reduced left ventricular ejection fraction. J Am Heart Assoc 2017;6:e005309. https://doi.org/10.1161/JAHA.116.005309.

182.   Morina-Vazquez P, Moraleda-Salas MT, Arce-Leon A, Venegas-Gamero J, Fer- nandez-Gomez JM, Diaz-Fernandez JF. Effectiveness and safety of AV node ablation after His bundle pacing in patients with uncontrolled atrial arrhythmias. Pacing  Clin  Electrophysiol  2021;44:1004–1009.  https://doi.org/10.1111/- pace.14252.

183.   Ponnusamy SS, Muthu G, Kumar M, Bopanna D, Anand V, Kumar S. Mid-term feasibility, safety and outcomes of left bundle branch pacing-single center expe- rience. J Interv Card Electrophysiol 2021;60:337–346. https://doi.org/10.1007/ s10840-020-00807-w.

184.   Su L, Cai M, Wu S, et al. Long-term performance and risk factors analysis after permanent His-bundle pacing and atrioventricular node ablation in patients with atrial ﬁbrillation and heart failure. Europace 2020;22:ii19–ii26. https://doi.or- g/10.1093/europace/euaa306.

185.   Vijayaraman P, Subzposh FA, Naperkowski A. Atrioventricular node ablation and   His   bundle   pacing.   Europace    2017;19:iv10–iv16.   https://doi.or- g/10.1093/europace/eux263.

186.   Wang S, Wu S, Xu L, et al. Feasibility and efﬁcacy of His bundle pacing or left bundle pacing combined with atrioventricular node ablation in patients with persistent atrial ﬁbrillation and implantable cardioverter-deﬁbrillator therapy. J Am Heart Assoc 2019;8:e014253. https://doi.org/10.1161/JAHA.119.014253.

187.   Rademakers LM, van den Broek J, Op ’t Hof M, Bracke FA. Initial experience, feasibility and safety ofpermanent left bundle branch pacing: results from a prospec- tive single-centre study. Neth Heart J 2022;30:258–266. https://doi.org/10.1007/ s12471-021-01648-6.

188.   Vijayaraman P, Subzposh FA, Naperkowski A, et al. Prospective evaluation of feasibility and electrophysiologic and echocardiographic characteristics of left bundle    branch    area    pacing.    Heart    Rhythm    2019;16:1774–1782. https://doi.org/10.1016/j.hrthm.2019.05.011.

189.   Pastore G, Zanon F, Baracca E, et al. The risk of atrial ﬁbrillation during right ventricular pacing. Europace 2016;18:353–358. https://doi.org/10.1093/europa- ce/euv268.

190.   Pillai A, Kolominsky J, Koneru JN, et al. Atrioventricular junction ablation in patients with conduction system pacing leads: a comparison of His-bundle vs left bundle branch area pacing leads. Heart Rhythm 2022;19:1116–1123. https://doi.org/10.1016/j.hrthm.2022.03.1222.

191.   Ravi V, Beer D, Pietrasik GM, et al. Development of new-onset or progressive atrial ﬁbrillation in patients with permanent His bundle pacing versus right ven- tricular pacing: results from the RUSH HBP Registry. J Am Heart Assoc 2020; 9:e018478. https://doi.org/10.1161/JAHA.120.018478.

192.   Zhu H, Li X, Wang Z, et al. New-onset atrial ﬁbrillation following left bundle branch area pacing vs. right ventricular pacing: a two-centre prospective cohort study. Europace 2023;25:121–129. https://doi.org/10.1093/europace/euac132.

193.   Sweeney MO, Bank AJ, Nsah E, et al. Minimizing ventricular pacing to reduce atrial ﬁbrillation in sinus-node disease. N Engl J Med 2007;357:1000–1008. https://doi.org/10.1056/NEJMoa071880.

194.   Bryant AR, Wilton SB, Lai MP, Exner DV. Association between QRS duration and outcome with cardiac resynchronization therapy: a systematic review and meta-analysis. J Electrocardiol 2013;46:147–155. https://doi.org/10.1016/j.je- lectrocard.2012.12.003.

195.   Chen J, Zhuang X, Liao L, Liao X, Wang L. Efﬁcacy of isolated left ventricular and biventricular pacing is differentially associated with baseline QRS duration in chronic heart failure: a meta-analysis of randomized controlled trials. Heart Fail Rev 2015;20:81–88. https://doi.org/10.1007/s10741-014-9448-5.

196.   Cunnington C, Kwok CS, Satchithananda DK, et al. Cardiac resynchronisation therapy is not associated with a reduction in mortality or heart failure hospital- isation in patients with non-left bundle branch block QRS morphology: meta- analysis   of  randomised   controlled   trials.   Heart   2015;101:1456–1462. https://doi.org/10.1136/heartjnl-2014-306811.

197.   Hsing JM, Selzman KA, Leclercq C, et al. Paced left ventricular QRS width and ECG parameters predict outcomes after cardiac resynchronization therapy: PROSPECT-ECG substudy. Circ Arrhythm Electrophysiol 2011;4:851–857. https://doi.org/10.1161/CIRCEP.111.962605.

198.   Rattanawong P, Prasitlumkum N, Riangwiwat T, et al. Baseline prolonged PR interval and outcome of cardiac resynchronization therapy: a systematic review and  meta-analysis.  Arq  Bras  Cardiol  2018;111:710–719.  https://doi.or- g/10.5935/abc.20180198.

199.   Shah RM, Patel D, Molnar J, Ellenbogen KA, Koneru JN. Cardiac-resynchroni- zation therapy in patients with systolic heart failure and QRS interval ≤130 ms: insights  from  a  meta-analysis.  Europace  2015;17:267–273.  https://doi.or- g/10.1093/europace/euu214.

200.   Saba S, Marek J, Schwartzman D, et al. Echocardiography-guided left ventricu- lar lead placement for cardiac resynchronization therapy: results of the Speckle Tracking Assisted Resynchronization Therapy for Electrode Region trial. Circ Heart    Fail    2013;6:427–434.    https://doi.org/10.1161/CIRCHEARTFAI- LURE.112.000078.

201.   Khan FZ, Virdee MS, Palmer CR, et al. Targeted left ventricular lead placement to guide cardiac resynchronization therapy: the TARGET study: a randomized, controlled     trial.      J     Am     Coll     Cardiol     2012;59:1509–1518. https://doi.org/10.1016/j.jacc.2011.12.030.

202.   Marek JJ, Saba S, Onishi T, et al. Usefulness of echocardiographically guided left ventricular lead placement for cardiac resynchronization therapy in pa- tients  with  intermediate  QRS  width  and  non-left  bundle  branch  block morphology. Am J Cardiol 2014;113:107–116. https://doi.org/10.1016/j.amj- card.2013.09.024.

203.   Borgquist R, Carlsson M, Markstad H, et al. Cardiac resynchronization therapy guided by echocardiography, MRI, and CT imaging: a randomized controlled study. JACC Clin Electrophysiol 2020;6:1300–1309. https://doi.org/10.1016/j.- jacep.2020.05.011.

204.   Kockova R, Sedlacek K, Wichterle D, et al. Cardiac resynchronization therapy guided by cardiac magnetic resonance imaging: a prospective, single-centre ran- domized    study    (CMR-CRT).    Int    J    Cardiol    2018;270:325–330. https://doi.org/10.1016/j.ijcard.2018.06.009.

205.   Seo Y, Ito H, Nakatani S, et al. The role of echocardiography in predicting re- sponders to cardiac resynchronization therapy. Circ J 2011;75:1156–1163. https://doi.org/10.1253/circj.cj-10-0861.

206.   Chung ES, Leon AR, TavazziL, et al. Results of the Predictors ofResponse to CRT (PROSPECT)  trial.  Circulation  2008;117:2608–2616.  https://doi.org/10.1161/ CIRCULATIONAHA.107.743120.

207.   Smiseth OA, Aalen JM. Mechanism ofharm from left bundle branch block. Trends Cardiovasc Med 2019;29:335–342. https://doi.org/10.1016/j.tcm.2018.10.012.

208.   Tayal B, Sogaard P, Risum N. Why dyssynchrony matters in heart failure? Card Electrophysiol   Clin    2019;11:39–47.    https://doi.org/10.1016/j.ccep.2018. 11.006.

209.   Emkanjoo Z, Esmaeilzadeh M, Mohammad Hadi N, Alizadeh A, Tayyebi M, Sadr-Ameli MA. Frequency of inter- and intraventricular dyssynchrony in pa- tients  with  heart  failure  according  to  QRS  width.  Europace  2007;

9:1171–1176. https://doi.org/10.1093/europace/eum234.

210.   Gettes LS, Kligﬁeld P. Should electrocardiogram criteria for the diagnosis of left bundle-branch   block   be   revised?   J   Electrocardiol   2012;45:500–504. https://doi.org/10.1016/j.jelectrocard.2012.06.008.

211.   Haghjoo M, Bagherzadeh A, Fazelifar AF, et al. Prevalence of mechanical dys- synchrony in heart failure patients with different QRS durations. Pacing Clin Electrophysiol  2007;30:616–622.  https://doi.org/10.1111/j.1540-8159.2007. 00722.x.

212.   Jastrzebski M, Kukla P, Kisiel R, Fijorek K, Moskal P, Czarnecka D. Compar- ison of four LBBB deﬁnitions for predicting mortality in patients receiving car- diac  resynchronization  therapy.  Ann  Noninvasive  Electrocardiol  2018; 23:e12563. https://doi.org/10.1111/anec.12563.

213.   Kanawati J, Sy RW. Contemporary review of left bundle branch block in the failing heart—pathogenesis, prognosis, and therapy. Heart Lung Circ 2018;

27:291–300. https://doi.org/10.1016/j.hlc.2017.09.007.

214.   Perez-Riera AR, Barbosa-Barros R, Daminello-Raimundo R, et al. Re-evalu- ating the electro-vectorcardiographic criteria for left bundle branch block. Ann Noninvasive    Electrocardiol    2019;24:e12644.    https://doi.org/10.1111/a- nec.12644.

215.   Strauss DG, Selvester RH, Wagner GS. Deﬁning left bundle branch block in the era of cardiac resynchronization therapy. Am J Cardiol 2011;107:927–934. https://doi.org/10.1016/j.amjcard.2010.11.010.

216.   van Stipdonk AMW, Vanbelle S, Ter Horst IAH, et al. Large variability in clin- ical judgement and deﬁnitions of left bundle branch block to identify candidates for  cardiac  resynchronisation  therapy.  Int  J  Cardiol  2019;286:61–65. https://doi.org/10.1016/j.ijcard.2019.01.051.

217.   Biton Y, Kutyifa V, Cygankiewicz I, et al. Relation of QRS duration to clinical beneﬁt of cardiac resynchronization therapy in mild heart failure patients without left bundle branch block: the Multicenter Automatic Deﬁbrillator Implantation trial with Cardiac Resynchronization Therapy substudy. Circ Heart Fail 2016; 9:e002667. https://doi.org/10.1161/CIRCHEARTFAILURE.115.002667.

218.   Gervais R, Leclercq C, Shankar A, et al. Surface electrocardiogram to predict outcome in candidates for cardiac resynchronization therapy: a sub-analysis of the  CARE-HF  trial.  Eur  J  Heart  Fail  2009;11:699–705.  https://doi.or- g/10.1093/eurjhf/hfp074.

219.   Emerek K, Friedman DJ, Sorensen PL, et al. Vectorcardiographic QRS area is associated with long-term outcome after cardiac resynchronization therapy. Heart Rhythm 2019;16:213–219. https://doi.org/10.1016/j.hrthm.2018.08.028.

220.   Pastore G, Maines M, Marcantoni L, et al. The QR-max index, a novel electro- cardiographic index for the determination of left ventricular conduction delay and selection of cardiac resynchronization in patients with non-left bundle branch    block.    J    Interv     Card    Electrophysiol     2020;58:147–156. https://doi.org/10.1007/s10840-019-00671-3.

221.   Varma N, Ploux S, Ritter P, Wilkoff B, Eschalier R, Bordachar P. Noninvasive mapping of electrical dyssynchrony in heart failure and cardiac resynchroniza- tion      therapy.       Card      Electrophysiol      Clin      2015;7:125–134. https://doi.org/10.1016/j.ccep.2014.11.012.

222.   Ruwald MH, Mittal S, Ruwald AC, et al. Association between frequency of atrial and ventricular ectopic beats and biventricular pacing percentage and outcomes in patients with cardiac resynchronization therapy. J Am Coll Cardiol 2014;

64:971–981. https://doi.org/10.1016/j.jacc.2014.06.1177.

223.   KhurshidS,Liang JJ, OwensA, et al. Longer paced QRS duration is associated with increased prevalence of right ventricular pacing-induced cardiomyopathy. J Cardi- ovasc Electrophysiol 2016;27:1174–1179. https://doi.org/10.1111/jce.13045.

224.   Morina-Vazquez P, Moraleda-Salas MT, Arce-Leon A, Fernandez-Gomez JM, Venegas-Gamero J, Diaz-Fernandez JF. Electrocardiographic patterns predic- tive of left bundle branch block correction with His bundle pacing. Pacing Clin Electrophysiol 2020;43:1318–1324. https://doi.org/10.1111/pace.14021.

225.   Pujol-Lopez M, Tolosana JM, Upadhyay GA, Mont L, Tung R. Left bundle branch block: characterization, deﬁnitions, and recent insights into conduction system    physiology.     Card    Electrophysiol    Clin    2021;13:671–684. https://doi.org/10.1016/j.ccep.2021.07.005.

226.   Li X, Li H, Ma W, et al. Permanent left bundle branch area pacing for atrioven- tricular block:  feasibility,  safety,  and  acute  effect.  Heart  Rhythm  2019;

16:1766–1773. https://doi.org/10.1016/j.hrthm.2019.04.043.

227.   Zhang J, Wang Z, Cheng L, et al. Immediate clinical outcomes of left bundle branch area pacing vs conventional right ventricular pacing. Clin Cardiol 2019;42:768–773. https://doi.org/10.1002/clc.23215.

228.   Goldenberg I, Moss AJ, Hall WJ, et al. Predictors of response to cardiac re- synchronization therapy in the Multicenter Automatic Deﬁbrillator Implanta- tion  Trial  with  Cardiac  Resynchronization  Therapy  (MADIT-CRT). Circulation  2011;124:1527–1536.  https://doi.org/10.1161/CIRCULATIO- NAHA.110.014324.

229.   Charles  C,  Gafni  A, Whelan  T.  Shared  decision-making in the medical encounter: what does it mean? (or it takes at least two to tango). Soc Sci Med 1997;44:681–692. https://doi.org/10.1016/s0277-9536(96)00221-3.

230.   Quill TE, Brody H. Physician recommendations and patient autonomy: ﬁnding a balance between physician power and patient choice. Ann Intern Med 1996;

125:763–769. https://doi.org/10.7326/0003-4819-125-9-199611010-00010.

231.   Curtis AB. Will His bundle pacing make cardiac resynchronization therapy obsolete? Circulation 2018;137:1546–1548. https://doi.org/10.1161/CIRCU- LATIONAHA.117.031787.

232.   Kusumoto FM, Schoenfeld MH, Wilkoff BL, et al. 2017 HRS expert consensus statement on cardiovascular implantable electronic device lead management and extraction. Heart Rhythm 2017;14:e503–e551. https://doi.org/10.1016/j.hrthm. 2017.09.001.

233.   Lampert R, Hayes DL, Annas GJ, et al. HRS expert consensus statement on the management of cardiovascular implantable electronic devices (CIEDs) in pa- tients nearing end of life or requesting withdrawal of therapy. Heart Rhythm 2010;7:1008–1026. https://doi.org/10.1016/j.hrthm.2010.04.033.

234.   Behar JM, Bostock J, Zhu Li AP, et al. Cardiac resynchronization therapy delivered via a multipolar left ventricular lead is associated with reduced mortality and elim- ination of phrenic nerve stimulation: long-term follow-up from a multicenter regis- try.  J  Cardiovasc  Electrophysiol  2015;26:540–546.  https://doi.org/10.1111/ jce.12625.

235.   Boriani G, Connors S, Kalarus Z, et al. Cardiac resynchronization therapy with a quadripolar electrode lead decreases complications at 6 months: results of the MORE-CRT randomized trial. JACC Clin Electrophysiol 2016;2:212–220. https://doi.org/10.1016/j.jacep.2015.10.004.

236.   Forleo GB, Di Biase L, Panattoni G, et al. Improved implant and postoperative lead performance in CRT-D patients implanted with a quadripolar left ventricu- lar lead: a 6-month follow-up analysis from a multicenter prospective compara- tive study. J Interv Card Electrophysiol 2015;42:59–66. https://doi.org/10.1007/ s10840-014-9956-1.

237.   Hakemi EU, Doukky R, Parzynski CS, Curtis JP, Madias C. Quadripolar versus bipolar leads in cardiac resynchronization therapy: an analysis of the National Cardiovascular     Data     Registry.     Heart     Rhythm     2020;17:81–89. https://doi.org/10.1016/j.hrthm.2019.07.028.

238.   Arbelo E, Tolosana JM, Trucco E, et al. Fusion-optimized intervals (FOI): a new method to achieve the narrowest QRS for optimization of the AV and VV inter- vals in patients undergoing cardiac resynchronization therapy. J Cardiovasc Electrophysiol 2014;25:283–292. https://doi.org/10.1111/jce.12322.

239.   Tamborero D, Mont L, Sitges M, et al. Optimization of the interventricular delay in cardiac resynchronization therapy using the QRS width. Am J Cardiol 2009;

104:1407–1412. https://doi.org/10.1016/j.amjcard.2009.07.006.

240.   Trucco E, Tolosana JM, Arbelo E, et al. Improvement of reverse remodeling us- ing electrocardiogram fusion-optimized intervals in cardiac resynchronization therapy: a randomized study. JACC Clin Electrophysiol 2018;4:181–189. https://doi.org/10.1016/j.jacep.2017.11.020.

241.   Varma N, O’Donnell D, Bassiouny M, et al. Programming cardiac resynchroni- zation therapy for electrical synchrony: reaching beyond left bundle branch block  and  left  ventricular  activation  delay.  J  Am  Heart  Assoc  2018; 7:e007489. https://doi.org/10.1161/JAHA.117.007489.

242.   Bazoukis G, Naka KK, Alsheikh-Ali A, et al. Association of QRS narrowing with response to cardiac resynchronization therapy—a systematic review and meta-analysis  of observational  studies.  Heart  Fail  Rev  2020;25:745–756. https://doi.org/10.1007/s10741-019-09839-5.

243.   Jastrzebski M, Baranchuk A, Fijorek K, et al. Cardiac resynchronization ther- apy-induced acute shortening of QRS duration predicts long-term mortality only in patients with left bundle branch block. Europace 2019;21:281–289. https://doi.org/10.1093/europace/euy254.

244.   van Stipdonk AMW, Ter Horst I, Kloosterman M, et al. QRS area is a strong determinant of outcome in cardiac resynchronization therapy. Circ Arrhythm Electrophysiol   2018;11:e006497.   https://doi.org/10.1161/CIRCEP.118. 006497.

62                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

245.   Leyva F, Zegard A, Taylor RJ, et al. Long-term outcomes of cardiac resynchro- nization therapy using apical versus nonapical left ventricular pacing. J Am Heart Assoc 2018;7:e008508. https://doi.org/10.1161/JAHA.117.008508.

246.   Merchant FM, Heist EK, McCarty D, et al. Impact of segmental left ventricle lead position on cardiac resynchronization therapy outcomes. Heart Rhythm 2010;7:639-644. https://doi.org/10.1016/j.hrthm.2010.01.035.

247.   Singh JP, Klein HU, Huang DT, et al. Left ventricular lead position and clinical outcome in the Multicenter Automatic Deﬁbrillator Implantation Trial-Cardiac Resynchronization   Therapy   (MADIT-CRT)   trial.   Circulation   2011;

123:1159-1166. https://doi.org/10.1161/CIRCULATIONAHA.110.000646.

248.   Thebault C, Donal E, Meunier C, et al. Sites of left and right ventricular lead im- plantation and response to cardiac resynchronization therapy observations from the  REVERSE  trial.  Eur  Heart  J  2012;33:2662-2671.  https://doi.or- g/10.1093/eurheartj/ehr505.

249.   Derval N, Steendijk P, Gula LJ, et al. Optimizing hemodynamics in heart failure patients by systematic screening of left ventricular pacing sites: the lateral left ventricular wall and the coronary sinus are rarely the best sites. J Am Coll Car- diol 2010;55:566-575. https://doi.org/10.1016/j.jacc.2009.08.045.

250.   Gold MR, Birgersdotter-Green U, Singh JP, et al. The relationship between ven- tricular electrical delay and left ventricular remodelling with cardiac resynchro- nization       therapy.       Eur       Heart       J        2011;32:2516-2524. https://doi.org/10.1093/eurheartj/ehr329.

251.   Gold MR, Singh JP, Ellenbogen KA, et al. Interventricular electrical delay is pre- dictive of response to cardiac resynchronization therapy. JACC Clin Electrophy- siol 2016;2:438-447. https://doi.org/10.1016/j.jacep.2016.02.018.

252.   Gold MR, Yu Y, Wold N, Day JD. The role of interventricular conduction delay to predict clinical response with cardiac resynchronization therapy. Heart Rhythm 2017;14:1748-1755. https://doi.org/10.1016/j.hrthm.2017.10.016.

253.   Polasek R, Skalsky I, Wichterle D, et al. High-density epicardial activation map- ping to optimize the site for video-thoracoscopic left ventricular lead implant. J Cardiovasc    Electrophysiol    2014;25:882-888.    https://doi.org/10.1111/ jce.12430.

254.   Singh JP, Fan D, Heist EK, et al. Left ventricular lead electrical delay predicts response   to   cardiac   resynchronization   therapy.   Heart   Rhythm   2006;

3:1285-1292. https://doi.org/10.1016/j.hrthm.2006.07.034.

255.   van Gelder BM, Meijer A, Bracke FA. Timing of the left ventricular electrogram and acute hemodynamic changes during implant of cardiac resynchronization therapy    devices.    Pacing    Clin    Electrophysiol    2009;32:S94-S97. https://doi.org/10.1111/j.1540-8159.2008.02262.x.

256.   Zanon F, Baracca E, Pastore G, et al. Determination of the longest intrapatient left ventricular electrical delay may predict acute hemodynamic improvement in patients after cardiac resynchronization therapy. Circ Arrhythm Electrophy- siol 2014;7:377-383. https://doi.org/10.1161/CIRCEP.113.000850.

257.   Wisnoskey BJ, Varma N. Left ventricular paced activation in cardiac resynchro- nization therapy patients with left bundle branch block and relationship to its electrical substrate. Heart Rhythm O2 2020;1:85-95. https://doi.org/10.1016/ j.hroo.2020.04.002.

258.   van Everdingen WM, Zweerink A, Cramer MJ, et al. Can we use the intrinsic left ventricular delay (QLV) to optimize the pacing conﬁguration for cardiac re- synchronization therapy with a quadripolar left ventricular lead? Circ Arrhythm Electrophysiol 2018;11:e005912. https://doi.org/10.1161/CIRCEP.117.005912.

259.   Kandala J, Upadhyay GA, Altman RK, et al. QRS morphology, left ventricular lead location, and clinical outcome in patients receiving cardiac resynchroniza- tion therapy. Eur Heart J 2013;34:2252-2262. https://doi.org/10.1093/eurheart- j/eht123.

260.   Rad MM, Blaauw Y, Dinh T, et al. Left ventricular lead placement in the latest activated region guided by coronary venous electroanatomic mapping. Europace 2015;17:84-93. https://doi.org/10.1093/europace/euu221.

261.   Tan ESJ, Lee JY, Boey E, et al. Predictors of loss of capture in left bundle branch pacing:  a  multicenter  experience.  Heart  Rhythm  2022;19:1757-1758. https://doi.org/10.1016/j.hrthm.2022.06.003.

262.   Parreira L, Tsyganov A, Artyukhina E, et al. Non-invasive three-dimensional electrical  activation  mapping to predict cardiac resynchronization therapy response: site of latest left ventricular activation relative to pacing site [published online ahead of print March  1,  2023]. Europace. https://doi.org/10.1093/ europace/euad041.

263.   Rogers DP, Lambiase PD, Lowe MD, Chow AW. A randomized double-blind crossover trial of triventricular versus biventricular pacing in heart failure. Eur J Heart Fail 2012;14:495-505. https://doi.org/10.1093/eurjhf/hfs004.

264.   Thibault B, Dubuc M, Khairy P, et al. Acute haemodynamic comparison of multisite and biventricular pacing with a quadripolar left ventricular lead. Euro- pace 2013;15:984-991. https://doi.org/10.1093/europace/eus435.

265.   Engels EB, Vis A, van Rees BD, et al. Improved acute haemodynamic response to cardiac resynchronization therapy using multipoint pacing cannot solely be

explained by better resynchronization. J Electrocardiol  2018;51:S61-S66. https://doi.org/10.1016/j.jelectrocard.2018.07.011.

266.   Bordachar P, Gras D, Clementy N, et al. Clinical impact of an additional left ven- tricular lead in cardiac resynchronization therapy nonresponders: the V3 trial. Heart Rhythm 2018;15:870-876. https://doi.org/10.1016/j.hrthm.2017.12.028.

267.   Leclercq C, Burri H, Curnis A, et al. Cardiac resynchronization therapy non- responder to responder conversion rate in the more response to cardiac resynchro- nization therapy with MultiPoint Pacing (MORE-CRT MPP) study: results from Phase I. Eur Heart J2019;40:2979-2987. https://doi.org/10.1093/eurheartj/ehz109.

268.   Akerstrom F, Narvaez I, Puchol A, et al. Estimation of the effects of multipoint pacing  on  battery  longevity  in routine  clinical  practice.  Europace  2018;

20:1161-1167. https://doi.org/10.1093/europace/eux209.

269.   Behar JM, Bostock J, GinksM, et al. Limitations ofchronic delivery ofmulti-vein left ventricular stimulation for cardiac resynchronization therapy. J Interv Card Electrophysiol 2015;42:135-142. https://doi.org/10.1007/s10840-014-9971-2.

270.   Thibault B, Mondesert B, Cadrin-Tourigny J, Dubuc M, Macle L, Khairy P. Beneﬁts of multisite/multipoint pacing to improve cardiac resynchronization therapy     response.     Card     Electrophysiol     Clin     2019;11:99-114. https://doi.org/10.1016/j.ccep.2018.11.016.

271.   Chapman M, Bates MGD, Behar JM, et al. A novel quadripolar active ﬁxation left-ventricular pacing lead for cardiac resynchronization therapy: initial United Kingdom   experience.   JACC   Clin   Electrophysiol   2019;5:1028-1035. https://doi.org/10.1016/j.jacep.2019.05.005.

272.   Ziacchi M, Giannola G, Lunati M, et al. Bipolar active ﬁxation left ventricular lead or quadripolar passive ﬁxation lead? An Italian multicenter experience. J Cardiovasc  Med   (Hagerstown)  2019;20:192-200.  https://doi.org/10.2459/ JCM.0000000000000778.

273.   Ellenbogen KA, Gold MR, Meyer TE, et al. Primary results from the SmartDelay determined AV optimization: a comparison to otherAV delay methods used in car- diac resynchronization therapy (SMART-AV) trial: a randomized trial comparing empirical, echocardiography-guided, and algorithmic atrioventricular delay pro- gramming    in    cardiac    resynchronization    therapy.    Circulation     2010;

122:2660-2668. https://doi.org/10.1161/CIRCULATIONAHA.110.992552.

274.   Martin DO, Lemke B, Birnie D, et al. Investigation of a novel algorithm for syn- chronized left-ventricular pacing and ambulatory optimization of cardiac re- synchronization therapy: results of the adaptive CRT trial. Heart Rhythm 2012;9:1807-1814. https://doi.org/10.1016/j.hrthm.2012.07.009.

275.   AlTurki A, Lima PY, Garcia D, et al. Cardiac resynchronization therapy reprog- ramming to improve electrical synchrony in patients with existing devices. J Elec- trocardiol 2019;56:94-99. https://doi.org/10.1016/j.jelectrocard.2019.07.008.

276.   Birnie D, Hudnall H, Lemke B, et al. Continuous optimization of cardiac re- synchronization therapy reduces atrial ﬁbrillation in heart failure patients: results of the Adaptive Cardiac Resynchronization Therapy Trial. Heart Rhythm 2017;

14:1820-1825. https://doi.org/10.1016/j.hrthm.2017.08.017.

277.   Thibault B, Ritter P, Bode K, et al. Dynamic programming of atrioventricular delay improves electrical synchrony in a multicenter cardiac resynchronization therapy  study.  Heart  Rhythm  2019;16:1047-1056.  https://doi.org/10.1016/ j.hrthm.2019.01.020.

278.   Engels EB, Thibault B, Mangual J, et al. Dynamic atrioventricular delay pro- gramming improves ventricular electrical synchronization as evaluated by 3D vectorcardiography. J Electrocardiol 2020;58:1-6. https://doi.org/10.1016/j.je- lectrocard.2019.09.026.

279.   Brugada J, Delnoy PP, Brachmann J, et al. Contractility sensor-guided optimi- zation of cardiac resynchronization therapy: results from the RESPOND-CRT trial. Eur Heart J 2017;38:730-738. https://doi.org/10.1093/eurheartj/ehw526.

280.   Zhang Y, Xing Q, Zhang JH, Jiang WF, Qin M, Liu X. Long-term effect of different optimizing methods for cardiac resynchronization therapy in patients with heart failure: a randomized and controlled pilot study. Cardiology 2019;

142:158-166. https://doi.org/10.1159/000499502.

281.   Moher D, Liberati A, TetzlaffJ, Altman DG, PRISMA Group. Preferred report- ing items for systematic reviews and meta-analyses: the PRISMA statement. BMJ 2009;339:b2535. https://doi.org/10.1136/bmj.b2535.

282.   Gamble JHP, Herring N, Ginks M, Rajappan K, Bashir Y, Betts TR. Endocardial left ventricular pacing for cardiac resynchronization: systematic review and meta-analysis.   Europace    2018;20:73-81.    https://doi.org/10.1093/europa- ce/euw381.

283.   Ypenburg C, Roes SD, Bleeker GB, et al. Effect of total scar burden on contrast- enhanced magnetic resonance imaging on response to cardiac resynchronization therapy.  Am  J  Cardiol  2007;99:657-660.  https://doi.org/10.1016/j.amj- card.2006.09.115.

284.   Behar JM, Mountney P, Toth D, et al. Real-time X-MRI-guided left ventricular lead implantation for targeted delivery of cardiac resynchronization therapy. JACC   Clin   Electrophysiol   2017;3:803-814.   https://doi.org/10.1016/j.ja- cep.2017.01.018.

285.   Leyva F. Cardiac resynchronization therapy guided by cardiovascular magnetic resonance. J Cardiovasc Magn Reson 2010;12:64. https://doi.org/10.1186/ 1532-429X-12-64.

286.   Deshmukh P, Casavant DA, Romanyshyn M, Anderson K. Permanent, direct His- bundle pacing: a novel approach to cardiac pacing in patients with normal His-Pur- kinje    activation.   Circulation    2000;101:869–877.   https://doi.org/10.1161/

01.cir.101.8.869.

287.   Zanon F, Ellenbogen KA, Dandamudi G, et al. Permanent His-bundle pacing: a systematic literature review and meta-analysis. Europace 2018;20:1819–1826. https://doi.org/10.1093/europace/euy058.

288.   Imnadze G, Vijayaraman P, Bante H, et al. Novel electroanatomical map for per- manent His bundle pacing: the Mont Blanc approach—inﬂuence of the learning curve and procedural outcome. Europace 2020;22:1697–1702. https://doi.or- g/10.1093/europace/euaa226.

289.   Sharma PS, Huang HD, Trohman RG, Naperkowski A, Ellenbogen KA, Vijayaraman P. Low ﬂuoroscopy permanent His bundle pacing using electroa- natomic mapping: a feasibility study. Circ Arrhythm Electrophysiol 2019; 12:e006967. https://doi.org/10.1161/CIRCEP.118.006967.

290.   Su L, Wu S, Wang S, et al. Pacing parameters and success rates of permanent His-bundle pacing in patients with narrow QRS: a single-centre experience. Europace 2019;21:763–770. https://doi.org/10.1093/europace/euy281.

291.   Vijayaraman P, Panikkath R, Mascarenhas V, Bauch TD. Left bundle branch pacing  utilizing  three  dimensional  mapping.  J  Cardiovasc  Electrophysiol 2019;30:3050–3056. https://doi.org/10.1111/jce.14242.

292.   Gu M, Niu H, Hu Y, et al. Permanent His bundle pacing implantation facilitated by visualization of the tricuspid valve annulus. Circ Arrhythm Electrophysiol 2020;13:e008370. https://doi.org/10.1161/CIRCEP.120.008370.

293.   Hu Y, Gu M, Hua W, et al. Left bundle branch pacing from distal His-bundle region by tricuspid valve annulus angiography. J Cardiovasc Electrophysiol 2019;30:2550–2553. https://doi.org/10.1111/jce.14188.

294.   Vijayaraman P, Chung MK, Dandamudi G, et al. His bundle pacing. J Am Coll Cardiol 2018;72:927–947. https://doi.org/10.1016/j.jacc.2018.06.017.

295.   VijayaramanP, Ellenbogen KA. Approach to permanent His bundle pacing in chal- lenging implants. Heart Rhythm 2018;15:1428–1431. https://doi.org/10.1016/ j.hrthm.2018.03.006.

296.   JastrzebskiM, MoskalP, BednarekA, Kielbasa G, Vijayaraman P, Czarnecka D. Programmed His bundle pacing: a novel maneuver for the diagnosis of His bundle    capture.    Circ    Arrhythm    Electrophysiol     2019;12:e007052. https://doi.org/10.1161/CIRCEP.118.007052.

297.   Liang Y, Yu H, Wang N, et al. Cycle length criteria for His-bundle capture are capable of determining pacing types misclassiﬁed by output criteria. Heart Rhythm 2019;16:1629–1635. https://doi.org/10.1016/j.hrthm.2019.04.032.

298.   Beer D, Subzposh FA, Colburn S, Naperkowski A, Vijayaraman P. His bundle pacing capture threshold stability during long-term follow-up and correlation with lead slack. Europace 2021;23:757–766. https://doi.org/10.1093/europa- ce/euaa350.

299.   Teigeler T, Kolominsky J, Vo C, et al. Intermediate-term performance and safety of His-bundle pacing leads: a single-center experience. Heart Rhythm 2021;

18:743–749. https://doi.org/10.1016/j.hrthm.2020.12.031.

300.   Sato T, Soejima K, Maeda A, et al. Deep negative deﬂection in unipolar His-bundle electrogram as a predictor of excellent His-bundle pacing threshold postimplant. Circ   Arrhythm    Electrophysiol   2019;12:e007415.   https://doi.org/10.1161/ CIRCEP.119.007415.

301.   Su L, Xu T, Cai M, et al. Electrophysiological characteristics and clinical values of left bundle branch current of injury in left bundle branch pacing. J Cardiovasc Electrophysiol 2020;31:834–842. https://doi.org/10.1111/jce.14377.

302.   Vijayaraman P, Dandamudi G, Worsnick S, Ellenbogen KA. Acute His-bundle injury current during permanent His-bundle pacing predicts excellent pacing out- comes. Pacing Clin Electrophysiol 2015;38:540–546. https://doi.org/10.1111/ pace.12571.

303.   Burri H, Jastrzebski M, Vijayaraman P. Electrocardiographic analysis for His bundle pacing at implantation and follow-up. JACC Clin Electrophysiol 2020;

6:883–900. https://doi.org/10.1016/j.jacep.2020.03.005.

304.   Vijayaraman P, Dandamudi G, Subzposh FA, et al. Imaging-based localization of His bundle pacing electrodes: results from the Prospective IMAGE-HBP study. JACC Clin Electrophysiol 2021;7:73–84. https://doi.org/10.1016/j.ja- cep.2020.07.026.

305.   Sato T, Soejima K, Maeda A, et al. Safety of distal His bundle pacing via the right ventricle backed up by adjacent ventricular capture. JACC Clin Electrophy- siol 2021;7:513–521. https://doi.org/10.1016/j.jacep.2020.09.018.

306.   Huang W, Su L, Wu S, et al. A novel pacing strategy with low and stable output: pacing the left bundle branch immediately beyond the conduction block. Can J Cardiol    2017;33:1736.e1731–1736.e1733.    https://doi.org/10.1016/j.cjca. 2017.09.013.

307.   De Pooter J, Calle S, Timmermans F, Van Heuverswyn F. Left bundle branch area pacing using stylet-driven pacing leads with a new delivery sheath: a com- parison with lumen-less leads. J Cardiovasc Electrophysiol 2021;32:439–448. https://doi.org/10.1111/jce.14851.

308.   Huang W, Chen X, Su L, Wu S, Xia X, Vijayaraman P. A beginner’s guide to permanent left bundle branch pacing. Heart Rhythm 2019;16:1791–1796. https://doi.org/10.1016/j.hrthm.2019.06.016.

309.   Ponnusamy SS, Vijayaraman P. Electrocardiography guided left bundle branch pacing.  J  Electrocardiol  2021;68:11–13.  https://doi.org/10.1016/j.jelectro- card.2021.07.001.

310.   Wu S, Chen X, Wang S, et al. Evaluation of the criteria to distinguish left bundle branch pacing from left ventricular septal pacing. JACC Clin Electrophysiol 2021;7:1166–1177. https://doi.org/10.1016/j.jacep.2021.02.018.

311.   Jastrzebski M, Kielbasa G, Curila K, et al. Physiology-based electrocardio- graphic  criteria  for  left  bundle  branch  capture.  Heart  Rhythm  2021;

18:935–943. https://doi.org/10.1016/j.hrthm.2021.02.021.

312.   Ponnusamy SS, Vijayaraman P. Evaluation of criteria for left bundle branch cap- ture. Card Electrophysiol Clin 2022;14:191–202. https://doi.org/10.1016/j.c- cep.2021.12.011.

313.   Jastrzebski M, Moskal P, Curila K, et al. Electrocardiographic characterization of non-selective His-bundle pacing: validation of novel diagnostic criteria. Euro- pace 2019;21:1857–1864. https://doi.org/10.1093/europace/euz275.

314.   Jastrzebski M, Moskal P, Kukla P, et al. Novel approach to diagnosis of His bundle capture using individualized left ventricular lateral wall activation time as reference. J   Cardiovasc   Electrophysiol    2021;32:3010–3018.   https://doi.org/10.1111/ jce.15233.

315.   Vijayaraman P, Jastrzebski M. Novel criterion to diagnose left bundle branch capture in patients with left bundle branch block. JACC Clin Electrophysiol 2021;7:808–810. https://doi.org/10.1016/j.jacep.2021.03.013.

316.   Jastrzebski M, Burri H, Kielbasa G, et al. The V6-V1 interpeak interval: a novel criterion for the diagnosis of left bundle branch capture. Europace 2022;

24:40–47. https://doi.org/10.1093/europace/euab164.

317.   Chen L, Fu H, Pretorius VG, et al. Clinical outcomes of cardiac resynchroniza- tion with epicardial left ventricular lead. Pacing Clin Electrophysiol 2015;

38:1201–1209. https://doi.org/10.1111/pace.12687.

318.   Burger H, Pecha S, Hakmi S, Opalka B, Schoenburg M, Ziegelhoeffer T. Five- year follow-up of transvenous and epicardial left ventricular leads: experience with more than 1000 leads. Interact Cardiovasc Thorac Surg 2020;30:74–80. https://doi.org/10.1093/icvts/ivz239.

319.   Marini M, Branzoli S, Moggio P, et al. Epicardial left ventricular lead implanta- tion in cardiac resynchronization therapy patients via a video-assisted thoraco- scopic  technique:  long-term  outcome.  Clin  Cardiol  2020;43:284–290. https://doi.org/10.1002/clc.23300.

320.   Solomon SD, Foster E, Bourgoun M, et al. Effect of cardiac resynchronization therapy on reverse remodeling and relation to outcome: Multicenter Automatic Deﬁbrillator Implantation Trial: Cardiac Resynchronization Therapy. Circula- tion   2010;122:985–992.  https://doi.org/10.1161/CIRCULATIONAHA.110. 955039.

321.   Stankovic I, Belmans A, Prinz C, et al. The association of volumetric response and long-term survival after cardiac resynchronization therapy. Eur Heart J Car- diovasc Imaging 2017;18:1109–1117. https://doi.org/10.1093/ehjci/jex188.

322.   Ge Y, Ruwald AC, Kutyifa V, et al. A metric for evaluating the cardiac response to   resynchronization    therapy.   Am    J   Cardiol   2014;113:1371–1377. https://doi.org/10.1016/j.amjcard.2014.01.410.

323.   Lazarus A. Remote, wireless, ambulatory monitoring of implantable pace- makers, cardioverter deﬁbrillators, and cardiac resynchronization therapy sys- tems: analysis of a worldwide database. Pacing Clin Electrophysiol 2007; 30:S2–S12. https://doi.org/10.1111/j.1540-8159.2007.00595.x.

324.   Ricci RP, Morichelli L, Santini M. Remote control of implanted devices through Home Monitoring technology improves detection and clinical management of atrial  ﬁbrillation.  Europace  2009;11:54–61.  https://doi.org/10.1093/europa- ce/eun303.

325.   Crossley GH, Boyle A, Vitense H, Chang Y, Mead RH, CONNECT Investiga- tors. The CONNECT (Clinical Evaluation of Remote Notiﬁcation to Reduce Time to Clinical Decision) trial: the value of wireless remote monitoring with automatic   clinician   alerts.   J   Am   Coll   Cardiol   2011;57:1181–1189. https://doi.org/10.1016/j.jacc.2010.12.012.

326.   LandolinaM, Perego GB, Lunati M, et al. Remote monitoring reduces healthcare use and improves quality of care in heart failure patients with implantable deﬁ- brillators: the Evolution of Management Strategies of Heart Failure Patients With  Implantable  Deﬁbrillators   (EVOLVO)   study.   Circulation   2012;

125:2985–2992. https://doi.org/10.1161/CIRCULATIONAHA.111.088971.

327.   Ricci RP, Morichelli L, D’Onofrio A, et al. Effectiveness of remote monitoring of CIEDs in detection and treatment of clinical and device-related cardiovascular

64                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

events in daily practice: the HomeGuide Registry. Europace 2013;15:970–977.

https://doi.org/10.1093/europace/eus440.

328.   Ricci RP, Morichelli L, D’Onofrio A, et al. Manpower and outpatient clinic workload for remote monitoring of patients with cardiac implantable electronic devices: data from the HomeGuide Registry. J Cardiovasc Electrophysiol 2014;

25:1216–1223. https://doi.org/10.1111/jce.12482.

329.   Mullens W, Kepa J, De Vusser P, et al. Importance of adjunctive heart failure optimization immediately after implantation to improve long-term outcomes with cardiac resynchronization therapy. Am J Cardiol 2011;108:409–415. https://doi.org/10.1016/j.amjcard.2011.03.060.

330.   Altman RK, Parks KA, Schlett CL, et al. Multidisciplinary care of patients receiving cardiac resynchronization therapy is associated with improved clinical outcomes. Eur Heart J 2012;33:2181–2188. https://doi.org/10.1093/eurheart- j/ehs107.

331.   Schmidt S, Hurlimann D, Starck CT, et al. Treatment with higher dosages of heart failure medication is associated with improved outcome following cardiac resynchronization therapy. Eur Heart J 2014;35:1051–1060. https://doi.or- g/10.1093/eurheartj/eht514.

332.   Martens P, Verbrugge FH, Nijst P, et al. Feasibility and association of neurohu- moral blocker up-titration after cardiac resynchronization therapy. J Card Fail 2017;23:597–605. https://doi.org/10.1016/j.cardfail.2017.03.001.

333.   Martens P, Verbrugge FH, Nijst P, Dupont M, Mullens W. Changes in loop diuretic dose and outcome after cardiac resynchronization therapy in patients with heart failure and reduced left ventricular ejection fractions. Am J Cardiol 2017;120:267–273. https://doi.org/10.1016/j.amjcard.2017.04.021.

334.   Gorodeski EZ, Magnelli-Reyes C, Moennich LA, Grimaldi A, Rickard J. Car- diac resynchronization therapy-heart failure (CRT-HF) clinic: a novel model of  care.  PLoS  One  2019;14:e0222610.  https://doi.org/10.1371/journal.- pone.0222610.

335.   Halliday BP, Wassall R, Lota AS, et al. Withdrawal of pharmacological treat- ment for heart failure in patients with recovered dilated cardiomyopathy (TRED-HF): an open-label, pilot, randomised trial. Lancet 2019;393:61–73.

https://doi.org/10.1016/S0140-6736(18)32484-X.

336.   Nijst P, Martens P, Dauw J, et al. Withdrawal of neurohumoral blockade after cardiac resynchronization therapy. J Am Coll Cardiol 2020;75:1426–1438. https://doi.org/10.1016/j.jacc.2020.01.040.

337.   van Veldhuisen DJ, Braunschweig F, Conraads V, et al. Intrathoracic impedance monitoring, audible patient alerts, and outcome in patients with heart failure. Cir- culation 2011;124:1719–1726. https://doi.org/10.1161/CIRCULATIONAHA. 111.043042.

338.   Halawa A, Enezate T, Flaker G. Device monitoring in heart failure management: outcomes based on a systematic review and meta-analysis. Cardiovasc Diagn Ther 2019;9:386–393. https://doi.org/10.21037/cdt.2019.01.02.

339.   Alotaibi S, Hernandez-Montfort J, Ali OE, El-Chilali K, Perez BA. Remote monitoring of implantable cardiac devices in heart failure patients: a systematic review and meta-analysis of randomized controlled trials. Heart Fail Rev 2020;

25:469–479. https://doi.org/10.1007/s10741-020-09923-1.

340.   Vidula H, Kutyifa V, McNitt S, et al. Long-term survival of patients with left bundle branch block who are hypo-responders to cardiac resynchronization ther- apy.   Am   J    Cardiol   2017;120:825–830.    https://doi.org/10.1016/j.amj- card.2017.06.001.

341.   Boriani G, Da Costa A, Quesada A, et al. Effects of remote monitoring on clin- ical outcomes and use of healthcare resources in heart failure patients with biven- tricular deﬁbrillators: results of the MORE-CARE multicentre randomized controlled   trial.   Eur   J    Heart   Fail   2017;19:416–425.   https://doi.or- g/10.1002/ejhf.626.

342.   Hindricks G, Taborsky M, Glikson M, et al. Implant-based multiparameter telemo- nitoring of patients with heart failure (IN-TIME): a randomised controlled trial. Lancet 2014;384:583–590. https://doi.org/10.1016/S0140-6736(14)61176-4.

343.   Hindricks G, Varma N, Kacet S, et al. Daily remote monitoring of implantable cardioverter-deﬁbrillators: insights from the pooled patient-level data from three randomized controlled trials (IN-TIME, ECOST, TRUST). Eur Heart J 2017;

38:1749–1755. https://doi.org/10.1093/eurheartj/ehx015.

344.   Morgan JM, Kitt S, Gill J, et al. Remote management of heart failure using implantable electronic devices. Eur Heart J 2017;38:2352–2360. https://doi.or- g/10.1093/eurheartj/ehx227.

345.   Varma N, Boehmer J, Bhargava K, et al. Evaluation, management, and out- comes of patients poorly responsive to cardiac resynchronization device ther- apy. J Am Coll Cardiol 2019;74:2588–2603. https://doi.org/10.1016/j.jacc. 2019.09.043.

346.   Greene SJ, Adusumalli S, Albert NM, et al. Building a heart failure clinic: a prac- tical guide from the Heart Failure Society of America. J Card Fail 2021;27:2–19. https://doi.org/10.1016/j.cardfail.2020.10.008.

347.   Hauptman PJ, Rich MW, Heidenreich PA, et al. The heart failure clinic: a consensus statement of the Heart Failure Society of America. J Card Fail 2008;14:801–815. https://doi.org/10.1016/j.cardfail.2008.10.005.

348.   MullensW, Grimm RA, Verga T, et al. Insights from a cardiac resynchronization optimization clinic as part of a heart failure disease management program. J Am Coll Cardiol 2009;53:765–773. https://doi.org/10.1016/j.jacc.2008.11.024.

349.   Martens P, Jacobs G, Dupont M, Mullens W. Effect of multidisciplinary cardiac rehabilitation on the response to cardiac resynchronization therapy. Cardiovasc Ther 2018;36:e12467. https://doi.org/10.1111/1755-5922.12467.

350.   Mullens W, Auricchio A, Martens P, et al. Optimized implementation of cardiac resynchronization therapy: a call for action for referral and optimization of care: a joint position statement from the Heart Failure Association (HFA), European Heart Rhythm Association (EHRA), and European Association of Cardiovascu- lar Imaging (EACVI) of the European Society of Cardiology. Eur J Heart Fail 2020;22:2349–2369. https://doi.org/10.1002/ejhf.2046.

351.   Saini A, Seraﬁni NJ, Campbell S, et al. Novel method for assessment of His bundle pacing morphology using near ﬁeld and far ﬁeld device electrograms. Circ Arrhythm Electrophysiol 2019;12:e006878. https://doi.org/10.1161/CIR- CEP.118.006878.

352.   Tamborero D, Vidal B, Tolosana JM, et al. Electrocardiographic versus echocar- diographic optimization of the interventricular pacing delay in patients undergo- ing cardiac resynchronization therapy. J Cardiovasc Electrophysiol 2011;

22:1129–1134. https://doi.org/10.1111/j.1540-8167.2011.02085.x.

353.   Burri H, Keene D, Whinnett Z, Zanon F, Vijayaraman P. Device programming for  His  bundle  pacing.  Circ  Arrhythm  Electrophysiol  2019;12:e006816. https://doi.org/10.1161/CIRCEP.118.006816.

354.   Lustgarten DL, Sharma PS, Vijayaraman P. Troubleshooting and programming considerations  for  His  bundle  pacing.  Heart  Rhythm  2019;16:654–662. https://doi.org/10.1016/j.hrthm.2019.02.031.

355.   Cay S, Ozeke O, Ozcan F, Aras D, Topaloglu S. Mid-term clinical and echocar- diographic evaluation of super responders with and without pacing: the prelim- inary results of a prospective, randomized, single-centre study. Europace 2016;

18:842–850. https://doi.org/10.1093/europace/euv129.

356.   Niu HX, Hu YR, Hua W, et al. Plasticity of left ventricular function with cardiac resynchronization therapy. J Interv Card Electrophysiol 2020;57:289–294. https://doi.org/10.1007/s10840-019-00562-7.

357.   Manfredi JA, Al-Khatib SM, Shaw LK, et al. Association between left ventricular ejection fraction post-cardiac resynchronization treatment and subsequent implant- able cardioverter deﬁbrillator therapy for sustained ventricular tachyarrhythmias. Circ   Arrhythm   Electrophysiol    2013;6:257–264.    https://doi.org/10.1161/ CIRCEP.112.000214.

358.   Ruwald MH, Solomon SD, Foster E, et al. Left ventricular ejection fraction normalization in cardiac resynchronization therapy and risk of ventricular ar- rhythmias and clinical outcomes: results from the Multicenter Automatic Deﬁ- brillator  Implantation  Trial  With   Cardiac   Resynchronization  Therapy (MADIT-CRT) trial. Circulation 2014;130:2278–2286. https://doi.org/10.1161/ CIRCULATIONAHA.114.011283.

359.   Zhang Y, Guallar E, Blasco-Colmenares E, et al. Changes in follow-up left ven- tricular ejection fraction  associated  with  outcomes  in primary prevention implantable cardioverter-deﬁbrillator and cardiac resynchronization therapy de- vice recipients. J Am Coll Cardiol 2015;66:524–531. https://doi.org/10.1016/j.- jacc.2015.05.057.

360.   Gold MR, Linde C, Abraham WT, Gardiwal A, Daubert JC. The impact of car- diac resynchronization therapy on the incidence of ventricular arrhythmias in mild heart failure. Heart Rhythm 2011;8:679–684. https://doi.org/10.1016/ j.hrthm.2010.12.031.

361.   Gold MR, Rickard J, Daubert JC, Zimmerman P, Linde C. Redeﬁning the clas- siﬁcations of response to cardiac resynchronization therapy: results from the REVERSE     study.    JACC    Clin    Electrophysiol     2021;7:871–880. https://doi.org/10.1016/j.jacep.2020.11.010.

362.   Adabag S, Patton KK, Buxton AE, et al. Association of implantable cardioverter deﬁbrillators with survival in patients with and without improved ejection fraction: secondary analysis of the Sudden Cardiac Death in Heart Failure trial. JAMA Car- diol 2017;2:767–774. https://doi.org/10.1001/jamacardio.2017.1413.

363.   Madhavan M, Waks JW, Friedman PA, et al. Outcomes after implantable cardi- overter-deﬁbrillator generator replacement for primary prevention of sudden car- diac death. CircArrhythm Electrophysiol 2016;9:e003283. https://doi.org/10.1161/ CIRCEP.115.003283.

364.   Naksuk N, Saab A, Li JM, et al. Incidence of appropriate shock in implantable cardioverter-deﬁbrillator patients with improved ejection fraction. J Card Fail 2013;19:426–430. https://doi.org/10.1016/j.cardfail.2013.04.007.

365.   Schliamser JE, Kadish AH, Subacius H, et al. Signiﬁcance of follow-up left ven- tricular ejection fraction measurements in the Deﬁbrillators in Non-Ischemic

Cardiomyopathy Treatment Evaluation trial (DEFINITE). Heart Rhythm 2013;

10:838-846. https://doi.org/10.1016/j.hrthm.2013.02.017.

366.   Yuyun MF, Erqou SA, Peralta AO, et al. Risk of ventricular arrhythmia in car- diac resynchronization therapy responders and super-responders: a systematic review  and  meta-analysis.  Europace  2021;23:1262-1274.  https://doi.or- g/10.1093/europace/euaa414.

367.   Manne M, Rickard J, Varma N, Chung MK, Tchou P. Normalization of left ven- tricular ejection fraction after cardiac resynchronization therapy also normalizes survival. Pacing Clin Electrophysiol 2013;36:970-977. https://doi.org/10.1111/ pace.12174.

368.   Poole JE, Gleva MJ, Mela T, et al. Complication rates associated with pacemaker or implantable cardioverter-deﬁbrillator generator replacements and upgrade procedures:   results   from   the   REPLACE   registry.   Circulation   2010;

122:1553-1561. https://doi.org/10.1161/CIRCULATIONAHA.110.976076.

369.   Varma N, Bourge RC, Stevenson LW, et al. Remote hemodynamic-guided ther- apy of patients with recurrent heart failure following cardiac resynchronization therapy.  J  Am  Heart  Assoc  2021;10:e017619.  https://doi.org/10.1161/- JAHA.120.017619.

370.   Koplan BA, Kaplan AJ, Weiner S, Jones PW, Seth M, Christman SA. Heart fail- ure decompensation and all-cause mortality in relation to percent biventricular pacing in patients with heart failure: is a goal of 100% biventricular pacing necessary? J Am Coll Cardiol 2009;53:355-360. https://doi.org/10.1016/j.- jacc.2008.09.043.

371.   Lakkireddy D, Di Biase L, Ryschon K, et al. Radiofrequency ablation of prema- ture ventricular ectopy improves the efﬁcacy of cardiac resynchronization ther- apy   in   nonresponders.   J   Am   Coll   Cardiol   2012;60:1531-1539. https://doi.org/10.1016/j.jacc.2012.06.035.

372.   Chung ES, Gold MR, Abraham WT, et al. The importance of early evaluation after cardiac resynchronization therapy to redeﬁne response: pooled individual patient analysis from 5 prospective studies. Heart Rhythm 2022;19:595-603. https://doi.org/10.1016/j.hrthm.2021.11.030.

373.   Varma N, Baker J II, Tomassoni G, et al. Left ventricular enlargement, cardiac resynchronization therapy efﬁcacy, and impact of MultiPoint pacing. Circ Ar- rhythm    Electrophysiol     2020;13:e008680.    https://doi.org/10.1161/CIR- CEP.120.008680.

374.   Kosmidou I, Lindenfeld J, Abraham WT, et al. Transcatheter mitral valve repair in patients with and without cardiac resynchronization therapy: the COAPT trial. Circ Heart Fail 2020;13:e007293. https://doi.org/10.1161/CIRCHEARTFAI- LURE.120.007293.

375.   Gopinathannair  R, Cornwell WK, Dukes JW, et al. Device therapy and arrhythmia management in left ventricular assist device recipients: a scientiﬁc statement   from   the   American   Heart   Association.   Circulation   2019; 139:e967-e989. https://doi.org/10.1161/CIR.0000000000000673.

376.   Gopinathannair R, Roukoz H, Bhan A, et al. Cardiac resynchronization therapy and clinical outcomes in continuous ﬂow left ventricular assist device recipients. J Am Heart Assoc 2018;7:e009091. https://doi.org/10.1161/JAHA.118.009091.

377.   Roukoz H, Bhan A, Ravichandran A, et al. Continued versus suspended cardiac resynchronization therapy after left ventricular assist device implantation. Sci Rep 2020;10:2573. https://doi.org/10.1038/s41598-020-59117-w.

378.   Chou A, Larson J, Deshmukh A, et al. Association between biventricular pacing and incidence of ventricular arrhythmias in the early post-operative period after left ventricular assist device implantation. J Cardiovasc Electrophysiol 2022;

33:1024-1031. https://doi.org/10.1111/jce.15437.

379.   Schleifer JW, Mookadam F, Kransdorf EP, et al. Effect of continued cardiac re- synchronization therapy on ventricular arrhythmias after left ventricular assist device implantation. Am J Cardiol 2016;118:556-559. https://doi.org/10.1016/- j.amjcard.2016.05.050.

380.   Shah K, Karpe V, Turagam MK, et al. Cardiac resynchronization therapy in continuous ﬂow left ventricular assist device recipients: a systematic review and meta-analysis from ELECTRAM Investigators. J Atr Fibrillation 2020;

13:2441. https://doi.org/10.4022/jaﬁb.2441.

381.   Chun KH, Oh J, Yu HT, et al. The role of sacubitril/valsartan in the manage- ment of cardiac resynchronization therapy non-responders: a retrospective analysis.  ESC  Heart  Fail  2020;7:4404-4407.  https://doi.org/10.1002/ ehf2.12988.

382.   Rubio Campal JM, Del Castillo H, Arroyo Rivera B, et al. Improvement in qual- ity of life with sacubitril/valsartan in cardiac resynchronization non-responders: the RESINA (RESynchronization plus an Inhibitor of Neprilysin/Angiotensin) registry. Cardiol J 2021;28:402-410. https://doi.org/10.5603/CJ.a2021.0009.

383.   Dong YX, Powell BD, Asirvatham SJ, et al. Left ventricular lead position for cardiac resynchronization: a comprehensive cinegraphic, echocardiographic, clinical, and survival analysis. Europace 2012;14:1139-1147. https://doi.or- g/10.1093/europace/eus045.

384.   Hayes DL, Boehmer JP, Day JD, et al. Cardiac resynchronization therapy and the relationship of percent biventricular pacing to symptoms and survival. Heart Rhythm 2011;8:1469-1475. https://doi.org/10.1016/j.hrthm.2011.04.015.

385.   Boriani G, Gasparini M, Landolina M, et al. Incidence and clinical relevance of uncontrolled ventricular rate during atrial ﬁbrillation in heart failure patients treated  with  cardiac  resynchronization  therapy.  Eur  J  Heart  Fail  2011;

13:868-876. https://doi.org/10.1093/eurjhf/hfr046.

386.   Gasparini M, Auricchio A, Metra M, et al. Long-term survival in patients under- going cardiac resynchronization therapy: the importance of performing atrio- ventricular junction ablation in patients with permanent atrial ﬁbrillation. Eur Heart J 2008;29:1644-1652. https://doi.org/10.1093/eurheartj/ehn133.

387.   Li Y, Yan L, Dai Y, et al. Feasibility and efﬁcacy of left bundle branch area pac- ing in patients indicated for cardiac resynchronization therapy. Europace 2020; 22:ii54-ii60. https://doi.org/10.1093/europace/euaa271.

388.   Mair H, Sachweh J, Meuris B, et al. Surgical epicardial left ventricular lead versus coronary sinus lead placement in biventricular pacing. Eur J Cardiothorac Surg 2005;27:235-242. https://doi.org/10.1016/j.ejcts.2004.09.029.

389.   Navia JL, Atik FA, Grimm RA, et al. Minimally invasive left ventricular epicardial lead placement: surgical techniques for heart failure resynchronization therapy. Ann  Thorac  Surg  2005;79:1536-1544.  https://doi.org/10.1016/j.athoracsur.

2004.10.041. discussion 1536-1544.

390.   Bifﬁ M, Defaye P, Jais P, et al. Beneﬁts of left ventricular endocardial pacing comparing failed implants and prior non-responders to conventional cardiac re- synchronization therapy: a subanalysis from the ALSYNC study. Int J Cardiol 2018;259:88-93. https://doi.org/10.1016/j.ijcard.2018.01.030.

391.   Gamble JHP, Herring N, Ginks MR, Rajappan K, Bashir Y, Betts TR. Endocar- dial left ventricular pacing across the interventricular septum for cardiac re- synchronization therapy: clinical results of a pilot study. Heart Rhythm 2018;

15:1017-1022. https://doi.org/10.1016/j.hrthm.2018.02.032.

392.   Graham AJ, Providenica R, Honarbakhsh S, et al. Systematic review and meta- analysis of left ventricular endocardial pacing in advanced heart failure: clini- cally  efﬁcacious  but  at  what  cost?  Pacing   Clin  Electrophysiol   2018;

41:353-361. https://doi.org/10.1111/pace.13275.

393.   van Gelder BM, Scheffer MG, Meijer A, Bracke FA. Transseptal endocardial left ventricular pacing: an alternative technique for coronary sinus lead placement in cardiac   resynchronization   therapy.   Heart   Rhythm   2007;4:454-460. https://doi.org/10.1016/j.hrthm.2006.11.023.

394.   Barba-Pichardo  R,  Manovel  Sanchez  A,  Fernandez-Gomez  JM,  Morina- Vazquez P, Venegas-Gamero J, Herrera-Carranza M. Ventricular resynchroniza- tion therapy by direct His-bundle pacing using an internal cardioverter deﬁbril- lator. Europace 2013;15:83-88. https://doi.org/10.1093/europace/eus228.

395.   Arnold AD, Shun-Shin MJ, Keene D, et al. His resynchronization versus biven- tricular pacing in patients with heart failure and left bundle branch block. J Am Coll Cardiol 2018;72:3112-3122. https://doi.org/10.1016/j.jacc.2018.09.073.

396.   Li X, Qiu C, Xie R, et al. Left bundle branch area pacing delivery of cardiac re- synchronization therapy and comparison with biventricular pacing. ESC Heart Fail 2020;7:1711-1722. https://doi.org/10.1002/ehf2.12731.

397.   Koos R, Sinha AM, Markus K, et al. Comparison of left ventricular lead place- ment via the coronary venous approach versus lateral thoracotomy in patients receiving cardiac resynchronization therapy. Am J Cardiol 2004;94:59-63. https://doi.org/10.1016/j.amjcard.2004.03.031.

398.   HuhtaJC, Maloney JD, Ritter DG, Ilstrup DM, Feldt RH. Complete atrioventric- ular block in patients with atrioventricular discordance. Circulation  1983;

67:1374-1377. https://doi.org/10.1161/01.cir.67.6.1374.

399.   Romer AJ, Tabbutt S, Etheridge SP, et al. Atrioventricular block after congenital heart surgery: analysis from the Pediatric Cardiac Critical Care Consortium. J Thorac Cardiovasc Surg 2019;157:1168-1177.e1162. https://doi.org/10.1016/ j.jtcvs.2018.09.142.

400.   Cecchin F, Frangini PA, Brown DW, et al. Cardiac resynchronization therapy (and multisite pacing) in pediatrics and congenital heart disease: ﬁve years expe- rience in a single institution. J Cardiovasc Electrophysiol 2009;20:58-65. https://doi.org/10.1111/j.1540-8167.2008.01274.x.

401.   Chubb H, Rosenthal DN, Almond CS, et al. Impact of cardiac resynchronization therapy on heart transplant-free survival in pediatric and congenital heart disease patients. Circ Arrhythm Electrophysiol 2020;13:e007925. https://doi.org/10.1161/ CIRCEP.119.007925.

402.   Dubin AM, Janousek J, Rhee E, et al. Resynchronization therapy in pediatric and congenital heart disease patients: an international multicenter study. J Am Coll Cardiol 2005;46:2277-2283. https://doi.org/10.1016/j.jacc.2005.05.096.

403.   JanousekJ, Gebauer RA, Abdul-Khaliq H, et al. Cardiac resynchronisation therapy in paediatric and congenital heart disease: differential effects in various anatomical and  functional  substrates.  Heart  2009;95:1165-1171.  https://doi.org/10.1136/ hrt.2008.160465.

66                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

404.   Kubus P, Rubackova PopelovaJ, Kovanda J, Sedlacek K, JanousekJ. Long-term outcome of patients with congenital heart disease undergoing cardiac resynchro- nization therapy. J Am Heart Assoc 2021;10:e018302. https://doi.org/10.1161/- JAHA.120.018302.

405.   Leyva F, Zegard A, Qiu T, et al. Long-term outcomes of cardiac resynchroniza- tion therapy in adult congenital heart disease. Pacing Clin Electrophysiol 2019;

42:573–580. https://doi.org/10.1111/pace.13670.

406.   Moore JP, Cho D, Lin JP, et al. Implantation techniques and outcomes after car- diac resynchronization therapy for congenitally corrected transposition of the great  arteries.  Heart  Rhythm  2018;15:1808–1815.  https://doi.org/10.1016/ j.hrthm.2018.08.017.

407.   Sakaguchi H, Miyazaki A, Yamada O, et al. Cardiac resynchronization therapy for various systemic ventricular morphologies in patients with congenital heart disease. Circ J 2015;79:649–655. https://doi.org/10.1253/circj.CJ-14-0395.

408.   Yin Y, Dimopoulos K, Shimada E, et al. Early and late effects of cardiac re- synchronization therapy in adult congenital heart disease. J Am Heart Assoc 2019;8:e012744. https://doi.org/10.1161/JAHA.119.012744.

409.   Chubb H, Bulic A, Mah D, et al. Impact and modiﬁers of ventricular pacing in patients with single ventricle circulation. J Am Coll Cardiol 2022;80:902–914. https://doi.org/10.1016/j.jacc.2022.05.053.

410.   Joyce J, O’Leary ET, Mah DY, Harrild DM, Rhodes J. Cardiac resynchroniza- tion therapy improves the ventricular function of patients with Fontan physi- ology. Am Heart J 2020;230:82–92. https://doi.org/10.1016/j.ahj.2020.09.018.

411.   O’Leary ET, Gauvreau K, Alexander ME, et al. Dual-site ventricular pacing in patients with Fontan physiology and heart block: does it mitigate the detrimental effects of single-site ventricular pacing? JACC Clin Electrophysiol 2018;

4:1289–1297. https://doi.org/10.1016/j.jacep.2018.07.004.

412.   Kharbanda RK, Moore JP, Taverne Y, Bramer WM, Bogers A, de Groot NMS. Cardiac resynchronization therapy for the failing systemic right ventricle: a sys- tematic review.  Int J  Cardiol  2020;318:74–81.  https://doi.org/10.1016/j.ij- card.2020.06.052.

413.   Janousek J, Tomek V, Chaloupecky VA, et al. Cardiac resynchronization ther- apy: a novel adjunct to the treatment and prevention of systemic right ventricular failure. J Am Coll Cardiol 2004;44:1927–1931. https://doi.org/10.1016/j.- jacc.2004.08.044.

414.   Kharbanda RK, Moore JP, Lloyd MS, et al. Cardiac resynchronization therapy for adult patients with a failing systemic right ventricle: a multicenter study. J Am  Heart  Assoc  2022;11:e025121.  https://doi.org/10.1161/JAHA.121. 025121.

415.   Jacquemart E, Combes N, Duthoit G, et al. Cardiac resynchronization therapy in patients with congenital heart disease and systemic right ventricle. Heart Rhythm 2022;19:658–666. https://doi.org/10.1016/j.hrthm.2021.11.032.

416.   Janousek J, Kovanda J, Lozek M, et al. Cardiac resynchronization therapy for treatment of chronic subpulmonary right ventricular dysfunction in congenital heart    disease.    Circ    Arrhythm    Electrophysiol    2019;12:e007157. https://doi.org/10.1161/CIRCEP.119.007157.

417.   Mah DY, O’Leary ET, Harrild DM, et al. Resynchronizing right and left ventri- cles with right bundle branch block in the congenital heart disease population. JACC  Clin  Electrophysiol  2020;6:1762–1772.  https://doi.org/10.1016/j.ja- cep.2020.06.006.

418.   Vojtovic P, Kucera F, Kubus P, et al. Acute right ventricular resynchronization improves haemodynamics in children after surgical repair of tetralogy of Fallot. Europace 2018;20:323–328. https://doi.org/10.1093/europace/euw414.

419.   Cano O, Dandamudi G, Schaller RD, et al. Safety and feasibility of conduction system pacing in patients with congenital heart disease. J Cardiovasc Electro- physiol 2021;32:2692–2703. https://doi.org/10.1111/jce.15213.

420.   Moore JP, Gallotti R, Shannon KM, et al. Permanent conduction system pacing for congenitally corrected transposition of the great arteries: a Pediatric and Congenital Electrophysiology Society (PACES)/International Society for Adult Congenital Heart Disease (ISACHD) Collaborative Study. Heart Rhythm 2020;

17:991–997. https://doi.org/10.1016/j.hrthm.2020.01.033.

421.   Norozi K, Wessel A, Alpers V, et al. Incidence and risk distribution of heart fail- ure in adolescents and adults with congenital heart disease after cardiac surgery. Am   J    Cardiol    2006;97:1238–1243.    https://doi.org/10.1016/j.amjcard. 2005.10.065.

422.   Chubb H, Ceresnak SR, Motonaga KS, Dubin AM. A proposed method for the calculation of age-dependent QRS duration z-scores. J Electrocardiol 2020;

58:132–134. https://doi.org/10.1016/j.jelectrocard.2019.12.004.

423.   Jimenez E, Zaban N, Sharma N, et al. His bundle and left bundle pacing in pe- diatrics and congenital heart disease: a single center experience. Pediatr Cardiol 2020;41:1425–1431. https://doi.org/10.1007/s00246-020-02398-9.

424.   Bulic A, Zimmerman FJ, Ceresnak SR, et al. Ventricular pacing in single ventri- cles—a     bad     combination.     Heart     Rhythm     2017;14:853–857. https://doi.org/10.1016/j.hrthm.2017.03.035.

425.   Kodama Y, Kuraoka A, Ishikawa Y, et al. Outcome of patients with functional single ventricular heart after pacemaker implantation: what makes it poor, and what can we do? Heart Rhythm 2019;16:1870–1874. https://doi.org/10.1016/ j.hrthm.2019.06.019.

426.   Poh CL, Cordina RL, Iyengar AJ, et al. Pre- and post-operative determinants of transplantation-free survival after Fontan: the Australia and New Zealand expe- rience. Int J Cardiol Heart Vasc 2021;35:100825 https://doi.org/10.1016/j.ij- cha.2021.100825.

427.   Lubiszewska B, Gosiewska E, Hoffman P, et al. Myocardial perfusion and func- tion of the systemic right ventricle in patients after atrial switch procedure for complete  transposition:  long-term  follow-up.  J  Am  Coll  Cardiol  2000;

36:1365–1370. https://doi.org/10.1016/s0735-1097(00)00864-0.

428.   Millane T, Bernard EJ, Jaeggi E, et al. Role of ischemia and infarction in late right ventricular dysfunction after atrial repair of transposition of the great arteries. J Am Coll     Cardiol     2000;35:1661–1668.     https://doi.org/10.1016/s0735-1097 (00)00585-4.

429.   Dubin AM, FeinsteinJA, Reddy VM, Hanley FL, Van Hare GF, Rosenthal DN. Elec- trical resynchronization: a novel therapy for the failing right ventricle. Circulation 2003;107:2287–2289. https://doi.org/10.1161/01.CIR.0000070930.33499.9F.

430.   Greene EA, Berul CI. Pacing treatment for dilated cardiomyopathy: optimization of resynchronization pacing in pediatrics. Curr Opin Cardiol 2010;25:95–101. https://doi.org/10.1097/HCO.0b013e3283361750.

431.   KarpawichPP, RabahR, Haas JE.Altered cardiac histologyfollowing apicalright ven- tricular pacing in patients with congenital atrioventricular block. Pacing Clin Electro- physiol 1999;22:1372–1377. https://doi.org/10.1111/j.1540-8159.1999.tb00631.x.

432.   Shaddy RE, George AT, Jaecklin T, et al. Systematic literature review on the incidence and prevalence of heart failure in children and adolescents. Pediatr Cardiol 2018;39:415–436. https://doi.org/10.1007/s00246-017-1787-2.

433.   Tantengco MV, Thomas RL, Karpawich PP. Left ventricular dysfunction after long-term right ventricular apical pacing in the young. J Am Coll Cardiol 2001;37:2093–2100. https://doi.org/10.1016/s0735-1097(01)01302-x.

434.   Tsujii N, Miyazaki A, Sakaguchi H, et al. High incidence of dilated cardiomy- opathy after right ventricular inlet pacing in patients with congenital complete atrioventricular block. Circ J 2016;80:1251–1258. https://doi.org/10.1253/- circj.CJ-15-1122.

435.   Vanagt WY, Prinzen FW, Delhaas T. Physiology of cardiac pacing in children: the importance of the ventricular pacing site. Pacing Clin Electrophysiol 2008; 31:S24–S27. https://doi.org/10.1111/j.1540-8159.2008.00950.x.

436.   Moak JP, Barron KS, Hougen TJ, et al. Congenital heart block: development of late-onset cardiomyopathy, a previously underappreciated sequela. J Am Coll Cardiol 2001;37:238–242. https://doi.org/10.1016/s0735-1097(00)01048-2.

437.   Karpawich PP, Mital S. Comparative left ventricular function following atrial, septal, and apical single chamberheartpacing in the young. Pacing ClinElectrophy- siol 1997;20:1983–1988. https://doi.org/10.1111/j.1540-8159.1997.tb03605.x.

438.   Kovanda J, Lozek M, Ono S, Kubus P, Tomek V, Janousek J. Left ventricular apical pacing in children: feasibility and long-term effect on ventricular function. Europace 2020;22:306–313. https://doi.org/10.1093/europace/euz325.

439.   Lyon S, Dandamudi G, Kean AC. Permanent His-bundle pacing in pediatrics and  congenital  heart  disease.  J  Innov  Card  Rhythm  Manag  2020;

11:4005–4012. https://doi.org/10.19102/icrm.2020.110205.

440.   Dandamudi G, Simon J, Cano O, et al. Permanent His bundle pacing in patients with congenital complete heart block: a multicenter experience. JACC Clin Elec- trophysiol 2021;7:522–529. https://doi.org/10.1016/j.jacep.2020.09.015.

441.   Ayabakan C, Rosenthal E. Endocardial pacemaker implantation in neonates and infants. Indian Pacing Electrophysiol J 2006;6:57–62.

442.   Moak JP, Hasbani K, Ramwell C, et al. Dilated cardiomyopathy following right ventricular pacing for AV block in young patients: resolution after upgrading to biventricular pacing systems. J Cardiovasc Electrophysiol 2006;17:1068–1071. https://doi.org/10.1111/j.1540-8167.2006.00565.x.

443.   Gordon A, Jimenez E, Cortez D. Conduction system pacing in pediatrics and congenital heart disease, a single center series of 24 patients [published online ahead of print June 9, 2022]. Pediatr Cardiol. https://doi.org/10.1007/s00246- 022-02942-9.

444.   Karpawich PP, Bansal N, Samuel S, Sanil Y, Zelin K. 16 Years of cardiac re- synchronization pacing among congenital heart disease patients: direct contrac- tility (dP/dt-max) screening when the guidelines do not apply. JACC Clin Electrophysiol 2017;3:830–841. https://doi.org/10.1016/j.jacep.2017.01.015.

445.   Silvetti MS, Pazzano V, Battipaglia I, et al. Three-dimensional guided selective right ventricular  septal pacing preserves ventricular  systolic  function  and synchrony   in   pediatric   patients.   Heart   Rhythm   2021;18:434–442. https://doi.org/10.1016/j.hrthm.2020.12.004.

446.   Silvetti MS, Porco L, Tamburri I, et al. To go left or right? Driving towards the best direction in paediatric pacing [published online ahead of print June 8, 2021]. Cardiol Young. https://doi.org/10.1017/S1047951122001688.

447.   Silvetti MS, Muzi G, Unolt M, et al. Left ventricular (LV) pacing in newborns and infants: echo assessment ofLV systolic function and synchrony at5-year follow-up. Pacing Clin Electrophysiol 2020;43:535-541. https://doi.org/10.1111/pace.13908.

448.   Song MK, Kim NY, Bae EJ, et al. Long-term follow-up of epicardial pacing and left ventricular dysfunction in children with congenital heart block. Ann Thorac Surg 2020;109:1913-1920. https://doi.org/10.1016/j.athoracsur.2019.09.063.

449.   van  Geldorp IE, Vanagt WY, Bauersfeld U, Tomaske M, Prinzen FW, Delhaas T. Chronic left ventricular pacing preserves left ventricular function

in   children.   Pediatr   Cardiol   2009;30:125-132.   https://doi.org/10.1007/ s00246-008-9284-2.

450.   Janousek J, van Geldorp IE, Krupickova S, et al. Permanent cardiac pacing in children: choosing the optimal pacing site: a multicenter study. Circulation 2013;127:613-623. https://doi.org/10.1161/CIRCULATIONAHA.112.115428.

451.   Karpawich PP, Singh H, Zelin K. Optimizing paced ventricular function in patients with and withoutrepaired congenital heart diseaseby contractility-guided lead implant. Pacing Clin Electrophysiol 2015;38:54-62. https://doi.org/10.1111/pace.12521.

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

68                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Appendix 1    Writing committee member disclosure of relationships with industry and other entities

| Writing committee member | Employment | Honoraria/speaking/consulting | Speakers’ bureau | Research* | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mina K. Chung, MD, FHRS (Chair) | Cleveland Clinic, Cleveland, Ohio 1: 1: 1: 1: 1: 1: 2: | 1: Columbia Univ. School of Medicine France ANR Geisinger Health Systems Kansas City Heart Rhythm Society Northwell Health Postgraduate Institute for Medicine Univ. of Pittsburgh Medical Center ABIM | None 5: | 5: NIH AHA | None | None | None | 1: Elsevier 1: UpToDate | 0: AHA 0: Amarin 3: AHA |
| Kristen K. Patton, MD, FHRS (HRS Vice-Chair) | Univ. of Washington, Seattle, Washington 1: | 0: JAMA Cardiology Great Wall International Congress of Cardiology | None | None | None | None | None | None | 0: ACC 0: ACGME 0: AHA 0: FDA |
| Chu-Pak Lau, MD, FHRS, CCDS (APHRS Vice-Chair) | Univ. of Hong Kong, Hong Kong, China | None | None | 1: Abbott | None | None | None | None | None |
| Alexander R. J. Dal Forno, MD (LAHRS Vice-Chair) | Hospital SOS C/ardio, Florianópolis, Brazil 1: 1: | 1: Abbott Biotronik Medtronic | None | None | None | None | None | None | None |
| Sana M. Al-Khatib, MD, MHS, FHRS, CCDS | Duke Univ. Medical Center, Durham, Nort1h: Carolina 1: 2: | 1: Abbott Pﬁzer/BMS Milestone Pharmaceuticals Medtronic | None 1: 1: | 1: Abbott Boston Scientiﬁc Medtronic | None | None | None | None | 3: AHA |
| Vanita Arora, MBBS, MD, FHRS | Indraprastha Apollo Hospital, New Delhi, India | None | None | None | None | None | None | None | None |
| Ulrika Maria Birgersdotter-Green, MD, FHRS | Univ. of California San Diego Health, La Joll California 1: 2: 2: | 1: Boston Scientiﬁc Medtronic Philips Abbott Biotronik | None | None | None | None | 3: Vektor Medical | None | None |
| Yong-Mei Cha, MD, FHRS, FACC | Mayo Clinic, Rochester, Minnesota | 0: Medtronic | None 5: | 2: Medtronic NIH | None | None | None | None | None |
| Eugene H. Chung, MD, MPH, FHRS | Univ. of Michigan Medical School, Ann Arbor, Michigan | None | None | None | None | None | None | None | None |

1: Medtronic                              None             None                     None                  None                                      None              None                             1: Janssen

Edmond M. Cronin, MB Temple Univ.,

BCh BAO, FHRS               Philadelphia,

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

Pennsylvania

| Anne B. Curtis, MD, | Univ. at Buffalo, |  | 1: Eagle Pharmaceuticals | None | None | None | None | None | None | None |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FHRS | Buffalo, New York 1: |  | Janssen Pharmaceuticals |  |  |  |  |  |  |  |
|  | 1: |  | Milestone Pharmaceuticals |  |  |  |  |  |  |  |
|  | 1: |  | Sanoﬁ |  |  |  |  |  |  |  |
|  | 1: |  | Zoll Medical Corporation |  |  |  |  |  |  |  |
|  | 2: |  | Abbott |  |  |  |  |  |  |  |
|  | 2: |  | ACC |  |  |  |  |  |  |  |
|  | 2: |  | Medtronic |  |  |  |  |  |  |  |
| Iwona Cygankiewicz, MD, PhD | Medical Univ. of Eód/z, Eód/z, Poland |  | None | None | None | None | None | None | None | 0: ISHNE |
| Gopi Dandamudi, MBA, MD, FHRS | Virginia Mason Franciscan Health, Tacoma, Washington |  | 1: Medtronic | None | None | None | None | None | None | None |
| Anne M. Dubin, MD, FHRS, CEPS-P | Stanford Univ., Pediatric Cardiology, Palo Alto, California |  | 1: Guidepoint Global Advisors | None | None | None | None | None | 1: Elsevier 1: UpToDate | None |
| Douglas P. Ensch, AEET | Retired Communications Engineer, Fort Wayne, Indiana |  | None | None | None | None | None | None | None | None |
| Taya V. Glotzer, MD, FHRS, FACC | Hackensack Meridian |  | 1: Abbott Boston Scientiﬁc Mayo Clinic Medtronic | None | None | None | None | None | None | None |
|  | School of Medicine, Hackensack, New Jersey | 1: 1: 1: |  |  |  |  |  |  |  |  |
| Michael R. Gold, MD, | Medical Univ. of South |  | 1: Abbott | None | None | None | None | 1: Acutus | None | None |
| PhD, FHRS | Carolina, Charleston,1: |  | EBR Systems |  |  |  |  | Medical |  |  |
|  | South Carolina 2: |  | CVRx |  |  |  |  |  |  |  |
|  | 2: |  | Medtronic |  |  |  |  |  |  |  |
|  | 3: |  | Boston Scientiﬁc |  |  |  |  |  |  |  |
| Zachary D. Goldberger, MD, MS, FHRS, CCDS | Univ. of Wisconsin School of Medicine and Public Health, Madison, Wisconsin |  | 1: ABIM | None | None | None | None | None | 1: Elsevier 1: UpToDate | None |
| Rakesh Gopinathannair, MD, MA, FHRS | Kansas City Heart Rhythm Institute, 1: Overland Park, Kansa: 2: 3: 4: |  | 1: ACHL Sanoﬁ Univ. Tennessee Memphis Zoll Medical Corporation Boston Scientiﬁc Abbott | 2: Pﬁzer | None | None | None | None | None | 0: AltaThera Pharmaceuticals 0: PaceMate 1: HRS |

(Continued)

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

70                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Appendix 1     (Continued)

| Writing committee member | Employment | Honoraria/speaking/consulting | Speakers’ bureau | Research* | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Eiran Z. Gorodeski, MD, MPH | Univ. Hospitals and Case Western Reserve Univ. School of Medicine, Cleveland, Ohio | 1: Abbott | None | None | None | None | None | None | None |
| Alejandra Gutierrez, MD | Univ. of Minnesota, Minneapolis, Minnesota | 1: Zoll Medical Corporation | None | None | None | None | None | None | None |
| Juan C. Guzman, MD, MSc | McMaster Univ., Hamilton, Ontario, Canada | None | None | None | None | None | None | None | None |
| Weijian Huang, MD, FHRS | First Afﬁliated Hospital of Wenzhou Medical Univ., Wenzhou, China | None | None | None | None | None | None | None | None |
| Peter B. Imrey, PhD | Cleveland Clinic, Case Western Reserve Univ., Cleveland, Ohio | None | None | None | None | None | None | None | None |
| Julia H. Indik, MD, PhD, FHRS | Univ. of Arizona, Sarver Heart Center, Tucson, Arizona | None | None | None | None | None | None | None | 3: ACC |
| Saima Karim, DO, FHRS | MetroHealth Medical Center, Case Western Reserve Univ., Cleveland, Ohio | None | None | None | None | None | None | None | None |
| Peter P. Karpawich, MD, MS, FHRS | The Children’s Hospital of Michigan, Central Michigan Univ., Detroit, Michigan | None | None | None | None | None | None | None | None |
| Yaariv Khaykin, MD, FHRS | Southlake Regional Health Center, Newmarket, Ontario, Canada | None | None | None | None | None | None | None | None |
| Erich L. Kiehl, MD, MS | Sentara, Norfolk, Virginia | None | None 0: | 0: Abbott Boston Scientiﬁc | None | None | None | None | None |
| Jordana Kron, MD, FHRS | Virginia Commonwealth Univ., Richmond, Virginia | None | None 5: 5: | 3: Kinevant AHA NIH | None | None | None | None | None |

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

Valentina Kutyifa, MD, PhD, FHRS

Univ. of Rochester       1: Abbott

Medical Center,        1: Biotronik

Rochester, New York1: Medtronic

3: Zoll Medical Corporation

None           4: Spire

5: Biotronik

5: Boston Scientiﬁc

5: NIH/NHLBI

5: Zoll Medical Corporation

None                 None                                      None            None                          None

| Mark S. Link, MD, FHRS Univ. of Texas Southwestern Medical Center, Dallas, Texas |  | None None None None None None None None |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Joseph E. Marine, MD, MBA, FHRS | Johns Hopkins Univ. School of Medicine, Baltimore, Maryland | 4: ACC | None | None | None | None | None | 1: UpToDate | 4: ACC |
| Wilfried Mullens, MD, | Ziekenhuis Oost- | 1: Abbott | None | None | None | None | None | None | None |
| PhD | Limburg Genk, 1: | AstraZeneca |  |  |  |  |  |  |  |
|  | Belgium and Hasselt1: | Boehringer Ingelheim |  |  |  |  |  |  |  |
|  | Univ., Hasselt, 1: | Medtronic |  |  |  |  |  |  |  |
|  | Belgium 1: | Novartis |  |  |  |  |  |  |  |
| Seung-Jung Park, MD, | Sungkyunkwan Univ. | 1: Abbott | None | 3: Medtronic | None | None | None | None | None |
| PhD | School of Medicine, 1: | Biotronik | 4: | Abbott |  |  |  |  |  |
|  | Samsung Medical 1: | Boston Scientiﬁc | 5: | Biotronik |  |  |  |  |  |
|  | Center, Seoul, 1: | Medtronic | 5: | Boston Scientiﬁc |  |  |  |  |  |
|  | Republic of Korea |  |  |  |  |  |  |  |  |
| Ratika Parkash, MD, | QEII Health Sciences | 0: Medtronic | None | 4: Novartis | 1: Abbott | None | None | None | None |
| MS, FHRS | Center, Halifax, 1: | Servier | 5: | Abbott 4: | Biosense |  |  |  |  |
|  | Nova Scotia, Canada |  | 5: | Medtronic | Webster |  |  |  |  |
|  |  |  |  | 5: | Medtronic |  |  |  |  |
| Manuel F. Patete, MD | Clinica Corazones Unidos, Santo Domingo, Dominican Republic | 1: Medtronic | None | None | None | None | None | None | None |
| Rajeev Kumar Pathak, MBBS, PhD, FHRS | Australian National Univ., Canberra Hospital, Garran, Australia | 1: Biotronik | 1: Medtronic | None 0: | 0: Abbott Medtronic | None | None | None | None |
| Carlos A. Perona, MD | Santojanni Hospital, Buenos Aires, Argentina | 1: Medtronic | None | None | None | None | None | None | None |
| John Rickard, MD, MPH | Cleveland Clinic, Cleveland, Ohio 1: 2: | 1: Boston Scientiﬁc Medtronic St. Jude Medical | None | 4: St. Jude Medical | None | None | None | None | None |
| Mark H. Schoenfeld, | Yale Univ. School of | None | None | None | None | None | 5: Apple | None | None |
| MD, CCDS, FHRS, FACC, | Medicine, New Haven, |  |  |  |  |  | 5: Microsoft |  |  |
| FAHA | Connecticut |  |  |  |  |  |  |  |  |

(Continued)

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

72                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Appendix 1     (Continued)

| Writing committee member | Employment Honoraria/speaking/consulting |  |  |  | Speakers, bureau | Research* | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Kimberly A. Selzman, MD, MPH, FHRSt | George E. Wahlen Department of Veterans Affairs Medical Center, Salt Lake City, Utah |  | None |  | None | None | None | None | None | None | None |
| Swee-Chong Seow, MD, FHRS | National Univ. Hospital Singapore, Singapore | 1: Abbott 1: Biosense Webster 1: Biotronik 1: Medtronic |  |  | None | None | None | None | None | None | None |
| Win-Kuang Shen, MD, FHRS | Mayo Clinic, Phoenix, None Arizona |  |  |  | None | None | None | None | None | None | None |
| Morio Shoda, MD, PhD Jagmeet P. Singh, MD, PhD, FHRS | Tokyo Women,s 1: Boston Scientiﬁc Medical Univ., Tokyo, Japan Massachusetts General 0: Implicity Hospital, Harvard 0: Octagos Medical School, 0: Orchestra Biomed Boston, Massachuset Biosense Webster 1: CVRx 1: Medscape 1: Merit Medical Systems 1: MicroPort CRM 1: New Century Health 1: Rhythm Management Group 1: Toray Industries 2: Abbott 2: Biotronik 2: Boston Scientiﬁc 2: Cardiologs 2: EBR Systems 2: Impulse Dynamics USA 2: Medtronic 3: Sanoﬁ |  |  |  | None None | None None | None None | None None | None None | None None | None None |
| David J. Slotwiner, MD, FHRS, FACC | Weill Cornell Medicine Population Health Sciences, New York, New York |  |  | None | None | None | None | None | None | None | None |
| Arun Raghav M. Sridhar, MBBS, MPH | Univ. of Washington, None Seattle, Washington |  |  |  | None | None | None | None | None | None | None |
| Uma N. Srivatsa, MBBS, MS, FHRS | Univ. of California Davis, Sacramento, California | None |  |  | None | None | None | None | None | None | None |

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

Eric C. Stecker, MD, MPH, FHRS, FACC

Oregon Health & Science Univ.,

Portland, Oregon

None                                          None             4: AHA                   None                 None                                      None               None                             None

| Tanyanan Tanawuttiwat, MD, MPH, FHRS | Indiana Univ., Indianapolis, Indiana | None | None | None | None | None | None | None | None |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| W.H. Wilson Tang, MD, FHFSA | Cleveland Clinic, Cleveland, Ohio 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: | 1: ABIM Boston Scientiﬁc CardiaTec Biosciences Cardiol Therapeutics Genomics plc Kiniksa Owkin preCARDIA Relypsa Renovacor Sequana Medical Springer Publishing WhiteSwell Zehna Therapeutics | None | 5: NIH | None | None | None | None | 1: Cardiac Community Core Lab |
| Carlos Andres Tapias, MD | Fundación Cardioinfantil Instituto de Cardiologia, Bogot/a, Colombia | None | None | None | None | None | None | None | None |
| Cynthia M. Tracy, MD | George Washington Univ., Washington, District of Columbia | None | None | None | None | None | None | None | None |
| Gaurav A. Upadhyay, MD, FHRS, FACC | Univ. of Chicago Medicine, Chicago, 1: Illinois 1: 2: 2: 3: | 1: Abbott Boston Scientiﬁc Zoll Medical Corporation Biotronik Philips Medtronic | None | 2: GE 5: Biotronik | 2: Abbott 2: Boston Scientiﬁc 2: Biosense- Webster 2: Biotronik 2: Medtronic | None | None | None | None |
| Niraj Varma, MA, MD, PhD, FRCP | Cleveland Clinic, Cleveland, Ohio | 1: Biotronik 1: Boston Scientiﬁc 1: Cardiologs 1: EP Solutions 1: Implicity 1: Medtronic 1: MicroPort 1: PaceMate 2: Abbott 3: Impulse Dynamics USA | None | 3: St. Jude Medical | None | None | None | None | None |

(Continued)

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

74                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Appendix 1     (Continued)

| Writing committee member | Employment | Honoraria/speaking/consulting | Speakers’ bureau Research* |  |  | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Kevin Vernooy, MD, PhD, FESC, FEHRA | Cardiovascular Research Institute 1: Maastricht, Maastrich2t: Univ. Medical Center, Maastricht, The Netherlands | 1: Abbott Boston Scientiﬁc Medtronic | 1: 4: Medtronic MicroPort5: NWO |  | 4: Abbott 3: Biosense Webster 5: Medtronic |  | None | None | None | None |
| Pugazhendhi Vijayaraman, MD, FHRS | Geisinger Health System, Wilkes-Barre: Pennsylvania 1: 4: | 1: Abbott Biotronik Boston Scientiﬁc Medtronic | None | 4: Medtronic |  | 3: Medtronic | None | None | None | None |
| Sarah Ann Worsnick, PAC, FHRS, CEPS, CCDS | Geisinger Health System, Wilkes-Barre, Pennsylvania | None | None | None |  | None | None | None | None | None |
| Wojciech Zareba, MD, PhD | Univ. of Rochester Medical Center, 2: Rochester, New York | 2: AstraZeneca Medtronic | None | 3: EBR Systems 4: Gilead Sciences 5: Biotronik 5: AliveCor 5: Impulse Dynamics USA 5: LivaNova |  | None | None | None | None | None |
| Emily P. Zeitler, MD, MHS, FHRS | Dartmouth Hitchcock Medical Center, Lebanon, New Hampshire | 1: Biosense Webster 2: Medtronic | None | 4: Boston Scientiﬁc |  | None | None | None | None | 0: Biosense Webster 0: Sanoﬁ |

Number value: 0 = $0; 1 = ≤$10,000; 2 = >$10,000 to ≤$25,000; 3 = >$25,000 to ≤$50,000; 4 = >$50,000 to ≤$100,000; 5 = >$100,000.

This table is a comprehensive list of the relationships with industry and other entities (RWI)–regardless of relevance to the document topic–disclosed by each writing committee member for the 12 months prior to the initial meeting of the writing committee and up through the completion of the document. The table does not necessarily reﬂect the RWI of the writing committee members at the time of publication. Please refer to the HRS Code of Ethics and Professionalism for deﬁnitions of disclosure categories or additional information about the HRS policy on the disclosure of RWI. To mitigate potential bias and conﬂict of interest, the recommendations and supportive text were written by writing committee members who were free of relevant RWI. Writing committee members were recused from voting on recommendations if their RWI was relevant to the recommendation topic.

ABIM = American Board of Internal Medicine; ACC = American College of Cardiology; ACGME = Accreditation Council for Graduate Medical Education; ACHL = Academy for Continued Healthcare Learning; AHA = American Heart Association; FDA = U.S. Food and Drug Administration; HRS = Heart Rhythm Society; ISHNE = International Society for Holter and Noninvasive Electrocardiology; NHLBI = National Heart, Lung, and Blood Institute; NIH = National Institutes of Health; NWO = The Dutch Research Council.

*Research and fellowship support are classed as programmatic support. Sources of programmatic support are disclosed but are not regarded as a relevant relationship with industry for writing committee members. tDr Selzman stepped down from the writing committee in September 2022 when she transitioned to a new role in industry, which precluded her from participation in the development of the guideline. Dr Selman was one of the primary authors for Section 3.4 Indications for CPP in Atrial Fibrillation. After her departure, this section was rereviewed by the section lead/authors and the document chairs, and the evidence for this section was rereviewed by the document methodologists.

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

Appendix 2     Reviewer disclosure of relationships with industry and other entities

| Peer reviewer | Employment |  | Honoraria/ speaking/ consulting | Speakers’ bureau | Research* | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nestor Lopez- Cabanillas, MD | # Adventist Cardiovascular Institute, Buenos Aires, Argentina |  | None | None | None | None | None | None | None | None |
| Kenneth A. Ellenbogen, MD, FHRS | Virginia Commonwealth University Medical Center, Richmond, Virginia | 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 1: 2: 2: 3: | 1: Abbott ACC Biosense Webster, Inc. Biotronik HRS Hylomorph Impulse Dynamics USA Kestra Mayo Foundation MediLynx Medpace Milestone Pharmaceuticals Sanoﬁ Boston Scientiﬁc Kestra Medtronic | None | None | None | None | None 1: | 1: Elsevier Wiley-Blackwell | None |
| Wei Hua, MD, FHRS | Fu Wai Hospital, Beijing, China |  | None | None | None | None | None | None | None | None |
| Takanori Ikeda, MD, PhD | Toho University, Tokyo, Japan 2: 2: |  | 1: Pﬁzer/BMS Bayer Healthcare Pharmaceuticals Daiichi Sankyo | None | None | None | None | None | None | None |
| Judith A. Mackall, MD, FHRS | University Hospitals Cleveland Medical Center, Cleveland, Ohio |  | 2: Abbott | None | None | None | None | None | None | None |
| Pamela K. Mason, MD, FHRS | University of Virginia Health System, Charlottesville, Virginia |  | 1: Boston Scientiﬁc 1: Cook Medical 1: Medtronic | None | None | None | None | 5: Apple | None | None |

(Continued)

PGL 5.6.0 DTD  ■ HRTHM9841_proof ■  13 May 2023  ■  1:45 pm  ■  ce

76                                                                                                                                     Heart Rhythm, Vol -, No -, -  2023

Appendix 2     (Continued)

| Peer reviewer | Employment |  | Honoraria/ speaking/ consulting | Speakers’ bureau | Research* | Fellowship support* | Ownership/partnership/ principal/majority stockholder | Stock or stock options | Intellectual property/royalties | Other |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Christopher J. McLeod, MBChB, PhD, FHRS | Mayo Clinic, Jacksonville, Florida |  | 1: BioSig Technologies | None | None | None | None | None | None | None |
| Theofanie Mela, MD | Massachusetts General Hospital, Boston, Massachusetts | 1: 1: | 1: Abbott Biotronik Medtronic | None | None | None | None | None | None | None |
| Jeremy P. Moore, MD, MS, FHRS, CCDS, CEPS-P | UCLA Medical Center, Los Angeles, California |  | None | None | None | None | None | None | None | None |
| Laurel Kay Racenet, MSN, FNP, FHRS, CEPS, CCDS (retired) | Alaska Heart & Vascular Institute (Retired), Anchorage, Alaska |  | None | None | None | None | None | None | None | None |

Number value: 0 = $0; 1 = ≤$10,000; 2 = >$10,000 to ≤$25,000; 3 = >$25,000 to ≤$50,000; 4 = >$50,000 to ≤$100,000; 5 = >$100,000.

This table is a comprehensive list of the relationships with industry and other entities (RWI)–regardless of relevance to the document topic–disclosed by the reviewers at the time the document was under review. The table does not necessarily reﬂect the RWI of the reviewers at the time of publication. Please refer to the HRS Code of Ethics and Professionalism for deﬁnitions of disclosure categories or additional information about the HRS policy on the disclosure of RWI.

ACC = American College of Cardiology; BMS = Bristol Myers Squibb; HRS = Heart Rhythm Society.

*Research and fellowship support are classed as programmatic support. Sources of programmatic support are disclosed but are not regarded as a relevant relationship with industry for reviewers.