2023 , 39                                                                       临床心血管病杂志

(3) : 167-171                                               Journal of Clinical Cardiology(China)

·  167   ·

# 《光学相干断层成像技术在冠心病介入诊疗

# 中应用的中国专家共识》解读

贾海波1 ,2        何路平1 ,2        徐艺硕1 ,2         于波1 ,2

［摘要］  光学相干断层成像技术(OCT) 在冠状动脉介入治疗中具有重要的指导价值，但 OCT 在我 国仍存 在使用率较低且使用不规范的问题 。2023 年 2 月，中华医学会心血管病学分会发布了《光学相干断层成像技术 在冠心病介入诊疗中应用的中国专家共识》，主要 围绕 OCT 的临床应用指征，OCT 如何指导临床决策、支架置入 及结果优化，OCT 在不同病变和人群中的指导价值等内容达成共识 。为了更好地理解专家共识、规范 OCT 的 临 床应用，本文将对其核心内容进行解读。

［关键词］  冠心病；光学相干断层成像技术；冠状动脉介入治疗；专家共识；解读

DOI:10.  13201/j .issn.1001-1439.  2023.  03.   002

［ 中图分类号］  R541. 4      ［文献标志码］   C

Interpretation of Chinese expert consensus on the application of optical

coherence tomography in the interventional diagnosis

and treatment of coronary artery disease

JIA Haibo 1 ,  2        HE Luping 1 ,  2         XU Yishuo 1 ,  2       YU Bo 1 ,  2

( 1  Department of  Cardiology ,  The  2nd  Affiliated  Hospital  of  Harbin  Medical  University ,   Harbin , 150086 , China ; 2 The Key Laborator y of Myocardial Ischemia ,  Chinese Ministry of Education)

Corresponding author :  YU Bo ,  E-mail :  y ubodr@163 . com

Abstract    Optical coherence tomography(OCT)  plays  an important role in guiding percutaneous  coronary in- terventions .  In spite of this ,  the adoption of OCT remains limited in routine clinical practice and lack of standards in China.  In Feb 2023 ,  Chinese  Society  of Cardiology issued the " Chinese expert consensus on the application of optical coherence  tomography  in  the  interventional  diagnosis  and  treatment  of coronary  artery disease " ，which mainly focus on clinical indication ,  the impact of OCT on planning procedural strategy ,  optimization stent implan- tation and percutaneous coronary intervention result and the value of OCT in different patients or lesions . In order

引用本文：贾海波，何路平，徐艺硕，等．《光学相干断层成像技术在冠心病介入诊疗中应用的中国专家共识》解读[J] . 临 床心血管病杂志，2023 , 39(3) :167-171.DOI:10. 13201/j.issn.1001-1439. 2023. 03. 002 .

1 哈尔滨医科大学附属第二医院心内科（哈尔滨，150086)

2 心肌缺血教育部重点实验室

通信作者：于波，E-mail:yubodr@163 . com

[13]  Crotti L , Odening KE , Sanguinetti  MC. Heritable  ar- rhythmias associated with abnormal function of cardi- ac potassium  channels[J] . Cardiovasc  Res , 2020 , 116

(9) :1542-1556.

[14]  Walsh R , Adler A , Amin AS , et al.Evaluation of gene validity for CPVT and short QT s yndrome in sudden arrhythmic death[J] .Eur Heart J , 2022 , 43(15) : 1500- 1510.

[15]  Charron P , Arad M , Arbustini  E , et  al.Genetic  coun- selling  and  testing  in  cardiom yopathies :  a   position statement  of   the   European   Society   of   Cardiology Working Group on Myocardial and Pericardial Disea- ses[J] .Eur Heart J , 2010 , 31(22) :2715-2726.

[16]   Ahmad  F , Mcnall y  EM , Ackerman  MJ , et  al. Estab- lishment of Specialized Clinical Cardiovascular Genet- ics  Programs :   Recognizing   the   Need   and   Meeting Standards:A Scientific Statement From the American

Heart Association[J] .Circ Genom Precis Med , 2019 , 12(6) :e54.

[17]  Elliott P , Andersson  B , Arbustini  E , et  al. Classifica- tion  of  the  cardiom yopathies :  a   position  statement from  the  European  Society   Of  Cardiology  Working Group on Myocardial and Pericardial Diseases[J] .Eur Heart J , 2008 , 29(2) :270-276.

[18]  van Lint F , Murray B , Tichnell  C , et  al. Arrhythmo- genic  Right  Ventricular  Cardiom yopathy-Associated Desmosomal Variants  Are  Rarely  De  Novo[J] . Circ Genom Precis Med , 2019 , 12(8) :e2467.

[19]   Fressart  V , Duthoit  G , Donal  E , et  al. Desmosomal gene anal ysis in arrhythmogenic right ventricular dys- plasia/cardiomyopathy :  spectrum   of   mutations   and clinical impact in practice[J] .Europace , 2010 , 12(6) :  861-868.

（收稿 日期：2023-02-13)

to better understand the expert consensus  and standardize the clinical  practice of  OCT ,  this  paper  interprets  its core contents .

Key words    coronary  artery  disease ;   optical  coherence tomography ;  coronary interventions ;  expert consen- sus ;  interpretation

2023 年 2 月，中华 医学会 心血 管病 学分会发 布了《光学相干断层成像技术在冠心病介入诊疗 中 应用的中国专家共识》[1]  。 与 2017 年发布 的《光学 相干断层成像技术在冠心病介入诊疗领域的应用 中国专家建议》相 比，此次更新版 的专家共识广泛 纳入最新的临床研究结果及国 内外指南共识推荐， 更加聚焦临床实践，旨在推广与规范光学相干断层 成像技术(optical coherence tomography, OCT) 在 我国冠心病介入诊疗 中 的应用 。 本共识 的重 点及 亮点内容主要体现如下。

1    共识重点内容解读

1. 1    OCT 临床应用指征

作为一种基于近红外光的 血管内成像方式， 与血管 内超 声 相 比，OCT 的 轴 向 分 辨 率 更 高(10  ~15 mm) , 能够对 冠状动 脉（冠 脉）的 管 腔 形 态、 血管壁内的斑块结构成分以及血栓特征等进行精  准的定性与定量分析 。 其主要不足之处是穿透能  力有限，对于部分斑块无法准确评估其斑块负荷。 OCT 独特 的成 像 特 点 决 定 了 其 主 要 的 临 床 应 用  指征。

随着多项高质量 OCT 相关临床研究结果的公 布，2018 年 ESC/EACTS 血运重建指南 以及 2021 年 ACC/AHA/SCAI 指 南 均将 OCT 用 于 指 导 和 优化经皮冠脉介入治疗(percutaneous coronar y in- tervention , PCI) 以及指导支架失败 的治疗作为 Ⅱ a 类推荐[2-3]  。 此 外，近年来 公布 的 国 际 ST 段抬 高 型心肌梗死管理指南、非 ST 段抬高型急性冠脉综 合征管理指南、支架失败专家共识等冠心病领域 的 指南或专家共识 中，均指 出 OCT 可用于指导并优 化冠脉 介 入 诊 疗 过 程[4-6]  。 2018  年，首 部 EAPCI 腔内影像学临床应用专家共识首次对腔内影像学 的临床应用指征进行了较为全面 的总结表述，主要 包括识别病变部位、指导和优化 PCI 以及明确支架 失败的机制[7]  。

在此基础上，结合我国冠心病流行病学特征、 诊疗现状以及最新循证证据，本共识进一步 明确与  细化 OCT 的临床应用指征，主要包括术前评估造  影不能明确的病变，如血栓性病变、模糊病变 以及  冠脉非 阻塞性心肌梗死等；指导和优化 PCI 效果， 尤其是对于某些特殊病变类型 的指导与优化，如钙  化病 变、分 叉 病 变、急 性 冠 脉 综 合 征 ( acute  coro-  nary s y ndrome , ACS) 患 者 的病变 等；识 别介入 治  疗失败的原因并指导治疗策略，主要包括对支架 内  再狭 窄 (in-stent  restenosis , ISR) 和 支 架 内 血 栓

(stent thrombosis , ST) 的治疗等。

此外，随着我国冠心病二级预 防和随访体系 的 不断完善以及“ 介入无残 留”理念和技术 的推广与 应用，本共识首次指出，OCT 在支架置入后 的长期 安全性随访和有 效 性评估、指导生物可降解支架 (bioresorbable  scaffold , BRS)  和 药 物 涂 层 球 囊 (drug-coated balloon , DCB) 置入 以及评价 DCB 治 疗失败等方面亦发挥着重要作用，并在相应章节根 据不同病变及人群的具体特点进行了详细表述。

1. 2    OCT 指导优化 PCI 标准流程

作为冠心病介入诊疗过程 中最重要 的部分之  一，如何指导并优化支架置入的效果一直是 国 内外  介入心血管病学专家关注 的重点与热点 。ILUMI-  EN 系 列 研 究、DOCTORS 研 究、Pan-Landon 研 究、DETECT OCT 研究、iSIGHT 研究等分别从不 同角度证实，与单纯造影指导相 比，OCT 指导可 以 改变术者 的治疗策略、优化 PCI 术后 的 即刻效果， 以及获得更优 的 临床 预 后[8-13]  。 欧 洲腔 内影像 临 床应用专家共识指出，腔内影像学指导非左主干病 变 PCI 的术后即刻预期目标应包括：最小支架内面 积＞4. 5mm2 ；支架膨胀率＞80% ；支架落脚 点斑 块负荷<50% ；支架边缘夹层 的角度<60° 、长度<  2 mm 且夹层局 限于 内膜；无 明显组织脱垂；贴壁 不良的轴 向距离<0. 4  mm 并且长度<1  mm[7]  。 但当时仍缺 乏 统一 的 OCT 指 导优化 PCI 的标 准 化流程。

2020 年 EuroPCR 期 间 公布 的 LightLab 第一 阶段研究成果，首次提 出 OCT 优化 PCI 标准路径 ( MLD MAX) , 即 术 前 应 用 OCT  观 察 病 变 性 质 (morphology) , 进而制定手术策略选择合适的器械 长度(length) 和直径(diameter) , 术后再次行 OCT 检查评估手术效果，包括边缘夹层( medial dissec- tion) 、支架贴壁(apposition) 以及支架膨胀(xpan- sion) 情 况 。 结 果 显 示，与 造 影 相 比，遵 循 MLD MAX 标准路径，OCT 累积 改变 了 88% 的 治疗 策 略，同时可实现平均 80% 的支架膨胀率[14]  。 造影 与 OCT  实 时 融 合 功 能 ( Angio  Co-Registration , ACR) 的开发 与应 用 可进 一 步优化 术 者 的 治疗 策 略，OPTICO-integration 证实，与单纯造影指导相 比，ACR 功能的应用可额外 改变 40. 7% 的复杂病 变的 PCI 策略，其主要体现为支架落脚点以及支架 长度的改变[15]  。

基于上述研究现状，本共识提 出 OCT 指 导优 化 PCI 标准化流程的七步法 。术前：①评估病变性

质，选择合适 的预处理策略；②根据 OCT 影像，选 择相对正常节段作为支架落脚 点；③定量测量，确 定支架尺寸 。术 中：④运用 ACR 功 能精准指 导支 架置入 。术后：⑤OCT 检查 自动评估最 小支架面 积及支架膨胀率及其严重程度；⑥ 自动评估识别贴 壁不良及其严重程度；⑦确认是否有支架边缘夹层 或组织脱垂等及其严重程度。

对于不同病变性质的具体预处理方式、器械尺 寸的计算方法、术 后 即 刻 效 果及其严重性的分度  等，在本共识中均进行 了详细 的文字及 图表讲解。 首次总结提出基于 OCT 成像特征的支架置入优化 标准：①支架膨胀：相对值＞80% ；在非左主干病变 中，最小支架横截面积绝对值＞4. 5  mm2  ; ②边缘 夹层：角度<60°或长度<3  mm , 局限于内膜且无  明显血肿风 险；③贴壁 不 良：轴 向距 离<400  μm ,   长度<1 mm ; ④组织脱垂：不影 响血流，且脱垂面 积／支架面积<10% , 或者 ≥10%但是最小支架 内 血流面积 ≥近端 或远端 参考面积 的 90% ; ⑤支 架 边缘：避开富含脂质区域。

1. 3    基于 OCT 的“ 介入无残 留”理念的实践与推 广

虽然药物洗脱支架仍是 目前国内外指南共识 推荐的冠脉血运重建的首选策略，但随着对动脉粥 样硬化发病机制在体研究的不断深入，介入器械 的 不断更新与发展，“介入无残留”理念应运而生并逐 渐受到广大心血管介入医生的重视 。 根据病变类 型的不 同，其主要分为基于病变性质的 ACS 的非 支架治疗、生物可降解支架的应用 以及药物球囊 的 应用等 3 个方面的内容。

斑块侵蚀约占全部 ACS 患者的 1/3 , 是仅次于 斑块破裂 的 ACS 第二大病 因 。 OCT 是 目 前 唯 一 可在体识别斑块侵蚀的腔内影像学工具 。 与斑块 破裂相比，斑块侵蚀的管腔狭窄程度及病变 易损性 相对较轻 。基于上述特征，EROSION 研究首次证 实了 OCT 指导 的斑块侵蚀所导致 的部分 ACS 患 者非支架 治疗 的 安 全 性 和 有 效 性[16]  。 EROSION  Ⅲ研究进一步证实了上述发现并对斑块破裂 的个 体化非支架 治疗进行 了初 步探 索[17]  。 因此，本共 识提出，对于 ACS 患者，建议在必要 的预处理后， 在患者血流动力学稳定的情况下，行 OCT 检查 以 明确罪犯病变 的病理生理机制 。 对于斑块侵蚀 患 者，若残余狭窄<70% 、血流动力学稳定且无进行 性症状加重，可行积极抗栓的非支架置入策略。

作为“介入无残留”理念的另一重要组成部分， 目前 BRS 已积 累 了较 多 的循证 医 学证据，研 究表 明在 BRS 置入过程中严格执行 PSP 原则可获得更 理想的远期预后，即对病变进行充分 的预扩张，准 确测量血管直径和充分后扩 张[18-19]  , OCT 检查可 充分验证 PSP 原则执行 的质量及效果 。 本共识推

荐使用 OCT 指导和优化 BRS 的置入，推荐在 BRS 置入前应用 OCT 评估管腔形态和病变性质，根据 BRS着陆点的血管条件情况选择支架尺寸，强调 了 BRS 置入后行 OCT 检查的重要性，针对 BRS 置入 后即刻出现的边缘夹层、膨胀不全、贴壁不 良等情 况提出了优化建议，此外，推荐在 BRS 置入后 的 随 访观察中应用 OCT 以评估支架杆的内膜覆盖及吸 收情况，识别 BRS 相关 晚期 并发症 并指 导其个体 化治疗。

2018 年 ESC/EACTS 血 运 重 建 指 南 将 DCB 作为治疗 ISR 的 Ⅰ a 类推荐[3]  , 随着 DCB 治疗 原 位病变证据 的 不 断 累 积，DCB 的 应 用 逐 渐 由 ISR 扩展至原位病变，如 小血管病变、分叉病变及高危 (ACS 或糖尿病）患者[20]  。本共识首次指 出 了使用 OCT 指导优化 DCB 治疗 的重要性，其主要体现为 对病变预处理策略的制定、药物覆盖率 的评估及术 后效果评价 3 个方面 。 我 国学者研 究证 明 了对于 血管直径 ≥2. 5  mm 的原位病变，在 OCT 指 导 下 经切 割球囊 处 理 后使 用 DCB 治疗 的 安全 性和 有 效性[21]  。

1. 4    OCT 在支架失败中的应用

近年来，我国冠脉介入治疗数量激增，支架失 败病变的再次介入治疗在临床诊疗 中愈发常见，其 主要包括 ISR 和 ST 。 与原位病变相 比，支架失败 病变的处理更为复杂，除要考虑导致此次发病 的支 架内新生病变 的特 征 外，还要考虑原支架的情况 等 。介入器械的不 断更新与发展（如切割球囊、准 分子激光冠脉斑块消蚀术和震波球囊扩张术等）为 支架失败的治疗提供了更多的方案选择。

与传统冠脉造影相 比，腔内影像学技术，尤其 是 OCT , 可以对新发支架内病变、原支架情况 以及 支架外病变特征进行全面的评估，进而指导更优 的 策略制定与器械选择 。 国 内外血运重建指南与共 识均推荐应用 OCT 指导支架失败相关病变的介入 治疗[2-3 , 7]  , 本共识主要介绍 了 OCT 在药物洗脱支 架失 败 中 的 应 用 价 值，总 结 提 出 了 OCT 在 指 导 ISR 和 ST 治疗中的处理流程。

针对 ISR 病变，本共识建议行 OCT 检查 明确 ISR 的发生机 制及 支 架 层 数，并根据发生机制 将

ISR 病变分为 5 型：Ⅰ 型为机械 因素，主要包括膨 胀不良和支架断裂；Ⅱ 型为生物 因素，包括新生 内 膜增生和新生动脉 粥样硬化；Ⅲ 型为混合 因素，即 机械因素和生物因素并存；Ⅳ型为多层支架相关 的 ISR ; Ⅴ 型 为 支 架 内慢性完全闭塞性病变 。 基 于 OCT 识别的 5 种 ISR 类 型，本共识 总结 了标准化 的处理流程。

作为目前最为精准 的在体识别冠脉血栓 的影 像学工 具，OCT 在识别 ST 的发生机制、评估 ST 的病变特点 以及指 导 ST 的个体化 治疗方面拥有

其他影像工 具无法 比拟 的优 势 。 根据 ST 形 成 的 时间不同，其发生机制也存在差异 。 早期 ST 主要 与支架梁未覆盖、支架贴壁不 良、支架膨胀不 良和 支架边缘夹层相关，晚期和极晚期 ST 主要与晚期 支架贴壁不良、新生动脉 粥样硬化、支架梁未覆盖 和支架膨胀不良相关[22-23]  。本共识首次将 OCT 识 别的 ST 发生机制总结为机械性 因素（支架膨胀不 良、支架完整性丧失和支架贴壁不 良）与非机械性 因素（新生内膜增生、新生动脉 粥样硬化和支架边 缘夹层）两大类，并针对不 同的发生机制推荐 了个 体化的治疗方案。

## 2    专家共识的主要亮点

本共识由中华医学会心血管病学分会编写，综 合 OCT 在冠心病介入诊疗 中 的 临床证据，结合 国 内外指南、共识及专家建议，就 OCT 在指导冠心病 介入中的关键 问题进行了重点阐述 。 其主要亮 点 如下。

2. 1    规范 OCT 在冠心病介入术中的操作流程

目前 OCT 在我国不同中心和不同术者间的使 用情况存在较大差异，规范 OCT 检查的操作流程  对于提升我国腔内影像学整体使用水平至关重要。 本共识总结了 OCT 图像获取过程 的 4P 法，即 Po-  sition（定位）、Purge（清洗）、Puff（试注）和 Pullback  （回撤）。此外，根据不 同 的 患者及病变特 点，结合 国内众多实践经验丰富的介入专家的临床实 战经  验，总结提出了在特定情况下高质量 OCT 图像获 取的操作技术要点，例如，当 OCT 导管在术前无法 通过病变部位时，建议应用直径 ≤2. 0 mm 的球囊 先行扩张等，可获得最大程度保持病变原始特征 的  OCT 影像，以便准确评估病变性质及制定治疗策  略 。针对狭窄严重无法获得清晰 图像、为减少成像 时对比剂用量等特殊情况进行 了操作要点说 明，共 识从术者、操作、器械及患者相关角度总结了影响  获取高质量影像 的常见 因素，明确 了 OCT 操作过 程中的并发症及注意事项 。本共识总结了 OCT 图 像获取中的要点及细节，以解决 OCT 在 临床应用 中的实际问题。

2. 2    明确 OCT 在不同病变类型中的指导价值

除 MLD MAX 标准化流程外，在本共识 中，专 家组针对 ACS 患者、钙化病变、分叉病变、弥漫病 变等高危人群及复杂病变类型，结合各人群／病变 的特征及介入术 中 的重 点及难 点，分别总结 归纳， 提出了 OCT 指导其介入治疗的要 点 与 流程 。 例 如，建议在应用 OCT 明确 ACS 患者罪犯病变性质 后选择个体化 的治疗策 略；强调应用 OCT 评估钙 化形态的重要性，结合钙化 的长度、角度、厚度、深 度等特征选择不同的预处理策略；基于 3D-OCT 重 建和 ACR 制定分叉病变 的支架置入策略，优化支 架置入效果，以获得最优 的分叉脊部血运重建；在

弥漫病变中，借助 OCT 明确弥漫病变范围及参考  血管直径，确定合适 的支架落脚 点，必要 时可联合 功能学评估，综合指 导最佳策 略制定与器械选择。 本共识明确 了 OCT 在 不 同病变类 型 中 的应 用价  值，有助于心脏介入医生处理临床 中常见且棘手 的  复杂病变相关问题。

2. 3    提出 OCT 在高危斑块识别与个体化干预中 的作用

除罪犯病变外，冠心病患者非罪犯高危斑块 的 早期识别与干预 同样至关重要 。 如何准确识别 高 危斑块也一直是冠心病二级预 防领域 的热 点与难 点问题 。本共识对 多项 高质量 临床研 究 中高危斑 块的定义进行了总结归纳，得到高危斑块 的主要表 现为小管腔面积、大坏死核 心、薄纤维帽以及巨 噬 细胞浸润 。 临床实践中可通过 OCT 检查对非罪犯 斑块的易损性进行定性与定量 的个体化评估，早期 识别高危斑块，进而对其采取强化药物治疗、预 防 性介入干预以及加强 出 院后 随访等个体化 的治疗 方案，从而推动冠心病 患者二级预 防 的 战线前移， 改善患者的临床预后。

利益冲突  所有作者均声明不存在利益冲突

参考文献

[1]    中华医学会心血管病学分会 ，中华心血管病杂志编  辑委员会．光学相干断层成像技术在冠心病介入诊疗  中应用 的 中 国 专 家 共 识 [J] .  中 华 心 血 管 病 杂 志， 2023 , 51(2)  :109-124.

[2]    Lawton JS , Tamis-Holland JE , Bangalore S , et al.2021 ACC/AHA/SCAI Guideline for Coronary Artery Re- vascularization : A  Report of the American College of Cardiology/American  Heart  Association  Joint  Com- mittee on Clinical Practice Guidelines[J] .Circulation ,  2022 , 145(3) :e18-e114.

[3]     Neumann  FJ , Sousa-Uva  M , Ahlsson  A , et  al. 2018 ESC/EACTS Guidelines on m yocardial revasculariza- tion[J] .Eur Heart J , 2019 , 40(2) :87-165.

[4]    Ibanez B , James  S , Agewall S , et  al.2017ESC Guide- lines for the management of acute m yocardial infarc- tion  in  patients  presenting  with  ST-segment  eleva- tion : The  Task  Force  for  the  management  of  acute m yocardial infarction in patients  presenting  with ST- segment elevation of the European Society of Cardiol- ogy(ESC)[J] . Eur Heart J , 2018 , 39(2) :119-177.

[5]    Collet JP , Thiele  H , Barbato E , et al.2020ESC Guide- lines  for   the   management   of   acute   coronary   s yn- dromes in patients  presenting without persistent ST- segment  elevation[J] . Eur  Heart  J , 2021 , 42 ( 14) : 1289-1367.

[6]    Stefanini GG , Alfonso F , Barbato E , et al.Management of m yocardial revascularisation failure : an expert con- sensus document of the EAPCI[J] .EuroIntervention ,  2020 , 16(11) :e875-e890.

[7]    Räber L , Mintz GS , Koskinas KC , et al.Clinical use of

intracoronary imaging.Part 1 : guidance  and  optimiza- tion  of  coronary  interventions . An  expert   consensus document of the European Association of Percutane- ous  Cardiovascular  Interventions [J] . Eur  Heart  J , 2018 , 39(35) :3281-3300.

[8]    Wijns W , Shite  J , Jones  MR , et  al. Optical  coherence tomography imaging during percutaneous coronary in- tervention impacts physician decision-making : ILUM- IEN I study[J] .Eur Heart J , 2015 , 36(47) :3346-3355.

[9]    Ali  ZA , Maehara  A , Généreux P , et  al.Optical  coher- ence tomography  compared  with  intravascular  ultra- sound  and  with  angiography  to  guide  coronary  stent implantation(ILUMIEN III : OPTIMIZE PCI) : a  ran- domised   controlled    trial   [ J ] .   Lancet ,   2016 ,   388

(10060) :2618-2628.

[10]    Jones  DA , Rathod KS , Koganti S , et al.Angiography Alone  Versus  Angiography  Plus   Optical  Coherence Tomography to  Guide  Percutaneous  Coronary  Inter- vention:Outcomes From the Pan-London PCI Cohort

[J] . JACC  Cardiovasc  Interv , 2018 , 11 ( 14) :  1313- 1321.

[11]   Meneveau  N , Souteyrand  G , Motreff P , et  al. Optical Coherence Tomography to Optimize Results of Percu- taneous Coronary Intervention in Patients  with  Non- ST-Elevation  Acute  Coronary  Syndrome :  Results  of the Multicenter , Randomized DOCTORS Study(Does Optical  Coherence  Tomography  Optimize  Results  of Stenting)[J] . Circulation , 2016 , 134(13) :906-917.

[12]  Lee SY , Kim JS , Yoon HJ , et al.Earl y Strut Coverage in Patients Receiving Drug-Eluting Stents and its Im- plications for Dual Antiplatelet Therapy : A  Random- ized  Trial [J] . JACC   Cardiovasc  Imaging , 2018 , 11

(12) :1810-1819.

[13]  ChamiéD , Costa JR Jr , Damiani  LP , et al.Optical Co- herence Tomography Versus Intravascular Ultrasound and Angiography to Guide Percutaneous Coronary In- terventions : The  iSIGHT  Randomized  Trial[J] . Circ Cardiovasc Interv , 2021 , 14(3) :e009452.

[14]  Croce K , Wollmuth J , Mathew R , et al.LightLab study [R] .EuroPCR , 2020.

[15]  Leistner DM , Riedel  M , Steinbeck  L , et  al. Real-time optical coherence tomography coregistration with an- giography  in  percutaneous  coronary  intervention-im- pact on  physician decision-making : The  OPTICO-in-

tegration study[J] .Catheter Cardiovasc Interv , 2018 , 92(1) :30-37.

[16]   Jia  H , Dai  J , Hou  J , et  al. Effective  anti-thrombotic therapy without  stenting : intravascular optical  coher- ence tomography-based management in plaque erosion (the  EROSION  study)  [J] . Eur  Heart  J ,  2017 , 38

(11) :792-800.

[17]  Jia H , Dai J , He L , et al.EROSION III: A Multicenter RCT  of  OCT-Guided  Reperfusion  in  STEMI  With Earl y Infarct Artery Patency[J] .JACC Cardiovasc In- terv , 2022 , 15(8) :846-856.

[18]  Haddad K , Tanguay JF , Potter BJ , et al.Longer Infla- tion Duration  and  Predilation-Sizing-Postdilation  Im- prove  Bioresorbable  Scaffold  Outcomes  in  a  Long- term All-Comers Canadian Registry[J] .Can J Cardi- ol , 2018 , 34(6) :752-758.

[19]  Ortega-Paz L , Capodanno D , Gori T , et al.Predilation ,  sizing and post-dilation scoring in patients undergoing everolimus-eluting bioresorbable scaffold implantation for  prediction of  cardiac  adverse  events : development and internal validation of the PSP score[J] .EuroInter- vention , 2017 , 12(17) :2110-2117.

[20]  Jeger  RV , Eccleshall S , Wan Ahmad WA , et al.Drug- Coated Balloons  for  Coronary  Artery  Disease : Third Report of the International DCB Consensus Group[J] . JACC Cardiovasc Interv , 2020 , 13(12) :1391-1402.

[21]  Li L , Zhao  L , Wang  J , et  al.Optical  coherence  tomo- graphy-guided drug coated balloon in non-small de no- vo  coronary  artery  lesions : a  prospective  clinical  re- search[J] . Am  J  Transl  Res , 2021 , 13 (10) : 11617- 11624.

[22]  Adriaenssens T , Joner M , Godschalk TC , et al.Optical Coherence  Tomography  Findings   in  Patients  With Coronary Stent Thrombosis : A Report of the PRES- TIGE Consortium(Prevention of Late Stent Throm- bosis b y an Interdisciplinary Global European Effort)

[J] .Circulation , 2017 , 136(11) :1007-1021.

[23]   Souteyrand  G , Amabile  N , Mangin  L , et  al. Mecha- nisms of stent thrombosis  anal ysed  b y optical  coher- ence  tomography : insights  from  the  national  PESTO French registry[J] .Eur Heart J , 2016 , 37(15) : 1208- 1216.

（收稿 日期：2022-11-01)